## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Widening of Auditorium hall Main Gate,replacement of vertical blind in green room,Painting of exhibiton area,store room,prayer hall etc i/c provision of Urinal in back side toilet.
Contract No: 37/C/D2/2021-22/03
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | item no.1 | [52 empty] | 1 | EARTH WORK | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.2 | [52 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All kinds of soil | item no.3 | 1.45 | cum | 159.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 231 | 231 | INR Two Hundred & Thirty One Only | 1.02 | All kinds of soil | item no.3 | 1.45 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CONCRETE WORK | item no.4 | [52 empty] | 2 | CONCRETE WORK | item no.4
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 1.81 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10774 | 10774 | INR Ten Thousand Seven Hundred & Seventy Four Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 1.81 | cum
3 | CLADDING WORK | item no.7 | [52 empty] | 3 | CLADDING WORK | item no.7
3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.8 | [52 empty] | 3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | Granite of any colour and shade | item no.9 | [52 empty] | 3.02 | Granite of any colour and shade | item no.9
3.03 | Area of slab over 0.50 sqm | item no.10 | 14.09 | sqm | 3513.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49511 | 49511 | INR Forty Nine Thousand Five Hundred & Eleven Only | 3.03 | Area of slab over 0.50 sqm | item no.10 | 14.09 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.11 | [52 empty] | 3.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.05 | Granite work | item no.12 | 8.8 | metre | 329.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2903 | 2903 | INR Two Thousand Nine Hundred & Three Only | 3.05 | Granite work | item no.12 | 8.8 | metre
3.06 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | item no.13 | 2 | metre | 380.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 762 | 762 | INR Seven Hundred & Sixty Two Only | 3.06 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | item no.13 | 2 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.07 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.14 | 2.25 | sqm | 903.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2033 | 2033 | INR Two Thousand &Thirty Three Only | 3.07 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.14 | 2.25 | sqm
4 | WOOD AND PVC WORK | item no.15 | [52 empty] | 4 | WOOD AND PVC WORK | item no.15
4.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.16 | [52 empty] | 4.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.16
4.02 | 300x16 mm | item no.17 | 1 | each | 160.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 161 | 161 | INR One Hundred & Sixty One Only | 4.02 | 300x16 mm | item no.17 | 1 | each
4.03 | 250x16 mm | item no.18 | 1 | each | 149.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149 | 149 | INR One Hundred & Forty Nine Only | 4.03 | 250x16 mm | item no.18 | 1 | each
4.04 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.19 | [52 empty] | 4.04 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.19
4.05 | 250x16 mm | item no.20 | 1 | each | 203.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203 | 203 | INR Two Hundred & Three Only | 4.05 | 250x16 mm | item no.20 | 1 | each
4.06 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.21 | [52 empty] | 4.06 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.21
4.07 | 200x10 mm | item no.22 | 1 | each | 78.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79 | 79 | INR Seventy Nine Only | 4.07 | 200x10 mm | item no.22 | 1 | each
4.08 | 150x10 mm | item no.23 | 1 | each | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 66 | 66 | INR Sixty Six Only | 4.08 | 150x10 mm | item no.23 | 1 | each
4.09 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.24 | [52 empty] | 4.09 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.24
4.1 | 125 mm | item no.25 | 2 | each | 52.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 105 | 105 | INR One Hundred & Five Only | 4.1 | 125 mm | item no.25 | 2 | each
4.11 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.26 | [52 empty] | 4.11 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.26
4.12 | Twin rubber stopper | item no.27 | 4 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 218 | 218 | INR Two Hundred & Eighteen Only | 4.12 | Twin rubber stopper | item no.27 | 4 | each
4.13 | Providing and fixing to existing door frames. | item no.28 | [52 empty] | 4.13 | Providing and fixing to existing door frames. | item no.28
4.14 | 25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (± 0.3 mm). PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm X 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places | item no.29 | 1.37 | sqm | 2264.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3102 | 3102 | INR Three Thousand One Hundred & Two Only | 4.14 | 25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (± 0.3 mm). PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm X 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places | item no.29 | 1.37 | sqm
4.15 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with awall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineer- in-Charge. | item no.30 | 4.85 | metre | 343.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1665 | 1665 | INR One Thousand Six Hundred & Sixty Five Only | 4.15 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with awall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineer- in-Charge. | item no.30 | 4.85 | metre
5 | STEEL WORK | item no.31 | [52 empty] | 5 | STEEL WORK | item no.31
5.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.32 | [52 empty] | 5.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.32
5.02 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.33 | 1053.35 | kg | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 120988 | 120988 | INR One Lakh Twenty Thousand Nine Hundred & Eighty Eight Only | 5.02 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.33 | 1053.35 | kg
6 | FLOORING | item no.34 | [52 empty] | 6 | FLOORING | item no.34
6.01 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.35 | [52 empty] | 6.01 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.35
6.02 | 25 mm thick | item no.36 | 1.21 | sqm | 1343.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1625 | 1625 | INR One Thousand Six Hundred & Twenty Five Only | 6.02 | 25 mm thick | item no.36 | 1.21 | sqm
7 | FINISHING | item no.37 | [52 empty] | 7 | FINISHING | item no.37
7.01 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | item no.38 | 115.47 | sqm | 172.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19914 | 19914 | INR Nineteen Thousand Nine Hundred & Fourteen Only | 7.01 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | item no.38 | 115.47 | sqm
7.02 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.39 | [52 empty] | 7.02 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.39
7.03 | Two or more coats on new work | item no.40 | 244 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18644 | 18644 | INR Eighteen Thousand Six Hundred & Forty Four Only | 7.03 | Two or more coats on new work | item no.40 | 244 | sqm
7.04 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.41 | [52 empty] | 7.04 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.41
7.05 | Two or more coats on new work | item no.42 | 30 | sqm | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3197 | 3197 | INR Three Thousand One Hundred & Ninety Seven Only | 7.05 | Two or more coats on new work | item no.42 | 30 | sqm
7.06 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.43 | 127.38 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12860 | 12860 | INR Twelve Thousand Eight Hundred & Sixty Only | 7.06 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.43 | 127.38 | sqm
7.07 | White washing with lime to give an even shade : | item no.44 | [52 empty] | 7.07 | White washing with lime to give an even shade : | item no.44
7.08 | Old work (one or more coats) | item no.45 | 186.96 | sqm | 8.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1679 | 1679 | INR One Thousand Six Hundred & Seventy Nine Only | 7.08 | Old work (one or more coats) | item no.45 | 186.96 | sqm
7.09 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.46 | 187 | sqm | 12.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2328 | 2328 | INR Two Thousand Three Hundred & Twenty Eight Only | 7.09 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.46 | 187 | sqm
7.1 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.47 | [52 empty] | 7.1 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.47
7.11 | Old work (one or more coats) | item no.48 | 250 | sqm | 47.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11903 | 11903 | INR Eleven Thousand Nine Hundred & Three Only | 7.11 | Old work (one or more coats) | item no.48 | 250 | sqm
7.12 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.49 | 128 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2048 | 2048 | INR Two Thousand &Forty Eight Only | 7.12 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.49 | 128 | sqm
7.13 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.50 | [52 empty] | 7.13 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.50
7.14 | One or more coats on old work | item no.51 | 50 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3505 | 3505 | INR Three Thousand Five Hundred & Five Only | 7.14 | One or more coats on old work | item no.51 | 50 | sqm
7.15 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.52 | [52 empty] | 7.15 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.52
7.16 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item no.53 | 300 | sqm | 58.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17610 | 17610 | INR Seventeen Thousand Six Hundred & Ten Only | 7.16 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item no.53 | 300 | sqm
8 | DISMANTLING AND DEMOLISHING | item no.54 | [52 empty] | 8 | DISMANTLING AND DEMOLISHING | item no.54
8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.55 | [52 empty] | 8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.55
8.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.56 | 0.2 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 305 | 305 | INR Three Hundred & Five Only | 8.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.56 | 0.2 | cum
8.03 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | item no.57 | 800 | kg | 3.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2904 | 2904 | INR Two Thousand Nine Hundred & Four Only | 8.03 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | item no.57 | 800 | kg
8.04 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.58 | 5 | sqm | 34.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 171 | 171 | INR One Hundred & Seventy One Only | 8.04 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.58 | 5 | sqm
9 | SANITARY INSTALLATIONS | item no.59 | [52 empty] | 9 | SANITARY INSTALLATIONS | item no.59
9.01 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : | item no.60 | [52 empty] | 9.01 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : | item no.60
9.02 | Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | item no.61 | 1 | each | 8207.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8207 | 8207 | INR Eight Thousand Two Hundred & Seven Only | 9.02 | Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | item no.61 | 1 | each
9.03 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.62 | 1 | each | 774.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 774 | 774 | INR Seven Hundred & Seventy Four Only | 9.03 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.62 | 1 | each
9.04 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.63 | 2 | each | 1124.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2250 | 2250 | INR Two Thousand Two Hundred & Fifty Only | 9.04 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.63 | 2 | each
9.05 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | item no.64 | [52 empty] | 9.05 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | item no.64
9.06 | Rectangular shape 1500x450 mm | item no.65 | 3 | each | 1566.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4699 | 4699 | INR Four Thousand Six Hundred & Ninety Nine Only | 9.06 | Rectangular shape 1500x450 mm | item no.65 | 3 | each
9.07 | Providing and fixing soil, waste and vent pipes : | item no.66 | [52 empty] | 9.07 | Providing and fixing soil, waste and vent pipes : | item no.66
9.08 | 75 mm diameter : | item no.67 | [52 empty] | 9.08 | 75 mm diameter : | item no.67
9.09 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item no.68 | 1.8 | metre | 869.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1566 | 1566 | INR One Thousand Five Hundred & Sixty Six Only | 9.09 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item no.68 | 1.8 | metre
9.1 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : | item no.69 | [52 empty] | 9.1 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : | item no.69
9.11 | 75 mm dia pipe | item no.70 | 1 | each | 110.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110 | 110 | INR One Hundred & Ten Only | 9.11 | 75 mm dia pipe | item no.70 | 1 | each
9.12 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.71 | [52 empty] | 9.12 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.71
9.13 | 100 mm inlet and 75 mm outlet | item no.72 | [52 empty] | 9.13 | 100 mm inlet and 75 mm outlet | item no.72
9.14 | Sand cast iron S&S as per IS - 3989 | item no.73 | 1 | each | 1384.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1385 | 1385 | INR One Thousand Three Hundred & Eighty Five Only | 9.14 | Sand cast iron S&S as per IS - 3989 | item no.73 | 1 | each
10 | WATER SUPPLY | item no.74 | [52 empty] | 10 | WATER SUPPLY | item no.74
10.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.75 | [52 empty] | 10.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.75
10.02 | 20 mm nominal outer dia Pipes | item no.76 | 12.5 | metre | 269.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3364 | 3364 | INR Three Thousand Three Hundred & Sixty Four Only | 10.02 | 20 mm nominal outer dia Pipes | item no.76 | 12.5 | metre
11 | MINOR CIVIL MAINTENANCE WORK: | item no.77 | [52 empty] | 11 | MINOR CIVIL MAINTENANCE WORK: | item no.77
11.01 | Providing and Fixing of Aluminum cover fully automatic """"NO TOUCH""""hand drier suitable to operate on 220 volts, single phase 50 Hz A.C power supply and directly plugged to power point with fixing on wall complete. Model HK-1800ALU(Aluminum Cover ) (Make TOSHI or equivalent) | item no.78 | 1 | Each | 10105.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10105 | 10105 | INR Ten Thousand One Hundred & Five Only | 11.01 | Providing and Fixing of Aluminum cover fully automatic """"NO TOUCH""""hand drier suitable to operate on 220 volts, single phase 50 Hz A.C power supply and directly plugged to power point with fixing on wall complete. Model HK-1800ALU(Aluminum Cover ) (Make TOSHI or equivalent) | item no.78 | 1 | Each
11.02 | "Providing and fixing Automatic CP Liquid soap Dispenser i/c fixing all Complete." Model: FD 950 SA ( SS Cover ) (Make TOSHI or equivalent). | item no.79 | 1 | Each | 9524.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9524 | 9524 | INR Nine Thousand Five Hundred & Twenty Four Only | 11.02 | "Providing and fixing Automatic CP Liquid soap Dispenser i/c fixing all Complete." Model: FD 950 SA ( SS Cover ) (Make TOSHI or equivalent). | item no.79 | 1 | Each
11.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.80 | 2 | Each | 58.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 117 | 117 | INR One Hundred & Seventeen Only | 11.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.80 | 2 | Each
11.04 | "Cutting rubbing and polishing of old mosaic flooring of dado for rubbing and removal of rubbish i/c one coat of cement slurry for final rubbing and polishing. | item no.81 | 20 | Sqm | 69.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1398 | 1398 | INR One Thousand Three Hundred & Ninety Eight Only | 11.04 | "Cutting rubbing and polishing of old mosaic flooring of dado for rubbing and removal of rubbish i/c one coat of cement slurry for final rubbing and polishing. | item no.81 | 20 | Sqm
11.05 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.82 | 2 | Each | 29.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59 | 59 | INR Fifty Nine Only | 11.05 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.82 | 2 | Each
11.06 | "Providing and fixing Automatic CP Liquid soap Dispenser i/c fixing all Complete." Model: FD 900 SA ( ABS ) (Make TOSHI or equivalent). | item no.83 | 4 | Each | 4936.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19745 | 19745 | INR Nineteen Thousand Seven Hundred & Forty Five Only | 11.06 | "Providing and fixing Automatic CP Liquid soap Dispenser i/c fixing all Complete." Model: FD 900 SA ( ABS ) (Make TOSHI or equivalent). | item no.83 | 4 | Each
11.07 | Providing and fixing contact less Automatic water tap i/c fixing all Complete." Model: T-718 (Make TOSHI or equivalent). | item no.84 | 2 | Each | 15912.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31825 | 31825 | INR Thirty One Thousand Eight Hundred & Twenty Five Only | 11.07 | Providing and fixing contact less Automatic water tap i/c fixing all Complete." Model: T-718 (Make TOSHI or equivalent). | item no.84 | 2 | Each
11.08 | "Providing and fixing vertical venition blinds vista make dust guard (classic/select) 100 mm wide on windows. | item no.85 | 18 | Sqm | 1935.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34848 | 34848 | INR Thirty Four Thousand Eight Hundred & Forty Eight Only | 11.08 | "Providing and fixing vertical venition blinds vista make dust guard (classic/select) 100 mm wide on windows. | item no.85 | 18 | Sqm
Total in Figures | [51 empty] | 421619 | 421619 | Four Lakh Twenty One Thousand Six Hundred & Nineteen Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information