## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Miscellaneous civil construction and renovation works in academic area buildings at IIT Kanpur
NIT No: Civil/19/12/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | EARTH WORK | item no.1 | [52 empty] | 1.01 | EARTH WORK | item no.1
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.2 | [52 empty] | 1.02 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.2
1.03 | All kinds of soil. | item no.3 | 3.4 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 855 | 855 | INR Eight Hundred & Fifty Five Only | 1.03 | All kinds of soil. | item no.3 | 3.4 | cum
1.04 | Filling available excavated earth (excluding rock) in trenches, plinth. sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift | item no.5 | 2.5 | cum | 222.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 557 | 557 | INR Five Hundred & Fifty Seven Only | 1.04 | Filling available excavated earth (excluding rock) in trenches, plinth. sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift | item no.5 | 2.5 | cum
1.05 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.6 | 0.37 | cum | 1894.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 701 | 701 | INR Seven Hundred & One Only | 1.05 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.6 | 0.37 | cum
1.06 | CEMENT CONCRETE (CAST IN SITU) | item no.7 | [52 empty] | 1.06 | CEMENT CONCRETE (CAST IN SITU) | item no.7
1.07 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.8 | [52 empty] | 1.07 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.8
1.08 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.9 | 0.58 | cum | 5546.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3217 | 3217 | INR Three Thousand Two Hundred & Seventeen Only | 1.08 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.9 | 0.58 | cum
1.09 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.10 | [52 empty] | 1.09 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.10
1.1 | 1:1½:3 (1 cement : VA coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.11 | 0.37 | cum | 8587.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3177 | 3177 | INR Three Thousand One Hundred & Seventy Seven Only | 1.1 | 1:1½:3 (1 cement : VA coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.11 | 0.37 | cum
1.11 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.12 | 2.3 | sqm | 325.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 748 | 748 | INR Seven Hundred & Forty Eight Only | 1.11 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.12 | 2.3 | sqm
1.12 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.14 | 2.3 | sqm | 99.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 230 | 230 | INR Two Hundred & Thirty Only | 1.12 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.14 | 2.3 | sqm
1.13 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.15 | 4 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2391 | 2391 | INR Two Thousand Three Hundred & Ninety One Only | 1.13 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.15 | 4 | sqm
1.14 | REINFORCED CEMENT CONCRETE | item no.16 | [52 empty] | 1.14 | REINFORCED CEMENT CONCRETE | item no.16
1.15 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | item no.17 | [52 empty] | 1.15 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | item no.17
1.16 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | item no.18 | 2.03 | cum | 7333.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14888 | 14888 | INR Fourteen Thousand Eight Hundred & Eighty Eight Only | 1.16 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | item no.18 | 2.03 | cum
1.17 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.19 | [52 empty] | 1.17 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.19
1.18 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.20 | 5.4 | sqm | 587.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3170 | 3170 | INR Three Thousand One Hundred & Seventy Only | 1.18 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.20 | 5.4 | sqm
1.19 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.21 | [52 empty] | 1.19 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.21
1.2 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.23 | 240 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18866 | 18866 | INR Eighteen Thousand Eight Hundred & Sixty Six Only | 1.2 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.23 | 240 | kg
1.21 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.24 | 1235 | metre | 56.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70062 | 70062 | INR Seventy Thousand &Sixty Two Only | 1.21 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.24 | 1235 | metre
1.22 | MASONRY WORK | item no.25 | [52 empty] | 1.22 | MASONRY WORK | item no.25
1.23 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.26 | [52 empty] | 1.23 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.26
1.24 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.27 | 2.6 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15179 | 15179 | INR Fifteen Thousand One Hundred & Seventy Nine Only | 1.24 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.27 | 2.6 | cum
1.25 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | item no.29 | [52 empty] | 1.25 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | item no.29
1.26 | cement mortar 1:4 (1 cement : 4 coarse sand) | item no.30 | 3.02 | sqm | 734.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2219 | 2219 | INR Two Thousand Two Hundred & Nineteen Only | 1.26 | cement mortar 1:4 (1 cement : 4 coarse sand) | item no.30 | 3.02 | sqm
1.27 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.31 | [52 empty] | 1.27 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.31
1.28 | Above plinth level upto floor V level | item no.32 | 2.6 | cum | 7510.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19528 | 19528 | INR Nineteen Thousand Five Hundred & Twenty Eight Only | 1.28 | Above plinth level upto floor V level | item no.32 | 2.6 | cum
1.29 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.33 | 3.5 | metre | 48.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 171 | 171 | INR One Hundred & Seventy One Only | 1.29 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.33 | 3.5 | metre
1.3 | WOOD AND P. V. C. WORK | item no.34 | [52 empty] | 1.3 | WOOD AND P. V. C. WORK | item no.34
1.31 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.36 | [52 empty] | 1.31 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.36
1.32 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.37 | 7.77 | sqm | 1767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13733 | 13733 | INR Thirteen Thousand Seven Hundred & Thirty Three Only | 1.32 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.37 | 7.77 | sqm
1.33 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.38 | 5.67 | sqm | 351.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1996 | 1996 | INR One Thousand Nine Hundred & Ninety Six Only | 1.33 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.38 | 5.67 | sqm
1.34 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : (copper oxidized as per IS: 1378) | item no.39 | [52 empty] | 1.34 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : (copper oxidized as per IS: 1378) | item no.39
1.35 | 300x16 mm | item no.40 | 1 | each | 158.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 158 | 158 | INR One Hundred & Fifty Eight Only | 1.35 | 300x16 mm | item no.40 | 1 | each
1.36 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : (copper oxidized as per IS: 1378) | item no.41 | [52 empty] | 1.36 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : (copper oxidized as per IS: 1378) | item no.41
1.37 | 125 mm | item no.42 | 4 | each | 30.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 123 | 123 | INR One Hundred & Twenty Three Only | 1.37 | 125 mm | item no.42 | 4 | each
1.38 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.43 | 5 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4497 | 4497 | INR Four Thousand Four Hundred & Ninety Seven Only | 1.38 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.43 | 5 | each
1.39 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.44 | [52 empty] | 1.39 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.44
1.4 | 300x16 mm | item no.45 | 2 | each | 228.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 456 | 456 | INR Four Hundred & Fifty Six Only | 1.4 | 300x16 mm | item no.45 | 2 | each
1.41 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.46 | [52 empty] | 1.41 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.46
1.42 | 250x10 mm | item no.47 | 14 | each | 91.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1282 | 1282 | INR One Thousand Two Hundred & Eighty Two Only | 1.42 | 250x10 mm | item no.47 | 14 | each
1.43 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.48 | [52 empty] | 1.43 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.48
1.44 | 125 mm | item no.49 | 8 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 421 | 421 | INR Four Hundred & Twenty One Only | 1.44 | 125 mm | item no.49 | 8 | each
1.45 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.50 | [52 empty] | 1.45 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.50
1.46 | Twin rubber stopper | item no.51 | 4 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 218 | 218 | INR Two Hundred & Eighteen Only | 1.46 | Twin rubber stopper | item no.51 | 4 | each
1.47 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.52 | 4 | each | 648.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2595 | 2595 | INR Two Thousand Five Hundred & Ninety Five Only | 1.47 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.52 | 4 | each
1.48 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.53 | [52 empty] | 1.48 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.53
1.49 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.54 | 35 | sqm | 1576.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55167 | 55167 | INR Fifty Five Thousand One Hundred & Sixty Seven Only | 1.49 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.54 | 35 | sqm
1.5 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-in- charge (Frame work shall be paid for separately). | item no.55 | [52 empty] | 1.5 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-in- charge (Frame work shall be paid for separately). | item no.55
1.51 | 12mm thick commercial ply conforming to IS : 1328 BWR type | item no.56 | 0.5 | sqm | 950.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 475 | 475 | INR Four Hundred & Seventy Five Only | 1.51 | 12mm thick commercial ply conforming to IS : 1328 BWR type | item no.56 | 0.5 | sqm
1.52 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 600 mm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.58 | 167 | kg | 116.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19526 | 19526 | INR Nineteen Thousand Five Hundred & Twenty Six Only | 1.52 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 600 mm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.58 | 167 | kg
1.53 | STEEL WORK | item no.59 | [52 empty] | 1.53 | STEEL WORK | item no.59
1.54 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.60 | [52 empty] | 1.54 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.60
1.55 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.61 | 27 | kg | 100.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2714 | 2714 | INR Two Thousand Seven Hundred & Fourteen Only | 1.55 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.61 | 27 | kg
1.56 | Welding by gas or electric plant including transportation of plant at site etc. complete. | item no.62 | 600 | cm | 2.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1788 | 1788 | INR One Thousand Seven Hundred & Eighty Eight Only | 1.56 | Welding by gas or electric plant including transportation of plant at site etc. complete. | item no.62 | 600 | cm
1.57 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.63 | [52 empty] | 1.57 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.63
1.58 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.64 | 681.95 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 85087 | 85087 | INR Eighty Five Thousand &Eighty Seven Only | 1.58 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.64 | 681.95 | kg
1.59 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.65 | [52 empty] | 1.59 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.65
1.6 | 10 x 80 mm | item no.66 | 60 | each | 102.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6171 | 6171 | INR Six Thousand One Hundred & Seventy One Only | 1.6 | 10 x 80 mm | item no.66 | 60 | each
1.61 | FLOORING | item no.67 | [52 empty] | 1.61 | FLOORING | item no.67
1.62 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.68 | [52 empty] | 1.62 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.68
1.63 | 40 mm thick with 20 mm nominal size stone aggregate | item no.69 | 16 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7646 | 7646 | INR Seven Thousand Six Hundred & Forty Six Only | 1.63 | 40 mm thick with 20 mm nominal size stone aggregate | item no.69 | 16 | sqm
1.64 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.70 | [52 empty] | 1.64 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.70
1.65 | 18 mm thick | item no.71 | 1.15 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 576 | 576 | INR Five Hundred & Seventy Six Only | 1.65 | 18 mm thick | item no.71 | 1.15 | sqm
1.66 | Cement concrete pavement with 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size), including finishing complete. | item no.72 | 0.19 | cum | 6978.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1326 | 1326 | INR One Thousand Three Hundred & Twenty Six Only | 1.66 | Cement concrete pavement with 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size), including finishing complete. | item no.72 | 0.19 | cum
1.67 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.73 | [52 empty] | 1.67 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.73
1.68 | 40 mm wide and 4 mm thick | item no.74 | 19.5 | metre | 69.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1359 | 1359 | INR One Thousand Three Hundred & Fifty Nine Only | 1.68 | 40 mm wide and 4 mm thick | item no.74 | 19.5 | metre
1.69 | ROOFING | item no.75 | [52 empty] | 1.69 | ROOFING | item no.75
1.7 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified. | item no.76 | [52 empty] | 1.7 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified. | item no.76
1.71 | 2 mm thick corrugated (2.5" or 4.2" or 6") or step-down (2" or 3" or 6" ) as specified | item no.77 | 17 | sqm | 1033.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17578 | 17578 | INR Seventeen Thousand Five Hundred & Seventy Eight Only | 1.71 | 2 mm thick corrugated (2.5" or 4.2" or 6") or step-down (2" or 3" or 6" ) as specified | item no.77 | 17 | sqm
1.72 | 2 mm thick flat | item no.78 | 6.5 | sqm | 919.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5976 | 5976 | INR Five Thousand Nine Hundred & Seventy Six Only | 1.72 | 2 mm thick flat | item no.78 | 6.5 | sqm
1.73 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.79 | 39.59 | sqm | 269.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10669 | 10669 | INR Ten Thousand Six Hundred & Sixty Nine Only | 1.73 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.79 | 39.59 | sqm
1.74 | FINISHING | item no.80 | [52 empty] | 1.74 | FINISHING | item no.80
1.75 | 12 mm cement plaster of mix : | item no.81 | [52 empty] | 1.75 | 12 mm cement plaster of mix : | item no.81
1.76 | 1:6 (1 cement: 6 coarse sand) | item no.82 | 2.05 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 529 | 529 | INR Five Hundred & Twenty Nine Only | 1.76 | 1:6 (1 cement: 6 coarse sand) | item no.82 | 2.05 | sqm
1.77 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.83 | [52 empty] | 1.77 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.83
1.78 | 1:4 (1 cement: 4 coarse sand) | item no.84 | 1295 | sqm | 310.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 402525 | 402525 | INR Four Lakh Two Thousand Five Hundred & Twenty Five Only | 1.78 | 1:4 (1 cement: 4 coarse sand) | item no.84 | 1295 | sqm
1.79 | 1:6 (1 cement: 6 coarse sand) | item no.85 | 15 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4460 | 4460 | INR Four Thousand Four Hundred & Sixty Only | 1.79 | 1:6 (1 cement: 6 coarse sand) | item no.85 | 15 | sqm
1.8 | 6 mm cement plaster of mix : | item no.86 | [52 empty] | 1.8 | 6 mm cement plaster of mix : | item no.86
1.81 | 1:3 (1 cement : 3 fine sand) | item no.87 | 5 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1109 | 1109 | INR One Thousand One Hundred & Nine Only | 1.81 | 1:3 (1 cement : 3 fine sand) | item no.87 | 5 | sqm
1.82 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.88 | [52 empty] | 1.82 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.88
1.83 | Flush / Ruled/ Struck or weathered pointing | item no.89 | 9 | sqm | 187.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1692 | 1692 | INR One Thousand Six Hundred & Ninety Two Only | 1.83 | Flush / Ruled/ Struck or weathered pointing | item no.89 | 9 | sqm
1.84 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.90 | [52 empty] | 1.84 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.90
1.85 | Two or more coats on new work | item no.91 | 410 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33341 | 33341 | INR Thirty Three Thousand Three Hundred & Forty One Only | 1.85 | Two or more coats on new work | item no.91 | 410 | sqm
1.86 | Finishing walls with textured exterior paint of required shade : | item no.92 | [52 empty] | 1.86 | Finishing walls with textured exterior paint of required shade : | item no.92
1.87 | New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including priming coat of exterior primer applied @ 2.20kg/10 sqm | item no.93 | 1295 | sqm | 214.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 278192 | 278192 | INR Two Lakh Seventy Eight Thousand One Hundred & Ninety Two Only | 1.87 | New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including priming coat of exterior primer applied @ 2.20kg/10 sqm | item no.93 | 1295 | sqm
1.88 | Finishing walls with Acrylic Smooth exterior paint of required shade . | item no.94 | [52 empty] | 1.88 | Finishing walls with Acrylic Smooth exterior paint of required shade . | item no.94
1.89 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm | item no.95 | 23 | sqm | 146.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3365 | 3365 | INR Three Thousand Three Hundred & Sixty Five Only | 1.89 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm | item no.95 | 23 | sqm
1.9 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.96 | [52 empty] | 1.9 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.96
1.91 | Two or more coats on new work | item no.97 | 44.22 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5097 | 5097 | INR Five Thousand &Ninety Seven Only | 1.91 | Two or more coats on new work | item no.97 | 44.22 | sqm
1.92 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.98 | [52 empty] | 1.92 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.98
1.93 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.99 | 19.42 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3259 | 3259 | INR Three Thousand Two Hundred & Fifty Nine Only | 1.93 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.99 | 19.42 | sqm
1.94 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.100 | 1705 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 185146 | 185146 | INR One Lakh Eighty Five Thousand One Hundred & Forty Six Only | 1.94 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.100 | 1705 | sqm
1.95 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.101 | [52 empty] | 1.95 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.101
1.96 | Old work (one or more coats) | item no.102 | 46 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2291 | 2291 | INR Two Thousand Two Hundred & Ninety One Only | 1.96 | Old work (one or more coats) | item no.102 | 46 | sqm
1.97 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.103 | 230 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4204 | 4204 | INR Four Thousand Two Hundred & Four Only | 1.97 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.103 | 230 | sqm
1.98 | Finishing walls with textured exterior paint of required shade : | item no.104 | [52 empty] | 1.98 | Finishing walls with textured exterior paint of required shade : | item no.104
1.99 | Old work (Two or more coats on existing cement paint surface applied @ 3.28 ltr/10 sqm. | item no.105 | 4375 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 734213 | 734213 | INR Seven Lakh Thirty Four Thousand Two Hundred & Thirteen Only | 1.99 | Old work (Two or more coats on existing cement paint surface applied @ 3.28 ltr/10 sqm. | item no.105 | 4375 | sqm
2 | REPAIRS TO BUILDING | item no.106 | [52 empty] | 2 | REPAIRS TO BUILDING | item no.106
2.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.107 | [52 empty] | 2.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.107
2.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.108 | 5 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2096 | 2096 | INR Two Thousand &Ninety Six Only | 2.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.108 | 5 | sqm
2.03 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item no.109 | [52 empty] | 2.03 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item no.109
2.04 | For door/ window/ clerestory window | item no.110 | 3.26 | sqm | 917.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2993 | 2993 | INR Two Thousand Nine Hundred & Ninety Three Only | 2.04 | For door/ window/ clerestory window | item no.110 | 3.26 | sqm
2.05 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | item no.111 | 2010 | sqm | 249.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 502279 | 502279 | INR Five Lakh Two Thousand Two Hundred & Seventy Nine Only | 2.05 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | item no.111 | 2010 | sqm
2.06 | Dismantling and Demolishing | item no.112 | [52 empty] | 2.06 | Dismantling and Demolishing | item no.112
2.07 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.113 | [52 empty] | 2.07 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.113
2.08 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.114 | 1.11 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1953 | 1953 | INR One Thousand Nine Hundred & Fifty Three Only | 2.08 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.114 | 1.11 | cum
2.09 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.115 | 0.38 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 413 | 413 | INR Four Hundred & Thirteen Only | 2.09 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.115 | 0.38 | cum
2.1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.116 | [52 empty] | 2.1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.116
2.11 | In cement mortar | item no.117 | 3.12 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4646 | 4646 | INR Four Thousand Six Hundred & Forty Six Only | 2.11 | In cement mortar | item no.117 | 3.12 | cum
2.12 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.118 | [52 empty] | 2.12 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.118
2.13 | Of area 3 sq. metres and below | item no.119 | 1 | each | 103.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 104 | 104 | INR One Hundred & Four Only | 2.13 | Of area 3 sq. metres and below | item no.119 | 1 | each
2.14 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.120 | 1295 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51153 | 51153 | INR Fifty One Thousand One Hundred & Fifty Three Only | 2.14 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.120 | 1295 | sqm
2.15 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.121 | 58.71 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11292 | 11292 | INR Eleven Thousand Two Hundred & Ninety Two Only | 2.15 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.121 | 58.71 | cum
2.16 | ALUMINIUM WORK | item no.122 | [52 empty] | 2.16 | ALUMINIUM WORK | item no.122
2.17 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.123 | [52 empty] | 2.17 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.123
2.18 | For fixed portion | item no.124 | [52 empty] | 2.18 | For fixed portion | item no.124
2.19 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.125 | 22.26 | kg | 416.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9265 | 9265 | INR Nine Thousand Two Hundred & Sixty Five Only | 2.19 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.125 | 22.26 | kg
2.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.126 | [52 empty] | 2.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.126
2.21 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.127 | 30 | kg | 502.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15083 | 15083 | INR Fifteen Thousand &Eighty Three Only | 2.21 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.127 | 30 | kg
2.22 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer- in-charge. | item no.128 | [52 empty] | 2.22 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer- in-charge. | item no.128
2.23 | Pre-laminated particle board with decorative lamination on both sides | item no.129 | 1.6 | sqm | 833.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1334 | 1334 | INR One Thousand Three Hundred & Thirty Four Only | 2.23 | Pre-laminated particle board with decorative lamination on both sides | item no.129 | 1.6 | sqm
2.24 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.130 | [52 empty] | 2.24 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.130
2.25 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.131 | 2.08 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2417 | 2417 | INR Two Thousand Four Hundred & Seventeen Only | 2.25 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.131 | 2.08 | sqm
2.26 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | item no.132 | 2 | each | 394.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 788 | 788 | INR Seven Hundred & Eighty Eight Only | 2.26 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | item no.132 | 2 | each
2.27 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. | item no.133 | [52 empty] | 2.27 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. | item no.133
2.28 | Anodized (AC 15) aluminium | item no.134 | 4 | each | 64.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 258 | 258 | INR Two Hundred & Fifty Eight Only | 2.28 | Anodized (AC 15) aluminium | item no.134 | 4 | each
2.29 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in- charge | item no.135 | [52 empty] | 2.29 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in- charge | item no.135
2.3 | Polyester powder coated minimum thickness 50 micron aluminium | item no.136 | 2 | each | 80.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 162 | 162 | INR One Hundred & Sixty Two Only | 2.3 | Polyester powder coated minimum thickness 50 micron aluminium | item no.136 | 2 | each
2.31 | NEW TECHNOLOGIES AND MATERIALS | item no.137 | [52 empty] | 2.31 | NEW TECHNOLOGIES AND MATERIALS | item no.137
2.32 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.138 | [52 empty] | 2.32 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.138
2.33 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.139 | 1295 | sqm | 103.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 133696 | 133696 | INR One Lakh Thirty Three Thousand Six Hundred & Ninety Six Only | 2.33 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.139 | 1295 | sqm
2.34 | Providing and fixing hard drawn steel wire fabric of size 75 x25 mm mesh or other suitable size wire mesh to be fixed & firmly anchored to the concrete surface by means of "L" shaped mild steel shear key welded with existing reinforcement including the cost of materials, labour, tool & plants as approved by Engineer-in-charge. | item no.140 | 19.32 | sqm | 719.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13904 | 13904 | INR Thirteen Thousand Nine Hundred & Four Only | 2.34 | Providing and fixing hard drawn steel wire fabric of size 75 x25 mm mesh or other suitable size wire mesh to be fixed & firmly anchored to the concrete surface by means of "L" shaped mild steel shear key welded with existing reinforcement including the cost of materials, labour, tool & plants as approved by Engineer-in-charge. | item no.140 | 19.32 | sqm
2.35 | MINOR CIVIL MAINTENANCE WORK: | item no.141 | [52 empty] | 2.35 | MINOR CIVIL MAINTENANCE WORK: | item no.141
2.36 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level. 1:5:10 (1 cement : 5 fine sand : 10 graded Brick aggregate 40 mm nominal size). " | item no.142 | 2.13 | cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10527 | 10527 | INR Ten Thousand Five Hundred & Twenty Seven Only | 2.36 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level. 1:5:10 (1 cement : 5 fine sand : 10 graded Brick aggregate 40 mm nominal size). " | item no.142 | 2.13 | cum
2.37 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | item no.143 | 132 | Sqm | 574.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 75879 | 75879 | INR Seventy Five Thousand Eight Hundred & Seventy Nine Only | 2.37 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | item no.143 | 132 | Sqm
2.38 | Providing and fixing Sun control coloured solar film of GARWARE make on glass panes etc. Complete. | item no.144 | 15.25 | Sqm | 662.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10110 | 10110 | INR Ten Thousand One Hundred & Ten Only | 2.38 | Providing and fixing Sun control coloured solar film of GARWARE make on glass panes etc. Complete. | item no.144 | 15.25 | Sqm
2.39 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.145 | 107 | Sqm | 98.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10498 | 10498 | INR Ten Thousand Four Hundred & Ninety Eight Only | 2.39 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.145 | 107 | Sqm
Total in Figures | [51 empty] | 2917769 | #REF! | Twenty Nine Lakh Seventeen Thousand Seven Hundred & Sixty Nine Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information