## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Dean of Infrastructure and Planning, IIT Kanpur
Name of Work: Various External and internal electrical works In various zones of campus. SH: Supply and laying of HT/LT cable, cable repair and rerouting works , replacment of Obsolate LT Panel,Providing electrical points with all allied works in the passage way of C-block ground-floor PG lab Pre-Fab building, providing power points at CESE 229 and other associated works in IIT Kanpur
NIT No: Electrical/09/05/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.1 | [52 empty] | 1.01 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 3 x 6 Sq.mm.. | item no.2 | 300 | Mtr. | 314.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 94359 | 94359 | INR Ninety Four Thousand Three Hundred & Fifty Nine Only | 1.02 | 3 x 6 Sq.mm.. | item no.2 | 300 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | item no.3 | [52 empty] | 1.03 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 125 Amp, 36KA FPMCCB | item no.4 | 2 | Nos. | 8493.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16986.62 | 16986.62 | INR Sixteen Thousand Nine Hundred & Eighty Six and Paise Sixty Two Only | 1.04 | 125 Amp, 36KA FPMCCB | item no.4 | 2 | Nos.
1.05 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.5 | [52 empty] | 1.05 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.5
1.06 | 12-way , Double door | item no.6 | 12 | Nos. | 2395.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28742.16 | 28742.16 | INR Twenty Eight Thousand Seven Hundred & Forty Two and Paise Sixteen Only | 1.06 | 12-way , Double door | item no.6 | 12 | Nos.
1.07 | Supplying and fixing following rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.7 | [52 empty] | 1.07 | Supplying and fixing following rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.7
1.08 | Single Pole (5 amps to 32 amps) | item no.8 | 144 | Nos. | 264.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38141.28 | 38141.28 | INR Thirty Eight Thousand One Hundred & Forty One and Paise Twenty Eight Only | 1.08 | Single Pole (5 amps to 32 amps) | item no.8 | 144 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | Single Pole (40 amps to 63 amps) | item no.9 | 12 | Nos. | 768.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9224.76 | 9224.76 | INR Nine Thousand Two Hundred & Twenty Four and Paise Seventy Six Only | 1.09 | Single Pole (40 amps to 63 amps) | item no.9 | 12 | Nos.
1.1 | Supplying and fixing single pole blanking plates in existing MCB DB complete etc. as required. | item no.10 | 6 | Nos. | 13.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 80.7 | 80.7 | INR Eighty and Paise Seventy Only | 1.1 | Supplying and fixing single pole blanking plates in existing MCB DB complete etc. as required. | item no.10 | 6 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | Supplying and fixing following rating double pole (single phase & neutral) 240 volts RCCB (ELCB), having sensivity current up to 300 mA in the existing MCB DB complete with connection,testing & commissioning etc as reqd. | item no.11 | [52 empty] | 1.11 | Supplying and fixing following rating double pole (single phase & neutral) 240 volts RCCB (ELCB), having sensivity current up to 300 mA in the existing MCB DB complete with connection,testing & commissioning etc as reqd. | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.12 | 40 Amp | item no.12 | 12 | Nos. | 2733.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32802 | 32802 | INR Thirty Two Thousand Eight Hundred & Two Only | 1.12 | 40 Amp | item no.12 | 12 | Nos.
1.13 | Providing & fixing 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.13 | 75 | Mtr. | 72.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5431.5 | 5431.5 | INR Five Thousand Four Hundred & Thirty One and Paise Fifty Only | 1.13 | Providing & fixing 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.13 | 75 | Mtr. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.14 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.14 | [52 empty] | 1.14 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.14
1.15 | 3½x 70 sq.mm. | item no.15 | 2 | Nos. | 484.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 968.42 | 968.42 | INR Nine Hundred & Sixty Eight and Paise Forty Two Only | 1.15 | 3½x 70 sq.mm. | item no.15 | 2 | Nos.
1.16 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.16 | [52 empty] | 1.16 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.16
1.17 | 80 mm | item no.17 | 118 | Mtr. | 950.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 112209.74 | 112209.74 | INR One Lakh Twelve Thousand Two Hundred & Nine and Paise Seventy Four Only | 1.17 | 80 mm | item no.17 | 118 | Mtr.
1.18 | Supplying and Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½x70 sq.mm. in following manners. | item no.18 | [52 empty] | 1.18 | Supplying and Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½x70 sq.mm. in following manners. | item no.18
1.19 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.19 | 35 | Mtr. | 889.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31142.65 | 31142.65 | INR Thirty One Thousand One Hundred & Forty Two and Paise Sixty Five Only | 1.19 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.19 | 35 | Mtr.
1.2 | In open duct | item no.20 | 5 | Mtr. | 503.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2519.35 | 2519.35 | INR Two Thousand Five Hundred & Nineteen and Paise Thirty Five Only | 1.2 | In open duct | item no.20 | 5 | Mtr.
1.21 | On surface with MS clamp | item no.21 | 35 | Mtr. | 592.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20749.75 | 20749.75 | INR Twenty Thousand Seven Hundred & Forty Nine and Paise Seventy Five Only | 1.21 | On surface with MS clamp | item no.21 | 35 | Mtr.
1.22 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item no.22 | [52 empty] | 1.22 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item no.22
1.23 | 25 x 16 mm | item no.23 | 80 | Mtr. | 96.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7697.6 | 7697.6 | INR Seven Thousand Six Hundred & Ninety Seven and Paise Sixty Only | 1.23 | 25 x 16 mm | item no.23 | 80 | Mtr.
1.24 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required. | item no.24 | [52 empty] | 1.24 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required. | item no.24
1.25 | 32 mm | item no.25 | 10 | Mtr. | 118.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1189.8 | 1189.8 | INR One Thousand One Hundred & Eighty Nine and Paise Eighty Only | 1.25 | 32 mm | item no.25 | 10 | Mtr.
1.26 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN distribution board IP 43 with metal door with provision 4pole MCCB upto 160A as incomer with three phase and single phase (TP/SP) outgoings, completed with insulated busbar arrangement as required . | item no.26 | [52 empty] | 1.26 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN distribution board IP 43 with metal door with provision 4pole MCCB upto 160A as incomer with three phase and single phase (TP/SP) outgoings, completed with insulated busbar arrangement as required . | item no.26
1.27 | 6 way (160A Tmax XT1+18), Double door | item no.27 | 1 | Nos. | 17096.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17096.29 | 17096.29 | INR Seventeen Thousand &Ninety Six and Paise Twenty Nine Only | 1.27 | 6 way (160A Tmax XT1+18), Double door | item no.27 | 1 | Nos.
1.28 | Supplying, fixing, connecting, testing & commissioning following 50 hz, digital LCD type electronic kWH electronic meter i/c sealing the same (sealing material will be supplied by the dept.) Gurantee car having serial no. of the meter to be submitted in the dept. etc. as reqd. | item no.28 | [52 empty] | 1.28 | Supplying, fixing, connecting, testing & commissioning following 50 hz, digital LCD type electronic kWH electronic meter i/c sealing the same (sealing material will be supplied by the dept.) Gurantee car having serial no. of the meter to be submitted in the dept. etc. as reqd. | item no.28
1.29 | 10-60A, single phase, 230 V | item no.29 | 5 | Nos. | 2363.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11815.5 | 11815.5 | INR Eleven Thousand Eight Hundred & Fifteen and Paise Fifty Only | 1.29 | 10-60A, single phase, 230 V | item no.29 | 5 | Nos.
1.3 | Fabricating, supplying & fixing of box of required size made out of 2mm thick CRCA sheet duly powder coated & openable FRLSom top - bottom or FRLSont as required & fixing the same complete as required. | item no.30 | 30 | Kg | 284.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8535.6 | 8535.6 | INR Eight Thousand Five Hundred & Thirty Five and Paise Sixty Only | 1.3 | Fabricating, supplying & fixing of box of required size made out of 2mm thick CRCA sheet duly powder coated & openable FRLSom top - bottom or FRLSont as required & fixing the same complete as required. | item no.30 | 30 | Kg
1.31 | S/F grouting in recess/surface MS box made of 16 gauge sheet for fixing of 3ph/1 ph energy meter almirah type hinged door cover front openable locking arrangement 5"x5" glass window and MS grill for meter reading purpose, suitable size of bakelite sheet 6mm thick shall also be provided in the MS box for fixing of energy meter i/c earthing stud & painting etc. as reqd. | item no.31 | 12 | Nos. | 2027.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24334.56 | 24334.56 | INR Twenty Four Thousand Three Hundred & Thirty Four and Paise Fifty Six Only | 1.31 | S/F grouting in recess/surface MS box made of 16 gauge sheet for fixing of 3ph/1 ph energy meter almirah type hinged door cover front openable locking arrangement 5"x5" glass window and MS grill for meter reading purpose, suitable size of bakelite sheet 6mm thick shall also be provided in the MS box for fixing of energy meter i/c earthing stud & painting etc. as reqd. | item no.31 | 12 | Nos.
1.32 | S & F bakelite sheet 6 mm thick complete with required nuts & bolts as reqd. | item no.32 | 2500 | sq.cm. | 1.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2575 | 2575 | INR Two Thousand Five Hundred & Seventy Five Only | 1.32 | S & F bakelite sheet 6 mm thick complete with required nuts & bolts as reqd. | item no.32 | 2500 | sq.cm.
1.33 | Dismantling conciled & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the store repairing the damages as reqd complete. | item no.33 | 13 | Nos. | 236.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3080.09 | 3080.09 | INR Three Thousand &Eighty and Paise Nine Only | 1.33 | Dismantling conciled & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the store repairing the damages as reqd complete. | item no.33 | 13 | Nos.
1.34 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.34 | [52 empty] | 1.34 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.34
1.35 | Upto 120sq.mm | item no.35 | 750 | Mtr. | 543.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 407385 | 407385 | INR Four Lakh Seven Thousand Three Hundred & Eighty Five Only | 1.35 | Upto 120sq.mm | item no.35 | 750 | Mtr.
1.36 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item no.36 | [52 empty] | 1.36 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item no.36
1.37 | Upto 120sq.mm | item no.37 | 100 | Mtr. | 79.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7967 | 7967 | INR Seven Thousand Nine Hundred & Sixty Seven Only | 1.37 | Upto 120sq.mm | item no.37 | 100 | Mtr.
1.38 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required. | item no.38 | [52 empty] | 1.38 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required. | item no.38
1.39 | Upto 120sq.mm | item no.39 | 100 | Mtr. | 65.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6518 | 6518 | INR Six Thousand Five Hundred & Eighteen Only | 1.39 | Upto 120sq.mm | item no.39 | 100 | Mtr.
1.4 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.40 | 20 | Each | 525.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10511.8 | 10511.8 | INR Ten Thousand Five Hundred & Eleven and Paise Eighty Only | 1.4 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.40 | 20 | Each
1.41 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.41 | [52 empty] | 1.41 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.41
1.42 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.42 | 1 | Cum | 6901.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6901.27 | 6901.27 | INR Six Thousand Nine Hundred & One and Paise Twenty Seven Only | 1.42 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.42 | 1 | Cum
1.43 | Brick work with common burnt clay bricks of class designation 7.5 in mud mortar | item no.43 | 2 | Cum | 5897.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11795.96 | 11795.96 | INR Eleven Thousand Seven Hundred & Ninety Five and Paise Ninety Six Only | 1.43 | Brick work with common burnt clay bricks of class designation 7.5 in mud mortar | item no.43 | 2 | Cum
1.44 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.44 | 10 | Sqm | 351.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3514.7 | 3514.7 | INR Three Thousand Five Hundred & Fourteen and Paise Seventy Only | 1.44 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.44 | 10 | Sqm
1.45 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required | item no.45 | [52 empty] | 1.45 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required | item no.45
1.46 | 95sqmm to 185 sq. mm | item no.46 | 3 | Each | 39401.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 118205.88 | 118205.88 | INR One Lakh Eighteen Thousand Two Hundred & Five and Paise Eighty Eight Only | 1.46 | 95sqmm to 185 sq. mm | item no.46 | 3 | Each
1.47 | supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : | item no.47 | [52 empty] | 1.47 | supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : | item no.47
1.48 | 95sqmm to 120 sq. mm | item no.48 | 2 | Each | 15486.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30972.8 | 30972.8 | INR Thirty Thousand Nine Hundred & Seventy Two and Paise Eighty Only | 1.48 | 95sqmm to 120 sq. mm | item no.48 | 2 | Each
1.49 | Supply of one no. XLPE cable aluminium conductor steel armoured cable of size 3 x 95sqmm, grade , 11kV(E) grade as required | item no.49 | 950 | Mtr. | 1051.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 998630.5 | 998630.5 | INR Nine Lakh Ninety Eight Thousand Six Hundred & Thirty and Paise Fifty Only | 1.49 | Supply of one no. XLPE cable aluminium conductor steel armoured cable of size 3 x 95sqmm, grade , 11kV(E) grade as required | item no.49 | 950 | Mtr.
1.5 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching(75 cm deep)and re-filling etc as required | item no.50 | [52 empty] | 1.5 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching(75 cm deep)and re-filling etc as required | item no.50
1.51 | 100 mm dia | item no.51 | 40 | Mtr. | 1868.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 74742 | 74742 | INR Seventy Four Thousand Seven Hundred & Forty Two Only | 1.51 | 100 mm dia | item no.51 | 40 | Mtr.
1.52 | Supplying and laying of one No. PVC insulated/PVC sheathed 6.6 KV(UE) 11kV(E) grade XLPE HT power cables size 3x185sqmm (heavy duty) aluminium conductor, steel armoured cable as per , IS:7098 (Part-II/2011) as reqd. | item no.52 | [52 empty] | 1.52 | Supplying and laying of one No. PVC insulated/PVC sheathed 6.6 KV(UE) 11kV(E) grade XLPE HT power cables size 3x185sqmm (heavy duty) aluminium conductor, steel armoured cable as per , IS:7098 (Part-II/2011) as reqd. | item no.52
1.53 | in girect ground | item no.53 | 50 | Mtr. | 2251.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 112568 | 112568 | INR One Lakh Twelve Thousand Five Hundred & Sixty Eight Only | 1.53 | in girect ground | item no.53 | 50 | Mtr.
1.54 | in pipe | item no.54 | 10 | Mtr. | 1794.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17940.6 | 17940.6 | INR Seventeen Thousand Nine Hundred & Forty and Paise Sixty Only | 1.54 | in pipe | item no.54 | 10 | Mtr.
1.55 | Digging cable trench, lifting brick and cable for locating fault and relaying the cable I/c refilling the trench for extra sand if required shall be including in the item of size 120 sq.mm upto 185 sq.mm. as reqd. | item no.55 | 10 | Mtr. | 278.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2783.2 | 2783.2 | INR Two Thousand Seven Hundred & Eighty Three and Paise Twenty Only | 1.55 | Digging cable trench, lifting brick and cable for locating fault and relaying the cable I/c refilling the trench for extra sand if required shall be including in the item of size 120 sq.mm upto 185 sq.mm. as reqd. | item no.55 | 10 | Mtr.
1.56 | Locating fault of by using fault locating machine for 11KV cable ( HT cable ) in the cable lines meggaring etc and rectifying removing & restoring the same and making good the damages 11KV cable etc as directed by the Engineer Incharge. | item no.56 | 2 | Nos. | 15845.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31690.84 | 31690.84 | INR Thirty One Thousand Six Hundred & Ninety and Paise Eighty Four Only | 1.56 | Locating fault of by using fault locating machine for 11KV cable ( HT cable ) in the cable lines meggaring etc and rectifying removing & restoring the same and making good the damages 11KV cable etc as directed by the Engineer Incharge. | item no.56 | 2 | Nos.
1.57 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.57 | [52 empty] | 1.57 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.57
1.58 | 3½x 185 sq.mm. (57 mm.) | item no.58 | 2 | Nos. | 905.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1810.6 | 1810.6 | INR One Thousand Eight Hundred & Ten and Paise Sixty Only | 1.58 | 3½x 185 sq.mm. (57 mm.) | item no.58 | 2 | Nos.
1.59 | Supplying and Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½x185 sq.mm. in following manners. | item no.59 | [52 empty] | 1.59 | Supplying and Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½x185 sq.mm. in following manners. | item no.59
1.6 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.60 | 330 | Mtr. | 1548.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 511120.5 | 511120.5 | INR Five Lakh Eleven Thousand One Hundred & Twenty and Paise Fifty Only | 1.6 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.60 | 330 | Mtr.
1.61 | In pipe | item no.61 | 15 | Mtr. | 1226.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18390.6 | 18390.6 | INR Eighteen Thousand Three Hundred & Ninety and Paise Sixty Only | 1.61 | In pipe | item no.61 | 15 | Mtr.
1.62 | In open duct | item no.62 | 10 | Mtr. | 1212.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12125.9 | 12125.9 | INR Twelve Thousand One Hundred & Twenty Five and Paise Ninety Only | 1.62 | In open duct | item no.62 | 10 | Mtr.
1.63 | On surface with MS clamp | item no.63 | 10 | Mtr. | 1288.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12881.2 | 12881.2 | INR Twelve Thousand Eight Hundred & Eighty One and Paise Twenty Only | 1.63 | On surface with MS clamp | item no.63 | 10 | Mtr.
1.64 | Supply and laying of one no. PVC insulated and PVC sheathed XLPE copper conductor round wire armoured controle cable of size 4 X 10 sq. mm 1.1 kV in following manners. | item no.64 | [52 empty] | 1.64 | Supply and laying of one no. PVC insulated and PVC sheathed XLPE copper conductor round wire armoured controle cable of size 4 X 10 sq. mm 1.1 kV in following manners. | item no.64
1.65 | In open duct | item no.65 | 10 | Mtr. | 600.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6000.9 | 6000.9 | INR Six Thousand and Paise Ninety Only | 1.65 | In open duct | item no.65 | 10 | Mtr.
1.66 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.66 | [52 empty] | 1.66 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.66
1.67 | Mini- trunking | item no.67 | 10 | Mtr. | 258.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2586.6 | 2586.6 | INR Two Thousand Five Hundred & Eighty Six and Paise Sixty Only | 1.67 | Mini- trunking | item no.67 | 10 | Mtr.
1.68 | End cap left or right | item no.68 | 2 | Nos. | 169.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 339.36 | 339.36 | INR Three Hundred & Thirty Nine and Paise Thirty Six Only | 1.68 | End cap left or right | item no.68 | 2 | Nos.
1.69 | Internal/ external angle | item no.69 | 1 | Nos. | 163.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 163.47 | 163.47 | INR One Hundred & Sixty Three and Paise Forty Seven Only | 1.69 | Internal/ external angle | item no.69 | 1 | Nos.
1.7 | Flat angle | item no.70 | 1 | Nos. | 138.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 138.64 | 138.64 | INR One Hundred & Thirty Eight and Paise Sixty Four Only | 1.7 | Flat angle | item no.70 | 1 | Nos.
1.71 | Flat junction | item no.71 | 1 | Nos. | 161.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 161.4 | 161.4 | INR One Hundred & Sixty One and Paise Forty Only | 1.71 | Flat junction | item no.71 | 1 | Nos.
1.72 | Supplying &Fixing metal enclosure suitable for XT1 TP/FP MCCB 63 to 250ER as reqd. | item no.72 | 1 | Nos. | 2801.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2801.79 | 2801.79 | INR Two Thousand Eight Hundred & One and Paise Seventy Nine Only | 1.72 | Supplying &Fixing metal enclosure suitable for XT1 TP/FP MCCB 63 to 250ER as reqd. | item no.72 | 1 | Nos.
1.73 | Supplying of one no. XLPE sheathed aluminum conductor steel armoured power cable of size 3½ X 400 sq.mm. 1.1kV grade as required. | item no.73 | 60 | Mtr. | 1907.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 114471.6 | 114471.6 | INR One Lakh Fourteen Thousand Four Hundred & Seventy One and Paise Sixty Only | 1.73 | Supplying of one no. XLPE sheathed aluminum conductor steel armoured power cable of size 3½ X 400 sq.mm. 1.1kV grade as required. | item no.73 | 60 | Mtr.
1.74 | Laying of one no. PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.74 | [52 empty] | 1.74 | Laying of one no. PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.74
1.75 | Above 185 sq.mm and upto 400 sq.mm | item no.75 | 55 | Mtr. | 490.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26973.1 | 26973.1 | INR Twenty Six Thousand Nine Hundred & Seventy Three and Paise Ten Only | 1.75 | Above 185 sq.mm and upto 400 sq.mm | item no.75 | 55 | Mtr.
1.76 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as reqd. | item no.76 | [52 empty] | 1.76 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as reqd. | item no.76
1.77 | Above 185 sq.mm and upto 400 sq.mm | item no.77 | 245 | Mtr. | 368.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90240.85 | 90240.85 | INR Ninety Thousand Two Hundred & Forty and Paise Eighty Five Only | 1.77 | Above 185 sq.mm and upto 400 sq.mm | item no.77 | 245 | Mtr.
1.78 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC / HUME / METAL pipe as reqd. | item no.78 | [52 empty] | 1.78 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC / HUME / METAL pipe as reqd. | item no.78
1.79 | Above 185 sq.mm and upto 400 sq.mm | item no.79 | 30 | Mtr. | 138.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4159.2 | 4159.2 | INR Four Thousand One Hundred & Fifty Nine and Paise Twenty Only | 1.79 | Above 185 sq.mm and upto 400 sq.mm | item no.79 | 30 | Mtr.
1.8 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.80 | [52 empty] | 1.8 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.80
1.81 | 3½ X 400 sq. mm | item no.81 | 12 | Nos. | 8241.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 98902.68 | 98902.68 | INR Ninety Eight Thousand Nine Hundred & Two and Paise Sixty Eight Only | 1.81 | 3½ X 400 sq. mm | item no.81 | 12 | Nos.
1.82 | Digging trench for taking out cable upto 400 Sq.mm. and refilling , watering ,ramming the same after taking out cable as reqd complete. | item no.82 | 95 | Mtr. | 190.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18085.15 | 18085.15 | INR Eighteen Thousand &Eighty Five and Paise Fifteen Only | 1.82 | Digging trench for taking out cable upto 400 Sq.mm. and refilling , watering ,ramming the same after taking out cable as reqd complete. | item no.82 | 95 | Mtr.
1.83 | Lifting removing cable of above 185 upto 400 Sq.mm. size from trench/clamps, making roll & depositing the same in store I/c cartage. | item no.83 | 270 | Mtr. | 146.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39668.4 | 39668.4 | INR Thirty Nine Thousand Six Hundred & Sixty Eight and Paise Forty Only | 1.83 | Lifting removing cable of above 185 upto 400 Sq.mm. size from trench/clamps, making roll & depositing the same in store I/c cartage. | item no.83 | 270 | Mtr.
1.84 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. | item no.84 | [52 empty] | 1.84 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. | item no.84
1.85 | Group 'C' | item no.85 | 6 | Points | 924.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5549.76 | 5549.76 | INR Five Thousand Five Hundred & Forty Nine and Paise Seventy Six Only | 1.85 | Group 'C' | item no.85 | 6 | Points
1.86 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.86 | [52 empty] | 1.86 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.86
1.87 | 1 x 1.5 Sq.mm.. | item no.87 | 20 | Mtr. | 46.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 931.2 | 931.2 | INR Nine Hundred & Thirty One and Paise Twenty Only | 1.87 | 1 x 1.5 Sq.mm.. | item no.87 | 20 | Mtr.
1.88 | 3 x 1.5 Sq.mm.. | item no.88 | 135 | Mtr. | 98.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13269.15 | 13269.15 | INR Thirteen Thousand Two Hundred & Sixty Nine and Paise Fifteen Only | 1.88 | 3 x 1.5 Sq.mm.. | item no.88 | 135 | Mtr.
1.89 | 3 x 2.5 sq. mm | item no.89 | 255 | Mtr. | 141.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36143.7 | 36143.7 | INR Thirty Six Thousand One Hundred & Forty Three and Paise Seventy Only | 1.89 | 3 x 2.5 sq. mm | item no.89 | 255 | Mtr.
1.9 | 3 x 4 Sq.mm.. | item no.90 | 220 | Mtr. | 213.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46888.6 | 46888.6 | INR Forty Six Thousand Eight Hundred & Eighty Eight and Paise Sixty Only | 1.9 | 3 x 4 Sq.mm.. | item no.90 | 220 | Mtr.
1.91 | 4 x 6 Sq.mm.. | item no.91 | 45 | Mtr. | 415.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18716.4 | 18716.4 | INR Eighteen Thousand Seven Hundred & Sixteen and Paise Forty Only | 1.91 | 4 x 6 Sq.mm.. | item no.91 | 45 | Mtr.
1.92 | Supplying and drawing telephone cable of 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.92 | [52 empty] | 1.92 | Supplying and drawing telephone cable of 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.92
1.93 | 2 Pair | item no.93 | 15 | Mtr. | 39.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 589.8 | 589.8 | INR Five Hundred & Eighty Nine and Paise Eighty Only | 1.93 | 2 Pair | item no.93 | 15 | Mtr.
1.94 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item no.94 | [52 empty] | 1.94 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item no.94
1.95 | 5/6 Amp switch | item no.95 | 4 | Nos. | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 426.28 | 426.28 | INR Four Hundred & Twenty Six and Paise Twenty Eight Only | 1.95 | 5/6 Amp switch | item no.95 | 4 | Nos.
1.96 | 2 way 5/6 amps switch | item no.96 | 1 | Nos. | 153.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 153.13 | 153.13 | INR One Hundred & Fifty Three and Paise Thirteen Only | 1.96 | 2 way 5/6 amps switch | item no.96 | 1 | Nos.
1.97 | 15/16 Amp. switch | item no.97 | 1 | Nos. | 161.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 161.4 | 161.4 | INR One Hundred & Sixty One and Paise Forty Only | 1.97 | 15/16 Amp. switch | item no.97 | 1 | Nos.
1.98 | 3 Pin 5/6 Amp. socket outlet | item no.98 | 1 | Nos. | 126.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 126.23 | 126.23 | INR One Hundred & Twenty Six and Paise Twenty Three Only | 1.98 | 3 Pin 5/6 Amp. socket outlet | item no.98 | 1 | Nos.
1.99 | 6 Pin 15/16 Amp. socket outlet. | item no.99 | 1 | Nos. | 203.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203.82 | 203.82 | INR Two Hundred & Three and Paise Eighty Two Only | 1.99 | 6 Pin 15/16 Amp. socket outlet. | item no.99 | 1 | Nos.
2 | Telephone socket outlet | item no.100 | 1 | Nos. | 153.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 153.13 | 153.13 | INR One Hundred & Fifty Three and Paise Thirteen Only | 2 | Telephone socket outlet | item no.100 | 1 | Nos.
2.01 | Fan regulator socket type rotary step | item no.101 | 1 | Nos. | 381.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 381.78 | 381.78 | INR Three Hundred & Eighty One and Paise Seventy Eight Only | 2.01 | Fan regulator socket type rotary step | item no.101 | 1 | Nos.
2.02 | Blanking plate | item no.102 | 20 | Nos. | 41.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 827.8 | 827.8 | INR Eight Hundred & Twenty Seven and Paise Eighty Only | 2.02 | Blanking plate | item no.102 | 20 | Nos.
2.03 | S/F following modular base & cover plate on existing modular metal boxes etc. as reqd. | item no.103 | [52 empty] | 2.03 | S/F following modular base & cover plate on existing modular metal boxes etc. as reqd. | item no.103
2.04 | 1 or 2 module | item no.104 | 4 | Nos. | 137.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 550.44 | 550.44 | INR Five Hundred & Fifty and Paise Forty Four Only | 2.04 | 1 or 2 module | item no.104 | 4 | Nos.
2.05 | 3 module | item no.105 | 1 | Nos. | 156.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 156.23 | 156.23 | INR One Hundred & Fifty Six and Paise Twenty Three Only | 2.05 | 3 module | item no.105 | 1 | Nos.
2.06 | 4 module | item no.106 | 1 | Nos. | 163.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 163.47 | 163.47 | INR One Hundred & Sixty Three and Paise Forty Seven Only | 2.06 | 4 module | item no.106 | 1 | Nos.
2.07 | 6 module | item no.107 | 1 | Nos. | 188.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 188.3 | 188.3 | INR One Hundred & Eighty Eight and Paise Thirty Only | 2.07 | 6 module | item no.107 | 1 | Nos.
2.08 | 8 module | item no.108 | 1 | Nos. | 218.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 218.31 | 218.31 | INR Two Hundred & Eighteen and Paise Thirty One Only | 2.08 | 8 module | item no.108 | 1 | Nos.
2.09 | 12 module | item no.109 | 1 | Nos. | 281.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 281.42 | 281.42 | INR Two Hundred & Eighty One and Paise Forty Two Only | 2.09 | 12 module | item no.109 | 1 | Nos.
2.1 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | item no.110 | 2 | Nos. | 1209.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2418.98 | 2418.98 | INR Two Thousand Four Hundred & Eighteen and Paise Ninety Eight Only | 2.1 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | item no.110 | 2 | Nos.
2.11 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32 A 415 V "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | item no.111 | 1 | Nos. | 1647.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1647.14 | 1647.14 | INR One Thousand Six Hundred & Forty Seven and Paise Fourteen Only | 2.11 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32 A 415 V "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | item no.111 | 1 | Nos.
2.12 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth metal enclosed plug top along with 20 amps ' C ' series SP, MCB, in the sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | item no.112 | 2 | Nos. | 1677.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3354.28 | 3354.28 | INR Three Thousand Three Hundred & Fifty Four and Paise Twenty Eight Only | 2.12 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth metal enclosed plug top along with 20 amps ' C ' series SP, MCB, in the sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | item no.112 | 2 | Nos.
2.13 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.113 | [52 empty] | 2.13 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.113
2.14 | 12 way (4 + 36), Double door | item no.114 | 2 | Nos. | 13277.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26554.92 | 26554.92 | INR Twenty Six Thousand Five Hundred & Fifty Four and Paise Ninety Two Only | 2.14 | 12 way (4 + 36), Double door | item no.114 | 2 | Nos.
2.15 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.115 | [52 empty] | 2.15 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.115
2.16 | Single Pole | item no.116 | 72 | Nos. | 264.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19070.64 | 19070.64 | INR Nineteen Thousand &Seventy and Paise Sixty Four Only | 2.16 | Single Pole | item no.116 | 72 | Nos.
2.17 | Single Pole & Neutral | item no.117 | 2 | Nos. | 619.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1239.5 | 1239.5 | INR One Thousand Two Hundred & Thirty Nine and Paise Fifty Only | 2.17 | Single Pole & Neutral | item no.117 | 2 | Nos.
2.18 | Triple Pole | item no.118 | 1 | Nos. | 1041.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1041.88 | 1041.88 | INR One Thousand &Forty One and Paise Eighty Eight Only | 2.18 | Triple Pole | item no.118 | 1 | Nos.
2.19 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral,sheet steel,MCB distribution board,415 Volts,on surface/ recess,complete with testing and commissioning etc.as required. | item no.119 | [52 empty] | 2.19 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral,sheet steel,MCB distribution board,415 Volts,on surface/ recess,complete with testing and commissioning etc.as required. | item no.119
2.2 | For 4 way,Double door TPN MCBDB | item no.120 | 2 | Each | 1117.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2234.8 | 2234.8 | INR Two Thousand Two Hundred & Thirty Four and Paise Eighty Only | 2.2 | For 4 way,Double door TPN MCBDB | item no.120 | 2 | Each
2.21 | Providing and fixing M.V. danger notice plate of 200 mm X 200 mm,made of mild steel,at least 2 mm thick, and vitreous enameled white on both sides,and with inscription in single red colour on front side as required. | item no.121 | 2 | Each | 278.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 556.64 | 556.64 | INR Five Hundred & Fifty Six and Paise Sixty Four Only | 2.21 | Providing and fixing M.V. danger notice plate of 200 mm X 200 mm,made of mild steel,at least 2 mm thick, and vitreous enameled white on both sides,and with inscription in single red colour on front side as required. | item no.121 | 2 | Each
2.22 | Providing & Fixing 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.122 | 10 | Mtr. | 72.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 724.2 | 724.2 | INR Seven Hundred & Twenty Four and Paise Twenty Only | 2.22 | Providing & Fixing 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.122 | 10 | Mtr.
2.23 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. | item no.123 | [52 empty] | 2.23 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. | item no.123
2.24 | Four Pole | item no.124 | 2 | Nos. | 3214.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6429.22 | 6429.22 | INR Six Thousand Four Hundred & Twenty Nine and Paise Twenty Two Only | 2.24 | Four Pole | item no.124 | 2 | Nos.
2.25 | Supply, fixing, connecting and commissioning of DP/FP MCB enclosure box on surface or recessed etc as requred.. | item no.125 | 2 | Nos. | 1012.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2025.82 | 2025.82 | INR Two Thousand &Twenty Five and Paise Eighty Two Only | 2.25 | Supply, fixing, connecting and commissioning of DP/FP MCB enclosure box on surface or recessed etc as requred.. | item no.125 | 2 | Nos.
2.26 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item no.126 | 500 | Sq.cm | 0.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 330 | 330 | INR Three Hundred & Thirty Only | 2.26 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item no.126 | 500 | Sq.cm
2.27 | Supplying and fixing following size /modules plastic box for modular switches in recess etc as required. | item no.127 | [52 empty] | 2.27 | Supplying and fixing following size /modules plastic box for modular switches in recess etc as required. | item no.127
2.28 | 1 or 2 module | item no.128 | 4 | Nos. | 276.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1105 | 1105 | INR One Thousand One Hundred & Five Only | 2.28 | 1 or 2 module | item no.128 | 4 | Nos.
2.29 | 3 module | item no.129 | 1 | Nos. | 289.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 289.7 | 289.7 | INR Two Hundred & Eighty Nine and Paise Seventy Only | 2.29 | 3 module | item no.129 | 1 | Nos.
2.3 | 4 module | item no.130 | 1 | Nos. | 302.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 302.11 | 302.11 | INR Three Hundred & Two and Paise Eleven Only | 2.3 | 4 module | item no.130 | 1 | Nos.
2.31 | 6 module | item no.131 | 1 | Nos. | 334.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 334.19 | 334.19 | INR Three Hundred & Thirty Four and Paise Nineteen Only | 2.31 | 6 module | item no.131 | 1 | Nos.
2.32 | 8 module | item no.132 | 1 | Nos. | 349.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 349.71 | 349.71 | INR Three Hundred & Forty Nine and Paise Seventy One Only | 2.32 | 8 module | item no.132 | 1 | Nos.
2.33 | 12 module | item no.133 | 1 | Nos. | 399.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 399.37 | 399.37 | INR Three Hundred & Ninety Nine and Paise Thirty Seven Only | 2.33 | 12 module | item no.133 | 1 | Nos.
2.34 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.134 | 280 | Mtr. | 19.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5504.8 | 5504.8 | INR Five Thousand Five Hundred & Four and Paise Eighty Only | 2.34 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.134 | 280 | Mtr.
2.35 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.135 | 32 | Nos. | 82.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2648.64 | 2648.64 | INR Two Thousand Six Hundred & Forty Eight and Paise Sixty Four Only | 2.35 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.135 | 32 | Nos.
2.36 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.136 | [52 empty] | 2.36 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.136
2.37 | 4 x 10 Sq.mm.. | item no.137 | 1 | Mtr. | 775.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 775.98 | 775.98 | INR Seven Hundred & Seventy Five and Paise Ninety Eight Only | 2.37 | 4 x 10 Sq.mm.. | item no.137 | 1 | Mtr.
2.38 | 4 x 16 Sq.mm.. | item no.138 | 1 | Mtr. | 1186.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1186.73 | 1186.73 | INR One Thousand One Hundred & Eighty Six and Paise Seventy Three Only | 2.38 | 4 x 16 Sq.mm.. | item no.138 | 1 | Mtr.
2.39 | 4 x 25 Sq.mm.. | item no.139 | 30 | Mtr. | 1844.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55342.5 | 55342.5 | INR Fifty Five Thousand Three Hundred & Forty Two and Paise Fifty Only | 2.39 | 4 x 25 Sq.mm.. | item no.139 | 30 | Mtr.
2.4 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm without cover on surface as reqd. | item no.140 | 70 | Mtr. | 1100.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77059.5 | 77059.5 | INR Seventy Seven Thousand &Fifty Nine and Paise Fifty Only | 2.4 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm without cover on surface as reqd. | item no.140 | 70 | Mtr.
2.41 | Providing and fixing 85 mm width flexible cover of DLP plastic trunking. (size 105 mm x 50 mm.) | item no.141 | 70 | Mtr. | 487.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34111.7 | 34111.7 | INR Thirty Four Thousand One Hundred & Eleven and Paise Seventy Only | 2.41 | Providing and fixing 85 mm width flexible cover of DLP plastic trunking. (size 105 mm x 50 mm.) | item no.141 | 70 | Mtr.
2.42 | Supply and fixing of following items for plastic trunking accessories suitable for size 105 mm x 50 mm. | item no.142 | [52 empty] | 2.42 | Supply and fixing of following items for plastic trunking accessories suitable for size 105 mm x 50 mm. | item no.142
2.43 | End cap | item no.143 | 17 | Nos. | 218.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3711.27 | 3711.27 | INR Three Thousand Seven Hundred & Eleven and Paise Twenty Seven Only | 2.43 | End cap | item no.143 | 17 | Nos.
2.44 | Internal angle. | item no.144 | 9 | Nos. | 602.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5419.44 | 5419.44 | INR Five Thousand Four Hundred & Nineteen and Paise Forty Four Only | 2.44 | Internal angle. | item no.144 | 9 | Nos.
2.45 | External angle. | item no.145 | 10 | Nos. | 613.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6135.4 | 6135.4 | INR Six Thousand One Hundred & Thirty Five and Paise Forty Only | 2.45 | External angle. | item no.145 | 10 | Nos.
2.46 | Flat Junction | item no.146 | 10 | Nos. | 853.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8535.7 | 8535.7 | INR Eight Thousand Five Hundred & Thirty Five and Paise Seventy Only | 2.46 | Flat Junction | item no.146 | 10 | Nos.
2.47 | Base joint | item no.147 | 20 | Nos. | 253.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5069.8 | 5069.8 | INR Five Thousand &Sixty Nine and Paise Eighty Only | 2.47 | Base joint | item no.147 | 20 | Nos.
2.48 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.148 | [52 empty] | 2.48 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.148
2.49 | Mini- trunking | item no.149 | 20 | Mtr. | 252.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5049 | 5049 | INR Five Thousand &Forty Nine Only | 2.49 | Mini- trunking | item no.149 | 20 | Mtr.
2.5 | End cap left or right | item no.150 | 2 | Nos. | 158.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 316.6 | 316.6 | INR Three Hundred & Sixteen and Paise Sixty Only | 2.5 | End cap left or right | item no.150 | 2 | Nos.
2.51 | Internal/ external angle | item no.151 | 1 | Nos. | 162.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 162.44 | 162.44 | INR One Hundred & Sixty Two and Paise Forty Four Only | 2.51 | Internal/ external angle | item no.151 | 1 | Nos.
2.52 | Flat angle | item no.152 | 2 | Nos. | 137.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 275.22 | 275.22 | INR Two Hundred & Seventy Five and Paise Twenty Two Only | 2.52 | Flat angle | item no.152 | 2 | Nos.
2.53 | Flat junction | item no.153 | 1 | Nos. | 160.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 160.37 | 160.37 | INR One Hundred & Sixty and Paise Thirty Seven Only | 2.53 | Flat junction | item no.153 | 1 | Nos.
2.54 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.154 | [52 empty] | 2.54 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.154
2.55 | 10,16 mm | item no.155 | 4 | Nos. | 34.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 136.56 | 136.56 | INR One Hundred & Thirty Six and Paise Fifty Six Only | 2.55 | 10,16 mm | item no.155 | 4 | Nos.
2.56 | 25 mm | item no.156 | 4 | Nos. | 49.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 198.64 | 198.64 | INR One Hundred & Ninety Eight and Paise Sixty Four Only | 2.56 | 25 mm | item no.156 | 4 | Nos.
2.57 | Supplying and fixing of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mmx50mmetc as required to complete | item no.157 | [52 empty] | 2.57 | Supplying and fixing of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mmx50mmetc as required to complete | item no.157
2.58 | 1 or 2 module | item no.158 | 32 | Nos. | 254.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8144.64 | 8144.64 | INR Eight Thousand One Hundred & Forty Four and Paise Sixty Four Only | 2.58 | 1 or 2 module | item no.158 | 32 | Nos.
2.59 | 3 module | item no.159 | 40 | Nos. | 337.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13491.6 | 13491.6 | INR Thirteen Thousand Four Hundred & Ninety One and Paise Sixty Only | 2.59 | 3 module | item no.159 | 40 | Nos.
2.6 | 6 module | item no.160 | 42 | Nos. | 452.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18989.88 | 18989.88 | INR Eighteen Thousand Nine Hundred & Eighty Nine and Paise Eighty Eight Only | 2.6 | 6 module | item no.160 | 42 | Nos.
2.61 | Supplying and fixing of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mmx50mm unit of 2 modules can be fitted togather to create 4/6/8 module supports as required to complete | item no.161 | 32 | Nos. | 618.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19798.72 | 19798.72 | INR Nineteen Thousand Seven Hundred & Ninety Eight and Paise Seventy Two Only | 2.61 | Supplying and fixing of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mmx50mm unit of 2 modules can be fitted togather to create 4/6/8 module supports as required to complete | item no.161 | 32 | Nos.
2.62 | Supplying and fixing of following modular switch/sockets on the existing Clip-on 85mm cover of 105mmx50mm DLP plastic trunking including connection etc as required complete. | item no.162 | [52 empty] | 2.62 | Supplying and fixing of following modular switch/sockets on the existing Clip-on 85mm cover of 105mmx50mm DLP plastic trunking including connection etc as required complete. | item no.162
2.63 | 6 Amp switch | item no.163 | 84 | Nos. | 278.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23378.88 | 23378.88 | INR Twenty Three Thousand Three Hundred & Seventy Eight and Paise Eighty Eight Only | 2.63 | 6 Amp switch | item no.163 | 84 | Nos.
2.64 | 20 Amp. switch | item no.164 | 40 | Nos. | 481.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19244 | 19244 | INR Nineteen Thousand Two Hundred & Forty Four Only | 2.64 | 20 Amp. switch | item no.164 | 40 | Nos.
2.65 | 6 Amp. 2/3 pin socket outlet | item no.165 | 84 | Nos. | 458.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38500.56 | 38500.56 | INR Thirty Eight Thousand Five Hundred and Paise Fifty Six Only | 2.65 | 6 Amp. 2/3 pin socket outlet | item no.165 | 84 | Nos.
2.66 | 6/16 Amp. three pin two module socket outlet. | item no.166 | 40 | Nos. | 617.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24707.2 | 24707.2 | INR Twenty Four Thousand Seven Hundred & Seven and Paise Twenty Only | 2.66 | 6/16 Amp. three pin two module socket outlet. | item no.166 | 40 | Nos.
2.67 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.167 | [52 empty] | 2.67 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.167
2.68 | 36 watt recess mounting LED light fixture 600 x 600 mm | item no.168 | 3 | Nos. | 4681.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14045.16 | 14045.16 | INR Fourteen Thousand &Forty Five and Paise Sixteen Only | 2.68 | 36 watt recess mounting LED light fixture 600 x 600 mm | item no.168 | 3 | Nos.
2.69 | Dismantling, disconnecting old damaged unservicable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.169 | 4 | Nos. | 108.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 434.56 | 434.56 | INR Four Hundred & Thirty Four and Paise Fifty Six Only | 2.69 | Dismantling, disconnecting old damaged unservicable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.169 | 4 | Nos.
2.7 | Supplying, fixing, painting of 15mm dia GI heavy class pipe down rod for ceiling fan etc as required complete. | item no.170 | 1 | Meter | 355.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 355.91 | 355.91 | INR Three Hundred & Fifty Five and Paise Ninety One Only | 2.7 | Supplying, fixing, painting of 15mm dia GI heavy class pipe down rod for ceiling fan etc as required complete. | item no.170 | 1 | Meter
2.71 | Extra for cutting and drilling hole in down rod of 15mm dia GI pipe for ceiling fan etc. as required complete. | item no.171 | 1 | Nos. | 83.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83.81 | 83.81 | INR Eighty Three and Paise Eighty One Only | 2.71 | Extra for cutting and drilling hole in down rod of 15mm dia GI pipe for ceiling fan etc. as required complete. | item no.171 | 1 | Nos.
2.72 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.172 | 18 | Nos. | 1107.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19927.08 | 19927.08 | INR Nineteen Thousand Nine Hundred & Twenty Seven and Paise Eight Only | 2.72 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.172 | 18 | Nos.
2.73 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.173 | [52 empty] | 2.73 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.173
2.74 | 85 mm flexible cover | item no.174 | 17 | Nos. | 487.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8284.27 | 8284.27 | INR Eight Thousand Two Hundred & Eighty Four and Paise Twenty Seven Only | 2.74 | 85 mm flexible cover | item no.174 | 17 | Nos.
2.75 | base joints | item no.175 | 22 | Nos. | 101.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2230.58 | 2230.58 | INR Two Thousand Two Hundred & Thirty and Paise Fifty Eight Only | 2.75 | base joints | item no.175 | 22 | Nos.
2.76 | Joints for 85 mm width cover | item no.176 | 12 | Nos. | 253.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3041.88 | 3041.88 | INR Three Thousand &Forty One and Paise Eighty Eight Only | 2.76 | Joints for 85 mm width cover | item no.176 | 12 | Nos.
Total in Figures | [51 empty] | 3895779 | 3456086.61 | Thirty Eight Lakh Ninety Five Thousand Seven Hundred & Seventy Nine Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information