## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Providing additional power points and network points as per requirements for various classrooms and labs in DJAC Building, IIT Kanpur
NIT No: Electrical/19/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 | [52 empty] | 1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 3 x 2.5 sq. mm | item no.2 | 300 | Metre | 120.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36036 | 36036 | INR Thirty Six Thousand &Thirty Six Only | 1.02 | 3 x 2.5 sq. mm | item no.2 | 300 | Metre
1.03 | 3 x 4 sq. mm | item no.3 | 2765 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 499414 | 499414 | INR Four Lakh Ninety Nine Thousand Four Hundred & Fourteen Only | 1.03 | 3 x 4 sq. mm | item no.3 | 2765 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | 6 x 6 sq. mm | item no.4 | 400 | Metre | 524.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 209732 | 209732 | INR Two Lakh Nine Thousand Seven Hundred & Thirty Two Only | 1.04 | 6 x 6 sq. mm | item no.4 | 400 | Metre
1.05 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.5 | [52 empty] | 1.05 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.5 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | 15/16 A switch | item no.6 | 2 | No. | 136.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 274 | 274 | INR Two Hundred & Seventy Four Only | 1.06 | 15/16 A switch | item no.6 | 2 | No.
1.07 | 6 pin 15/16 A socket outlet | item no.7 | 2 | No. | 172.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 345 | 345 | INR Three Hundred & Forty Five Only | 1.07 | 6 pin 15/16 A socket outlet | item no.7 | 2 | No.
1.08 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item no.8 | [52 empty] | 1.08 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item no.8
1.09 | 3 Module | item no.9 | 4 | No. | 132.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 530 | 530 | INR Five Hundred & Thirty Only | 1.09 | 3 Module | item no.9 | 4 | No.
1.1 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.10 | [52 empty] | 1.1 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.10 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.11 | 25 mm | item no.11 | 60 | Meter | 71.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4261 | 4261 | INR Four Thousand Two Hundred & Sixty One Only | 1.11 | 25 mm | item no.11 | 60 | Meter
1.12 | 32 mm | item no.12 | 50 | Meter | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4165 | 4165 | INR Four Thousand One Hundred & Sixty Five Only | 1.12 | 32 mm | item no.12 | 50 | Meter | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.13 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.13 | 12000 | Meter | 18.413 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 220956 | 220956 | INR Two Lakh Twenty Thousand Nine Hundred & Fifty Six Only | 1.13 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.13 | 12000 | Meter | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.14 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.14 | 200 | Nos. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15958 | 15958 | INR Fifteen Thousand Nine Hundred & Fifty Eight Only | 1.14 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.14 | 200 | Nos.
1.15 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.15 | 2 | Nos. | 256.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 514 | 514 | INR Five Hundred & Fourteen Only | 1.15 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.15 | 2 | Nos.
1.16 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.16 | 120 | Meter | 227.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27356 | 27356 | INR Twenty Seven Thousand Three Hundred & Fifty Six Only | 1.16 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.16 | 120 | Meter
1.17 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.17 | [52 empty] | 1.17 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.17
1.18 | End cap | item no.18 | 4 | Nos. | 150.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 603 | 603 | INR Six Hundred & Three Only | 1.18 | End cap | item no.18 | 4 | Nos.
1.19 | internal / external angle | item no.19 | 45 | Nos. | 145.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6550 | 6550 | INR Six Thousand Five Hundred & Fifty Only | 1.19 | internal / external angle | item no.19 | 45 | Nos.
1.2 | changeable flat angle | item no.20 | 22 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2720 | 2720 | INR Two Thousand Seven Hundred & Twenty Only | 1.2 | changeable flat angle | item no.20 | 22 | Nos.
1.21 | flat junction | item no.21 | 3 | Nos. | 143.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 431 | 431 | INR Four Hundred & Thirty One Only | 1.21 | flat junction | item no.21 | 3 | Nos.
1.22 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.22 | 130 | Meter | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 127322 | 127322 | INR One Lakh Twenty Seven Thousand Three Hundred & Twenty Two Only | 1.22 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.22 | 130 | Meter
1.23 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.23 | [52 empty] | 1.23 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.23
1.24 | 85 mm flexible cover | item no.24 | 130 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56195 | 56195 | INR Fifty Six Thousand One Hundred & Ninety Five Only | 1.24 | 85 mm flexible cover | item no.24 | 130 | Meter
1.25 | End cap | item no.25 | 40 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7786 | 7786 | INR Seven Thousand Seven Hundred & Eighty Six Only | 1.25 | End cap | item no.25 | 40 | Nos.
1.26 | Internal angles- adjustable from 80°-100° | item no.26 | 13 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7010 | 7010 | INR Seven Thousand &Ten Only | 1.26 | Internal angles- adjustable from 80°-100° | item no.26 | 13 | Nos.
1.27 | external angles- adjustable from 60°-120° | item no.27 | 10 | Nos. | 550.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5506 | 5506 | INR Five Thousand Five Hundred & Six Only | 1.27 | external angles- adjustable from 60°-120° | item no.27 | 10 | Nos.
1.28 | flat junction | item no.28 | 2 | Nos. | 938.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1876 | 1876 | INR One Thousand Eight Hundred & Seventy Six Only | 1.28 | flat junction | item no.28 | 2 | Nos.
1.29 | flat angles | item no.29 | 10 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7628 | 7628 | INR Seven Thousand Six Hundred & Twenty Eight Only | 1.29 | flat angles | item no.29 | 10 | Nos.
1.3 | separation partitions | item no.30 | 100 | Meter | 260.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26041 | 26041 | INR Twenty Six Thousand &Forty One Only | 1.3 | separation partitions | item no.30 | 100 | Meter
1.31 | Joints for 85mm width cover | item no.31 | 70 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15712 | 15712 | INR Fifteen Thousand Seven Hundred & Twelve Only | 1.31 | Joints for 85mm width cover | item no.31 | 70 | Nos.
1.32 | base joints | item no.32 | 130 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11740 | 11740 | INR Eleven Thousand Seven Hundred & Forty Only | 1.32 | base joints | item no.32 | 130 | Nos.
1.33 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.33 | [52 empty] | 1.33 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.33
1.34 | 3 module | item no.34 | 16 | Nos. | 300.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4812 | 4812 | INR Four Thousand Eight Hundred & Twelve Only | 1.34 | 3 module | item no.34 | 16 | Nos.
1.35 | 6 module | item no.35 | 35 | Nos. | 403.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14117 | 14117 | INR Fourteen Thousand One Hundred & Seventeen Only | 1.35 | 6 module | item no.35 | 35 | Nos.
1.36 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.36 | [52 empty] | 1.36 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.36
1.37 | 6 A switch | item no.37 | 42 | No. | 239.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10054 | 10054 | INR Ten Thousand &Fifty Four Only | 1.37 | 6 A switch | item no.37 | 42 | No.
1.38 | 20 A switch | item no.38 | 22 | No. | 426.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9375 | 9375 | INR Nine Thousand Three Hundred & Seventy Five Only | 1.38 | 20 A switch | item no.38 | 22 | No.
1.39 | 6 A pin 2/3 pin socket outlet | item no.39 | 42 | No. | 279.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11747 | 11747 | INR Eleven Thousand Seven Hundred & Forty Seven Only | 1.39 | 6 A pin 2/3 pin socket outlet | item no.39 | 42 | No.
1.4 | 6/16 A 3 pin socket outlet | item no.40 | 22 | No. | 546.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12018 | 12018 | INR Twelve Thousand &Eighteen Only | 1.4 | 6/16 A 3 pin socket outlet | item no.40 | 22 | No.
1.41 | Locating fault in wiring rectifying removing & restoring supply the same & making good the damages etc as reqd. | item no.41 | 10 | Nos. | 356.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3569 | 3569 | INR Three Thousand Five Hundred & Sixty Nine Only | 1.41 | Locating fault in wiring rectifying removing & restoring supply the same & making good the damages etc as reqd. | item no.41 | 10 | Nos.
1.42 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.42 | [52 empty] | 1.42 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.42
1.43 | Triple pole and neutral 5 A to 32 A | item no.43 | 5 | No. | 1076.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5384 | 5384 | INR Five Thousand Three Hundred & Eighty Four Only | 1.43 | Triple pole and neutral 5 A to 32 A | item no.43 | 5 | No.
1.44 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.44 | 5 | Nos. | 906.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4533 | 4533 | INR Four Thousand Five Hundred & Thirty Three Only | 1.44 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.44 | 5 | Nos.
Total in Figures | [51 empty] | 1372270 | 1372270 | Thirteen Lakh Seventy Two Thousand Two Hundred & Seventy Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information