## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Dean, Infrastructure and Planning, IIT Kanpur
Name of Work: Miscellaneous construction and repairing works at different locations of academic area in IIT Kanpur
NIT No: Civil/22/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | REINFORCED CEMENT CONCRETE | item no.1 | [52 empty] | 1.01 | REINFORCED CEMENT CONCRETE | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.2 | 0.25 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2350 | 2350 | INR Two Thousand Three Hundred & Fifty Only | 1.02 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.2 | 0.25 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.3 | [52 empty] | 1.03 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.4 | 1.55 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 827 | 827 | INR Eight Hundred & Twenty Seven Only | 1.04 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.4 | 1.55 | sqm
1.05 | Columns, Pillars, Piers, Abutments, Posts and Struts | item no.5 | 4 | sqm | 705.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2821 | 2821 | INR Two Thousand Eight Hundred & Twenty One Only | 1.05 | Columns, Pillars, Piers, Abutments, Posts and Struts | item no.5 | 4 | sqm
1.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.6 | [52 empty] | 1.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.6
1.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.7 | 30 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2358 | 2358 | INR Two Thousand Three Hundred & Fifty Eight Only | 1.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.7 | 30 | kg
1.08 | MASONRY WORK | item no.8 | [52 empty] | 1.08 | MASONRY WORK | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.9 | [52 empty] | 1.09 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.9
1.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.10 | 55 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49095 | 49095 | INR Forty Nine Thousand &Ninety Five Only | 1.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.10 | 55 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | CLADDING WORK | item no.11 | [52 empty] | 1.11 | CLADDING WORK | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.12 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.12 | [52 empty] | 1.12 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.12
1.13 | Granite stone slab colour black, Cherry/Ruby red | item no.13 | [52 empty] | 1.13 | Granite stone slab colour black, Cherry/Ruby red | item no.13 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.14 | Area of slab over 0.50 sqm | item no.14 | 1 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3880 | 3880 | INR Three Thousand Eight Hundred & Eighty Only | 1.14 | Area of slab over 0.50 sqm | item no.14 | 1 | sqm
1.15 | WOOD AND P. V. C. WORK | item no.15 | [52 empty] | 1.15 | WOOD AND P. V. C. WORK | item no.15
1.16 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.16 | [52 empty] | 1.16 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.16
1.17 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.17 | 6.4 | sqm | 1767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11312 | 11312 | INR Eleven Thousand Three Hundred & Twelve Only | 1.17 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.17 | 6.4 | sqm
1.18 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.18 | 6.4 | sqm | 82.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 526 | 526 | INR Five Hundred & Twenty Six Only | 1.18 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.18 | 6.4 | sqm
1.19 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.19 | [52 empty] | 1.19 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.19
1.2 | 300x16 mm | item no.20 | 2 | each | 228.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 456 | 456 | INR Four Hundred & Fifty Six Only | 1.2 | 300x16 mm | item no.20 | 2 | each
1.21 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.21 | [52 empty] | 1.21 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.21
1.22 | 200x10 mm | item no.22 | 4 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 318 | 318 | INR Three Hundred & Eighteen Only | 1.22 | 200x10 mm | item no.22 | 4 | each
1.23 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.23 | [52 empty] | 1.23 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.23
1.24 | 125 mm | item no.24 | 8 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 421 | 421 | INR Four Hundred & Twenty One Only | 1.24 | 125 mm | item no.24 | 8 | each
1.25 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.25 | [52 empty] | 1.25 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.25
1.26 | Twin rubber stopper | item no.26 | 6 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 327 | 327 | INR Three Hundred & Twenty Seven Only | 1.26 | Twin rubber stopper | item no.26 | 6 | each
1.27 | STEEL WORK | item no.27 | [52 empty] | 1.27 | STEEL WORK | item no.27
1.28 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.28 | [52 empty] | 1.28 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.28
1.29 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.29 | 45 | kg | 100.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4524 | 4524 | INR Four Thousand Five Hundred & Twenty Four Only | 1.29 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.29 | 45 | kg
1.3 | Welding by gas or electric plant including transportation of plant at site etc. complete. | item no.30 | 400 | cm | 2.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1192 | 1192 | INR One Thousand One Hundred & Ninety Two Only | 1.3 | Welding by gas or electric plant including transportation of plant at site etc. complete. | item no.30 | 400 | cm
1.31 | FLOORING | item no.31 | [52 empty] | 1.31 | FLOORING | item no.31
1.32 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.32 | 6 | sqm | 1787.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10725 | 10725 | INR Ten Thousand Seven Hundred & Twenty Five Only | 1.32 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.32 | 6 | sqm
1.33 | ROOFING | item no.33 | [52 empty] | 1.33 | ROOFING | item no.33
1.34 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item no.34 | [52 empty] | 1.34 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item no.34
1.35 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | item no.35 | 60 | sqm | 1004.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60287 | 60287 | INR Sixty Thousand Two Hundred & Eighty Seven Only | 1.35 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | item no.35 | 60 | sqm
1.36 | Providing and fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Rockwool conforming to IS: 8183,density 48 kg/ m3, 50 mm thick, wrapped in 200 G Virgin Polythene bags fixed to ceiling with metallic cleats (50x50x3 mm) @ 60 cm and wire mesh of 12.5mm x 24 gauge wire mesh, for top most ceiling of building. | item no.36 | 60 | sqm | 498.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29905 | 29905 | INR Twenty Nine Thousand Nine Hundred & Five Only | 1.36 | Providing and fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Rockwool conforming to IS: 8183,density 48 kg/ m3, 50 mm thick, wrapped in 200 G Virgin Polythene bags fixed to ceiling with metallic cleats (50x50x3 mm) @ 60 cm and wire mesh of 12.5mm x 24 gauge wire mesh, for top most ceiling of building. | item no.36 | 60 | sqm
1.37 | FINISHING | item no.37 | [52 empty] | 1.37 | FINISHING | item no.37
1.38 | 12 mm cement plaster of mix : | item no.38 | [52 empty] | 1.38 | 12 mm cement plaster of mix : | item no.38
1.39 | 1:6 (1 cement: 6 coarse sand) | item no.39 | 55 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14195 | 14195 | INR Fourteen Thousand One Hundred & Ninety Five Only | 1.39 | 1:6 (1 cement: 6 coarse sand) | item no.39 | 55 | sqm
1.4 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.40 | [52 empty] | 1.4 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.40
1.41 | 1:6 (1 cement: 6 coarse sand) | item no.41 | 55 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16353 | 16353 | INR Sixteen Thousand Three Hundred & Fifty Three Only | 1.41 | 1:6 (1 cement: 6 coarse sand) | item no.41 | 55 | sqm
1.42 | 6 mm cement plaster of mix : | item no.42 | [52 empty] | 1.42 | 6 mm cement plaster of mix : | item no.42
1.43 | 1:3 (1 cement : 3 fine sand) | item no.43 | 5.55 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1231 | 1231 | INR One Thousand Two Hundred & Thirty One Only | 1.43 | 1:3 (1 cement : 3 fine sand) | item no.43 | 5.55 | sqm
1.44 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.44 | [52 empty] | 1.44 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.44
1.45 | Two or more coats on new work | item no.45 | 230 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18704 | 18704 | INR Eighteen Thousand Seven Hundred & Four Only | 1.45 | Two or more coats on new work | item no.45 | 230 | sqm
1.46 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.46 | [52 empty] | 1.46 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.46
1.47 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.47 | 35.26 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5917 | 5917 | INR Five Thousand Nine Hundred & Seventeen Only | 1.47 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.47 | 35.26 | sqm
1.48 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.48 | 230 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24976 | 24976 | INR Twenty Four Thousand Nine Hundred & Seventy Six Only | 1.48 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.48 | 230 | sqm
1.49 | Dismantling and Demolishing | item no.49 | [52 empty] | 1.49 | Dismantling and Demolishing | item no.49
1.5 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.50 | [52 empty] | 1.5 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.50
1.51 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.51 | 2 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3520 | 3520 | INR Three Thousand Five Hundred & Twenty Only | 1.51 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.51 | 2 | cum
1.52 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.52 | [52 empty] | 1.52 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.52
1.53 | Of area 3 sq. metres and below | item no.53 | 1 | each | 103.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 104 | 104 | INR One Hundred & Four Only | 1.53 | Of area 3 sq. metres and below | item no.53 | 1 | each
1.54 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.54 | [52 empty] | 1.54 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.54
1.55 | For thickness of tiles 10 mm to 25 mm | item no.55 | 3.38 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 179 | 179 | INR One Hundred & Seventy Nine Only | 1.55 | For thickness of tiles 10 mm to 25 mm | item no.55 | 3.38 | sqm
1.56 | WATER SUPPLY | item no.56 | [52 empty] | 1.56 | WATER SUPPLY | item no.56
1.57 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.57 | [52 empty] | 1.57 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.57
1.58 | 15 mm dia nominal bore | item no.58 | 9 | metre | 266.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2400 | 2400 | INR Two Thousand Four Hundred Only | 1.58 | 15 mm dia nominal bore | item no.58 | 9 | metre
1.59 | 20 mm dia nominal bore | item no.59 | 72 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23570 | 23570 | INR Twenty Three Thousand Five Hundred & Seventy Only | 1.59 | 20 mm dia nominal bore | item no.59 | 72 | metre
1.6 | 40 mm dia nominal bore | item no.60 | 85 | metre | 635.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54045 | 54045 | INR Fifty Four Thousand &Forty Five Only | 1.6 | 40 mm dia nominal bore | item no.60 | 85 | metre
1.61 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.61 | [52 empty] | 1.61 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.61
1.62 | 25 to 40 mm nominal bore | item no.62 | 6 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3983 | 3983 | INR Three Thousand Nine Hundred & Eighty Three Only | 1.62 | 25 to 40 mm nominal bore | item no.62 | 6 | each
1.63 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.63 | [52 empty] | 1.63 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.63
1.64 | 20 mm nominal bore | item no.64 | 6 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2429 | 2429 | INR Two Thousand Four Hundred & Twenty Nine Only | 1.64 | 20 mm nominal bore | item no.64 | 6 | each
1.65 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.65 | [52 empty] | 1.65 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.65
1.66 | 20 mm nominal bore | item no.66 | 6 | each | 622.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3734 | 3734 | INR Three Thousand Seven Hundred & Thirty Four Only | 1.66 | 20 mm nominal bore | item no.66 | 6 | each
1.67 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.67 | [52 empty] | 1.67 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.67
1.68 | 15 mm nominal bore | item no.68 | 6 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3727 | 3727 | INR Three Thousand Seven Hundred & Twenty Seven Only | 1.68 | 15 mm nominal bore | item no.68 | 6 | each
1.69 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.69 | 12 | each | 330.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3968 | 3968 | INR Three Thousand Nine Hundred & Sixty Eight Only | 1.69 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.69 | 12 | each
1.7 | ALUMINIUM WORK | item no.70 | [52 empty] | 1.7 | ALUMINIUM WORK | item no.70
1.71 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.71 | [52 empty] | 1.71 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.71
1.72 | For fixed portion | item no.72 | [52 empty] | 1.72 | For fixed portion | item no.72
1.73 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.73 | 16 | kg | 380.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6088 | 6088 | INR Six Thousand &Eighty Eight Only | 1.73 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.73 | 16 | kg
1.74 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top &amp; bottom pivot &amp; double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | item no.74 | 4.8 | Sqm | 3981.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19110 | 19110 | INR Nineteen Thousand One Hundred & Ten Only | 1.74 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top &amp; bottom pivot &amp; double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | item no.74 | 4.8 | Sqm
1.75 | SANITARY INSTALLATIONS | item no.75 | [52 empty] | 1.75 | SANITARY INSTALLATIONS | item no.75
1.76 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : | item no.76 | [52 empty] | 1.76 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : | item no.76
1.77 | Size 600x450x200 mm | item no.77 | 6 | each | 4919.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29518 | 29518 | INR Twenty Nine Thousand Five Hundred & Eighteen Only | 1.77 | Size 600x450x200 mm | item no.77 | 6 | each
1.78 | MINOR CIVIL MAINTENANCE WORK: | item no.78 | [52 empty] | 1.78 | MINOR CIVIL MAINTENANCE WORK: | item no.78
1.79 | Supplying and installation of Automatic sliding door arrangement for double leaf door having weight up to 60 X 2 kg with motor and accesories, power input 110-240 V, power output DC12-14V including overhead motion censor all complete. | item no.79 | 1 | Each | 177128.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 177128 | 177128 | INR One Lakh Seventy Seven Thousand One Hundred & Twenty Eight Only | 1.79 | Supplying and installation of Automatic sliding door arrangement for double leaf door having weight up to 60 X 2 kg with motor and accesories, power input 110-240 V, power output DC12-14V including overhead motion censor all complete. | item no.79 | 1 | Each
Total in Figures | [51 empty] | 596203 | 596203 | Five Lakh Ninety Six Thousand Two Hundred & Three Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information