## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Partition work along with creation of network and power points for 604H and 605H, DJAC Building at IIT Kanpur
NIT No: Composite/11/08/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component |  |  |  | 1 | Component
1.01 | WOOD AND P. V. C. WORK | item no.1 | [52 empty] | 1.01 | Supply installation testing and commissioning of cubical type LT panel-01 (IEC 61439 ) suitable for 4000Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.1 |  |  | 1.01 | WOOD AND P. V. C. WORK | item no.1
1.02 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.2 | [52 empty] | 1.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter (on all incomer and outgoing feeders) to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.2 |  |  | 1.02 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.2
1.03 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.3 | 21 | sqm | 1767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37116 | 37116 | INR Thirty Seven Thousand One Hundred & Sixteen Only | 1.03 | Incoming | item no.3 |  |  | 1.03 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.3 | 21 | sqm
1.04 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.4 | 21 | sqm | 351.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7391 | 7391 | INR Seven Thousand Three Hundred & Ninety One Only | 1.04 | 2 No's 4000A, FP, EDO,50KA, ACB with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. suitable to connect with the bus duct and through cables. ABB-Emax2/ Schneider MTZ/Siemens 3VA | item no.4 |  |  | 1.04 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.4 | 21 | sqm
1.05 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.5 | [52 empty] | 1.05 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-4000/5A, Cl1.0, 15KVA cast rasin for metering, protection CTs 4000/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.5 |  |  | 1.05 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.5
1.06 | Rectangular or square | item no.6 | 21 | sqm | 152.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3203 | 3203 | INR Three Thousand Two Hundred & Three Only | 1.06 | Both Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.6 |  |  | 1.06 | Rectangular or square | item no.6 | 21 | sqm
1.07 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.7 | 10 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8993 | 8993 | INR Eight Thousand Nine Hundred & Ninety Three Only | 1.07 | Bus bar: 1 No.4000 A, 50HZ, FP, Aliminium Bus Bar | item no.7 |  |  | 1.07 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.7 | 10 | each
1.08 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.8 | [52 empty] | 1.08 | OutGoing: | item no.8 |  |  | 1.08 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.8
1.09 | 250x16 mm | item no.9 | 10 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2060 | 2060 | INR Two Thousand &Sixty Only | 1.09 | 2 nos.2500 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.9 |  |  | 1.09 | 250x16 mm | item no.9 | 10 | each
1.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.10 | [52 empty] | 1.1 | 2 nos.1600 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.10 |  |  | 1.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.10
1.11 | 250x10 mm | item no.11 | 20 | each | 91.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1831 | 1831 | INR One Thousand Eight Hundred & Thirty One Only | 1.11 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-3Nos, FP Spreader(8x3=24Nos) for MCCB 800A- 3 Nos | item no.11 |  |  | 1.11 | 250x10 mm | item no.11 | 20 | each
1.12 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.12 | [52 empty] | 1.12 | 2 nos. 630 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-2Nos, FP Spreader(8x2=16Nos) for MCCB 630A- 2Nos | item no.12 |  |  | 1.12 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.12
1.13 | 125 mm | item no.13 | 20 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1053 | 1053 | INR One Thousand &Fifty Three Only | 1.13 | 4 nos. 400 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-4Nos, FP Spreader(8x4=32Nos) for MCCB 400A- 4 Nos | item no.13 |  |  | 1.13 | 125 mm | item no.13 | 20 | each
1.14 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.14 | [52 empty] | 1.14 | all out goings with ON.OFF, Trip, Spring charge indication.communicable type Digital multifunction energy meter(RS 485).Digital Amp meter with selector switches etc. | item no.14 |  |  | 1.14 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.14
1.15 | Twin rubber stopper | item no.15 | 10 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 546 | 546 | INR Five Hundred & Forty Six Only | 1.15 | Note : All ACBs and MCCB's aux. contacts for ON/OFF and trip spare contacts to be wired up to terminal block. | item no.15 | 1 | No. | 1.15 | Twin rubber stopper | item no.15 | 10 | each
1.16 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.16 | [52 empty] | 1.16 | Supply installation testing and commissioning of cubical type DG set LT panel -2 (IEC 61439), suitable for 1600 Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.16 |  |  | 1.16 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.16
1.17 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.17 | 227 | sqm | 1576.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 357795 | 357795 | INR Three Lakh Fifty Seven Thousand Seven Hundred & Ninety Five Only | 1.17 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.17 |  |  | 1.17 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.17 | 227 | sqm
1.18 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.18 | [52 empty] | 1.18 | Incoming | item no.18 |  |  | 1.18 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.18
1.19 | 1.0 mm thick | item no.19 | 42 | sqm | 669.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28135 | 28135 | INR Twenty Eight Thousand One Hundred & Thirty Five Only | 1.19 | 3 No's 1250A, FP, 50KA, 4 pole ACB ( for 3x750 KVA SG sets) with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. with 2 nos. 1250 A bus coupler (DG1 & DG2) (DG2-DG3) with all protections and metering. | item no.19 |  |  | 1.19 | 1.0 mm thick | item no.19 | 42 | sqm
1.2 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.20 | 768 | kg | 116.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89802 | 89802 | INR Eighty Nine Thousand Eight Hundred & Two Only | 1.2 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-1250/5A, Cl1.0, 15VA cast rasin for metering, protection CTs 1250/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.20 |  |  | 1.2 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.20 | 768 | kg
1.21 | STEEL WORK | item no.21 | [52 empty] | 1.21 | All the Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.21 |  |  | 1.21 | STEEL WORK | item no.21
1.22 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.22 | [52 empty] | 1.22 | Bus bar: 1 No.1600 A, 50HZ, FP, Aliminium Bus Bar | item no.22 |  |  | 1.22 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.22
1.23 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.23 | 207.4 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25877 | 25877 | INR Twenty Five Thousand Eight Hundred & Seventy Seven Only | 1.23 | OutGoing: | item no.23 |  |  | 1.23 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.23 | 207.4 | kg
1.24 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.24 | [52 empty] | 1.24 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism- 3Nos, 2A SP MCB for cont. CKT.- 3 Nos | item no.24 |  |  | 1.24 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.24
1.25 | 10 x 80 mm | item no.25 | 30 | each | 102.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3085 | 3085 | INR Three Thousand &Eighty Five Only | 1.25 | 8 nos. 400 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism- 8Nos, 2A SP MCB for cont. CKT.- 8 Nos | item no.25 |  |  | 1.25 | 10 x 80 mm | item no.25 | 30 | each
1.26 | ROOFING | item no.26 | [52 empty] | 1.26 | 4 nos. 250 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection - 3nos, rotary operated handle mechanism-4Nos, FP Spreader for MCCB 250A- 4 Nos | item no.26 |  |  | 1.26 | ROOFING | item no.26
1.27 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item no.27 | [52 empty] | 1.27 | all outgoings with ON,OFF,Trip, spring charge indication. Communicable Digital multifunction energy meter(RS 485) . Digital Amp meter with selector switches etc. | item no.27 |  |  | 1.27 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item no.27
1.28 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | item no.28 | 20 | sqm | 1004.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20096 | 20096 | INR Twenty Thousand &Ninety Six Only | 1.28 | Note : All ACBs and MCCB's aux. contacts for ON/OFF and trip spare contacts to be wired up to terminal block. | item no.28 | 1 | Nos. | 1.28 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | item no.28 | 20 | sqm
1.29 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.29 | 227 | sqm | 269.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61174 | 61174 | INR Sixty One Thousand One Hundred & Seventy Four Only | 1.29 | S&I, testing & commissioning 4000 amp TPN aluminum bus duct with MS enclosure, as pe r enclosed specifications E-02. | item no.29 | 15 | Mtr. | 1.29 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.29 | 227 | sqm
1.3 | FINISHING | item no.30 | [52 empty] | 1.3 | S&I, testing & commissioning 4000amp TPN copper flexible links to connect tranformer LT bus duct as per enclosed specifications E-02. | item no.30 | 1 | Set | 1.3 | FINISHING | item no.30
1.31 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.31 | [52 empty] | 1.31 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | item no.31 | 5 | Nos. | 1.31 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.31
1.32 | Two or more coats on new work | item no.32 | 601 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48873 | 48873 | INR Forty Eight Thousand Eight Hundred & Seventy Three Only | 1.32 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | item no.32 | 100 | Mtr. | 1.32 | Two or more coats on new work | item no.32 | 601 | sqm
1.33 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.33 | [52 empty] | 1.33 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.33 |  |  | 1.33 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.33
1.34 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.34 | 25.62 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4300 | 4300 | INR Four Thousand Three Hundred Only | 1.34 | 3½ X 400 sq. mm (82mm) | item no.34 | 50 | Nos. | 1.34 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.34 | 25.62 | sqm
1.35 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.35 | 473 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51363 | 51363 | INR Fifty One Thousand Three Hundred & Sixty Three Only | 1.35 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.35 |  |  | 1.35 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.35 | 473 | sqm
1.36 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.36 | [52 empty] | 1.36 | 3½ X 300 sq. mm | item no.36 | 4 | Nos. | 1.36 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.36
1.37 | Old work (one or more coats) | item no.37 | 60 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2988 | 2988 | INR Two Thousand Nine Hundred & Eighty Eight Only | 1.37 | 3½ X 400 sq. mm | item no.37 | 4 | Nos. | 1.37 | Old work (one or more coats) | item no.37 | 60 | sqm
1.38 | Dismantling and Demolishing | item no.38 | [52 empty] | 1.38 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc. as required | item no.38 |  |  | 1.38 | Dismantling and Demolishing | item no.38
1.39 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.39 | 25.04 | sqm | 40.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1021 | 1021 | INR One Thousand &Twenty One Only | 1.39 | 100 mm Dia | item no.39 | 50 | Mtr. | 1.39 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.39 | 25.04 | sqm
1.4 | ALUMINIUM WORK | item no.40 | [52 empty] | 1.4 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels | item no.40 | 2 | Cum | 1.4 | ALUMINIUM WORK | item no.40
1.41 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top &amp; bottom pivot &amp; double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | item no.41 | 5.04 | Sqm | 3981.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20066 | 20066 | INR Twenty Thousand &Sixty Six Only | [5 empty] | 1.41 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top &amp; bottom pivot &amp; double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | item no.41 | 5.04 | Sqm
1.42 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.42 | [57 empty] | 1.42 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.42
1.43 | 3 x 2.5 sq. mm | item no.43 | 310 | Metre | 120.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37240 | 37240 | INR Thirty Seven Thousand Two Hundred & Forty Only | [5 empty] | 1.43 | 3 x 2.5 sq. mm | item no.43 | 310 | Metre
1.44 | 3 x 4 sq. mm | item no.44 | 460 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83085 | 83085 | INR Eighty Three Thousand &Eighty Five Only | [5 empty] | 1.44 | 3 x 4 sq. mm | item no.44 | 460 | Metre
1.45 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.45 | 145 | Meter | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 142013 | 142013 | INR One Lakh Forty Two Thousand &Thirteen Only | [5 empty] | 1.45 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.45 | 145 | Meter
1.46 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.46 | [57 empty] | 1.46 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.46
1.47 | 85 mm flexible cover | item no.47 | 133 | Meter | 432.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57493 | 57493 | INR Fifty Seven Thousand Four Hundred & Ninety Three Only | [5 empty] | 1.47 | 85 mm flexible cover | item no.47 | 133 | Meter
1.48 | End cap | item no.48 | 22 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4282 | 4282 | INR Four Thousand Two Hundred & Eighty Two Only | [5 empty] | 1.48 | End cap | item no.48 | 22 | Nos.
1.49 | Internal angles- adjustable from 80°-100° | item no.49 | 11 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5932 | 5932 | INR Five Thousand Nine Hundred & Thirty Two Only | [5 empty] | 1.49 | Internal angles- adjustable from 80°-100° | item no.49 | 11 | Nos.
1.5 | external angles- adjustable from 60°-120° | item no.50 | 7 | Nos. | 550.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3854 | 3854 | INR Three Thousand Eight Hundred & Fifty Four Only | [5 empty] | 1.5 | external angles- adjustable from 60°-120° | item no.50 | 7 | Nos.
1.51 | flat junction | item no.51 | 3 | Nos. | 938.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2815 | 2815 | INR Two Thousand Eight Hundred & Fifteen Only | [5 empty] | 1.51 | flat junction | item no.51 | 3 | Nos.
1.52 | flat angles | item no.52 | 7 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5340 | 5340 | INR Five Thousand Three Hundred & Forty Only | [5 empty] | 1.52 | flat angles | item no.52 | 7 | Nos.
1.53 | separation partitions | item no.53 | 98 | Meter | 260.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25520 | 25520 | INR Twenty Five Thousand Five Hundred & Twenty Only | [5 empty] | 1.53 | separation partitions | item no.53 | 98 | Meter
1.54 | Joints for 85mm width cover | item no.54 | 60 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13468 | 13468 | INR Thirteen Thousand Four Hundred & Sixty Eight Only | [5 empty] | 1.54 | Joints for 85mm width cover | item no.54 | 60 | Nos.
1.55 | base joints | item no.55 | 120 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10837 | 10837 | INR Ten Thousand Eight Hundred & Thirty Seven Only | [5 empty] | 1.55 | base joints | item no.55 | 120 | Nos.
1.56 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.56 | [57 empty] | 1.56 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.56
1.57 | 3 module | item no.57 | 11 | Nos. | 300.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3308 | 3308 | INR Three Thousand Three Hundred & Eight Only | [5 empty] | 1.57 | 3 module | item no.57 | 11 | Nos.
1.58 | 6 module | item no.58 | 43 | Nos. | 403.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17343 | 17343 | INR Seventeen Thousand Three Hundred & Forty Three Only | [5 empty] | 1.58 | 6 module | item no.58 | 43 | Nos.
1.59 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.59 | [57 empty] | 1.59 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.59
1.6 | 6 A switch | item no.60 | 88 | No. | 239.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21065 | 21065 | INR Twenty One Thousand &Sixty Five Only | [5 empty] | 1.6 | 6 A switch | item no.60 | 88 | No.
1.61 | 20 A switch | item no.61 | 9 | No. | 426.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3835 | 3835 | INR Three Thousand Eight Hundred & Thirty Five Only | [5 empty] | 1.61 | 20 A switch | item no.61 | 9 | No.
1.62 | 6 A pin 2/3 pin socket outlet | item no.62 | 88 | No. | 279.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24614 | 24614 | INR Twenty Four Thousand Six Hundred & Fourteen Only | [5 empty] | 1.62 | 6 A pin 2/3 pin socket outlet | item no.62 | 88 | No.
1.63 | 6/16 A 3 pin socket outlet | item no.63 | 9 | No. | 546.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4916 | 4916 | INR Four Thousand Nine Hundred & Sixteen Only | [5 empty] | 1.63 | 6/16 A 3 pin socket outlet | item no.63 | 9 | No.
1.64 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.64 | 2000 | Meter | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36820 | 36820 | INR Thirty Six Thousand Eight Hundred & Twenty Only | [5 empty] | 1.64 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.64 | 2000 | Meter
1.65 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.65 | 38 | Nos. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3032 | 3032 | INR Three Thousand &Thirty Two Only | [5 empty] | 1.65 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.65 | 38 | Nos.
1.66 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.66 | 1 | Nos. | 256.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 257 | 257 | INR Two Hundred & Fifty Seven Only | [5 empty] | 1.66 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.66 | 1 | Nos.
1.67 | Supply & Laying of 40 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item no.67 | [57 empty] | 1.67 | Supply & Laying of 40 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item no.67
1.68 | On Surface | item no.68 | 26 | Meter | 264.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6885 | 6885 | INR Six Thousand Eight Hundred & Eighty Five Only | [5 empty] | 1.68 | On Surface | item no.68 | 26 | Meter
1.69 | Supply & Laying of 32 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item no.69 | [57 empty] | 1.69 | Supply & Laying of 32 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item no.69
1.7 | On Surface | item no.70 | 45 | Meter | 149.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6747 | 6747 | INR Six Thousand Seven Hundred & Forty Seven Only | [5 empty] | 1.7 | On Surface | item no.70 | 45 | Meter
Total in Figures | [51 empty] | 1297469 | 1297469 | Twelve Lakh Ninety Seven Thousand Four Hundred & Sixty Nine Only | [5 empty] | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | [5 empty] | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words | [59 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information