## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Replacement of defective lights and other associated electrical works for various residential and hostel areas in the campus
NIT No: Electrical/31/08/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supply, fixing, testing and commissioning LED Sports / flood /bracket type light fitting with accessories complete as required. | item no.1 | [52 empty] | 1.01 | Supply, fixing, testing and commissioning LED Sports / flood /bracket type light fitting with accessories complete as required. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | LED Flood light 120watt 240 volts, 50Hz, protection_ IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton model_ Ignite or equivalent approved make). | item no.2 | 26 | Nos. | 2795 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72670 | 72670 | INR Seventy Two Thousand Six Hundred & Seventy Only | 1.02 | LED Flood light 120watt 240 volts, 50Hz, protection_ IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton model_ Ignite or equivalent approved make). | item no.2 | 26 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | LED Flood light 300 watt / 230 volts, 50Hz, protection_IP 65 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Ignite or equivalent approved make) | item no.3 | 46 | Nos. | 6453 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 296838 | 296838 | INR Two Lakh Ninety Six Thousand Eight Hundred & Thirty Eight Only | 1.03 | LED Flood light 300 watt / 230 volts, 50Hz, protection_IP 65 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Ignite or equivalent approved make) | item no.3 | 46 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Supply and drawing PVC insulated copper conductor 3 x1.5 sqmm round cable (Flexible) for connection of lights/ equipments / fan/AC & other work as reqd. | item no.4 | 285 | Mtrs | 94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26790 | 26790 | INR Twenty Six Thousand Seven Hundred & Ninety Only | 1.04 | Supply and drawing PVC insulated copper conductor 3 x1.5 sqmm round cable (Flexible) for connection of lights/ equipments / fan/AC & other work as reqd. | item no.4 | 285 | Mtrs
1.05 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.5 | [52 empty] | 1.05 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.5
1.06 | Single pole | item no.6 | 29 | Nos | 224.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6511 | 6511 | INR Six Thousand Five Hundred & Eleven Only | 1.06 | Single pole | item no.6 | 29 | Nos
1.07 | Single pole and neutral | item no.7 | 5 | No | 525.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2626 | 2626 | INR Two Thousand Six Hundred & Twenty Six Only | 1.07 | Single pole and neutral | item no.7 | 5 | No
1.08 | Supply, fixing, connecting and commissioning cable end control box (looping type) with MS sheet of 16 SWG of size 200 mm X 200 mm X 125 mm having 1 No. SP MCB 6 to 32 Amp, 230 volts and 2 Nos. Brass neutral link 12.5 mm square rod 6 way approx. 60 mm long and fixed on 6 mm thick bakelite sheet. Box shall have almirah type hinge and panel key type lock front door duly painted with earthing stud etc. complete as required. | item no.8 | 20 | Nos. | 1081 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21620 | 21620 | INR Twenty One Thousand Six Hundred & Twenty Only | 1.08 | Supply, fixing, connecting and commissioning cable end control box (looping type) with MS sheet of 16 SWG of size 200 mm X 200 mm X 125 mm having 1 No. SP MCB 6 to 32 Amp, 230 volts and 2 Nos. Brass neutral link 12.5 mm square rod 6 way approx. 60 mm long and fixed on 6 mm thick bakelite sheet. Box shall have almirah type hinge and panel key type lock front door duly painted with earthing stud etc. complete as required. | item no.8 | 20 | Nos.
1.09 | Supply and fixing metal box of MS sheet 2mm thick including cutting , fabrication,welding etc. with hinged door, locking and hanging arragment, covering shade (of suitable size) duly painted on surface or recess as reqd. | item no.9 | 20 | kgs. | 189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3780 | 3780 | INR Three Thousand Seven Hundred & Eighty Only | 1.09 | Supply and fixing metal box of MS sheet 2mm thick including cutting , fabrication,welding etc. with hinged door, locking and hanging arragment, covering shade (of suitable size) duly painted on surface or recess as reqd. | item no.9 | 20 | kgs. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.10 | [52 empty] | 1.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.10
1.11 | 2 X 6 sq. mm (19mm) | item no.11 | 55 | Each | 210.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11574 | 11574 | INR Eleven Thousand Five Hundred & Seventy Four Only | 1.11 | 2 X 6 sq. mm (19mm) | item no.11 | 55 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.12 | Providing and fixing 6 SWG dia G.I. wire on surface /recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | item no.12 | 180 | Mtrs | 36.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6633 | 6633 | INR Six Thousand Six Hundred & Thirty Three Only | 1.12 | Providing and fixing 6 SWG dia G.I. wire on surface /recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | item no.12 | 180 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.13 | Digging cable trench, lifting bricks & cable for locating fault. refilling the trench, ramming & making good the same as reqd. | item no.13 | [52 empty] | 1.13 | Digging cable trench, lifting bricks & cable for locating fault. refilling the trench, ramming & making good the same as reqd. | item no.13
1.14 | up to 35 sqmm cable | item no.14 | 65 | Mtrs | 147 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9555 | 9555 | INR Nine Thousand Five Hundred & Fifty Five Only | 1.14 | up to 35 sqmm cable | item no.14 | 65 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.15 | Supply & Laying of HDPE pipe of following size inner dia, 2mm thick I/c cartage, loading & unloading etc. as reqd. (ISI mark) | item no.15 | [52 empty] | 1.15 | Supply & Laying of HDPE pipe of following size inner dia, 2mm thick I/c cartage, loading & unloading etc. as reqd. (ISI mark) | item no.15
1.16 | Open / On surface duct | item no.16 | [52 empty] | 1.16 | Open / On surface duct | item no.16
1.17 | 25 mm (6Kg / cm²) | item no.17 | 40 | Mtrs | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2400 | 2400 | INR Two Thousand Four Hundred Only | 1.17 | 25 mm (6Kg / cm²) | item no.17 | 40 | Mtrs
1.18 | 32 mm (6Kg / cm²) | item no.18 | 25 | Mtrs | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1700 | 1700 | INR One Thousand Seven Hundred Only | 1.18 | 32 mm (6Kg / cm²) | item no.18 | 25 | Mtrs
1.19 | Providing Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.19 | 2.16 | Cum. | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12610 | 12610 | INR Twelve Thousand Six Hundred & Ten Only | 1.19 | Providing Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.19 | 2.16 | Cum.
1.2 | Providing 15mm thick cement plaster on the rough side of single or half brick wall of mix 1:6 (1 cement : 6 fine sand) at all levels. | item no.20 | 31.5 | sq m | 284.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8957 | 8957 | INR Eight Thousand Nine Hundred & Fifty Seven Only | 1.2 | Providing 15mm thick cement plaster on the rough side of single or half brick wall of mix 1:6 (1 cement : 6 fine sand) at all levels. | item no.20 | 31.5 | sq m
1.21 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar. | item no.21 | 0.5 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 745 | 745 | INR Seven Hundred & Forty Five Only | 1.21 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar. | item no.21 | 0.5 | cum
1.22 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.22 | [52 empty] | 1.22 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.22
1.23 | 3 x 4 sqmm | item no.23 | 10 | Mtrs | 102.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1026 | 1026 | INR One Thousand &Twenty Six Only | 1.23 | 3 x 4 sqmm | item no.23 | 10 | Mtrs
1.24 | 3 x 6 sqmm | item no.24 | 50 | Mtrs | 146.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7323 | 7323 | INR Seven Thousand Three Hundred & Twenty Three Only | 1.24 | 3 x 6 sqmm | item no.24 | 50 | Mtrs
1.25 | Supply and erection of ST pole 9.0 mtr. long (410-SP-30) with base plate 6mm thick and 300 mm x 300mm x 6mm size & cap i/c CC foundation complete 1:3:6 ( 1 cement:3 coarse sand:6 stone aggr. 40mm size). duly painted with 2 coats of good quality aluminium paint. | item no.25 | 12 | Nos. | 19594 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 235128 | 235128 | INR Two Lakh Thirty Five Thousand One Hundred & Twenty Eight Only | 1.25 | Supply and erection of ST pole 9.0 mtr. long (410-SP-30) with base plate 6mm thick and 300 mm x 300mm x 6mm size & cap i/c CC foundation complete 1:3:6 ( 1 cement:3 coarse sand:6 stone aggr. 40mm size). duly painted with 2 coats of good quality aluminium paint. | item no.25 | 12 | Nos.
1.26 | Supply and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | item no.26 | 6 | Each | 1025 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6150 | 6150 | INR Six Thousand One Hundred & Fifty Only | 1.26 | Supply and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | item no.26 | 6 | Each
1.27 | Supply and erection of angle iron 50mm x 50mm x 6mm (5.00 kg/mtr) cross arm for 2 wire overhead line complete with clamps, bolts and nuts etc. including drilling of holes for insulators pins, bolts and nuts with washer etc. as painting with primer and finish paint as reqd. | item no.27 | 20 | Mtrs. | 617 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12340 | 12340 | INR Twelve Thousand Three Hundred & Forty Only | 1.27 | Supply and erection of angle iron 50mm x 50mm x 6mm (5.00 kg/mtr) cross arm for 2 wire overhead line complete with clamps, bolts and nuts etc. including drilling of holes for insulators pins, bolts and nuts with washer etc. as painting with primer and finish paint as reqd. | item no.27 | 20 | Mtrs.
1.28 | Supply, laying,testing and commissioning of one No. XLPE/ PVC insulated & PVC sheathed power cables (heavy duty) of following core aluminium conductor, steel armoured cable of 1.1kV grade in following manners complete as reqd. | item no.28 | [52 empty] | 1.28 | Supply, laying,testing and commissioning of one No. XLPE/ PVC insulated & PVC sheathed power cables (heavy duty) of following core aluminium conductor, steel armoured cable of 1.1kV grade in following manners complete as reqd. | item no.28
1.29 | 2 x 6 sqmm | item no.29 | [52 empty] | 1.29 | 2 x 6 sqmm | item no.29
1.3 | Direct in ground with protection layer | item no.30 | 140 | Mtrs | 322 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45080 | 45080 | INR Forty Five Thousand &Eighty Only | 1.3 | Direct in ground with protection layer | item no.30 | 140 | Mtrs
1.31 | On surface | item no.31 | 15 | Mtrs | 134 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2010 | 2010 | INR Two Thousand &Ten Only | 1.31 | On surface | item no.31 | 15 | Mtrs
1.32 | Direct in pipe | item no.32 | 15 | Mtrs | 129 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1935 | 1935 | INR One Thousand Nine Hundred & Thirty Five Only | 1.32 | Direct in pipe | item no.32 | 15 | Mtrs
1.33 | In open duct | item no.33 | 15 | Mtrs | 121 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1815 | 1815 | INR One Thousand Eight Hundred & Fifteen Only | 1.33 | In open duct | item no.33 | 15 | Mtrs
1.34 | Providing & fixing of size 32 mm x 20 mm. DLP mini trunking system with independent cover as reqd. | item no.34 | 60 | Mtrs | 177 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10620 | 10620 | INR Ten Thousand Six Hundred & Twenty Only | 1.34 | Providing & fixing of size 32 mm x 20 mm. DLP mini trunking system with independent cover as reqd. | item no.34 | 60 | Mtrs
1.35 | Providing & fixing accessories for 32 mm x 20 mm size of DLP mini trunking system as reqd. | item no.35 | [52 empty] | 1.35 | Providing & fixing accessories for 32 mm x 20 mm size of DLP mini trunking system as reqd. | item no.35
1.36 | Flat junction | item no.36 | 4 | Nos. | 94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 376 | 376 | INR Three Hundred & Seventy Six Only | 1.36 | Flat junction | item no.36 | 4 | Nos.
1.37 | Changeable flat angle | item no.37 | 20 | Nos. | 80 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1600 | 1600 | INR One Thousand Six Hundred Only | 1.37 | Changeable flat angle | item no.37 | 20 | Nos.
1.38 | Changeable internal /External angle | item no.38 | 40 | Nos. | 96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3840 | 3840 | INR Three Thousand Eight Hundred & Forty Only | 1.38 | Changeable internal /External angle | item no.38 | 40 | Nos.
1.39 | End cap left or right | item no.39 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 400 | 400 | INR Four Hundred Only | 1.39 | End cap left or right | item no.39 | 4 | Nos.
1.4 | Supply, fixing, testing and commissioning LED light fitting with accessories of following specifications complete as required. (Make_Cromption or Approved equivalent make) | item no.40 | [52 empty] | 1.4 | Supply, fixing, testing and commissioning LED light fitting with accessories of following specifications complete as required. (Make_Cromption or Approved equivalent make) | item no.40
1.41 | LED Flood light 300 watt 240 volts, 50Hz, protection_IP 65 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. Crompton model_CFS-501-300-57-60D-SL-GL-NSG or equivalent | item no.41 | 4 | Nos. | 20662 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 82648 | 82648 | INR Eighty Two Thousand Six Hundred & Forty Eight Only | 1.41 | LED Flood light 300 watt 240 volts, 50Hz, protection_IP 65 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. Crompton model_CFS-501-300-57-60D-SL-GL-NSG or equivalent | item no.41 | 4 | Nos.
1.42 | LED Street light fitting 60 watt (Bracket type), =>100lm/w, IP65. (Make_ Crompton_Raptor (CatNo.LSTS-60-CDL_M) or approved Make). | item no.42 | 2 | Nos. | 4908 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9816 | 9816 | INR Nine Thousand Eight Hundred & Sixteen Only | 1.42 | LED Street light fitting 60 watt (Bracket type), =>100lm/w, IP65. (Make_ Crompton_Raptor (CatNo.LSTS-60-CDL_M) or approved Make). | item no.42 | 2 | Nos.
1.43 | LED Post Top Lantern 40watt after removing old complete as required. (Make_Crompton (Cat.No.LPTO-40-CDL/M) or approved Make). | item no.43 | 6 | Nos. | 9247 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55482 | 55482 | INR Fifty Five Thousand Four Hundred & Eighty Two Only | 1.43 | LED Post Top Lantern 40watt after removing old complete as required. (Make_Crompton (Cat.No.LPTO-40-CDL/M) or approved Make). | item no.43 | 6 | Nos.
1.44 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and without lamp as complete required . | item no.44 | [52 empty] | 1.44 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and without lamp as complete required . | item no.44
1.45 | LED surface mounted light fitting 15watt, Make- Philiphs (STAR surface) or its equivalent approved make. | item no.45 | 11 | Nos. | 828 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9108 | 9108 | INR Nine Thousand One Hundred & Eight Only | 1.45 | LED surface mounted light fitting 15watt, Make- Philiphs (STAR surface) or its equivalent approved make. | item no.45 | 11 | Nos.
1.46 | LED Mirror light 9W, 900lm, 2ft., Make- Philiphs (Astra Line) or its equivalent approved make. | item no.46 | 4 | Nos. | 582 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2328 | 2328 | INR Two Thousand Three Hundred & Twenty Eight Only | 1.46 | LED Mirror light 9W, 900lm, 2ft., Make- Philiphs (Astra Line) or its equivalent approved make. | item no.46 | 4 | Nos.
1.47 | LED Bulk head fitting 6.5 -7 watt, 700lm, IP65 Make- Philips(Vistaglow) (Cat No. WWT140w LEd7S CW PSU S1 PC) or approved Make. | item no.47 | 4 | Nos. | 861 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3444 | 3444 | INR Three Thousand Four Hundred & Forty Four Only | 1.47 | LED Bulk head fitting 6.5 -7 watt, 700lm, IP65 Make- Philips(Vistaglow) (Cat No. WWT140w LEd7S CW PSU S1 PC) or approved Make. | item no.47 | 4 | Nos.
1.48 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | item no.48 | 6 | Each | 76.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 458 | 458 | INR Four Hundred & Fifty Eight Only | 1.48 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | item no.48 | 6 | Each
1.49 | Supplying and fixing 3 mm thick phenolic laminated sheet on existing board with brass screw and cup washer etc. complete as required. | item no.49 | 200 | Sq. Inch | 3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 600 | 600 | INR Six Hundred Only | 1.49 | Supplying and fixing 3 mm thick phenolic laminated sheet on existing board with brass screw and cup washer etc. complete as required. | item no.49 | 200 | Sq. Inch
1.5 | Lifting and removing cable of following size from open trench/ clamps on surface, making roll shifting/ depositing the same in store I/c cartage etc. including making good the same as reqd. | item no.50 | [52 empty] | 1.5 | Lifting and removing cable of following size from open trench/ clamps on surface, making roll shifting/ depositing the same in store I/c cartage etc. including making good the same as reqd. | item no.50
1.51 | Above 31/2 x 95sq. mm and upto 185 sq. mm | item no.51 | 20 | Mtr. | 88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1760 | 1760 | INR One Thousand Seven Hundred & Sixty Only | 1.51 | Above 31/2 x 95sq. mm and upto 185 sq. mm | item no.51 | 20 | Mtr.
1.52 | Above 31/2 x 185 sq. mm and upto 400 sq. mm | item no.52 | 80 | Mtr. | 122 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9760 | 9760 | INR Nine Thousand Seven Hundred & Sixty Only | 1.52 | Above 31/2 x 185 sq. mm and upto 400 sq. mm | item no.52 | 80 | Mtr.
1.53 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item no.53 | [52 empty] | 1.53 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item no.53
1.54 | Above 31/2 x 95sq. mm and upto 185 sq. mm ( clamped with 25/40 X 3 mm MS flat clamp) | item no.54 | 20 | Mtr. | 134.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2684 | 2684 | INR Two Thousand Six Hundred & Eighty Four Only | 1.54 | Above 31/2 x 95sq. mm and upto 185 sq. mm ( clamped with 25/40 X 3 mm MS flat clamp) | item no.54 | 20 | Mtr.
1.55 | Above 31/2 x 185 sq. mm and upto 400 sq. mm ( clamped with 40 X 3 mm MS flat clamp) | item no.55 | 80 | Mtr. | 198.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15856 | 15856 | INR Fifteen Thousand Eight Hundred & Fifty Six Only | 1.55 | Above 31/2 x 185 sq. mm and upto 400 sq. mm ( clamped with 40 X 3 mm MS flat clamp) | item no.55 | 80 | Mtr.
1.56 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.56 | [52 empty] | 1.56 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.56
1.57 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works . | item no.57 | 40 | kg | 124.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4992 | 4992 | INR Four Thousand Nine Hundred & Ninety Two Only | 1.57 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works . | item no.57 | 40 | kg
1.58 | Providing 12mm thick cement plaster of mix 1:6 (1 cement : 6 fine sand) at all levels. | item no.58 | 5 | sq m | 247.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1236 | 1236 | INR One Thousand Two Hundred & Thirty Six Only | 1.58 | Providing 12mm thick cement plaster of mix 1:6 (1 cement : 6 fine sand) at all levels. | item no.58 | 5 | sq m
Total in Figures | [51 empty] | 1014824 | 1014824 | Ten Lakh Fourteen Thousand Eight Hundred & Twenty Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information