## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Dean of Infrastructure and Planning,IIT Kanpur
Name of Work: Various works related to Internet cables for under construction/newly commissoned buildings for academic and residential areas in IITK
Contract No: Network/10/03/02023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.1 | [52 empty] | 1.01 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 3 x 4 Sq.mm.. | item no.2 | 50 | Mtr. | 213.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10657 | 10657 | INR Ten Thousand Six Hundred & Fifty Seven Only | 1.02 | 3 x 4 Sq.mm.. | item no.2 | 50 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.3 | [52 empty] | 1.03 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | 80 mm | item no.4 | 85 | Mtr. | 950.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 80829 | 80829 | INR Eighty Thousand Eight Hundred & Twenty Nine Only | 2 | 80 mm | item no.4 | 85 | Mtr.
2.01 | Supplying and fixing metal box of following sizes ( nominal size ) on surface or in recess with suitable size of phenolic laminated sheet cover in the front I/c painting etc as reqd. | item no.5 | [52 empty] | 2.01 | Supplying and fixing metal box of following sizes ( nominal size ) on surface or in recess with suitable size of phenolic laminated sheet cover in the front I/c painting etc as reqd. | item no.5
2.02 | 180 mm x 100 mm x 60 mm deep | item no.6 | 16 | Nos. | 253.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4056 | 4056 | INR Four Thousand &Fifty Six Only | 2.02 | 180 mm x 100 mm x 60 mm deep | item no.6 | 16 | Nos.
2.03 | Supplying and fixing suitable size GI/ plastic box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | item no.7 | 4 | Nos. | 606.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2425 | 2425 | INR Two Thousand Four Hundred & Twenty Five Only | 2.03 | Supplying and fixing suitable size GI/ plastic box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | item no.7 | 4 | Nos.
2.04 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.8 | 280 | Mtr. | 1103.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 309106 | 309106 | INR Three Lakh Nine Thousand One Hundred & Six Only | 2.04 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.8 | 280 | Mtr. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.9 | [52 empty] | 2.05 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.9
2.06 | 85 mm flexible cover | item no.10 | 280 | Mtr. | 487.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 136447 | 136447 | INR One Lakh Thirty Six Thousand Four Hundred & Forty Seven Only | 2.06 | 85 mm flexible cover | item no.10 | 280 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | End cap | item no.11 | 15 | Nos. | 218.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3275 | 3275 | INR Three Thousand Two Hundred & Seventy Five Only | 2.07 | End cap | item no.11 | 15 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.08 | separation partitions | item no.12 | 24 | Mtr. | 292.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7027 | 7027 | INR Seven Thousand &Twenty Seven Only | 2.08 | separation partitions | item no.12 | 24 | Mtr.
2.09 | Joints for 85mm width cover | item no.13 | 50 | Nos. | 253.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12675 | 12675 | INR Twelve Thousand Six Hundred & Seventy Five Only | 2.09 | Joints for 85mm width cover | item no.13 | 50 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | base joints | item no.14 | 21 | Nos. | 100.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2108 | 2108 | INR Two Thousand One Hundred & Eight Only | 2.1 | base joints | item no.14 | 21 | Nos.
3 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.15 | 365 | Mtr. | 255.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93276 | 93276 | INR Ninety Three Thousand Two Hundred & Seventy Six Only | 3 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.15 | 365 | Mtr.
3.01 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.16 | [52 empty] | 3.01 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.16
3.02 | End cap | item no.17 | 53 | Nos. | 168.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8938 | 8938 | INR Eight Thousand Nine Hundred & Thirty Eight Only | 3.02 | End cap | item no.17 | 53 | Nos.
3.03 | internal / external angle | item no.18 | 19 | Nos. | 162.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3086 | 3086 | INR Three Thousand &Eighty Six Only | 3.03 | internal / external angle | item no.18 | 19 | Nos.
3.04 | changeable flat angle | item no.19 | 4 | Nos. | 137.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 550 | 550 | INR Five Hundred & Fifty Only | 3.04 | changeable flat angle | item no.19 | 4 | Nos.
3.05 | flat junction | item no.20 | 2 | Nos. | 160.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 321 | 321 | INR Three Hundred & Twenty One Only | 3.05 | flat junction | item no.20 | 2 | Nos.
4 | Supply and fixing of 32 x 12.5 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.21 | 575 | Mtr. | 192.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110653 | 110653 | INR One Lakh Ten Thousand Six Hundred & Fifty Three Only | 4 | Supply and fixing of 32 x 12.5 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.21 | 575 | Mtr.
4.01 | Supply and fixing of following accessories suitable for 32 mm x 12.5 mm size plastic trunking white system. | item no.22 | [52 empty] | 4.01 | Supply and fixing of following accessories suitable for 32 mm x 12.5 mm size plastic trunking white system. | item no.22
4.02 | End cap | item no.23 | 90 | Nos. | 88.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8008 | 8008 | INR Eight Thousand &Eight Only | 4.02 | End cap | item no.23 | 90 | Nos.
4.03 | internal / external angle | item no.24 | 40 | Nos. | 114.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4594 | 4594 | INR Four Thousand Five Hundred & Ninety Four Only | 4.03 | internal / external angle | item no.24 | 40 | Nos.
4.04 | changeable flat angle | item no.25 | 45 | Nos. | 127.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5727 | 5727 | INR Five Thousand Seven Hundred & Twenty Seven Only | 4.04 | changeable flat angle | item no.25 | 45 | Nos.
4.05 | flat junction | item no.26 | 5 | Nos. | 162.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 812 | 812 | INR Eight Hundred & Twelve Only | 4.05 | flat junction | item no.26 | 5 | Nos.
4.06 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required. | item no.27 | [52 empty] | 4.06 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required. | item no.27
4.07 | 40 mm | item no.28 | 10 | Nos. | 139.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1397 | 1397 | INR One Thousand Three Hundred & Ninety Seven Only | 4.07 | 40 mm | item no.28 | 10 | Nos.
4.08 | Supply and laying of HDPE pipe ISI mark of 40 mm (8Kg / cm²) size outer dia, 2mm thick I/c cartage loading & unloading etc. as reqd. | item no.29 | [52 empty] | 4.08 | Supply and laying of HDPE pipe ISI mark of 40 mm (8Kg / cm²) size outer dia, 2mm thick I/c cartage loading & unloading etc. as reqd. | item no.29
4.09 | Direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.30 | 691 | Mtr. | 601.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 415374 | 415374 | INR Four Lakh Fifteen Thousand Three Hundred & Seventy Four Only | 4.09 | Direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.30 | 691 | Mtr.
4.1 | In Pipe | item no.31 | 95 | Mtr. | 241.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22902 | 22902 | INR Twenty Two Thousand Nine Hundred & Two Only | 4.1 | In Pipe | item no.31 | 95 | Mtr.
4.11 | In open duct | item no.32 | 20 | Mtr. | 228.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4573 | 4573 | INR Four Thousand Five Hundred & Seventy Three Only | 4.11 | In open duct | item no.32 | 20 | Mtr.
4.12 | On surface with MS clamp | item no.33 | 257 | Mtr. | 316.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81366 | 81366 | INR Eighty One Thousand Three Hundred & Sixty Six Only | 4.12 | On surface with MS clamp | item no.33 | 257 | Mtr.
4.13 | Laying UTP cable enhanced cat 5/ cat 6/ fiber cable in existing steel conduit pipe/GI pipe raceway/ HDPE pipe / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.34 | 11485 | Mtr. | 19.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 225795 | 225795 | INR Two Lakh Twenty Five Thousand Seven Hundred & Ninety Five Only | 4.13 | Laying UTP cable enhanced cat 5/ cat 6/ fiber cable in existing steel conduit pipe/GI pipe raceway/ HDPE pipe / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.34 | 11485 | Mtr.
5 | Dismentaling and refixing of wooden board of any sizess on surface or in recessed etc as reqd. | item no.35 | 3 | Nos. | 79.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 239 | 239 | INR Two Hundred & Thirty Nine Only | 5 | Dismentaling and refixing of wooden board of any sizess on surface or in recessed etc as reqd. | item no.35 | 3 | Nos.
5.01 | Dismantling and refixing of switch / socket /regulator I/c cleaning, connecting, commissioning etc as reqd. | item no.36 | 10 | Nos. | 19.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 197 | 197 | INR One Hundred & Ninety Seven Only | 5.01 | Dismantling and refixing of switch / socket /regulator I/c cleaning, connecting, commissioning etc as reqd. | item no.36 | 10 | Nos.
5.02 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.37 | 70 | Nos. | 85.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6011 | 6011 | INR Six Thousand &Eleven Only | 5.02 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.37 | 70 | Nos.
5.05 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.40 | 35 | Each | 525.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18396 | 18396 | INR Eighteen Thousand Three Hundred & Ninety Six Only | 5.05 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.40 | 35 | Each
5.06 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 metres. | item no.41 | 40 | Cum | 676.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27066 | 27066 | INR Twenty Seven Thousand &Sixty Six Only | 5.06 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 metres. | item no.41 | 40 | Cum
5.07 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | item no.42 | 13 | Cum | 5897.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76674 | 76674 | INR Seventy Six Thousand Six Hundred & Seventy Four Only | 5.07 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | item no.42 | 13 | Cum
6 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.43 | 75 | Sqm | 351.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26360 | 26360 | INR Twenty Six Thousand Three Hundred & Sixty Only | 6 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.43 | 75 | Sqm
6.01 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.44 | [52 empty] | 6.01 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.44
6.02 | 80 mm | item no.45 | 10 | Mtr. | 950.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9508 | 9508 | INR Nine Thousand Five Hundred & Eight Only | 6.02 | 80 mm | item no.45 | 10 | Mtr.
6.03 | Supply of permanently iubricated [PLB] HDPE DUCT pipe [ISI mark] IS:2530 with inner silicon lubricant layer of following OD40/ID33 mm size (6 Kg/cm2), 2mm thick I/c cartage loading & unloading etc. as reqd. | item no.46 | 4050 | Mtr. | 62.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 251424 | 251424 | INR Two Lakh Fifty One Thousand Four Hundred & Twenty Four Only | 6.03 | Supply of permanently iubricated [PLB] HDPE DUCT pipe [ISI mark] IS:2530 with inner silicon lubricant layer of following OD40/ID33 mm size (6 Kg/cm2), 2mm thick I/c cartage loading & unloading etc. as reqd. | item no.46 | 4050 | Mtr.
6.04 | Laying of one number Permanently lubricated [PLB] HDPE DUCT pipe [ISI mark] IS:4984:2016 of following OD40/ID33 MM SIZE (6 KG/CM2), direct in ground below upto 3.5 mtr. By HDD Machine as complete as required including submitting drawing details in the department for the same. | item no.47 | 4050 | Mtr. | 404.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1638387 | 1638387 | INR Sixteen Lakh Thirty Eight Thousand Three Hundred & Eighty Seven Only | 6.04 | Laying of one number Permanently lubricated [PLB] HDPE DUCT pipe [ISI mark] IS:4984:2016 of following OD40/ID33 MM SIZE (6 KG/CM2), direct in ground below upto 3.5 mtr. By HDD Machine as complete as required including submitting drawing details in the department for the same. | item no.47 | 4050 | Mtr.
7.01 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.49 | [52 empty] | 7.01 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.49
7.02 | Mini- trunking | item no.50 | 130 | Mtr. | 258.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33626 | 33626 | INR Thirty Three Thousand Six Hundred & Twenty Six Only | 7.02 | Mini- trunking | item no.50 | 130 | Mtr.
7.03 | End cap left or right | item no.51 | 25 | Nos. | 158.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3958 | 3958 | INR Three Thousand Nine Hundred & Fifty Eight Only | 7.03 | End cap left or right | item no.51 | 25 | Nos.
7.04 | Internal/ external angle | item no.52 | 32 | Nos. | 163.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5231 | 5231 | INR Five Thousand Two Hundred & Thirty One Only | 7.04 | Internal/ external angle | item no.52 | 32 | Nos.
7.05 | Flat angle | item no.53 | 25 | Nos. | 138.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3466 | 3466 | INR Three Thousand Four Hundred & Sixty Six Only | 7.05 | Flat angle | item no.53 | 25 | Nos.
7.06 | Flat junction | item no.54 | 25 | Nos. | 161.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4035 | 4035 | INR Four Thousand &Thirty Five Only | 7.06 | Flat junction | item no.54 | 25 | Nos.
7.07 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item no.55 | [52 empty] | 7.07 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item no.55
7.08 | 20 x 12 mm | item no.56 | 10 | Mtr. | 84.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 848 | 848 | INR Eight Hundred & Forty Eight Only | 7.08 | 20 x 12 mm | item no.56 | 10 | Mtr.
7.09 | 25 x 16 mm | item no.57 | 10 | Mtr. | 93.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 931 | 931 | INR Nine Hundred & Thirty One Only | 7.09 | 25 x 16 mm | item no.57 | 10 | Mtr.
Total in Figures | [51 empty] | 3662334 | 3662334 | Thirty Six Lakh Sixty Two Thousand Three Hundred & Thirty Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information