## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Civil repairing and renovation works in CC building at IIT Kanpur
NIT No: Civil/17/01/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CEMENT CONCRETE (CAST IN SITU) | item no.1 | [52 empty] | 1 | CEMENT CONCRETE (CAST IN SITU) | item no.1
2 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.2 | [52 empty] | 2 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.2
3 | 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.3 | 0.2 | cum | 8587.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1717.45 | 1717.45 | INR One Thousand Seven Hundred & Seventeen and Paise Forty Five Only | 3 | 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.3 | 0.2 | cum
4 | REINFORCED CEMENT CONCRETE | item no.4 | [52 empty] | 4 | REINFORCED CEMENT CONCRETE | item no.4
5 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.5 | [52 empty] | 5 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.5
6 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.6 | 0.5 | sqm | 587.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293.54 | 293.54 | INR Two Hundred & Ninety Three and Paise Fifty Four Only | 6 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.6 | 0.5 | sqm
7 | WOOD AND P. V. C. WORK | item no.7 | [52 empty] | 7 | WOOD AND P. V. C. WORK | item no.7
8 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.8 | [52 empty] | 8 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.8
9 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.9 | 22 | sqm | 1576.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34676.18 | 34676.18 | INR Thirty Four Thousand Six Hundred & Seventy Six and Paise Eighteen Only | 9 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.9 | 22 | sqm
10 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.10 | 34 | kg | 116.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3975.28 | 3975.28 | INR Three Thousand Nine Hundred & Seventy Five and Paise Twenty Eight Only | 10 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.10 | 34 | kg
11 | STEEL WORK | item no.11 | [52 empty] | 11 | STEEL WORK | item no.11
12 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.12 | [52 empty] | 12 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.12
13 | 10 x 80 mm | item no.13 | 40 | each | 102.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4114 | 4114 | INR Four Thousand One Hundred & Fourteen Only | 13 | 10 x 80 mm | item no.13 | 40 | each
14 | ROOFING | item no.14 | [52 empty] | 14 | ROOFING | item no.14
15 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item no.15 | [52 empty] | 15 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item no.15
16 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | item no.16 | 10 | sqm | 1004.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10047.8 | 10047.8 | INR Ten Thousand &Forty Seven and Paise Eighty Only | 16 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | item no.16 | 10 | sqm
17 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.17 | [52 empty] | 17 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.17
18 | GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | item no.18 | 20 | sqm | 1395.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27912.4 | 27912.4 | INR Twenty Seven Thousand Nine Hundred & Twelve and Paise Forty Only | 18 | GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | item no.18 | 20 | sqm
19 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.19 | 81.5 | sqm | 1708.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 139272.09 | 139272.09 | INR One Lakh Thirty Nine Thousand Two Hundred & Seventy Two and Paise Nine Only | 19 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.19 | 81.5 | sqm
20 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.20 | 22 | sqm | 269.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5928.78 | 5928.78 | INR Five Thousand Nine Hundred & Twenty Eight and Paise Seventy Eight Only | 20 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.20 | 22 | sqm
21 | FINISHING | item no.21 | [52 empty] | 21 | FINISHING | item no.21
22 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.22 | [52 empty] | 22 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.22
23 | Two or more coats on new work | item no.23 | 170 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13824.4 | 13824.4 | INR Thirteen Thousand Eight Hundred & Twenty Four and Paise Forty Only | 23 | Two or more coats on new work | item no.23 | 170 | sqm
24 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.24 | 170 | sqm | 108.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18456.9 | 18456.9 | INR Eighteen Thousand Four Hundred & Fifty Six and Paise Ninety Only | 24 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.24 | 170 | sqm
25 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.25 | [52 empty] | 25 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.25
26 | Old work (one or more coats) | item no.26 | 203 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10109.4 | 10109.4 | INR Ten Thousand One Hundred & Nine and Paise Forty Only | 26 | Old work (one or more coats) | item no.26 | 203 | sqm
27 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.27 | [52 empty] | 27 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.27
28 | One or more coats on old work | item no.28 | 15 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1138.35 | 1138.35 | INR One Thousand One Hundred & Thirty Eight and Paise Thirty Five Only | 28 | One or more coats on old work | item no.28 | 15 | sqm
29 | REPAIRS TO BUILDING | item no.29 | [52 empty] | 29 | REPAIRS TO BUILDING | item no.29
30 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.30 | [52 empty] | 30 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.30
31 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.31 | 4 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1676.44 | 1676.44 | INR One Thousand Six Hundred & Seventy Six and Paise Forty Four Only | 31 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.31 | 4 | sqm
32 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item no.33 | [52 empty] | 32 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item no.33
33 | For door/ window/ clerestory window | item no.34 | 2 | sqm | 917.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1835.94 | 1835.94 | INR One Thousand Eight Hundred & Thirty Five and Paise Ninety Four Only | 33 | For door/ window/ clerestory window | item no.34 | 2 | sqm
34 | Dismantling and Demolishing | item no.35 | [52 empty] | 34 | Dismantling and Demolishing | item no.35
35 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.36 | 47 | sqm | 40.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1916.19 | 1916.19 | INR One Thousand Nine Hundred & Sixteen and Paise Nineteen Only | 35 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.36 | 47 | sqm
36 | WATER SUPPLY | item no.37 | [52 empty] | 36 | WATER SUPPLY | item no.37
37 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.38 | [52 empty] | 37 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.38
38 | 20 mm dia nominal bore | item no.39 | 6 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1964.16 | 1964.16 | INR One Thousand Nine Hundred & Sixty Four and Paise Sixteen Only | 38 | 20 mm dia nominal bore | item no.39 | 6 | metre
39 | 32 mm dia nominal bore | item no.40 | 14 | metre | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6918.38 | 6918.38 | INR Six Thousand Nine Hundred & Eighteen and Paise Thirty Eight Only | 39 | 32 mm dia nominal bore | item no.40 | 14 | metre
40 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.41 | [52 empty] | 40 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.41
41 | 25 to 40 mm nominal bore | item no.42 | 2 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1327.66 | 1327.66 | INR One Thousand Three Hundred & Twenty Seven and Paise Sixty Six Only | 41 | 25 to 40 mm nominal bore | item no.42 | 2 | each
42 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.43 | [52 empty] | 42 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.43
43 | 20 mm nominal bore | item no.44 | 1 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 404.87 | 404.87 | INR Four Hundred & Four and Paise Eighty Seven Only | 43 | 20 mm nominal bore | item no.44 | 1 | each
44 | 32 mm nominal bore. | item no.45 | 1 | each | 517.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 517.23 | 517.23 | INR Five Hundred & Seventeen and Paise Twenty Three Only | 44 | 32 mm nominal bore. | item no.45 | 1 | each
45 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | item no.46 | [52 empty] | 45 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | item no.46
46 | 20 mm nominal bore | item no.47 | 1 | each | 348.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 348.49 | 348.49 | INR Three Hundred & Forty Eight and Paise Forty Nine Only | 46 | 20 mm nominal bore | item no.47 | 1 | each
47 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.48 | [52 empty] | 47 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.48
48 | 20 mm nominal bore | item no.49 | 1 | each | 622.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 622.27 | 622.27 | INR Six Hundred & Twenty Two and Paise Twenty Seven Only | 48 | 20 mm nominal bore | item no.49 | 1 | each
49 | 32 mm nominal bore | item no.50 | 1 | each | 727.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 727.84 | 727.84 | INR Seven Hundred & Twenty Seven and Paise Eighty Four Only | 49 | 32 mm nominal bore | item no.50 | 1 | each
50 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | item no.51 | 1000 | per litre | 8.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8510 | 8510 | INR Eight Thousand Five Hundred & Ten Only | 50 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | item no.51 | 1000 | per litre
51 | MINOR CIVIL MAINTENANCE WORK: | item no.52 | [52 empty] | 51 | MINOR CIVIL MAINTENANCE WORK: | item no.52
52 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.53 | 59 | Sqm | 42.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2493.34 | 2493.34 | INR Two Thousand Four Hundred & Ninety Three and Paise Thirty Four Only | 52 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.53 | 59 | Sqm
53 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | item no.54 | 59 | Sqm | 574.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33915.56 | 33915.56 | INR Thirty Three Thousand Nine Hundred & Fifteen and Paise Fifty Six Only | 53 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | item no.54 | 59 | Sqm
54 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.55 | 12 | Each | 51.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 619.44 | 619.44 | INR Six Hundred & Nineteen and Paise Forty Four Only | 54 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.55 | 12 | Each
Total in Figures | [51 empty] | 335264 | 335264 | Three Lakh Thirty Five Thousand Two Hundred & Sixty Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information