## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Renovation works in TA-202 lab to establish the Fluid Mechanics Laboratory at IIT Kanpur (SH: Civil and Electrical)
NIT No: Composite/01/03/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CEMENT CONCRETE (CAST IN SITU) | item no.1 | [52 empty] | 1.01 | Supply installation testing and commissioning of cubical type LT panel-01 (IEC 61439 ) suitable for 4000Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.1 | 1 | CEMENT CONCRETE (CAST IN SITU) | item no.1
2 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.2 | [52 empty] | 1.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter (on all incomer and outgoing feeders) to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.2 | 2 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.2
3 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.3 | 2 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12916 | 12916 | INR Twelve Thousand Nine Hundred & Sixteen Only | 1.03 | Incoming | item no.3 | 3 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.3 | 2 | cum
4 | REINFORCED CEMENT CONCRETE | item no.4 | [52 empty] | 1.04 | 2 No's 4000A, FP, EDO,50KA, ACB with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. suitable to connect with the bus duct and through cables. ABB-Emax2/ Schneider MTZ/Siemens 3VA | item no.4 | 4 | REINFORCED CEMENT CONCRETE | item no.4
5 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.5 | 3.4 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31956 | 31956 | INR Thirty One Thousand Nine Hundred & Fifty Six Only | 1.05 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-4000/5A, Cl1.0, 15KVA cast rasin for metering, protection CTs 4000/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.5 | 5 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.5 | 3.4 | cum
6 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.6 | [52 empty] | 1.06 | Both Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.6 | 6 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.6
7 | Shelves (Cast in situ) | item no.7 | 2 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1344 | 1344 | INR One Thousand Three Hundred & Forty Four Only |  |  |  | 7 | Shelves (Cast in situ) | item no.7 | 2 | sqm
8 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.8 | 38.5 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20536 | 20536 | INR Twenty Thousand Five Hundred & Thirty Six Only |  |  |  | 8 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.8 | 38.5 | sqm
9 | Columns, Pillars, Piers, Abutments, Posts and Struts | item no.9 | 23 | sqm | 705.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16219 | 16219 | INR Sixteen Thousand Two Hundred & Nineteen Only |  |  |  | 9 | Columns, Pillars, Piers, Abutments, Posts and Struts | item no.9 | 23 | sqm
10 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.10 | [55 empty] | 10 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.10
11 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.11 | 415 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32623 | 32623 | INR Thirty Two Thousand Six Hundred & Twenty Three Only |  |  |  | 11 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.11 | 415 | kg
12 | MASONRY WORK | item no.12 | [55 empty] | 12 | MASONRY WORK | item no.12
13 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.13 | [55 empty] | 13 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.13
14 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.14 | 0.5 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3634 | 3634 | INR Three Thousand Six Hundred & Thirty Four Only |  |  |  | 14 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.14 | 0.5 | cum
15 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | item no.15 | 7 | sqm | 718.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5028 | 5028 | INR Five Thousand &Twenty Eight Only |  |  |  | 15 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | item no.15 | 7 | sqm
16 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.16 | [55 empty] | 16 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.16
17 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.17 | 34 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30349 | 30349 | INR Thirty Thousand Three Hundred & Forty Nine Only |  |  |  | 17 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.17 | 34 | sqm
18 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.18 | [55 empty] | 18 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.18
19 | Above plinth level upto floor V level | item no.19 | 0.64 | cum | 7510.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4807 | 4807 | INR Four Thousand Eight Hundred & Seven Only |  |  |  | 19 | Above plinth level upto floor V level | item no.19 | 0.64 | cum
20 | Providing and laying Autoclaved Aerated Concrete (AAC) blocks masonry 100 mm / 125mm thick with Grade 1 AAC blocks of density 551 to 650 kg/cum conforming to IS: 2185 (Part 3) in super structure above plinth level up to floor V level in cement mortar 1:4 (1 cement : 4 coarse sand). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work. | item no.20 | 13.5 | cum | 7795.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 105240 | 105240 | INR One Lakh Five Thousand Two Hundred & Forty Only |  |  |  | 20 | Providing and laying Autoclaved Aerated Concrete (AAC) blocks masonry 100 mm / 125mm thick with Grade 1 AAC blocks of density 551 to 650 kg/cum conforming to IS: 2185 (Part 3) in super structure above plinth level up to floor V level in cement mortar 1:4 (1 cement : 4 coarse sand). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work. | item no.20 | 13.5 | cum
21 | CLADDING WORK | item no.21 | [55 empty] | 21 | CLADDING WORK | item no.21
22 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.22 | [55 empty] | 22 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.22
23 | Granite stone slab colour black, Cherry/Ruby red | item no.23 | [55 empty] | 23 | Granite stone slab colour black, Cherry/Ruby red | item no.23
24 | Area of slab over 0.50 sqm | item no.24 | 1.5 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5820 | 5820 | INR Five Thousand Eight Hundred & Twenty Only |  |  |  | 24 | Area of slab over 0.50 sqm | item no.24 | 1.5 | sqm
25 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.25 | 2 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1417 | 1417 | INR One Thousand Four Hundred & Seventeen Only |  |  |  | 25 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.25 | 2 | each
26 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.26 | 5.3 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4942 | 4942 | INR Four Thousand Nine Hundred & Forty Two Only |  |  |  | 26 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.26 | 5.3 | sqm
27 | WOOD AND P. V. C. WORK | item no.27 | [55 empty] | 27 | WOOD AND P. V. C. WORK | item no.27
28 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.28 | [55 empty] | 28 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.28
29 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.29 | 8.5 | sqm | 1767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15023 | 15023 | INR Fifteen Thousand &Twenty Three Only |  |  |  | 29 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.29 | 8.5 | sqm
30 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.30 | [55 empty] | 30 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.30
31 | Rectangular or square | item no.31 | 8.5 | sqm | 152.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1296 | 1296 | INR One Thousand Two Hundred & Ninety Six Only |  |  |  | 31 | Rectangular or square | item no.31 | 8.5 | sqm
32 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.32 | 6.3 | sqm | 82.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 517 | 517 | INR Five Hundred & Seventeen Only |  |  |  | 32 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.32 | 6.3 | sqm
33 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.33 | 3 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2698 | 2698 | INR Two Thousand Six Hundred & Ninety Eight Only |  |  |  | 33 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.33 | 3 | each
34 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.34 | [55 empty] | 34 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.34
35 | 300x16 mm | item no.35 | 3 | each | 228.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 685 | 685 | INR Six Hundred & Eighty Five Only |  |  |  | 35 | 300x16 mm | item no.35 | 3 | each
36 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.36 | [55 empty] | 36 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.36
37 | 250x10 mm | item no.37 | 6 | each | 91.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 549 | 549 | INR Five Hundred & Forty Nine Only |  |  |  | 37 | 250x10 mm | item no.37 | 6 | each
38 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.38 | [55 empty] | 38 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.38
39 | 125 mm | item no.39 | 10 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 527 | 527 | INR Five Hundred & Twenty Seven Only |  |  |  | 39 | 125 mm | item no.39 | 10 | each
40 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.40 | [55 empty] | 40 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.40
41 | Twin rubber stopper | item no.41 | 3 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 164 | 164 | INR One Hundred & Sixty Four Only |  |  |  | 41 | Twin rubber stopper | item no.41 | 3 | each
42 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter by with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | item no.42 | 7 | each | 15.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 108 | 108 | INR One Hundred & Eight Only |  |  |  | 42 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter by with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | item no.42 | 7 | each
43 | STEEL WORK | item no.43 | [55 empty] | 43 | STEEL WORK | item no.43
44 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.44 | [55 empty] | 44 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.44
45 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.45 | 44.5 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5552 | 5552 | INR Five Thousand Five Hundred & Fifty Two Only |  |  |  | 45 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.45 | 44.5 | kg
46 | FLOORING | item no.46 | [55 empty] | 46 | FLOORING | item no.46
47 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.47 | [55 empty] | 47 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.47
48 | 40 mm thick with 20 mm nominal size stone aggregate | item no.48 | 13.5 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6451 | 6451 | INR Six Thousand Four Hundred & Fifty One Only |  |  |  | 48 | 40 mm thick with 20 mm nominal size stone aggregate | item no.48 | 13.5 | sqm
49 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.49 | [55 empty] | 49 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.49
50 | 18 mm thick | item no.50 | 21 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10509 | 10509 | INR Ten Thousand Five Hundred & Nine Only |  |  |  | 50 | 18 mm thick | item no.50 | 21 | sqm
51 | ROOFING | item no.51 | [55 empty] | 51 | ROOFING | item no.51
52 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.52 | [55 empty] | 52 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.52
53 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.53 | 16.5 | sqm | 1708.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28196 | 28196 | INR Twenty Eight Thousand One Hundred & Ninety Six Only |  |  |  | 53 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.53 | 16.5 | sqm
54 | FINISHING | item no.54 | [55 empty] | 54 | FINISHING | item no.54
55 | 12 mm cement plaster of mix : | item no.55 | [55 empty] | 55 | 12 mm cement plaster of mix : | item no.55
56 | 1:6 (1 cement: 6 coarse sand) | item no.56 | 87 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22454 | 22454 | INR Twenty Two Thousand Four Hundred & Fifty Four Only |  |  |  | 56 | 1:6 (1 cement: 6 coarse sand) | item no.56 | 87 | sqm
57 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.57 | [55 empty] | 57 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.57
58 | 1:6 (1 cement: 6 coarse sand) | item no.58 | 87 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25868 | 25868 | INR Twenty Five Thousand Eight Hundred & Sixty Eight Only |  |  |  | 58 | 1:6 (1 cement: 6 coarse sand) | item no.58 | 87 | sqm
59 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.59 | [55 empty] | 59 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.59
60 | Two or more coats on new work | item no.60 | 850 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 69122 | 69122 | INR Sixty Nine Thousand One Hundred & Twenty Two Only |  |  |  | 60 | Two or more coats on new work | item no.60 | 850 | sqm
61 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.61 | [55 empty] | 61 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.61
62 | Two or more coats on new work | item no.62 | 5.04 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 581 | 581 | INR Five Hundred & Eighty One Only |  |  |  | 62 | Two or more coats on new work | item no.62 | 5.04 | sqm
63 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.63 | [55 empty] | 63 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.63
64 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.64 | 20 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3356 | 3356 | INR Three Thousand Three Hundred & Fifty Six Only |  |  |  | 64 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.64 | 20 | sqm
65 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ perlite respectively conforming to IS: 2547 (Part - 1 & II) 1976, applied on hacked / uneven background such as bare brick/ block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | item no.65 | 291.6 | sqm | 318.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 92927 | 92927 | INR Ninety Two Thousand Nine Hundred & Twenty Seven Only |  |  |  | 65 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ perlite respectively conforming to IS: 2547 (Part - 1 & II) 1976, applied on hacked / uneven background such as bare brick/ block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | item no.65 | 291.6 | sqm
66 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.66 | 850 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 92302 | 92302 | INR Ninety Two Thousand Three Hundred & Two Only |  |  |  | 66 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.66 | 850 | sqm
67 | Dismantling and Demolishing | item no.67 | [55 empty] | 67 | Dismantling and Demolishing | item no.67
68 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.68 | [55 empty] | 68 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.68
69 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.69 | 2.5 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4400 | 4400 | INR Four Thousand Four Hundred Only |  |  |  | 69 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.69 | 2.5 | cum
70 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.70 | 0.25 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 642 | 642 | INR Six Hundred & Forty Two Only |  |  |  | 70 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.70 | 0.25 | cum
71 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.71 | [55 empty] | 71 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.71
72 | In cement mortar | item no.72 | 7.95 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11839 | 11839 | INR Eleven Thousand Eight Hundred & Thirty Nine Only |  |  |  | 72 | In cement mortar | item no.72 | 7.95 | cum
73 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.73 | [55 empty] | 73 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.73
74 | Of area 3 sq. metres and below | item no.74 | 3 | each | 265.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 796 | 796 | INR Seven Hundred & Ninety Six Only |  |  |  | 74 | Of area 3 sq. metres and below | item no.74 | 3 | each
75 | Dismantling expanded metal or I.R.C. fabrics with necessary battens and beading including stacking the serviceable material within 50 metres lead. | item no.75 | 24.48 | sqm | 54.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1342 | 1342 | INR One Thousand Three Hundred & Forty Two Only |  |  |  | 75 | Dismantling expanded metal or I.R.C. fabrics with necessary battens and beading including stacking the serviceable material within 50 metres lead. | item no.75 | 24.48 | sqm
76 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.76 | 110 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4345 | 4345 | INR Four Thousand Three Hundred & Forty Five Only |  |  |  | 76 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.76 | 110 | sqm
77 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.77 | 13.2 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2539 | 2539 | INR Two Thousand Five Hundred & Thirty Nine Only |  |  |  | 77 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.77 | 13.2 | cum
78 | SANITARY INSTALLATIONS | item no.78 | [55 empty] | 78 | SANITARY INSTALLATIONS | item no.78
79 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.79 | [55 empty] | 79 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.79
80 | Size 600x450x200 mm | item no.80 | 2 | each | 3060.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6120 | 6120 | INR Six Thousand One Hundred & Twenty Only |  |  |  | 80 | Size 600x450x200 mm | item no.80 | 2 | each
81 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.81 | [55 empty] | 81 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.81
82 | Flexible pipe | item no.82 | [55 empty] | 82 | Flexible pipe | item no.82
83 | 32 mm dia | item no.83 | 2 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 183 | 183 | INR One Hundred & Eighty Three Only |  |  |  | 83 | 32 mm dia | item no.83 | 2 | each
84 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | item no.84 | 10 | each | 39.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 397 | 397 | INR Three Hundred & Ninety Seven Only |  |  |  | 84 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | item no.84 | 10 | each
85 | Providing and fixing soil, waste and vent pipes : | item no.85 | [55 empty] | 85 | Providing and fixing soil, waste and vent pipes : | item no.85
86 | 100 mm dia | item no.86 | [55 empty] | 86 | 100 mm dia | item no.86
87 | Sand cast iron S&S pipe as per IS: 1729 | item no.87 | 23 | metre | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20530 | 20530 | INR Twenty Thousand Five Hundred & Thirty Only |  |  |  | 87 | Sand cast iron S&S pipe as per IS: 1729 | item no.87 | 23 | metre
88 | Providing and fixing single equal plain junction of required degree : | item no.88 | [55 empty] | 88 | Providing and fixing single equal plain junction of required degree : | item no.88
89 | 100x100x100 mm | item no.89 | [55 empty] | 89 | 100x100x100 mm | item no.89
90 | Sand cast iron S&S as per IS - 1729 | item no.90 | 9 | each | 508.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4578 | 4578 | INR Four Thousand Five Hundred & Seventy Eight Only | 1.07 | Bus bar: 1 No.4000 A, 50HZ, FP, Aliminium Bus Bar | item no.7 | 90 | Sand cast iron S&S as per IS - 1729 | item no.90 | 9 | each
91 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.91 | [52 empty] | 1.08 | OutGoing: | item no.8 | 91 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.91
92 | 100 mm | item no.92 | 26 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12530 | 12530 | INR Twelve Thousand Five Hundred & Thirty Only | 1.09 | 2 nos.2500 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.9 | 92 | 100 mm | item no.92 | 26 | each
93 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.93 | [52 empty] | 1.1 | 2 nos.1600 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.10 | 93 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.93
94 | 100 mm inlet and 100 mm outlet | item no.94 | [52 empty] | 1.11 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-3Nos, FP Spreader(8x3=24Nos) for MCCB 800A- 3 Nos | item no.11 | 94 | 100 mm inlet and 100 mm outlet | item no.94
95 | Sand cast iron S&S as per IS: 3989 | item no.95 | 2 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2813 | 2813 | INR Two Thousand Eight Hundred & Thirteen Only | 1.12 | 2 nos. 630 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-2Nos, FP Spreader(8x2=16Nos) for MCCB 630A- 2Nos | item no.12 | 95 | Sand cast iron S&S as per IS: 3989 | item no.95 | 2 | each
96 | Providing and fixing PTMT Waste Coupling for wash basin and sink, of approved quality and colour. | item no.96 | [55 empty] | 96 | Providing and fixing PTMT Waste Coupling for wash basin and sink, of approved quality and colour. | item no.96
97 | Waste coupling 31 mm dia of 79 mm length and 62mm breadth weighing not less than 45 gms | item no.97 | 2 | each | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 181 | 181 | INR One Hundred & Eighty One Only |  |  |  | 97 | Waste coupling 31 mm dia of 79 mm length and 62mm breadth weighing not less than 45 gms | item no.97 | 2 | each
98 | WATER SUPPLY | item no.98 | [55 empty] | 98 | WATER SUPPLY | item no.98
99 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.99 | [55 empty] | 99 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.99
100 | 20 mm dia nominal bore | item no.100 | 28 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9166 | 9166 | INR Nine Thousand One Hundred & Sixty Six Only |  |  |  | 100 | 20 mm dia nominal bore | item no.100 | 28 | metre
101 | 25 mm dia nominal bore | item no.101 | 16 | metre | 430.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6891 | 6891 | INR Six Thousand Eight Hundred & Ninety One Only |  |  |  | 101 | 25 mm dia nominal bore | item no.101 | 16 | metre
102 | 32 mm dia nominal bore | item no.102 | 3 | metre | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1483 | 1483 | INR One Thousand Four Hundred & Eighty Three Only |  |  |  | 102 | 32 mm dia nominal bore | item no.102 | 3 | metre
103 | 40 mm dia nominal bore | item no.103 | 8 | metre | 635.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5087 | 5087 | INR Five Thousand &Eighty Seven Only |  |  |  | 103 | 40 mm dia nominal bore | item no.103 | 8 | metre
104 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.104 | [55 empty] | 104 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.104
105 | 15 mm dia nominal bore | item no.105 | 2 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 851 | 851 | INR Eight Hundred & Fifty One Only |  |  |  | 105 | 15 mm dia nominal bore | item no.105 | 2 | metre
106 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.106 | [55 empty] | 106 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.106
107 | 25 to 40 mm nominal bore | item no.107 | 2 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1328 | 1328 | INR One Thousand Three Hundred & Twenty Eight Only |  |  |  | 107 | 25 to 40 mm nominal bore | item no.107 | 2 | each
108 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.108 | [55 empty] | 108 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.108
109 | 25 mm nominal bore | item no.109 | 1 | each | 466.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 467 | 467 | INR Four Hundred & Sixty Seven Only |  |  |  | 109 | 25 mm nominal bore | item no.109 | 1 | each
110 | 20 mm nominal bore | item no.110 | 2 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 810 | 810 | INR Eight Hundred & Ten Only |  |  |  | 110 | 20 mm nominal bore | item no.110 | 2 | each
111 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.111 | [55 empty] | 111 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.111
112 | 20 mm nominal bore | item no.112 | 4 | each | 622.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2489 | 2489 | INR Two Thousand Four Hundred & Eighty Nine Only |  |  |  | 112 | 20 mm nominal bore | item no.112 | 4 | each
113 | 25 mm nominal bore | item no.113 | 2 | each | 692.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1385 | 1385 | INR One Thousand Three Hundred & Eighty Five Only |  |  |  | 113 | 25 mm nominal bore | item no.113 | 2 | each
114 | 32 mm nominal bore | item no.114 | 1 | each | 727.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 728 | 728 | INR Seven Hundred & Twenty Eight Only |  |  |  | 114 | 32 mm nominal bore | item no.114 | 1 | each
115 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.115 | [55 empty] | 115 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.115
116 | 15 mm nominal bore | item no.116 | 8 | each | 626.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5016 | 5016 | INR Five Thousand &Sixteen Only |  |  |  | 116 | 15 mm nominal bore | item no.116 | 8 | each
117 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.117 | [55 empty] | 117 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.117
118 | 15 mm nominal bore | item no.118 | 2 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1242 | 1242 | INR One Thousand Two Hundred & Forty Two Only |  |  |  | 118 | 15 mm nominal bore | item no.118 | 2 | each
119 | DRAINAGE | item no.119 | [55 empty] | 119 | DRAINAGE | item no.119
120 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.120 | [55 empty] | 120 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.120
121 | For pipes 100 to 250 mm diameter | item no.121 | 2 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1199 | 1199 | INR One Thousand One Hundred & Ninety Nine Only |  |  |  | 121 | For pipes 100 to 250 mm diameter | item no.121 | 2 | each
122 | ALUMINIUM WORK | item no.122 | [55 empty] | 122 | ALUMINIUM WORK | item no.122
123 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.123 | [55 empty] | 123 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.123
124 | For fixed portion | item no.124 | [55 empty] | 124 | For fixed portion | item no.124
125 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.125 | 75 | kg | 380.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28537 | 28537 | INR Twenty Eight Thousand Five Hundred & Thirty Seven Only |  |  |  | 125 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.125 | 75 | kg
126 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.126 | [55 empty] | 126 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.126
127 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.127 | 105 | kg | 466.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48960 | 48960 | INR Forty Eight Thousand Nine Hundred & Sixty Only |  |  |  | 127 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.127 | 105 | kg
128 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer- in-charge. | item no.128 | [55 empty] | 128 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer- in-charge. | item no.128
129 | Pre-laminated particle board with decorative lamination on both sides | item no.129 | 5 | sqm | 833.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4169 | 4169 | INR Four Thousand One Hundred & Sixty Nine Only |  |  |  | 129 | Pre-laminated particle board with decorative lamination on both sides | item no.129 | 5 | sqm
130 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.130 | [55 empty] | 130 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.130
131 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.131 | 11.5 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13366 | 13366 | INR Thirteen Thousand Three Hundred & Sixty Six Only |  |  |  | 131 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.131 | 11.5 | sqm
132 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | item no.132 | 6 | each | 394.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2365 | 2365 | INR Two Thousand Three Hundred & Sixty Five Only |  |  |  | 132 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | item no.132 | 6 | each
133 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. | item no.133 | [55 empty] | 133 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. | item no.133
134 | Anodized (AC 15) aluminium | item no.134 | 14 | each | 64.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 903 | 903 | INR Nine Hundred & Three Only |  |  |  | 134 | Anodized (AC 15) aluminium | item no.134 | 14 | each
135 | MINOR CIVIL MAINTENANCE WORK | item no.135 | [55 empty] | 135 | MINOR CIVIL MAINTENANCE WORK | item no.135
136 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | item no.136 | 233 | 0 sqm | 583.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 135979 | 135979 | INR One Lakh Thirty Five Thousand Nine Hundred & Seventy Nine Only |  |  |  | 136 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | item no.136 | 233 | 0 sqm
137 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.137 | 124 | sqm | 98.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12166 | 12166 | INR Twelve Thousand One Hundred & Sixty Six Only |  |  |  | 137 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.137 | 124 | sqm
138 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item no.138 | [55 empty] | 138 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item no.138
139 | Group C | item no.139 | 5 | Point | 1617.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8089 | 8089 | INR Eight Thousand &Eighty Nine Only |  |  |  | 139 | Group C | item no.139 | 5 | Point
140 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item no.140 | [55 empty] | 140 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item no.140
141 | Group C | item no.141 | 25 | Point | 783.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19597 | 19597 | INR Nineteen Thousand Five Hundred & Ninety Seven Only |  |  |  | 141 | Group C | item no.141 | 25 | Point
142 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.142 | [55 empty] | 142 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.142
143 | 3 x 1.5 sq. mm | item no.143 | 25 | Metre | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2083 | 2083 | INR Two Thousand &Eighty Three Only |  |  |  | 143 | 3 x 1.5 sq. mm | item no.143 | 25 | Metre
144 | 3 x 4 sq. mm | item no.144 | 200 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36124 | 36124 | INR Thirty Six Thousand One Hundred & Twenty Four Only |  |  |  | 144 | 3 x 4 sq. mm | item no.144 | 200 | Metre
145 | 3 x 10 sq.mm. | item no.145 | 35 | Meter | 509.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17830 | 17830 | INR Seventeen Thousand Eight Hundred & Thirty Only |  |  |  | 145 | 3 x 10 sq.mm. | item no.145 | 35 | Meter
146 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.146 | 10 | Meter | 228.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2289 | 2289 | INR Two Thousand Two Hundred & Eighty Nine Only |  |  |  | 146 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.146 | 10 | Meter
147 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.147 | [55 empty] | 147 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.147
148 | End cap | item no.148 | 2 | Nos. | 151.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 303 | 303 | INR Three Hundred & Three Only |  |  |  | 148 | End cap | item no.148 | 2 | Nos.
149 | internal / external angle | item no.149 | 4 | Nos. | 146.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 586 | 586 | INR Five Hundred & Eighty Six Only |  |  |  | 149 | internal / external angle | item no.149 | 4 | Nos.
150 | changeable flat angle | item no.150 | 3 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 371 | 371 | INR Three Hundred & Seventy One Only |  |  |  | 150 | changeable flat angle | item no.150 | 3 | Nos.
151 | flat junction | item no.151 | 1 | Nos. | 144.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 145 | 145 | INR One Hundred & Forty Five Only |  |  |  | 151 | flat junction | item no.151 | 1 | Nos.
152 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.152 | 40 | Meter | 980.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39211 | 39211 | INR Thirty Nine Thousand Two Hundred & Eleven Only |  |  |  | 152 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.152 | 40 | Meter
153 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.153 | [55 empty] | 153 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.153
154 | 85 mm flexible cover | item no.154 | 38 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16426 | 16426 | INR Sixteen Thousand Four Hundred & Twenty Six Only |  |  |  | 154 | 85 mm flexible cover | item no.154 | 38 | Meter
155 | End cap | item no.155 | 4 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 779 | 779 | INR Seven Hundred & Seventy Nine Only |  |  |  | 155 | End cap | item no.155 | 4 | Nos.
156 | Internal angles- adjustable from 80°-100° | item no.156 | 3 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1618 | 1618 | INR One Thousand Six Hundred & Eighteen Only |  |  |  | 156 | Internal angles- adjustable from 80°-100° | item no.156 | 3 | Nos.
157 | external angles- adjustable from 60°-120° | item no.157 | 3 | Nos. | 551.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1655 | 1655 | INR One Thousand Six Hundred & Fifty Five Only |  |  |  | 157 | external angles- adjustable from 60°-120° | item no.157 | 3 | Nos.
158 | flat junction | item no.158 | 1 | Nos. | 939.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 939 | 939 | INR Nine Hundred & Thirty Nine Only |  |  |  | 158 | flat junction | item no.158 | 1 | Nos.
159 | flat angles | item no.159 | 4 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3051 | 3051 | INR Three Thousand &Fifty One Only |  |  |  | 159 | flat angles | item no.159 | 4 | Nos.
160 | separation partitions | item no.160 | 30 | Meter | 260.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7812 | 7812 | INR Seven Thousand Eight Hundred & Twelve Only |  |  |  | 160 | separation partitions | item no.160 | 30 | Meter
161 | Joints for 85mm width cover | item no.161 | 16 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3591 | 3591 | INR Three Thousand Five Hundred & Ninety One Only |  |  |  | 161 | Joints for 85mm width cover | item no.161 | 16 | Nos.
162 | base joints | item no.162 | 36 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3251 | 3251 | INR Three Thousand Two Hundred & Fifty One Only |  |  |  | 162 | base joints | item no.162 | 36 | Nos.
163 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.163 | [55 empty] | 163 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.163
164 | 25 mm | item no.164 | 5 | Meter | 71.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 355 | 355 | INR Three Hundred & Fifty Five Only |  |  |  | 164 | 25 mm | item no.164 | 5 | Meter
165 | 32 mm | item no.165 | 5 | Meter | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 417 | 417 | INR Four Hundred & Seventeen Only |  |  |  | 165 | 32 mm | item no.165 | 5 | Meter
166 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.166 | [55 empty] | 166 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.166
167 | 3 module | item no.167 | 4 | Nos. | 301.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1206 | 1206 | INR One Thousand Two Hundred & Six Only |  |  |  | 167 | 3 module | item no.167 | 4 | Nos.
168 | 6 module | item no.168 | 16 | Nos. | 404.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6467 | 6467 | INR Six Thousand Four Hundred & Sixty Seven Only |  |  |  | 168 | 6 module | item no.168 | 16 | Nos.
169 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.169 | [55 empty] | 169 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.169
170 | 6 A switch | item no.170 | 24 | No. | 240.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5766 | 5766 | INR Five Thousand Seven Hundred & Sixty Six Only |  |  |  | 170 | 6 A switch | item no.170 | 24 | No.
171 | 20 A switch | item no.171 | 12 | No. | 427.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5124 | 5124 | INR Five Thousand One Hundred & Twenty Four Only |  |  |  | 171 | 20 A switch | item no.171 | 12 | No.
172 | 6 A pin 2/3 pin socket outlet | item no.172 | 24 | No. | 280.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6734 | 6734 | INR Six Thousand Seven Hundred & Thirty Four Only |  |  |  | 172 | 6 A pin 2/3 pin socket outlet | item no.172 | 24 | No.
173 | 6/16 A 3 pin socket outlet | item no.173 | 12 | No. | 547.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6566 | 6566 | INR Six Thousand Five Hundred & Sixty Six Only |  |  |  | 173 | 6/16 A 3 pin socket outlet | item no.173 | 12 | No.
174 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.174 | 1000 | Meter | 19.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19290 | 19290 | INR Nineteen Thousand Two Hundred & Ninety Only |  |  |  | 174 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.174 | 1000 | Meter
175 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.175 | 18 | Nos. | 81.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1468 | 1468 | INR One Thousand Four Hundred & Sixty Eight Only |  |  |  | 175 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.175 | 18 | Nos.
176 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.176 | [55 empty] | 176 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.176
177 | Single pole 5 A to 32 A | item no.177 | 20 | No. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4489 | 4489 | INR Four Thousand Four Hundred & Eighty Nine Only |  |  |  | 177 | Single pole 5 A to 32 A | item no.177 | 20 | No.
178 | Double pole 5 A to 32 A | item no.178 | 1 | No. | 575.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 575 | 575 | INR Five Hundred & Seventy Five Only |  |  |  | 178 | Double pole 5 A to 32 A | item no.178 | 1 | No.
179 | Double Pole (40A-63A) | item no.179 | 2 | Nos. | 1574.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3150 | 3150 | INR Three Thousand One Hundred & Fifty Only |  |  |  | 179 | Double Pole (40A-63A) | item no.179 | 2 | Nos.
180 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.180 | 2 | Nos. | 910.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1820 | 1820 | INR One Thousand Eight Hundred & Twenty Only |  |  |  | 180 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.180 | 2 | Nos.
181 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.181 | [55 empty] | 181 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.181
182 | 1 X 20W Box type LED tube with fitting | item no.182 | 3 | Nos. | 820.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2462 | 2462 | INR Two Thousand Four Hundred & Sixty Two Only |  |  |  | 182 | 1 X 20W Box type LED tube with fitting | item no.182 | 3 | Nos.
183 | 36 watt recess mounting LED light fixture 600 x 600 mm | item no.183 | 4 | Nos. | 4658.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18634 | 18634 | INR Eighteen Thousand Six Hundred & Thirty Four Only |  |  |  | 183 | 36 watt recess mounting LED light fixture 600 x 600 mm | item no.183 | 4 | Nos.
184 | 36 watt surface mounting LED light fixture 300 x 1200 mm | item no.184 | 16 | Nos. | 5994.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 95916 | 95916 | INR Ninety Five Thousand Nine Hundred & Sixteen Only |  |  |  | 184 | 36 watt surface mounting LED light fixture 300 x 1200 mm | item no.184 | 16 | Nos.
185 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.185 | [55 empty] | 185 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.185
186 | 20 mm | item no.186 | 50 | Metre | 195.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9777 | 9777 | INR Nine Thousand Seven Hundred & Seventy Seven Only |  |  |  | 186 | 20 mm | item no.186 | 50 | Metre
187 | 25 mm | item no.187 | 5 | Metre | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1122 | 1122 | INR One Thousand One Hundred & Twenty Two Only |  |  |  | 187 | 25 mm | item no.187 | 5 | Metre
188 | 32 mm | item no.188 | 20 | Metre | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5717 | 5717 | INR Five Thousand Seven Hundred & Seventeen Only |  |  |  | 188 | 32 mm | item no.188 | 20 | Metre
189 | Supplying and fixing exhaust fan shutter for following sizes exhaust fan on rag bolts as reqd complete. | item no.189 | [55 empty] | 189 | Supplying and fixing exhaust fan shutter for following sizes exhaust fan on rag bolts as reqd complete. | item no.189
190 | for 450 mm / 18" sweep | item no.190 | 2 | Nos. | 971.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1943 | 1943 | INR One Thousand Nine Hundred & Forty Three Only |  |  |  | 190 | for 450 mm / 18" sweep | item no.190 | 2 | Nos.
191 | Supply, Installation testing and commissioning of following seep, copper wound, 900 RPM, 220 volt AC, 50 Hz exhaust fan in the existing opening etc as required complete. | item no.191 | [55 empty] | 191 | Supply, Installation testing and commissioning of following seep, copper wound, 900 RPM, 220 volt AC, 50 Hz exhaust fan in the existing opening etc as required complete. | item no.191
192 | 450 mm / 18" sweep | item no.192 | 2 | Nos. | 5796.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11593 | 11593 | INR Eleven Thousand Five Hundred & Ninety Three Only |  |  |  | 192 | 450 mm / 18" sweep | item no.192 | 2 | Nos.
193 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item no.193 | 1 | No. | 1421.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1421 | 1421 | INR One Thousand Four Hundred & Twenty One Only |  |  |  | 193 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item no.193 | 1 | No.
194 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.194 | [55 empty] | 194 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.194
195 | 6 /10/16 Sq.mm. | item no.195 | 12 | Nos. | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 400 | 400 | INR Four Hundred Only |  |  |  | 195 | 6 /10/16 Sq.mm. | item no.195 | 12 | Nos.
196 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) | item no.196 | [55 empty] | 196 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) | item no.196
197 | 8 way , Double door | item no.197 | 1 | No. | 2256.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2256 | 2256 | INR Two Thousand Two Hundred & Fifty Six Only |  |  |  | 197 | 8 way , Double door | item no.197 | 1 | No.
198 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item no.198 | 20 | Metre | 213.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4279 | 4279 | INR Four Thousand Two Hundred & Seventy Nine Only |  |  |  | 198 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item no.198 | 20 | Metre
199 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item no.199 | 2 | No. | 7073.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14146 | 14146 | INR Fourteen Thousand One Hundred & Forty Six Only |  |  |  | 199 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item no.199 | 2 | No.
200 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.200 | 1 | Nos. | 261.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 261 | 261 | INR Two Hundred & Sixty One Only |  |  |  | 200 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.200 | 1 | Nos.
201 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.201 | 28 | Nos. | 96.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2701 | 2701 | INR Two Thousand Seven Hundred & One Only |  |  |  | 201 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.201 | 28 | Nos.
202 | Dismantling concealed & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the sectional store repairing the damages as reqd complete. | item no.202 | 2 | Nos. | 244.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 489 | 489 | INR Four Hundred & Eighty Nine Only |  |  |  | 202 | Dismantling concealed & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the sectional store repairing the damages as reqd complete. | item no.202 | 2 | Nos.
203 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | item no.203 | 7 | Each | 2393.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16756 | 16756 | INR Sixteen Thousand Seven Hundred & Fifty Six Only |  |  |  | 203 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | item no.203 | 7 | Each
204 | Supplying, fixing, painting of 15mm dia GI heavy class pipe down rod for ceiling fan etc as required complete. | item no.204 | 15 | Meter | 266.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3998 | 3998 | INR Three Thousand Nine Hundred & Ninety Eight Only |  |  |  | 204 | Supplying, fixing, painting of 15mm dia GI heavy class pipe down rod for ceiling fan etc as required complete. | item no.204 | 15 | Meter
205 | Extra for cutting and drilling hole in down rod of 15mm dia GI pipe for ceiling fan etc. as required complete. | item no.205 | 7 | Nos. | 74.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 522 | 522 | INR Five Hundred & Twenty Two Only |  |  |  | 205 | Extra for cutting and drilling hole in down rod of 15mm dia GI pipe for ceiling fan etc. as required complete. | item no.205 | 7 | Nos.
Total in Figures | [51 empty] | 1437108 | 1437108 | Fourteen Lakh Thirty Seven Thousand One Hundred & Eight Only |  |  |  | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only |  |  |  | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [55 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information