## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Supplying and fixing of electrical fixtures, making power points and associated works at DJAC 102, IIT Kanpur
NIT No: Electrical/07/03/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 | [52 empty] | 1.01 | Supply installation testing and commissioning of cubical type LT panel-01 (IEC 61439 ) suitable for 4000Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.1 | 1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1
2 | 3 x 1.5 sq. mm | item no.2 | 100 | Metre | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8330 | 8330 | INR Eight Thousand Three Hundred & Thirty Only | 1.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter (on all incomer and outgoing feeders) to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.2 | 2 | 3 x 1.5 sq. mm | item no.2 | 100 | Metre
3 | 3 x 4 sq. mm | item no.3 | 300 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54186 | 54186 | INR Fifty Four Thousand One Hundred & Eighty Six Only |  |  |  | 3 | 3 x 4 sq. mm | item no.3 | 300 | Metre
4 | 6 x 6 sq. mm | item no.4 | 85 | Metre | 524.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44568 | 44568 | INR Forty Four Thousand Five Hundred & Sixty Eight Only |  |  |  | 4 | 6 x 6 sq. mm | item no.4 | 85 | Metre
5 | 6 x 16 sq.mm. | item no.5 | 45 | Meter | 1524.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 68615 | 68615 | INR Sixty Eight Thousand Six Hundred & Fifteen Only |  |  |  | 5 | 6 x 16 sq.mm. | item no.5 | 45 | Meter
6 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.6 | [55 empty] | 6 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.6
7 | 6 /10/16 Sq.mm. | item no.7 | 42 | Nos. | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1399 | 1399 | INR One Thousand Three Hundred & Ninety Nine Only |  |  |  | 7 | 6 /10/16 Sq.mm. | item no.7 | 42 | Nos.
8 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.8 | 60 | Meter | 228.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13731 | 13731 | INR Thirteen Thousand Seven Hundred & Thirty One Only |  |  |  | 8 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.8 | 60 | Meter
9 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.9 | [55 empty] | 9 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.9
10 | End cap | item no.10 | 5 | Nos. | 151.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 758 | 758 | INR Seven Hundred & Fifty Eight Only |  |  |  | 10 | End cap | item no.10 | 5 | Nos.
11 | internal / external angle | item no.11 | 10 | Nos. | 146.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1464 | 1464 | INR One Thousand Four Hundred & Sixty Four Only |  |  |  | 11 | internal / external angle | item no.11 | 10 | Nos.
12 | changeable flat angle | item no.12 | 15 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1854 | 1854 | INR One Thousand Eight Hundred & Fifty Four Only |  |  |  | 12 | changeable flat angle | item no.12 | 15 | Nos.
13 | flat junction | item no.13 | 5 | Nos. | 144.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 723 | 723 | INR Seven Hundred & Twenty Three Only |  |  |  | 13 | flat junction | item no.13 | 5 | Nos.
14 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.14 | 35 | Meter | 980.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34309 | 34309 | INR Thirty Four Thousand Three Hundred & Nine Only |  |  |  | 14 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.14 | 35 | Meter
15 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.15 | [55 empty] | 15 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.15
16 | 85 mm flexible cover | item no.16 | 35 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15129 | 15129 | INR Fifteen Thousand One Hundred & Twenty Nine Only |  |  |  | 16 | 85 mm flexible cover | item no.16 | 35 | Meter
17 | End cap | item no.17 | 10 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1947 | 1947 | INR One Thousand Nine Hundred & Forty Seven Only |  |  |  | 17 | End cap | item no.17 | 10 | Nos.
18 | Internal angles- adjustable from 80°-100° | item no.18 | 4 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2157 | 2157 | INR Two Thousand One Hundred & Fifty Seven Only |  |  |  | 18 | Internal angles- adjustable from 80°-100° | item no.18 | 4 | Nos.
19 | external angles- adjustable from 60°-120° | item no.19 | 4 | Nos. | 551.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2206 | 2206 | INR Two Thousand Two Hundred & Six Only |  |  |  | 19 | external angles- adjustable from 60°-120° | item no.19 | 4 | Nos.
20 | flat junction | item no.20 | 2 | Nos. | 939.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1878 | 1878 | INR One Thousand Eight Hundred & Seventy Eight Only |  |  |  | 20 | flat junction | item no.20 | 2 | Nos.
21 | flat angles | item no.21 | 4 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3051 | 3051 | INR Three Thousand &Fifty One Only |  |  |  | 21 | flat angles | item no.21 | 4 | Nos.
22 | Joints for 85mm width cover | item no.22 | 15 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3367 | 3367 | INR Three Thousand Three Hundred & Sixty Seven Only |  |  |  | 22 | Joints for 85mm width cover | item no.22 | 15 | Nos.
23 | base joints | item no.23 | 30 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2709 | 2709 | INR Two Thousand Seven Hundred & Nine Only |  |  |  | 23 | base joints | item no.23 | 30 | Nos.
24 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.24 | [55 empty] | 24 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.24
25 | 20 mm | item no.25 | 10 | Meter | 49.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 500 | 500 | INR Five Hundred Only |  |  |  | 25 | 20 mm | item no.25 | 10 | Meter
26 | 25 mm | item no.26 | 5 | Meter | 71.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 355 | 355 | INR Three Hundred & Fifty Five Only |  |  |  | 26 | 25 mm | item no.26 | 5 | Meter
27 | 32 mm | item no.27 | 10 | Meter | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 833 | 833 | INR Eight Hundred & Thirty Three Only |  |  |  | 27 | 32 mm | item no.27 | 10 | Meter
28 | Supply & Laying of 40 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item no.28 | [55 empty] | 28 | Supply & Laying of 40 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item no.28
29 | On Surface | item no.29 | 25 | Meter | 266.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6664 | 6664 | INR Six Thousand Six Hundred & Sixty Four Only |  |  |  | 29 | On Surface | item no.29 | 25 | Meter
30 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.30 | [55 empty] | 30 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.30
31 | 2 module | item no.31 | 6 | Nos. | 226.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1357 | 1357 | INR One Thousand Three Hundred & Fifty Seven Only |  |  |  | 31 | 2 module | item no.31 | 6 | Nos.
32 | 3 module | item no.32 | 2 | Nos. | 301.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 603 | 603 | INR Six Hundred & Three Only |  |  |  | 32 | 3 module | item no.32 | 2 | Nos.
33 | 4 module | item no.33 | 2 | Nos. | 327.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 656 | 656 | INR Six Hundred & Fifty Six Only |  |  |  | 33 | 4 module | item no.33 | 2 | Nos.
34 | 6 module | item no.34 | 18 | Nos. | 404.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7276 | 7276 | INR Seven Thousand Two Hundred & Seventy Six Only |  |  |  | 34 | 6 module | item no.34 | 18 | Nos.
35 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.35 | [55 empty] | 35 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.35
36 | 6 A switch | item no.36 | 10 | No. | 240.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2403 | 2403 | INR Two Thousand Four Hundred & Three Only |  |  |  | 36 | 6 A switch | item no.36 | 10 | No.
37 | 20 A switch | item no.37 | 45 | No. | 427.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19215 | 19215 | INR Nineteen Thousand Two Hundred & Fifteen Only |  |  |  | 37 | 20 A switch | item no.37 | 45 | No.
38 | 6/16 A 3 pin socket outlet | item no.38 | 38 | No. | 547.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20791 | 20791 | INR Twenty Thousand Seven Hundred & Ninety One Only |  |  |  | 38 | 6/16 A 3 pin socket outlet | item no.38 | 38 | No.
39 | Blanking Plate | item no.39 | 4 | No. | 35.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 140 | 140 | INR One Hundred & Forty Only |  |  |  | 39 | Blanking Plate | item no.39 | 4 | No.
40 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.40 | [55 empty] | 40 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.40
41 | 8 way (4 + 24), Double door | item no.41 | 1 | No. | 8912.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8913 | 8913 | INR Eight Thousand Nine Hundred & Thirteen Only |  |  |  | 41 | 8 way (4 + 24), Double door | item no.41 | 1 | No.
42 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.42 | [55 empty] | 42 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.42
43 | Single pole 5 A to 32 A | item no.43 | 9 | No. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2020 | 2020 | INR Two Thousand &Twenty Only |  |  |  | 43 | Single pole 5 A to 32 A | item no.43 | 9 | No.
44 | Triple pole 5 A to 32 A | item no.44 | 5 | No. | 882.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4415 | 4415 | INR Four Thousand Four Hundred & Fifteen Only |  |  |  | 44 | Triple pole 5 A to 32 A | item no.44 | 5 | No.
45 | Triple pole and neutral 5 A to 32 A | item no.45 | 5 | No. | 1076.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5384 | 5384 | INR Five Thousand Three Hundred & Eighty Four Only |  |  |  | 45 | Triple pole and neutral 5 A to 32 A | item no.45 | 5 | No.
46 | Triple pole (40A-63A) | item no.46 | 1 | Nos. | 2428.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2429 | 2429 | INR Two Thousand Four Hundred & Twenty Nine Only |  |  |  | 46 | Triple pole (40A-63A) | item no.46 | 1 | Nos.
47 | Four Pole (40A-63A) | item no.47 | 1 | Nos. | 3038.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3038 | 3038 | INR Three Thousand &Thirty Eight Only |  |  |  | 47 | Four Pole (40A-63A) | item no.47 | 1 | Nos.
48 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.48 | 5 | Nos. | 910.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4551 | 4551 | INR Four Thousand Five Hundred & Fifty One Only |  |  |  | 48 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.48 | 5 | Nos.
49 | Supply and installation of 400mm sweep AC 230/250 volts, 50 Hz wall mounting revolving fan with brackets etc complete. | item no.49 | 6 | Nos. | 2731.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16388 | 16388 | INR Sixteen Thousand Three Hundred & Eighty Eight Only |  |  |  | 49 | Supply and installation of 400mm sweep AC 230/250 volts, 50 Hz wall mounting revolving fan with brackets etc complete. | item no.49 | 6 | Nos.
50 | Supply, Fixing, wall mounting air circulator fan 450 mm Crompton make or equivalent make as reqd | item no.50 | 4 | Nos. | 7602.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30411 | 30411 | INR Thirty Thousand Four Hundred & Eleven Only |  |  |  | 50 | Supply, Fixing, wall mounting air circulator fan 450 mm Crompton make or equivalent make as reqd | item no.50 | 4 | Nos.
51 | Supply, Fixing, wall mounting air circulator fan 600 mm Crompton make or equivalent make as reqd | item no.51 | 3 | Nos. | 9814.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29445 | 29445 | INR Twenty Nine Thousand Four Hundred & Forty Five Only |  |  |  | 51 | Supply, Fixing, wall mounting air circulator fan 600 mm Crompton make or equivalent make as reqd | item no.51 | 3 | Nos.
52 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | item no.52 | 5 | Each | 2393.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11968 | 11968 | INR Eleven Thousand Nine Hundred & Sixty Eight Only |  |  |  | 52 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | item no.52 | 5 | Each
53 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.53 | [55 empty] | 53 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.53
54 | 20 mm | item no.54 | 20 | Metre | 195.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3911 | 3911 | INR Three Thousand Nine Hundred & Eleven Only |  |  |  | 54 | 20 mm | item no.54 | 20 | Metre
Total in Figures | [51 empty] | 446047 | #REF! | Four Lakh Forty Six Thousand &Forty Seven Only |  |  |  | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only |  |  |  | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [55 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information