## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Providing and fixing of Tower ACs in Lab-205, NL-II, IIT Kanpur
NIT No: HVAC/19/03/2024-2
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supply, installation, testing & commissioning of high duty Tower AC of following capacity with anticorrosive cooper condenser & evaporator, high reliable dual rotary/scroll compressor, indoor unit, outdoor unit, Remote with fully charged R-32 refrigerant etc complete as reqd. | item no.1 | [52 empty] | 1.01 | Supply, installation, testing & commissioning of high duty Tower AC of following capacity with anticorrosive cooper condenser & evaporator, high reliable dual rotary/scroll compressor, indoor unit, outdoor unit, Remote with fully charged R-32 refrigerant etc complete as reqd. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 4 TR capacity | item no.2 | 2 | No. | 123535 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 247070 | 247070 | INR Two Lakh Forty Seven Thousand &Seventy Only | 1.02 | 4 TR capacity | item no.2 | 2 | No.
1.03 | Supply & fixing of 25 mm dia PVC drain pipe heavy duty ISI marked or flexible pipe for insulated drain line with accessories with clamps on surface / recessed etc. and as reqd. | item no.3 | [52 empty] | 1.03 | Supply & fixing of 25 mm dia PVC drain pipe heavy duty ISI marked or flexible pipe for insulated drain line with accessories with clamps on surface / recessed etc. and as reqd. | item no.3 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | 25 mm nominal outer dia Pipes | item no.4 | 25 | Mtr | 345 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8625 | 8625 | INR Eight Thousand Six Hundred & Twenty Five Only | 1.04 | 25 mm nominal outer dia Pipes | item no.4 | 25 | Mtr
1.05 | Supply & fixing of Angle iron frame made of 25/32 mm, thickness 5 mm for mounting of outdoor unit size, duly painted and finished with canopy and vibration isolation pad if required complete as reqd. | item no.5 | [52 empty] | 1.05 | Supply & fixing of Angle iron frame made of 25/32 mm, thickness 5 mm for mounting of outdoor unit size, duly painted and finished with canopy and vibration isolation pad if required complete as reqd. | item no.5 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | Upto 4.0 TR capacity (Floor mounted) | item no.6 | 2 | Nos | 1499 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2998 | 2998 | INR Two Thousand Nine Hundred & Ninety Eight Only | 1.06 | Upto 4.0 TR capacity (Floor mounted) | item no.6 | 2 | Nos
1.07 | Supply, fixing & connecting of following sizes power supply control copper cable of approved make complete as reqd. | item no.7 | [52 empty] | 1.07 | Supply, fixing & connecting of following sizes power supply control copper cable of approved make complete as reqd. | item no.7
1.08 | 3 x 1.5 sq. mm | item no.8 | 5 | Mtr | 48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 240 | 240 | INR Two Hundred & Forty Only | 1.08 | 3 x 1.5 sq. mm | item no.8 | 5 | Mtr
1.09 | 4 x 4 sq. mm | item no.9 | 50 | Mtr | 139.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6964.5 | 6964.5 | INR Six Thousand Nine Hundred & Sixty Four and Paise Fifty Only | 1.09 | 4 x 4 sq. mm | item no.9 | 50 | Mtr
1.1 | Supply & fixing of copper piping 5/8" or 6/8" with 19 mm thick Class "O" Nitrile insulation on surface / recessed with flair nut, clamps etc. complete as reqd. | item no.10 | 40 | Mtr | 718 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28720 | 28720 | INR Twenty Eight Thousand Seven Hundred & Twenty Only | 1.1 | Supply & fixing of copper piping 5/8" or 6/8" with 19 mm thick Class "O" Nitrile insulation on surface / recessed with flair nut, clamps etc. complete as reqd. | item no.10 | 40 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 294618 | 294617.5 | Two Lakh Ninety Four Thousand Six Hundred & Seventeen and Paise Fifty Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information