## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of house nos. 232
Contract No: 03/C/D3/2020-21/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CONCRETE WORK | [53 empty] | 1 | CONCRETE WORK
1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
1.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.45 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2678.54 | 2678.54 | INR Two Thousand Six Hundred & Seventy Eight and Paise Fifty Four Only | 1.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.45 | cum
1.03 | REINFORCED CEMENT CONCRETE | [53 empty] | 1.03 | REINFORCED CEMENT CONCRETE
1.04 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.32 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2739.51 | 2739.51 | INR Two Thousand Seven Hundred & Thirty Nine and Paise Fifty One Only | 1.04 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.32 | cum
1.05 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 1.05 | Centering and shuttering including strutting, propping etc. and removal of form for
1.06 | Shelves (Cast in situ) |  | 3.2 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1944.54 | 1944.54 | INR One Thousand Nine Hundred & Forty Four and Paise Fifty Four Only | 1.06 | Shelves (Cast in situ) | 3.2 | sqm
1.07 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 1.07 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
1.08 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 24 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1757.04 | 1757.04 | INR One Thousand Seven Hundred & Fifty Seven and Paise Four Only | 1.08 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 24 | kg
2 | MASONRY WORK | [53 empty] | 2 | MASONRY WORK
2.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 2.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
2.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 1.5 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9983.06 | 9983.06 | INR Nine Thousand Nine Hundred & Eighty Three and Paise Six Only | 2.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 1.5 | cum
2.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 2.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
2.04 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 10 | sqm | 817.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8172.7 | 8172.7 | INR Eight Thousand One Hundred & Seventy Two and Paise Seventy Only | 2.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | 10 | sqm
3 | CLADDING WORK | [53 empty] | 3 | CLADDING WORK
3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | [53 empty] | 3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
3.02 | Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble | [53 empty] | 3.02 | Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble
3.03 | Area of slab over 0.50 sqm |  | 4.6 | sqm | 2238.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10295.67 | 10295.67 | INR Ten Thousand Two Hundred & Ninety Five and Paise Sixty Seven Only | 3.03 | Area of slab over 0.50 sqm | 4.6 | sqm
3.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | [53 empty] | 3.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
3.05 | Marble work |  | 5 | metre | 193.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 966 | 966 | INR Nine Hundred & Sixty Six Only | 3.05 | Marble work | 5 | metre
3.06 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 35 | sqm | 903.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31618.3 | 31618.3 | INR Thirty One Thousand Six Hundred & Eighteen and Paise Thirty Only | 3.06 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 35 | sqm
4 | WOOD AND PVC WORK | [53 empty] | 4 | WOOD AND PVC WORK
4.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | [53 empty] | 4.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).
4.02 | Sal wood |  | 0.1 | cum | 92351.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9235.18 | 9235.18 | INR Nine Thousand Two Hundred & Thirty Five and Paise Eighteen Only | 4.02 | Sal wood | 0.1 | cum
4.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | [53 empty] | 4.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws.
4.04 | Second class teak wood | [53 empty] | 4.04 | Second class teak wood
4.05 | 35 mm thick |  | 3.25 | sqm | 3817.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12406.55 | 12406.55 | INR Twelve Thousand Four Hundred & Six and Paise Fifty Five Only | 4.05 | 35 mm thick | 3.25 | sqm
4.06 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | [53 empty] | 4.06 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.
4.07 | Fixed to openings /wooden frames with rawl plugs screws etc. |  | 15 | kg | 160.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2413.35 | 2413.35 | INR Two Thousand Four Hundred & Thirteen and Paise Thirty Five Only | 4.07 | Fixed to openings /wooden frames with rawl plugs screws etc. | 15 | kg
4.08 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). |  | 6 | each | 157.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 942.72 | 942.72 | INR Nine Hundred & Forty Two and Paise Seventy Two Only | 4.08 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 6 | each
4.09 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | [53 empty] | 4.09 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
4.1 | 250x16 mm |  | 2 | each | 149.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298.12 | 298.12 | INR Two Hundred & Ninety Eight and Paise Twelve Only | 4.1 | 250x16 mm | 2 | each
4.11 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | [53 empty] | 4.11 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete :
4.12 | 150x10 mm |  | 4 | each | 46.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 184.32 | 184.32 | INR One Hundred & Eighty Four and Paise Thirty Two Only | 4.12 | 150x10 mm | 4 | each
4.13 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | [53 empty] | 4.13 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
4.14 | 125 mm |  | 4 | each | 30.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 122.24 | 122.24 | INR One Hundred & Twenty Two and Paise Twenty Four Only | 4.14 | 125 mm | 4 | each
4.15 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | [53 empty] | 4.15 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
4.16 | 250x16 mm |  | 3 | each | 203.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 609.48 | 609.48 | INR Six Hundred & Nine and Paise Forty Eight Only | 4.16 | 250x16 mm | 3 | each
4.17 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 4.17 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.18 | 200x10 mm |  | 4 | each | 78.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 315.64 | 315.64 | INR Three Hundred & Fifteen and Paise Sixty Four Only | 4.18 | 200x10 mm | 4 | each
4.19 | 150x10 mm |  | 12 | each | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 789.12 | 789.12 | INR Seven Hundred & Eighty Nine and Paise Twelve Only | 4.19 | 150x10 mm | 12 | each
4.2 | 100x10 mm |  | 2 | each | 50.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 101.98 | 101.98 | INR One Hundred & One and Paise Ninety Eight Only | 4.2 | 100x10 mm | 2 | each
4.21 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 4.21 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.22 | 125 mm |  | 6 | each | 52.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 313.8 | 313.8 | INR Three Hundred & Thirteen and Paise Eighty Only | 4.22 | 125 mm | 6 | each
4.23 | 100 mm |  | 6 | each | 46.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 278.04 | 278.04 | INR Two Hundred & Seventy Eight and Paise Four Only | 4.23 | 100 mm | 6 | each
4.24 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | [53 empty] | 4.24 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
4.25 | Twin rubber stopper |  | 10 | each | 54.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 544.1 | 544.1 | INR Five Hundred & Forty Four and Paise Ten Only | 4.25 | Twin rubber stopper | 10 | each
4.26 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | [53 empty] | 4.26 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge
4.27 | Extruded section profile size 48x40 mm |  | 10 | metre | 194.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1943.4 | 1943.4 | INR One Thousand Nine Hundred & Forty Three and Paise Forty Only | 4.27 | Extruded section profile size 48x40 mm | 10 | metre
4.28 | Providing and fixing to existing door frames. | [53 empty] | 4.28 | Providing and fixing to existing door frames.
4.29 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). |  | 3.5 | sqm | 1543.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5403.3 | 5403.3 | INR Five Thousand Four Hundred & Three and Paise Thirty Only | 4.29 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 3.5 | sqm
4.3 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | [53 empty] | 4.3 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws :
4.31 | 35 mm thick shutters | [53 empty] | 4.31 | 35 mm thick shutters
4.32 | with ISI marked M.S. pressed butt hinges bright finished of required size | [53 empty] | 4.32 | with ISI marked M.S. pressed butt hinges bright finished of required size
4.33 | Second class teak wood |  | 2.5 | sqm | 3816.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9540.13 | 9540.13 | INR Nine Thousand Five Hundred & Forty and Paise Thirteen Only | 4.33 | Second class teak wood | 2.5 | sqm
5 | STEEL WORK | [53 empty] | 5 | STEEL WORK
5.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 20 | kg | 89.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1784.4 | 1784.4 | INR One Thousand Seven Hundred & Eighty Four and Paise Forty Only | 5.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 20 | kg
6 | FLOORING | [53 empty] | 6 | FLOORING
6.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. |  | 5.65 | sqm | 812.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4591.81 | 4591.81 | INR Four Thousand Five Hundred & Ninety One and Paise Eighty One Only | 6.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 5.65 | sqm
6.02 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | [53 empty] | 6.02 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
6.03 | Size of Tile 600x600 mm |  | 7.5 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10165.58 | 10165.58 | INR Ten Thousand One Hundred & Sixty Five and Paise Fifty Eight Only | 6.03 | Size of Tile 600x600 mm | 7.5 | sqm
6.04 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | [53 empty] | 6.04 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).
6.05 | Size of Tile 600x600 mm |  | 72 | sqm | 1411.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 101636.64 | 101636.64 | INR One Lakh One Thousand Six Hundred & Thirty Six and Paise Sixty Four Only | 6.05 | Size of Tile 600x600 mm | 72 | sqm
6.06 | Extra for providing and fixing of 8 mm to 9 mm thick ceramic glazed wall tiles instead of 5 mm thick ceramic glazed wall tiles |  | 40.65 | Sqm | 155.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6333.68 | 6333.68 | INR Six Thousand Three Hundred & Thirty Three and Paise Sixty Eight Only | 6.06 | Extra for providing and fixing of 8 mm to 9 mm thick ceramic glazed wall tiles instead of 5 mm thick ceramic glazed wall tiles | 40.65 | Sqm
7 | FINISHING | [53 empty] | 7 | FINISHING
7.01 | 12 mm cement plaster of mix : | [53 empty] | 7.01 | 12 mm cement plaster of mix :
7.02 | 1:6 (1 cement: 6 coarse sand) |  | 20 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4621.6 | 4621.6 | INR Four Thousand Six Hundred & Twenty One and Paise Sixty Only | 7.02 | 1:6 (1 cement: 6 coarse sand) | 20 | sqm
7.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 7.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
7.04 | 1:6 (1 cement: 6 coarse sand) |  | 15 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3996.9 | 3996.9 | INR Three Thousand Nine Hundred & Ninety Six and Paise Ninety Only | 7.04 | 1:6 (1 cement: 6 coarse sand) | 15 | sqm
7.05 | 6 mm cement plaster of mix : | [53 empty] | 7.05 | 6 mm cement plaster of mix :
7.06 | 1:3 (1 cement : 3 fine sand) |  | 5.5 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1096.37 | 1096.37 | INR One Thousand &Ninety Six and Paise Thirty Seven Only | 7.06 | 1:3 (1 cement : 3 fine sand) | 5.5 | sqm
7.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 7.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
7.08 | Two or more coats on new work |  | 280 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21394.8 | 21394.8 | INR Twenty One Thousand Three Hundred & Ninety Four and Paise Eighty Only | 7.08 | Two or more coats on new work | 280 | sqm
7.09 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 7.09 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
7.1 | Two or more coats on new work |  | 4 | sqm | 106.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 426.32 | 426.32 | INR Four Hundred & Twenty Six and Paise Thirty Two Only | 7.1 | Two or more coats on new work | 4 | sqm
7.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 7.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.12 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture |  | 10 | sqm | 155.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1553.3 | 1553.3 | INR One Thousand Five Hundred & Fifty Three and Paise Thirty Only | 7.12 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 10 | sqm
7.13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 200 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20192 | 20192 | INR Twenty Thousand One Hundred & Ninety Two Only | 7.13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 200 | sqm
7.14 | White washing with lime to give an even shade : | [53 empty] | 7.14 | White washing with lime to give an even shade :
7.15 | Old work (two or more coats) |  | 77 | sqm | 14.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1131.13 | 1131.13 | INR One Thousand One Hundred & Thirty One and Paise Thirteen Only | 7.15 | Old work (two or more coats) | 77 | sqm
7.16 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 200 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3200 | 3200 | INR Three Thousand Two Hundred Only | 7.16 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 200 | sqm
7.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 7.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.18 | One or more coats on old work |  | 85 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5958.5 | 5958.5 | INR Five Thousand Nine Hundred & Fifty Eight and Paise Fifty Only | 7.18 | One or more coats on old work | 85 | sqm
7.19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 7.19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
7.2 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 40 | sqm | 85.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3428.4 | 3428.4 | INR Three Thousand Four Hundred & Twenty Eight and Paise Forty Only | 7.2 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 40 | sqm
8 | REPAIRS TO BUILDING | [53 empty] | 8 | REPAIRS TO BUILDING
8.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 8.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
8.02 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 10 | sqm | 376.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3766.8 | 3766.8 | INR Three Thousand Seven Hundred & Sixty Six and Paise Eighty Only | 8.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm
8.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 8.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
8.04 | Door chowkhats |  | 1 | each | 1198.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1198.47 | 1198.47 | INR One Thousand One Hundred & Ninety Eight and Paise Forty Seven Only | 8.04 | Door chowkhats | 1 | each
8.05 | Window chowkhats |  | 2 | each | 753.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1506.18 | 1506.18 | INR One Thousand Five Hundred & Six and Paise Eighteen Only | 8.05 | Window chowkhats | 2 | each
8.06 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. |  | 20 | sqm | 226.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4523.4 | 4523.4 | INR Four Thousand Five Hundred & Twenty Three and Paise Forty Only | 8.06 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 20 | sqm
8.07 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 72 | sqm | 2.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 157.68 | 157.68 | INR One Hundred & Fifty Seven and Paise Sixty Eight Only | 8.07 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 72 | sqm
8.08 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 11 | each | 261.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2872.76 | 2872.76 | INR Two Thousand Eight Hundred & Seventy Two and Paise Seventy Six Only | 8.08 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 11 | each
9 | DISMANTLING AND DEMOLISHING | [53 empty] | 9 | DISMANTLING AND DEMOLISHING
9.01 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer- in-charge. |  | 10 | cum | 532.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5326.6 | 5326.6 | INR Five Thousand Three Hundred & Twenty Six and Paise Sixty Only | 9.01 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer- in-charge. | 10 | cum
9.02 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 9.02 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
9.03 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 5 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7617.05 | 7617.05 | INR Seven Thousand Six Hundred & Seventeen and Paise Five Only | 9.03 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 5 | cum
9.04 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 5 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4703.2 | 4703.2 | INR Four Thousand Seven Hundred & Three and Paise Twenty Only | 9.04 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 5 | cum
9.05 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 1 | cum | 2222.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2222.45 | 2222.45 | INR Two Thousand Two Hundred & Twenty Two and Paise Forty Five Only | 9.05 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1 | cum
9.06 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 9.06 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
9.07 | In cement mortar |  | 1 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1288.82 | 1288.82 | INR One Thousand Two Hundred & Eighty Eight and Paise Eighty Two Only | 9.07 | In cement mortar | 1 | cum
9.08 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 9.08 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
9.09 | Of area 3 sq. metres and below |  | 4 | each | 240.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 962.72 | 962.72 | INR Nine Hundred & Sixty Two and Paise Seventy Two Only | 9.09 | Of area 3 sq. metres and below | 4 | each
9.1 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | [53 empty] | 9.1 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
9.11 | Of area 3 sq. metres and below |  | 2 | each | 93.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 186.84 | 186.84 | INR One Hundred & Eighty Six and Paise Eighty Four Only | 9.11 | Of area 3 sq. metres and below | 2 | each
9.12 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 25 | sqm | 34.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 855 | 855 | INR Eight Hundred & Fifty Five Only | 9.12 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 25 | sqm
9.13 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 15 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1826.1 | 1826.1 | INR One Thousand Eight Hundred & Twenty Six and Paise Ten Only | 9.13 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 15 | cum
10 | SANITARY INSTALLATIONS | [53 empty] | 10 | SANITARY INSTALLATIONS
10.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | [53 empty] | 10.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:
10.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests |  | 1 | each | 4753.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4753.62 | 4753.62 | INR Four Thousand Seven Hundred & Fifty Three and Paise Sixty Two Only | 10.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1 | each
10.03 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | [53 empty] | 10.03 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
10.04 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap |  | 1 | each | 2201.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2201.18 | 2201.18 | INR Two Thousand Two Hundred & One and Paise Eighteen Only | 10.04 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1 | each
10.05 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | [53 empty] | 10.05 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
10.06 | Flexible pipe | [53 empty] | 10.06 | Flexible pipe
10.07 | 32 mm dia |  | 2 | each | 88.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 177.3 | 177.3 | INR One Hundred & Seventy Seven and Paise Thirty Only | 10.07 | 32 mm dia | 2 | each
10.08 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 1 | each | 1124.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1124.99 | 1124.99 | INR One Thousand One Hundred & Twenty Four and Paise Ninety Nine Only | 10.08 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1 | each
10.09 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 10.09 | Providing and fixing soil, waste and vent pipes :
10.1 | 100 mm dia | [53 empty] | 10.1 | 100 mm dia
10.11 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 |  | 10 | metre | 957.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9576.5 | 9576.5 | INR Nine Thousand Five Hundred & Seventy Six and Paise Fifty Only | 10.11 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 10 | metre
10.12 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : | [53 empty] | 10.12 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. :
10.13 | For 100 mm dia pipe |  | 4 | each | 252.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1008.16 | 1008.16 | INR One Thousand &Eight and Paise Sixteen Only | 10.13 | For 100 mm dia pipe | 4 | each
10.14 | Providing and fixing plain bend of required degree. | [53 empty] | 10.14 | Providing and fixing plain bend of required degree.
10.15 | 100 mm dia | [53 empty] | 10.15 | 100 mm dia
10.16 | Sand cast iron S&S as per IS : 3989 |  | 2 | each | 342.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 685.22 | 685.22 | INR Six Hundred & Eighty Five and Paise Twenty Two Only | 10.16 | Sand cast iron S&S as per IS : 3989 | 2 | each
10.17 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 10.17 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
10.18 | 100x100x100 mm | [53 empty] | 10.18 | 100x100x100 mm
10.19 | Sand cast iron S&S as per IS - 3989 |  | 2 | each | 633.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1267.08 | 1267.08 | INR One Thousand Two Hundred & Sixty Seven and Paise Eight Only | 10.19 | Sand cast iron S&S as per IS - 3989 | 2 | each
10.2 | Providing and fixing collar : | [53 empty] | 10.2 | Providing and fixing collar :
10.21 | 100 mm | [53 empty] | 10.21 | 100 mm
10.22 | Sand cast iron S&S as per IS - 3989 |  | 8 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2872.08 | 2872.08 | INR Two Thousand Eight Hundred & Seventy Two and Paise Eight Only | 10.22 | Sand cast iron S&S as per IS - 3989 | 8 | each
10.23 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 10.23 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
10.24 | 100 mm |  | 15 | each | 422.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6332.1 | 6332.1 | INR Six Thousand Three Hundred & Thirty Two and Paise Ten Only | 10.24 | 100 mm | 15 | each
10.25 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 10.25 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
10.26 | 100 mm inlet and 100 mm outlet | [53 empty] | 10.26 | 100 mm inlet and 100 mm outlet
10.27 | Sand cast iron S&S as per IS: 3989 |  | 2 | each | 1326.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2652.44 | 2652.44 | INR Two Thousand Six Hundred & Fifty Two and Paise Forty Four Only | 10.27 | Sand cast iron S&S as per IS: 3989 | 2 | each
11 | WATER SUPPLY | [53 empty] | 11 | WATER SUPPLY
11.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 11.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
11.02 | 20 mm dia nominal bore |  | 6 | metre | 301.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1810.26 | 1810.26 | INR One Thousand Eight Hundred & Ten and Paise Twenty Six Only | 11.02 | 20 mm dia nominal bore | 6 | metre
11.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | [53 empty] | 11.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall :
11.04 | 15 mm dia nominal bore |  | 15 | metre | 392.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5886.9 | 5886.9 | INR Five Thousand Eight Hundred & Eighty Six and Paise Ninety Only | 11.04 | 15 mm dia nominal bore | 15 | metre
11.05 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | [53 empty] | 11.05 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
11.06 | 25 to 40 mm nominal bore |  | 1 | each | 590.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590.49 | 590.49 | INR Five Hundred & Ninety and Paise Forty Nine Only | 11.06 | 25 to 40 mm nominal bore | 1 | each
11.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 11.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
11.08 | 20 mm nominal bore |  | 2 | each | 403.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 807.02 | 807.02 | INR Eight Hundred & Seven and Paise Two Only | 11.08 | 20 mm nominal bore | 2 | each
11.09 | Providing and fixing uplasticised PVC connection pipe with brass unions : | [53 empty] | 11.09 | Providing and fixing uplasticised PVC connection pipe with brass unions :
11.1 | 45 cm length | [53 empty] | 11.1 | 45 cm length
11.11 | 15 mm nominal bore |  | 4 | each | 72.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 291.12 | 291.12 | INR Two Hundred & Ninety One and Paise Twelve Only | 11.11 | 15 mm nominal bore | 4 | each
11.12 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 11.12 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
11.13 | 15 mm nominal bore |  | 2 | each | 367.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 734.68 | 734.68 | INR Seven Hundred & Thirty Four and Paise Sixty Eight Only | 11.13 | 15 mm nominal bore | 2 | each
11.14 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 11.14 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
11.15 | 15 mm nominal bore |  | 3 | each | 484.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1452.93 | 1452.93 | INR One Thousand Four Hundred & Fifty Two and Paise Ninety Three Only | 11.15 | 15 mm nominal bore | 3 | each
11.16 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | [53 empty] | 11.16 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
11.17 | 15 mm nominal bore |  | 2 | each | 531.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1063.14 | 1063.14 | INR One Thousand &Sixty Three and Paise Fourteen Only | 11.17 | 15 mm nominal bore | 2 | each
11.18 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | [53 empty] | 11.18 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
11.19 | 15mm nominal bore |  | 5 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2332.3 | 2332.3 | INR Two Thousand Three Hundred & Thirty Two and Paise Thirty Only | 11.19 | 15mm nominal bore | 5 | each
11.2 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 10 | each | 53.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 537 | 537 | INR Five Hundred & Thirty Seven Only | 11.2 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 10 | each
11.21 | Cutting holes up to 30x30 cm in walls including making good the same: | [53 empty] | 11.21 | Cutting holes up to 30x30 cm in walls including making good the same:
11.22 | With common burnt clay F.P.S. (non modular) bricks |  | 2 | each | 286.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 573.88 | 573.88 | INR Five Hundred & Seventy Three and Paise Eighty Eight Only | 11.22 | With common burnt clay F.P.S. (non modular) bricks | 2 | each
11.23 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. |  | 10 | metre | 135.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1351.6 | 1351.6 | INR One Thousand Three Hundred & Fifty One and Paise Sixty Only | 11.23 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 10 | metre
12 | WATER PROOFING | [53 empty] | 12 | WATER PROOFING
12.01 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). |  | 7.5 | sqm | 618.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4640.7 | 4640.7 | INR Four Thousand Six Hundred & Forty and Paise Seventy Only | 12.01 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). | 7.5 | sqm
12.02 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | [53 empty] | 12.02 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge :
12.03 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. |  | 75 | sqm | 1226.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91966.5 | 91966.5 | INR Ninety One Thousand Nine Hundred & Sixty Six and Paise Fifty Only | 12.03 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 75 | sqm
13 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 13 | NEW TECHNOLOGIES AND MATERIALS
13.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | [53 empty] | 13.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
13.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make |  | 3 | sqm | 340.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1021.92 | 1021.92 | INR One Thousand &Twenty One and Paise Ninety Two Only | 13.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 3 | sqm
14 | MINOR CIVIL MAINTENANCE WORK | [53 empty] | 14 | MINOR CIVIL MAINTENANCE WORK
14.01 | P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. |  | 1 | Each | 422.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 422.32 | 422.32 | INR Four Hundred & Twenty Two and Paise Thirty Two Only | 14.01 | P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | 1 | Each
14.02 | Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 5 | Each | 58.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293.3 | 293.3 | INR Two Hundred & Ninety Three and Paise Thirty Only | 14.02 | Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 5 | Each
14.03 | Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 10 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293.3 | 293.3 | INR Two Hundred & Ninety Three and Paise Thirty Only | 14.03 | Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 10 | Each
14.04 | Providing and fixing C.P Brass shower rose with 15 mm or 20 mm inlet (a) 75 mm dia fancy type. |  | 1 | Each | 504.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 504.44 | 504.44 | INR Five Hundred & Four and Paise Forty Four Only | 14.04 | Providing and fixing C.P Brass shower rose with 15 mm or 20 mm inlet (a) 75 mm dia fancy type. | 1 | Each
14.05 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." |  | 4.5 | Sqm | 2019.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9086.63 | 9086.63 | INR Nine Thousand &Eighty Six and Paise Sixty Three Only | 14.05 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." | 4.5 | Sqm
Total in Figures | [51 empty] | 504433.43 | 504433.43 | INR Five Lakh Four Thousand Four Hundred & Thirty Three and Paise Forty Three Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K183: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information