## Annexure-A
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
NIT No. 04/Civil/D2/2020-21/04
Name of Work:-Removing falseceiling, renovation work with PVC floor in NL-205.
SCHEDULE OF QUANTITY
Item.No | Description of Items | Qty | Unit | Rate in Figures in Rupees | Amount
1 | MASONRY WORK
1.1 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
1.1.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | 5.5 | sqm | 932.1 | 5127
| Sub-Total |  |  |  | 5127
2 | WOOD AND PVC WORK
2.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
2.1.1 | 100x10 mm | 6 | each | 58.15 | 349
2.2 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
2.2.1 | 100 mm | 6 | each | 52.85 | 317
| Sub-Total |  |  |  | 666
3 | FINISHING
3.1 | 12 mm cement plaster of mix :
3.1.1 | 1:6 (1 cement: 6 coarse sand) | 6 | sqm | 263.55 | 1581
3.2 | 15 mm cement plaster on rough side of single or half brick wall of mix:
3.2.1 | 1:6 (1 cement: 6 coarse sand) | 6 | sqm | 303.9 | 1823
3.3 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
3.3.1 | Two or more coats on new work | 120 | sqm | 87.15 | 10458
3.4 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
3.4.1 | Two or more coats on new work | 20 | sqm | 121.55 | 2431
3.5 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 10 | sqm | 115.15 | 1152
3.6 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 10 | sqm | 18.25 | 183
| Sub-Total |  |  |  | 17628
4 | DISMANTLING AND DEMOLISHING
4.1 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
4.1.1 | Of area 3 sq. metres and below | 3 | each | 106.55 | 320
4.2 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 41 | sqm | 42 | 1722
4.3 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 20 | sqm | 42 | 840
4.4 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 5 | cum | 138.85 | 694
| Sub-Total |  |  |  | 3576
5 | ALUMINIUM WORK
5.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
5.1.1 | For fixed portion
5.1.1.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 116 | kg | 423.95 | 49178
5.1.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
5.1.2.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 20 | kg | 513.4 | 10268
5.2 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge.
5.2.1 | Pre-laminated particle board with decorative lamination on both sides | 16 | sqm | 1046.9 | 16750
5.3 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
5.3.1 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 2.5 | sqm | 1296.4 | 3241
5.4 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 7.5 | kg | 519.85 | 3899
| Sub-Total |  |  |  | 83336
6 | MINOR CIVIL MAINTENANCE WORK:
6.1 | "P/F 1.50mm thick homogeneous polyvinyl chloride sheet/tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dualpo S-758 , Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer -in -charge in approved colour and shade. | 65 | Sqm | 619 | 40235
| Sub-Total |  |  |  | 40235
| Total |  |  |  | 150568
| Total Estimated cost without GST |  |  |  | 132019