## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Construction of boundary wall for new proposed Academic area extension to-words east side.
Contract No: 31/Civil/Div-2/2019-20/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CARRIAGE OF MATERIALS | item no.1 | [52 empty] | 1 | CARRIAGE OF MATERIALS | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 65 | cum | 104.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6813 | 6813 | INR Six Thousand Eight Hundred & Thirteen Only | 1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 65 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | EARTH WORK | item no.4 | [52 empty] | 2 | EARTH WORK | item no.4
2.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.5 | [52 empty] | 2.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.5
2.02 | All kinds of soil | item no.6 | 300 | cum | 159.44 | 2695 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47832 | 47832 | INR Forty Seven Thousand Eight Hundred & Thirty Two Only | 2.02 | All kinds of soil | item no.6 | 300 | cum
2.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.7 | 300 | cum | 192.59 | 1455 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57777 | 57777 | INR Fifty Seven Thousand Seven Hundred & Seventy Seven Only | 2.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.7 | 300 | cum
2.04 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.8 | 1 | cum | 1712.45 | 1455 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1712 | 1712 | INR One Thousand Seven Hundred & Twelve Only | 2.04 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.8 | 1 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.9 | [52 empty] | 2.05 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.9
2.06 | All kinds of soil | item no.10 | 625 | sqm | 21.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13344 | 13344 | INR Thirteen Thousand Three Hundred & Forty Four Only | 2.06 | All kinds of soil | item no.10 | 625 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | item no.11 | 400 | sqm | 11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4400 | 4400 | INR Four Thousand Four Hundred Only | 2.07 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | item no.11 | 400 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | CONCRETE WORK | item no.12 | [52 empty] | 3 | CONCRETE WORK | item no.12
3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.13 | [52 empty] | 3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.13 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.14 | 17 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 101189 | 101189 | INR One Lakh One Thousand One Hundred & Eighty Nine Only | 3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.14 | 17 | cum
3.03 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded stone aggregate 40 mm nominal size derived from natural sources). | item no.15 | 65 | cum | 4840.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 314616 | 314616 | INR Three Lakh Fourteen Thousand Six Hundred & Sixteen Only | 3.03 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded stone aggregate 40 mm nominal size derived from natural sources). | item no.15 | 65 | cum
3.04 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | item no.16 | [52 empty] | 3.04 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | item no.16
3.05 | 1:2:4 (1 Cement : 2 coarse sand (zone- III) including manufactured sand derived from Recycled concrete aggregate (RCA) upto 25% : 4 graded stone aggregate 20 mm nominal size Recycled concrete aggregate (RCA) upto 25%)). | item no.17 | 9 | cum | 7354.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 66191 | 66191 | INR Sixty Six Thousand One Hundred & Ninety One Only | 3.05 | 1:2:4 (1 Cement : 2 coarse sand (zone- III) including manufactured sand derived from Recycled concrete aggregate (RCA) upto 25% : 4 graded stone aggregate 20 mm nominal size Recycled concrete aggregate (RCA) upto 25%)). | item no.17 | 9 | cum
3.06 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.18 | [52 empty] | 3.06 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.18
3.07 | Foundations, footings, bases for columns | item no.19 | 200 | sqm | 249.75 | 30600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49950 | 49950 | INR Forty Nine Thousand Nine Hundred & Fifty Only | 3.07 | Foundations, footings, bases for columns | item no.19 | 200 | sqm
3.08 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand derived from natural sources): 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.20 | 180 | sqm | 305.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54907 | 54907 | INR Fifty Four Thousand Nine Hundred & Seven Only | 3.08 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand derived from natural sources): 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.20 | 180 | sqm
3.09 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.21 | 50 | per 50kg cement | 49.58 | 30600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2479 | 2479 | INR Two Thousand Four Hundred & Seventy Nine Only | 3.09 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.21 | 50 | per 50kg cement
3.1 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.22 | 180 | sqm | 96.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17359 | 17359 | INR Seventeen Thousand Three Hundred & Fifty Nine Only | 3.1 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.22 | 180 | sqm
3.11 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.23 | 10 | sqm | 538.4 | 30600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5384 | 5384 | INR Five Thousand Three Hundred & Eighty Four Only | 3.11 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.23 | 10 | sqm
4 | REINFORCED CEMENT CONCRETE | item no.24 | [52 empty] | 4 | REINFORCED CEMENT CONCRETE | item no.24
4.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.25 | 6 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51366 | 51366 | INR Fifty One Thousand Three Hundred & Sixty Six Only | 4.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.25 | 6 | cum
4.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.26 | [52 empty] | 4.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.26
4.03 | Suspended floors, roofs, landings, balconies and access platform | item no.27 | 20 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12153 | 12153 | INR Twelve Thousand One Hundred & Fifty Three Only | 4.03 | Suspended floors, roofs, landings, balconies and access platform | item no.27 | 20 | sqm
4.04 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.28 | 2 | sqm | 484.04 | 7563 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 968 | 968 | INR Nine Hundred & Sixty Eight Only | 4.04 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.28 | 2 | sqm
4.05 | Edges of slabs and breaks in floors and walls | item no.29 | [52 empty] | 4.05 | Edges of slabs and breaks in floors and walls | item no.29
4.06 | Under 20 cm wide | item no.30 | 18 | metre | 151.9 | 7563 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2734 | 2734 | INR Two Thousand Seven Hundred & Thirty Four Only | 4.06 | Under 20 cm wide | item no.30 | 18 | metre
4.07 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.31 | [52 empty] | 4.07 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.31
4.08 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.32 | 650 | kg | 73.21 | 1814 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47587 | 47587 | INR Forty Seven Thousand Five Hundred & Eighty Seven Only | 4.08 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.32 | 650 | kg
4.09 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.33 | 40 | metre | 51.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2066 | 2066 | INR Two Thousand &Sixty Six Only | 4.09 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.33 | 40 | metre
5 | MASONRY WORK | item no.34 | [52 empty] | 5 | MASONRY WORK | item no.34
5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.35 | [52 empty] | 5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.35
5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.36 | 167 | cum | 5398.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 901616 | 901616 | INR Nine Lakh One Thousand Six Hundred & Sixteen Only | 5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.36 | 167 | cum
5.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.37 | [52 empty] | 5.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.37
5.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.38 | 8 | cum | 6655.37 | 251680 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53243 | 53243 | INR Fifty Three Thousand Two Hundred & Forty Three Only | 5.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.38 | 8 | cum
5.05 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | item no.39 | 1 | sqm | 657.38 | 251680 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 657 | 657 | INR Six Hundred & Fifty Seven Only | 5.05 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | item no.39 | 1 | sqm
5.06 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.40 | [52 empty] | 5.06 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.40
5.07 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.41 | 36 | sqm | 817.27 | 68800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29422 | 29422 | INR Twenty Nine Thousand Four Hundred & Twenty Two Only | 5.07 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.41 | 36 | sqm
5.08 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.42 | [52 empty] | 5.08 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.42
5.09 | Above plinth level upto floor V level | item no.43 | 195 | cum | 6867.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1339096 | 1339096 | INR Thirteen Lakh Thirty Nine Thousand &Ninety Six Only | 5.09 | Above plinth level upto floor V level | item no.43 | 195 | cum
5.1 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.44 | 18 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 821 | 821 | INR Eight Hundred & Twenty One Only | 5.1 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.44 | 18 | metre
6 | WOOD AND PVC WORK | item no.45 | [52 empty] | 6 | WOOD AND PVC WORK | item no.45
6.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.46 | [52 empty] | 6.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.46
6.02 | 250x16 mm | item no.47 | 2 | each | 149.05 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298 | 298 | INR Two Hundred & Ninety Eight Only | 6.02 | 250x16 mm | item no.47 | 2 | each
6.03 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.48 | [52 empty] | 6.03 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.48
6.04 | 200x10 mm | item no.49 | 2 | each | 53.09 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 106 | 106 | INR One Hundred & Six Only | 6.04 | 200x10 mm | item no.49 | 2 | each
6.05 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.50 | [52 empty] | 6.05 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.50
6.06 | 125 mm | item no.51 | 2 | each | 30.55 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61 | 61 | INR Sixty One Only | 6.06 | 125 mm | item no.51 | 2 | each
6.07 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete. | item no.52 | [52 empty] | 6.07 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete. | item no.52
6.08 | 250 mm weighing not less than 150 gms | item no.53 | 10 | each | 45.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 451 | 451 | INR Four Hundred & Fifty One Only | 6.08 | 250 mm weighing not less than 150 gms | item no.53 | 10 | each
7 | STEEL WORK | item no.54 | [52 empty] | 7 | STEEL WORK | item no.54
7.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.55 | 20 | kg | 89.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1784 | 1784 | INR One Thousand Seven Hundred & Eighty Four Only | 7.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.55 | 20 | kg
7.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.56 | [52 empty] | 7.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.56
7.03 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.57 | 40 | sqm | 3882.63 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 155305 | 155305 | INR One Lakh Fifty Five Thousand Three Hundred & Five Only | 7.03 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.57 | 40 | sqm
7.04 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.58 | [52 empty] | 7.04 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.58
7.05 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.59 | 40 | kg | 145.98 | 1455 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5839 | 5839 | INR Five Thousand Eight Hundred & Thirty Nine Only | 7.05 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.59 | 40 | kg
7.06 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.60 | [52 empty] | 7.06 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.60
7.07 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.61 | 11250 | kg | 114.86 | 12714 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1292175 | 1292175 | INR Twelve Lakh Ninety Two Thousand One Hundred & Seventy Five Only | 7.07 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.61 | 11250 | kg
7.08 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.62 | [52 empty] | 7.08 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.62
7.09 | 4.0 mm thick glass panes | item no.63 | 3 | sqm | 789.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2369 | 2369 | INR Two Thousand Three Hundred & Sixty Nine Only | 7.09 | 4.0 mm thick glass panes | item no.63 | 3 | sqm
8 | FLOORING | item no.64 | [52 empty] | 8 | FLOORING | item no.64
8.01 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: | item no.65 | [52 empty] | 8.01 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: | item no.65
8.02 | 1:6 (1cement : 6 coarse sand) | item no.66 | 10 | sqm | 727.26 | 434553 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7273 | 7273 | INR Seven Thousand Two Hundred & Seventy Three Only | 8.02 | 1:6 (1cement : 6 coarse sand) | item no.66 | 10 | sqm
8.03 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.67 | [52 empty] | 8.03 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.67
8.04 | 40 mm thick with 20 mm nominal size stone aggregate | item no.68 | 10 | sqm | 436.95 | 434553 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4370 | 4370 | INR Four Thousand Three Hundred & Seventy Only | 8.04 | 40 mm thick with 20 mm nominal size stone aggregate | item no.68 | 10 | sqm
8.05 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.69 | [52 empty] | 8.05 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.69
8.06 | 18 mm thick | item no.70 | 2 | sqm | 456.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 914 | 914 | INR Nine Hundred & Fourteen Only | 8.06 | 18 mm thick | item no.70 | 2 | sqm
8.07 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.71 | [52 empty] | 8.07 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.71
8.08 | 40 mm wide and 4 mm thick | item no.72 | 10 | metre | 65.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 659 | 659 | INR Six Hundred & Fifty Nine Only | 8.08 | 40 mm wide and 4 mm thick | item no.72 | 10 | metre
9 | FINISHING | item no.73 | [52 empty] | 9 | FINISHING | item no.73
9.01 | 12 mm cement plaster of mix : | item no.74 | [52 empty] | 9.01 | 12 mm cement plaster of mix : | item no.74
9.02 | 1:6 (1 cement: 6 coarse sand) | item no.75 | 540 | sqm | 231.08 | 1455 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 124783 | 124783 | INR One Lakh Twenty Four Thousand Seven Hundred & Eighty Three Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | item no.75 | 540 | sqm
9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.76 | [52 empty] | 9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.76
9.04 | 1:6 (1 cement: 6 coarse sand) | item no.77 | 1110 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 295771 | 295771 | INR Two Lakh Ninety Five Thousand Seven Hundred & Seventy One Only | 9.04 | 1:6 (1 cement: 6 coarse sand) | item no.77 | 1110 | sqm
9.05 | 6 mm cement plaster of mix : | item no.78 | [52 empty] | 9.05 | 6 mm cement plaster of mix : | item no.78
9.06 | 1:3 (1 cement : 3 fine sand) | item no.79 | 195 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38871 | 38871 | INR Thirty Eight Thousand Eight Hundred & Seventy One Only | 9.06 | 1:3 (1 cement : 3 fine sand) | item no.79 | 195 | sqm
9.07 | Neat cement punning. | item no.80 | 5 | sqm | 55.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 275 | 275 | INR Two Hundred & Seventy Five Only | 9.07 | Neat cement punning. | item no.80 | 5 | sqm
9.08 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.81 | [52 empty] | 9.08 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.81
9.09 | Flush / Ruled/ Struck or weathered pointing | item no.82 | 570 | sqm | 167.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 95732 | 95732 | INR Ninety Five Thousand Seven Hundred & Thirty Two Only | 9.09 | Flush / Ruled/ Struck or weathered pointing | item no.82 | 570 | sqm
9.1 | White washing with lime to give an even shade : | item no.83 | [52 empty] | 9.1 | White washing with lime to give an even shade : | item no.83
9.11 | New work (three or more coats) | item no.84 | 10 | sqm | 25.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 250 | 250 | INR Two Hundred & Fifty Only | 9.11 | New work (three or more coats) | item no.84 | 10 | sqm
9.12 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.85 | [52 empty] | 9.12 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.85
9.13 | Two or more coats on new work | item no.86 | 45 | sqm | 76.41 | 30600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3438 | 3438 | INR Three Thousand Four Hundred & Thirty Eight Only | 9.13 | Two or more coats on new work | item no.86 | 45 | sqm
9.14 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.87 | [52 empty] | 9.14 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.87
9.15 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.88 | 2525 | sqm | 141.29 | 30600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356757 | 356757 | INR Three Lakh Fifty Six Thousand Seven Hundred & Fifty Seven Only | 9.15 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.88 | 2525 | sqm
9.16 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.89 | [52 empty] | 9.16 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.89
9.17 | Two or more coats on new work | item no.90 | 650 | sqm | 106.57 | 30600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 69271 | 69271 | INR Sixty Nine Thousand Two Hundred & Seventy One Only | 9.17 | Two or more coats on new work | item no.90 | 650 | sqm
9.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.91 | [52 empty] | 9.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.91
9.19 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.92 | 3 | sqm | 155.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 466 | 466 | INR Four Hundred & Sixty Six Only | 9.19 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.92 | 3 | sqm
9.2 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.93 | 45 | sqm | 100.96 | 7563 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4543 | 4543 | INR Four Thousand Five Hundred & Forty Three Only | 9.2 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.93 | 45 | sqm
10 | DISMANTLING AND DEMOLISHING | item no.94 | [52 empty] | 10 | DISMANTLING AND DEMOLISHING | item no.94
10.01 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.95 | [52 empty] | 10.01 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.95
10.02 | In cement mortar | item no.96 | 60 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77329 | 77329 | INR Seventy Seven Thousand Three Hundred & Twenty Nine Only | 10.02 | In cement mortar | item no.96 | 60 | cum
10.03 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | item no.97 | 500 | kg | 3.63 | 7563 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1815 | 1815 | INR One Thousand Eight Hundred & Fifteen Only | 10.03 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | item no.97 | 500 | kg
11 | WATER PROOFING | item no.98 | [52 empty] | 11 | WATER PROOFING | item no.98
11.01 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.99 | [52 empty] | 11.01 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.99
11.02 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.100 | 20 | sqm | 1226.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24524 | 24524 | INR Twenty Four Thousand Five Hundred & Twenty Four Only | 11.02 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.100 | 20 | sqm
12 | MINOR CIVIL MAINTENANCE WORK: | item no.101 | [52 empty] | 12 | MINOR CIVIL MAINTENANCE WORK: | item no.101
12.01 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | item no.102 | 2 | Sqm | 2019.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4038 | 4038 | INR Four Thousand &Thirty Eight Only | 12.01 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | item no.102 | 2 | Sqm
12.02 | "Providing and Fixing M.S handle for steel window. | item no.103 | 4 | Each | 29.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 117 | 117 | INR One Hundred & Seventeen Only | 12.02 | "Providing and Fixing M.S handle for steel window. | item no.103 | 4 | Each
12.03 | "Making blunt to spikes in the grill of existing boundary wall. " | item no.104 | 1500 | each | 2.63 | 251680 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3945 | 3945 | INR Three Thousand Nine Hundred & Forty Five Only | 12.03 | "Making blunt to spikes in the grill of existing boundary wall. " | item no.104 | 1500 | each
Total in Figures | [51 empty] | 5759211 | 5759211 | INR Fifty Seven Lakh Fifty Nine Thousand Two Hundred & Eleven Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information