## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Upgradation of house no.416 type- IV as per new norms
Contract No: 11/C/D3/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | [53 empty] | 1 | EARTH WORK
1.01 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | [53 empty] | 1.01 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge:
1.02 | All kinds of soil |  | 5 | sqm | 93.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 469.1 | 469.1 | INR Four Hundred & Sixty Nine and Paise Ten Only | 1.02 | All kinds of soil | 5 | sqm
1.03 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | [53 empty] | 1.03 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
1.04 | All kinds of soil. |  | 1 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 251.51 | 251.51 | INR Two Hundred & Fifty One and Paise Fifty One Only | 1.04 | All kinds of soil. | 1 | cum
2 | CEMENT CONCRETE (CAST IN SITU) | [53 empty] | 2 | CEMENT CONCRETE (CAST IN SITU)
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.5 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3228.92 | 3228.92 | INR Three Thousand Two Hundred & Twenty Eight and Paise Ninety Two Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 0.5 | cum
2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 5 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2988.4 | 2988.4 | INR Two Thousand Nine Hundred & Eighty Eight and Paise Forty Only | 2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 5 | sqm
3 | REINFORCED CEMENT CONCRETE | [53 empty] | 3 | REINFORCED CEMENT CONCRETE
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.5 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4699.39 | 4699.39 | INR Four Thousand Six Hundred & Ninety Nine and Paise Thirty Nine Only | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.5 | cum
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for
3.03 | Shelves (Cast in situ) |  | 5.5 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3696.66 | 3696.66 | INR Three Thousand Six Hundred & Ninety Six and Paise Sixty Six Only | 3.03 | Shelves (Cast in situ) | 5.5 | sqm
3.04 | Edges of slabs and breaks in floors and walls | [53 empty] | 3.04 | Edges of slabs and breaks in floors and walls
3.05 | Under 20 cm wide |  | 10 | metre | 159.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1594.9 | 1594.9 | INR One Thousand Five Hundred & Ninety Four and Paise Ninety Only | 3.05 | Under 20 cm wide | 10 | metre
3.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | [53 empty] | 3.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
3.07 | Cold twisted bars |  | 45 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3537.45 | 3537.45 | INR Three Thousand Five Hundred & Thirty Seven and Paise Forty Five Only | 3.07 | Cold twisted bars | 45 | kg
3.08 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. |  | 60 | metre | 56.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3403.8 | 3403.8 | INR Three Thousand Four Hundred & Three and Paise Eighty Only | 3.08 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | 60 | metre
4 | MASONRY WORK | [53 empty] | 4 | MASONRY WORK
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 0.6 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3502.81 | 3502.81 | INR Three Thousand Five Hundred & Two and Paise Eighty One Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 0.6 | cum
4.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 4.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
4.05 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 1.5 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1338.95 | 1338.95 | INR One Thousand Three Hundred & Thirty Eight and Paise Ninety Five Only | 4.05 | Cement mortar 1:4 (1 cement :4 coarse sand) | 1.5 | sqm
5 | CLADDING WORK | [53 empty] | 5 | CLADDING WORK
5.01 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | [53 empty] | 5.01 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
5.02 | Marble work |  | 10 | metre | 214.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2147.3 | 2147.3 | INR Two Thousand One Hundred & Forty Seven and Paise Thirty Only | 5.02 | Marble work | 10 | metre
5.03 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. |  | 15 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10628.85 | 10628.85 | INR Ten Thousand Six Hundred & Twenty Eight and Paise Eighty Five Only | 5.03 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 15 | each
5.04 | Providing and fixing adjustable stainless steel cramps of approved quality, required shape and size, adjustable with stainless steel nuts, bolts and washer (total weight not less than 260 gms), for dry stone cladding fixed on frame work at suitable location, including making necessary recesses in stone slab, drilling required holes etc complete as per direction of the Engineer-in-charge. |  | 5.5 | each | 320.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1763.3 | 1763.3 | INR One Thousand Seven Hundred & Sixty Three and Paise Thirty Only | 5.04 | Providing and fixing adjustable stainless steel cramps of approved quality, required shape and size, adjustable with stainless steel nuts, bolts and washer (total weight not less than 260 gms), for dry stone cladding fixed on frame work at suitable location, including making necessary recesses in stone slab, drilling required holes etc complete as per direction of the Engineer-in-charge. | 5.5 | each
5.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 15 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13986.6 | 13986.6 | INR Thirteen Thousand Nine Hundred & Eighty Six and Paise Sixty Only | 5.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 15 | sqm
6 | WOOD AND P. V. C. WORK | [53 empty] | 6 | WOOD AND P. V. C. WORK
6.01 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | [53 empty] | 6.01 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws.
6.02 | Second class teak wood | [53 empty] | 6.02 | Second class teak wood
6.03 | 35 mm thick |  | 0.6 | sqm | 3909.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2345.5 | 2345.5 | INR Two Thousand Three Hundred & Forty Five and Paise Fifty Only | 6.03 | 35 mm thick | 0.6 | sqm
6.04 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | [53 empty] | 6.04 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.
6.05 | Fixed to openings /wooden frames with rawl plugs screws etc. |  | 7 | kg | 173.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1213.45 | 1213.45 | INR One Thousand Two Hundred & Thirteen and Paise Forty Five Only | 6.05 | Fixed to openings /wooden frames with rawl plugs screws etc. | 7 | kg
6.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | [53 empty] | 6.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
6.07 | 250x16 mm |  | 1 | each | 145.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 145.46 | 145.46 | INR One Hundred & Forty Five and Paise Forty Six Only | 6.07 | 250x16 mm | 1 | each
6.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | [53 empty] | 6.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete :
6.09 | 200x10 mm |  | 1 | each | 53.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53.53 | 53.53 | INR Fifty Three and Paise Fifty Three Only | 6.09 | 200x10 mm | 1 | each
6.1 | 150x10 mm |  | 1 | each | 46.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46.51 | 46.51 | INR Forty Six and Paise Fifty One Only | 6.1 | 150x10 mm | 1 | each
6.11 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | [53 empty] | 6.11 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
6.12 | 125 mm |  | 2 | each | 30.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61.72 | 61.72 | INR Sixty One and Paise Seventy Two Only | 6.12 | 125 mm | 2 | each
6.13 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 6.13 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
6.14 | 150x10 mm |  | 2 | each | 66.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132.48 | 132.48 | INR One Hundred & Thirty Two and Paise Forty Eight Only | 6.14 | 150x10 mm | 2 | each
6.15 | 100x10 mm |  | 2 | each | 51.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102.84 | 102.84 | INR One Hundred & Two and Paise Eighty Four Only | 6.15 | 100x10 mm | 2 | each
6.16 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 6.16 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
6.17 | 100 mm |  | 35 | each | 46.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1634.15 | 1634.15 | INR One Thousand Six Hundred & Thirty Four and Paise Fifteen Only | 6.17 | 100 mm | 35 | each
6.18 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | [53 empty] | 6.18 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
6.19 | Twin rubber stopper |  | 14 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 764.12 | 764.12 | INR Seven Hundred & Sixty Four and Paise Twelve Only | 6.19 | Twin rubber stopper | 14 | each
6.2 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | [53 empty] | 6.2 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws :
6.21 | 35 mm thick shutters | [53 empty] | 6.21 | 35 mm thick shutters
6.22 | with ISI marked M.S. pressed butt hinges bright finished of required size | [53 empty] | 6.22 | with ISI marked M.S. pressed butt hinges bright finished of required size
6.623 | Second class teak wood |  | 0.6 | sqm | 3932.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2359.31 | 2359.31 | INR Two Thousand Three Hundred & Fifty Nine and Paise Thirty One Only | 6.623 | Second class teak wood | 0.6 | sqm
7 | STEEL WORK | [53 empty] | 7 | STEEL WORK
7.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 20 | kg | 68.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1371.4 | 1371.4 | INR One Thousand Three Hundred & Seventy One and Paise Forty Only | 7.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 20 | kg
7.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | [53 empty] | 7.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
7.03 | Using M.S. angels 40x40x6 mm for diagonal braces |  | 1.5 | sqm | 4192.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6288.23 | 6288.23 | INR Six Thousand Two Hundred & Eighty Eight and Paise Twenty Three Only | 7.03 | Using M.S. angels 40x40x6 mm for diagonal braces | 1.5 | sqm
8 | FLOORING | [53 empty] | 8 | FLOORING
8.01 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | [53 empty] | 8.01 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.
8.02 | Size of Tile 600x600 mm |  | 151 | sqm | 1242.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 187561.63 | 187561.63 | INR One Lakh Eighty Seven Thousand Five Hundred & Sixty One and Paise Sixty Three Only | 8.02 | Size of Tile 600x600 mm | 151 | sqm
8.03 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | [53 empty] | 8.03 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
8.05 | Size of Tile 600x600 mm |  | 13.5 | sqm | 1285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17358.84 | 17358.84 | INR Seventeen Thousand Three Hundred & Fifty Eight and Paise Eighty Four Only | 8.05 | Size of Tile 600x600 mm | 13.5 | sqm
9 | FINISHING | [53 empty] | 9 | FINISHING
9.01 | 12 mm cement plaster of mix : | [53 empty] | 9.01 | 12 mm cement plaster of mix :
9.02 | 1:6 (1 cement: 6 coarse sand) |  | 10 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2580.9 | 2580.9 | INR Two Thousand Five Hundred & Eighty and Paise Ninety Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm
9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
9.04 | 1:6 (1 cement: 6 coarse sand) |  | 10 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2973.3 | 2973.3 | INR Two Thousand Nine Hundred & Seventy Three and Paise Thirty Only | 9.04 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm
9.05 | 6 mm cement plaster of mix : | [53 empty] | 9.05 | 6 mm cement plaster of mix :
9.06 | 1:3 (1 cement : 3 fine sand) |  | 6 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1331.28 | 1331.28 | INR One Thousand Three Hundred & Thirty One and Paise Twenty Eight Only | 9.06 | 1:3 (1 cement : 3 fine sand) | 6 | sqm
9.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 9.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
9.08 | Two or more coats on new work |  | 200 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16264 | 16264 | INR Sixteen Thousand Two Hundred & Sixty Four Only | 9.08 | Two or more coats on new work | 200 | sqm
9.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 200 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21718 | 21718 | INR Twenty One Thousand Seven Hundred & Eighteen Only | 9.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 200 | sqm
9.1 | White washing with lime to give an even shade : | [53 empty] | 9.1 | White washing with lime to give an even shade :
9.11 | Old work (two or more coats) |  | 255 | sqm | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4248.3 | 4248.3 | INR Four Thousand Two Hundred & Forty Eight and Paise Thirty Only | 9.11 | Old work (two or more coats) | 255 | sqm
9.12 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | [53 empty] | 9.12 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade :
9.13 | Old work (one or more coats) |  | 200 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9960 | 9960 | INR Nine Thousand Nine Hundred & Sixty Only | 9.13 | Old work (one or more coats) | 200 | sqm
9.14 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 200 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3656 | 3656 | INR Three Thousand Six Hundred & Fifty Six Only | 9.14 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 200 | sqm
9.15 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 9.15 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
9.16 | One or more coats on old work |  | 180 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13660.2 | 13660.2 | INR Thirteen Thousand Six Hundred & Sixty and Paise Twenty Only | 9.16 | One or more coats on old work | 180 | sqm
9.17 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 9.17 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
9.18 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 50 | sqm | 95.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4761 | 4761 | INR Four Thousand Seven Hundred & Sixty One Only | 9.18 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 50 | sqm
10 | REPAIRS TO BUILDING | [53 empty] | 10 | REPAIRS TO BUILDING
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 10 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4191.1 | 4191.1 | INR Four Thousand One Hundred & Ninety One and Paise Ten Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm
10.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 151 | sqm | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 377.5 | 377.5 | INR Three Hundred & Seventy Seven and Paise Fifty Only | 10.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 151 | sqm
10.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 14 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4001.2 | 4001.2 | INR Four Thousand &One and Paise Twenty Only | 10.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 14 | each
10.05 | Dismantling and Demolishing | [53 empty] | 10.05 | Dismantling and Demolishing
10.06 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 10.06 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
10.07 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 1 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1759.84 | 1759.84 | INR One Thousand Seven Hundred & Fifty Nine and Paise Eighty Four Only | 10.07 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1 | cum
10.08 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 2.5 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2717.23 | 2717.23 | INR Two Thousand Seven Hundred & Seventeen and Paise Twenty Three Only | 10.08 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 2.5 | cum
10.09 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 1.5 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3851.07 | 3851.07 | INR Three Thousand Eight Hundred & Fifty One and Paise Seven Only | 10.09 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1.5 | cum
10.1 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. |  | 5 | sqm | 830.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4152.15 | 4152.15 | INR Four Thousand One Hundred & Fifty Two and Paise Fifteen Only | 10.1 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. | 5 | sqm
10.11 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 10.11 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
10.12 | In cement mortar |  | 0.5 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 744.61 | 744.61 | INR Seven Hundred & Forty Four and Paise Sixty One Only | 10.12 | In cement mortar | 0.5 | cum
10.13 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | [53 empty] | 10.13 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
10.14 | Of area 3 sq. metres and below |  | 2 | each | 103.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 207.46 | 207.46 | INR Two Hundred & Seven and Paise Forty Six Only | 10.14 | Of area 3 sq. metres and below | 2 | each
10.15 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 10.15 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
10.16 | For thickness of tiles 10 mm to 25 mm |  | 5 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 265.25 | 265.25 | INR Two Hundred & Sixty Five and Paise Twenty Five Only | 10.16 | For thickness of tiles 10 mm to 25 mm | 5 | sqm
10.17 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 30 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1185 | 1185 | INR One Thousand One Hundred & Eighty Five Only | 10.17 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 30 | sqm
10.18 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 6 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1153.98 | 1153.98 | INR One Thousand One Hundred & Fifty Three and Paise Ninety Eight Only | 10.18 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 6 | cum
11 | SANITARY INSTALLATIONS | [53 empty] | 11 | SANITARY INSTALLATIONS
11.01 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | [53 empty] | 11.01 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :
11.02 | W.C. pan with ISI marked black solid plastic seat and lid |  | 1 | each | 4758.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4758.26 | 4758.26 | INR Four Thousand Seven Hundred & Fifty Eight and Paise Twenty Six Only | 11.02 | W.C. pan with ISI marked black solid plastic seat and lid | 1 | each
11.03 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : | [53 empty] | 11.03 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :
11.04 | Kitchen sink with drain board | [53 empty] | 11.04 | Kitchen sink with drain board
11.05 | 510x1040 mm bowl depth 200 mm |  | 1 | each | 5502.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5502.85 | 5502.85 | INR Five Thousand Five Hundred & Two and Paise Eighty Five Only | 11.05 | 510x1040 mm bowl depth 200 mm | 1 | each
11.06 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. |  | 2 | each | 262.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 524.94 | 524.94 | INR Five Hundred & Twenty Four and Paise Ninety Four Only | 11.06 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 2 | each
11.07 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. |  | 2 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1554.14 | 1554.14 | INR One Thousand Five Hundred & Fifty Four and Paise Fourteen Only | 11.07 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 2 | each
11.08 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia |  | 2 | each | 5365.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10730.64 | 10730.64 | INR Ten Thousand Seven Hundred & Thirty and Paise Sixty Four Only | 11.08 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | 2 | each
11.09 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | [53 empty] | 11.09 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
11.1 | Flexible pipe | [53 empty] | 11.1 | Flexible pipe
11.11 | 32 mm dia |  | 1 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91.49 | 91.49 | INR Ninety One and Paise Forty Nine Only | 11.11 | 32 mm dia | 1 | each
11.12 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 2 | each | 1237.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2474.62 | 2474.62 | INR Two Thousand Four Hundred & Seventy Four and Paise Sixty Two Only | 11.12 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2 | each
11.13 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 11.13 | Providing and fixing soil, waste and vent pipes :
11.14 | 100 mm dia | [53 empty] | 11.14 | 100 mm dia
11.15 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 |  | 3 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2834.01 | 2834.01 | INR Two Thousand Eight Hundred & Thirty Four and Paise One Only | 11.15 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 3 | metre
11.16 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 11.16 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
11.17 | 100 mm dia | [53 empty] | 11.17 | 100 mm dia
11.18 | Sand cast iron S&S as per IS - 3989 |  | 1 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 523.98 | 523.98 | INR Five Hundred & Twenty Three and Paise Ninety Eight Only | 11.18 | Sand cast iron S&S as per IS - 3989 | 1 | each
11.19 | Providing and fixing plain bend of required degree. | [53 empty] | 11.19 | Providing and fixing plain bend of required degree.
11.2 | 100 mm dia | [53 empty] | 11.2 | 100 mm dia
11.21 | Sand cast iron S&S as per IS : 3989 |  | 1 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 385.58 | 385.58 | INR Three Hundred & Eighty Five and Paise Fifty Eight Only | 11.21 | Sand cast iron S&S as per IS : 3989 | 1 | each
11.22 | Providing and fixing collar : | [53 empty] | 11.22 | Providing and fixing collar :
11.23 | 100 mm | [53 empty] | 11.23 | 100 mm
11.24 | Sand cast iron S&S as per IS - 3989 |  | 1 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 385.58 | 385.58 | INR Three Hundred & Eighty Five and Paise Fifty Eight Only | 11.24 | Sand cast iron S&S as per IS - 3989 | 1 | each
11.25 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 11.25 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
11.26 | 100 mm |  | 6 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2891.64 | 2891.64 | INR Two Thousand Eight Hundred & Ninety One and Paise Sixty Four Only | 11.26 | 100 mm | 6 | each
11.27 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 11.27 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
11.28 | 100 mm inlet and 100 mm outlet | [53 empty] | 11.28 | 100 mm inlet and 100 mm outlet
11.29 | Sand cast iron S&S as per IS: 3989 |  | 1 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1406.49 | 1406.49 | INR One Thousand Four Hundred & Six and Paise Forty Nine Only | 11.29 | Sand cast iron S&S as per IS: 3989 | 1 | each
12 | WATER SUPPLY | [53 empty] | 12 | WATER SUPPLY
12.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 12.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
12.02 | 15 mm dia nominal bore |  | 10 | metre | 266.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2666.8 | 2666.8 | INR Two Thousand Six Hundred & Sixty Six and Paise Eighty Only | 12.02 | 15 mm dia nominal bore | 10 | metre
12.03 | 20 mm dia nominal bore |  | 10 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3273.6 | 3273.6 | INR Three Thousand Two Hundred & Seventy Three and Paise Sixty Only | 12.03 | 20 mm dia nominal bore | 10 | metre
12.04 | 32 mm dia nominal bore |  | 2 | metre | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 988.34 | 988.34 | INR Nine Hundred & Eighty Eight and Paise Thirty Four Only | 12.04 | 32 mm dia nominal bore | 2 | metre
12.05 | Providing and fixing uplasticised PVC connection pipe with brass unions : | [53 empty] | 12.05 | Providing and fixing uplasticised PVC connection pipe with brass unions :
12.06 | 45 cm length | [53 empty] | 12.06 | 45 cm length
12.07 | 15 mm nominal bore |  | 8 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 597.6 | 597.6 | INR Five Hundred & Ninety Seven and Paise Sixty Only | 12.07 | 15 mm nominal bore | 8 | each
12.08 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | [53 empty] | 12.08 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality :
12.09 | 20 mm diameter pipe |  | 10 | metre | 10.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 105.2 | 105.2 | INR One Hundred & Five and Paise Twenty Only | 12.09 | 20 mm diameter pipe | 10 | metre
12.1 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 12.1 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
12.11 | 15 mm nominal bore |  | 1 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 229.99 | 229.99 | INR Two Hundred & Twenty Nine and Paise Ninety Nine Only | 12.11 | 15 mm nominal bore | 1 | each
12.12 | 20 mm nominal bore |  | 1 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 253.44 | 253.44 | INR Two Hundred & Fifty Three and Paise Forty Four Only | 12.12 | 20 mm nominal bore | 1 | each
12.13 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 12.13 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
12.14 | 15 mm nominal bore |  | 4 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1522.84 | 1522.84 | INR One Thousand Five Hundred & Twenty Two and Paise Eighty Four Only | 12.14 | 15 mm nominal bore | 4 | each
12.15 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 12.15 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
12.16 | 15 mm nominal bore |  | 2 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1242.26 | 1242.26 | INR One Thousand Two Hundred & Forty Two and Paise Twenty Six Only | 12.16 | 15 mm nominal bore | 2 | each
12.17 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | [53 empty] | 12.17 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
12.18 | 15mm nominal bore |  | 10 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4387.1 | 4387.1 | INR Four Thousand Three Hundred & Eighty Seven and Paise Ten Only | 12.18 | 15mm nominal bore | 10 | each
12.19 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 17 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 919.7 | 919.7 | INR Nine Hundred & Nineteen and Paise Seventy Only | 12.19 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 17 | each
12.2 | Cutting holes up to 30x30 cm in walls including making good the same: | [53 empty] | 12.2 | Cutting holes up to 30x30 cm in walls including making good the same:
12.21 | With common burnt clay F.P.S. (non modular) bricks |  | 5 | each | 317.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1588.8 | 1588.8 | INR One Thousand Five Hundred & Eighty Eight and Paise Eighty Only | 12.21 | With common burnt clay F.P.S. (non modular) bricks | 5 | each
12.22 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. |  | 15 | metre | 150.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2259.6 | 2259.6 | INR Two Thousand Two Hundred & Fifty Nine and Paise Sixty Only | 12.22 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 15 | metre
13 | WATER PROOFING | [53 empty] | 13 | WATER PROOFING
13.01 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. |  | 200 | sqm | 415.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83148 | 83148 | INR Eighty Three Thousand One Hundred & Forty Eight Only | 13.01 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 200 | sqm
14 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 14 | NEW TECHNOLOGIES AND MATERIALS
14.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | [53 empty] | 14.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
14.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make |  | 2 | sqm | 342.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 684.7 | 684.7 | INR Six Hundred & Eighty Four and Paise Seventy Only | 14.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 2 | sqm
15 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 15 | MINOR CIVIL MAINTENANCE WORK:
15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 2 | Cum | 4985.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9971.86 | 9971.86 | INR Nine Thousand Nine Hundred & Seventy One and Paise Eighty Six Only | 15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | 2 | Cum
15.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. |  | 2 | Each | 457.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 915.04 | 915.04 | INR Nine Hundred & Fifteen and Paise Four Only | 15.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | 2 | Each
15.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 2 | Each | 51.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 103.24 | 103.24 | INR One Hundred & Three and Paise Twenty Four Only | 15.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 2 | Each
15.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 20 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 586.6 | 586.6 | INR Five Hundred & Eighty Six and Paise Sixty Only | 15.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 20 | Each
15.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. |  | 2 | Each | 586.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1173.12 | 1173.12 | INR One Thousand One Hundred & Seventy Three and Paise Twelve Only | 15.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | 2 | Each
15.06 | Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. |  | 2 | Sqm | 1954.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3909.68 | 3909.68 | INR Three Thousand Nine Hundred & Nine and Paise Sixty Eight Only | 15.06 | Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | 2 | Sqm
15.07 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete |  | 2 | Each | 2522.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5044.4 | 5044.4 | INR Five Thousand &Forty Four and Paise Forty Only | 15.07 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete | 2 | Each
15.08 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. |  | 2 | Each | 1730.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3460.7 | 3460.7 | INR Three Thousand Four Hundred & Sixty and Paise Seventy Only | 15.08 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. | 2 | Each
15.09 | Providing and fixing 15 mm nominal bore C.P brass two way bib cock of L&K or approved equivalent make etc. complete |  | 1 | Each | 1284.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1284.56 | 1284.56 | INR One Thousand Two Hundred & Eighty Four and Paise Fifty Six Only | 15.09 | Providing and fixing 15 mm nominal bore C.P brass two way bib cock of L&K or approved equivalent make etc. complete | 1 | Each
15.1 | Providing and fixing 15 mm nominal bore two way angle valve of make L&K or approved equivalent make. |  | 1 | Each | 1284.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1284.56 | 1284.56 | INR One Thousand Two Hundred & Eighty Four and Paise Fifty Six Only | 15.1 | Providing and fixing 15 mm nominal bore two way angle valve of make L&K or approved equivalent make. | 1 | Each
15.11 | "P/F moduler kitchen in the kitchen of Type IV house 1.(I)Base Unit (Perforated Cutlery)500mm 420x485x100mm (1.0each)(Everyday) (II)Drawer Basket 420x485x100mm (1.0 each)(Everyday (III)Thali Basket 420x485x140mm (1.0 each)(Everyday) 2.Base Unit(Bottle P.O. 2 S)300mm 200x485x420mm(1.0 each)(Everyday) 3.(I) Base Unit (Drawer500mm) 420x500x86mm (1.0 each) (Hettich) (II) Drawer Basket 420x485x100mm (1.0 each)(Everyday (III) Drawer Basket 420X485X140mm (1.0 each) (Everyday) 4.Base Unit(Drawwer Basket 600mm) 520x400x140mm(2.0 each)(Everyday) 5.Base Unit (Corner1095mm) (1.0 each) Blank 6.Base Unit (Drawer Basket 600mm)520x400x140mm(2.0 each)(Sparkletop) 7.(I)Base Unit (Drawwer Basket 600mm) 20X400X140mm (2.0 each)(Sparkletop) (II)Base Unit (Drawwer Basket 840mm)Blank 8.Base Unit (Drawwer Basket 550mm) 470x485x140mm(2.0 each)(Everyday) 9.(I)Base Unit(Rack 870mm) 100x485x420mm(1.0 each)(Everyday) (II)Base Unit(Rack 500mm)Blank (III)Base Unit(Rack 500mm)Blank 10.Wall Unit (Glass & Plate Rack ncludingDripTray600x300x600) 560x230x25/65mm (1.0 each)(Everyday) 11.Marble (As per site) (32.0 each)(As per site) 12.Full extention ball bering sliding telescopic (15.0 set) (Hettich) 13.Solid Shutters (6.20 sqm)(Dynasty) 14.Glass Shutter (0.40 sqm)(Dynasty) 15.Auto Closing Concealed Hinges (8.0)(Hettich) 16.Auto Closing Concealed Special Corner Hinges(1.0 each)(Hettich) 17.Handles (24.0 each) 18.Hardware (Screws counter sunk,Connect Fastners, Tags) (L.S.)As per site requirement 19.Fixing & lnstallation of the complete modular Kitchen(L.S.) " |  | 1 | Each | 130202.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 130202.31 | 130202.31 | INR One Lakh Thirty Thousand Two Hundred & Two and Paise Thirty One Only | 15.11 | "P/F moduler kitchen in the kitchen of Type IV house 1.(I)Base Unit (Perforated Cutlery)500mm 420x485x100mm (1.0each)(Everyday) (II)Drawer Basket 420x485x100mm (1.0 each)(Everyday (III)Thali Basket 420x485x140mm (1.0 each)(Everyday) 2.Base Unit(Bottle P.O. 2 S)300mm 200x485x420mm(1.0 each)(Everyday) 3.(I) Base Unit (Drawer500mm) 420x500x86mm (1.0 each) (Hettich) (II) Drawer Basket 420x485x100mm (1.0 each)(Everyday (III) Drawer Basket 420X485X140mm (1.0 each) (Everyday) 4.Base Unit(Drawwer Basket 600mm) 520x400x140mm(2.0 each)(Everyday) 5.Base Unit (Corner1095mm) (1.0 each) Blank 6.Base Unit (Drawer Basket 600mm)520x400x140mm(2.0 each)(Sparkletop) 7.(I)Base Unit (Drawwer Basket 600mm) 20X400X140mm (2.0 each)(Sparkletop) (II)Base Unit (Drawwer Basket 840mm)Blank 8.Base Unit (Drawwer Basket 550mm) 470x485x140mm(2.0 each)(Everyday) 9.(I)Base Unit(Rack 870mm) 100x485x420mm(1.0 each)(Everyday) (II)Base Unit(Rack 500mm)Blank (III)Base Unit(Rack 500mm)Blank 10.Wall Unit (Glass & Plate Rack ncludingDripTray600x300x600) 560x230x25/65mm (1.0 each)(Everyday) 11.Marble (As per site) (32.0 each)(As per site) 12.Full extention ball bering sliding telescopic (15.0 set) (Hettich) 13.Solid Shutters (6.20 sqm)(Dynasty) 14.Glass Shutter (0.40 sqm)(Dynasty) 15.Auto Closing Concealed Hinges (8.0)(Hettich) 16.Auto Closing Concealed Special Corner Hinges(1.0 each)(Hettich) 17.Handles (24.0 each) 18.Hardware (Screws counter sunk,Connect Fastners, Tags) (L.S.)As per site requirement 19.Fixing & lnstallation of the complete modular Kitchen(L.S.) " | 1 | Each
Total in Figures | [51 empty] | 680304.74 | 680304.74 | INR Six Lakh Eighty Thousand Three Hundred & Four and Paise Seventy Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information