## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house no. 341
Contract No: 14/C/D2/2022-23/03
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | item no.1 | [52 empty] | 1 | Carriage of Materials | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 2 | cum | 143.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 286 | 286 | INR Two Hundred & Eighty Six Only | 1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 2 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CEMENT CONCRETE (CAST IN SITU) | item no.4 | [52 empty] | 2 | CEMENT CONCRETE (CAST IN SITU) | item no.4
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 0.2 | cum | 6457.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1292 | 1292 | INR One Thousand Two Hundred & Ninety Two Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 0.2 | cum
2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.7 | 18.6 | sqm | 597.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11117 | 11117 | INR Eleven Thousand One Hundred & Seventeen Only | 2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.7 | 18.6 | sqm
3 | REINFORCED CEMENT CONCRETE | item no.8 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.9 | 0.16 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1504 | 1504 | INR One Thousand Five Hundred & Four Only | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.9 | 0.16 | cum
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.10 | [52 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | Shelves (Cast in situ) | item no.11 | 3.5 | sqm | 672.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2352 | 2352 | INR Two Thousand Three Hundred & Fifty Two Only | 3.03 | Shelves (Cast in situ) | item no.11 | 3.5 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.12 | [52 empty] | 3.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.12
3.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.13 | 32 | kg | 78.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2515 | 2515 | INR Two Thousand Five Hundred & Fifteen Only | 3.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.13 | 32 | kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | MASONRY WORK | item no.14 | [52 empty] | 4 | MASONRY WORK | item no.14
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.15 | [52 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.15
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.16 | 0.15 | cum | 7267.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1090 | 1090 | INR One Thousand &Ninety Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.16 | 0.15 | cum
4.03 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.17 | 32 | metre | 48.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1565 | 1565 | INR One Thousand Five Hundred & Sixty Five Only | 4.03 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.17 | 32 | metre
5 | CLADDING WORK | item no.18 | [52 empty] | 5 | CLADDING WORK | item no.18
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19 | [52 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19
5.02 | Granite stone slab colour black, Cherry/Ruby red | item no.20 | [52 empty] | 5.02 | Granite stone slab colour black, Cherry/Ruby red | item no.20
5.03 | Area of slab over 0.50 sqm | item no.21 | 2.7 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10476 | 10476 | INR Ten Thousand Four Hundred & Seventy Six Only | 5.03 | Area of slab over 0.50 sqm | item no.21 | 2.7 | sqm
5.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 10.5 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9791 | 9791 | INR Nine Thousand Seven Hundred & Ninety One Only | 5.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 10.5 | sqm
6 | WOOD AND P. V. C. WORK | item no.23 | [52 empty] | 6 | WOOD AND P. V. C. WORK | item no.23
6.01 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.24 | [52 empty] | 6.01 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.24
6.02 | Second class teak wood | item no.25 | [52 empty] | 6.02 | Second class teak wood | item no.25
6.03 | 35 mm thick | item no.26 | 6.2 | sqm | 3909.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24237 | 24237 | INR Twenty Four Thousand Two Hundred & Thirty Seven Only | 6.03 | 35 mm thick | item no.26 | 6.2 | sqm
6.04 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.27 | [52 empty] | 6.04 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.27
6.05 | 250x16 mm | item no.28 | 2 | each | 145.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 291 | 291 | INR Two Hundred & Ninety One Only | 6.05 | 250x16 mm | item no.28 | 2 | each
6.06 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.29 | [52 empty] | 6.06 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.29
6.07 | 200x10 mm | item no.30 | 1 | each | 53.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54 | 54 | INR Fifty Four Only | 6.07 | 200x10 mm | item no.30 | 1 | each
6.08 | 150x10 mm | item no.31 | 1 | each | 46.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47 | 47 | INR Forty Seven Only | 6.08 | 150x10 mm | item no.31 | 1 | each
6.09 | 100x10 mm | item no.32 | 12 | each | 34.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 411 | 411 | INR Four Hundred & Eleven Only | 6.09 | 100x10 mm | item no.32 | 12 | each
6.1 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.33 | [52 empty] | 6.1 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.33
6.11 | 125 mm | item no.34 | 2 | each | 30.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62 | 62 | INR Sixty Two Only | 6.11 | 125 mm | item no.34 | 2 | each
6.12 | 100 mm | item no.35 | 12 | each | 24.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 297 | 297 | INR Two Hundred & Ninety Seven Only | 6.12 | 100 mm | item no.35 | 12 | each
6.13 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.36 | [52 empty] | 6.13 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.36
6.14 | Twin rubber stopper | item no.37 | 8 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 437 | 437 | INR Four Hundred & Thirty Seven Only | 6.14 | Twin rubber stopper | item no.37 | 8 | each
6.15 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.38 | [52 empty] | 6.15 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.38
6.16 | With 2nd class teak wood beading 62X19 mm | item no.39 | 11.6 | sqm | 1231.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14283 | 14283 | INR Fourteen Thousand Two Hundred & Eighty Three Only | 6.16 | With 2nd class teak wood beading 62X19 mm | item no.39 | 11.6 | sqm
7 | STEEL WORK | item no.40 | [52 empty] | 7 | STEEL WORK | item no.40
7.01 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.41 | [52 empty] | 7.01 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.41
7.02 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.42 | 1.5 | sqm | 4192.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6288 | 6288 | INR Six Thousand Two Hundred & Eighty Eight Only | 7.02 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.42 | 1.5 | sqm
7.03 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.43 | [52 empty] | 7.03 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.43
7.04 | In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | item no.44 | 52 | kg | 89.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4662 | 4662 | INR Four Thousand Six Hundred & Sixty Two Only | 7.04 | In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | item no.44 | 52 | kg
8 | FLOORING | item no.45 | [52 empty] | 8 | FLOORING | item no.45
8.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.46 | [52 empty] | 8.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.46
8.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.47 | 38 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18159 | 18159 | INR Eighteen Thousand One Hundred & Fifty Nine Only | 8.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.47 | 38 | sqm
8.03 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.48 | [52 empty] | 8.03 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.48
8.04 | 40 mm wide and 4 mm thick | item no.49 | 52 | metre | 69.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3624 | 3624 | INR Three Thousand Six Hundred & Twenty Four Only | 8.04 | 40 mm wide and 4 mm thick | item no.49 | 52 | metre
8.05 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.50 | 3.1 | sqm | 822.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2551 | 2551 | INR Two Thousand Five Hundred & Fifty One Only | 8.05 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.50 | 3.1 | sqm
8.06 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.51 | [52 empty] | 8.06 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.51
8.07 | Double charge vitrified tile polished finish of size | item no.52 | [52 empty] | 8.07 | Double charge vitrified tile polished finish of size | item no.52
8.08 | Size of Tile 600 x 600 mm | item no.53 | 80.83 | sqm | 1128.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91184 | 91184 | INR Ninety One Thousand One Hundred & Eighty Four Only | 8.08 | Size of Tile 600 x 600 mm | item no.53 | 80.83 | sqm
8.09 | Glazed Vitrified tiles Matt/Antiskid finish of size | item no.54 | [52 empty] | 8.09 | Glazed Vitrified tiles Matt/Antiskid finish of size | item no.54
8.1 | Size of Tile 600 x 600 mm | item no.55 | 6.5 | sqm | 1149.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7472 | 7472 | INR Seven Thousand Four Hundred & Seventy Two Only | 8.1 | Size of Tile 600 x 600 mm | item no.55 | 6.5 | sqm
8.11 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.56 | [52 empty] | 8.11 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.56
8.12 | Size of Tile 600x600 mm | item no.57 | 8.4 | sqm | 1285.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10801 | 10801 | INR Ten Thousand Eight Hundred & One Only | 8.12 | Size of Tile 600x600 mm | item no.57 | 8.4 | sqm
9 | FINISHING | item no.58 | [52 empty] | 9 | FINISHING | item no.58
9.01 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.59 | [52 empty] | 9.01 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.59
9.02 | 1:4 (1 cement: 4 fine sand) | item no.60 | 38 | sqm | 316.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12038 | 12038 | INR Twelve Thousand &Thirty Eight Only | 9.02 | 1:4 (1 cement: 4 fine sand) | item no.60 | 38 | sqm
9.03 | 6 mm cement plaster of mix : | item no.61 | [52 empty] | 9.03 | 6 mm cement plaster of mix : | item no.61
9.04 | 1:3 (1 cement : 3 fine sand) | item no.62 | 3.2 | sqm | 221.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 710 | 710 | INR Seven Hundred & Ten Only | 9.04 | 1:3 (1 cement : 3 fine sand) | item no.62 | 3.2 | sqm
9.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.63 | [52 empty] | 9.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.63
9.06 | Two or more coats on new work | item no.64 | 223 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18134 | 18134 | INR Eighteen Thousand One Hundred & Thirty Four Only | 9.06 | Two or more coats on new work | item no.64 | 223 | sqm
9.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.65 | [52 empty] | 9.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.65
9.08 | Two or more coats on new work | item no.66 | 6.9 | sqm | 115.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 795 | 795 | INR Seven Hundred & Ninety Five Only | 9.08 | Two or more coats on new work | item no.66 | 6.9 | sqm
9.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.67 | [52 empty] | 9.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.67
9.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.68 | 14 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2349 | 2349 | INR Two Thousand Three Hundred & Forty Nine Only | 9.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.68 | 14 | sqm
9.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.69 | 223 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24216 | 24216 | INR Twenty Four Thousand Two Hundred & Sixteen Only | 9.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.69 | 223 | sqm
9.12 | White washing with lime to give an even shade : | item no.70 | [52 empty] | 9.12 | White washing with lime to give an even shade : | item no.70
9.13 | Old work (two or more coats) | item no.71 | 97 | sqm | 16.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1615 | 1615 | INR One Thousand Six Hundred & Fifteen Only | 9.13 | Old work (two or more coats) | item no.71 | 97 | sqm
9.14 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.72 | 97 | sqm | 14.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1390 | 1390 | INR One Thousand Three Hundred & Ninety Only | 9.14 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.72 | 97 | sqm
9.15 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.73 | [52 empty] | 9.15 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.73
9.16 | Old work (one or more coats) | item no.74 | 58 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2888 | 2888 | INR Two Thousand Eight Hundred & Eighty Eight Only | 9.16 | Old work (one or more coats) | item no.74 | 58 | sqm
9.17 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.75 | 223 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4076 | 4076 | INR Four Thousand &Seventy Six Only | 9.17 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.75 | 223 | sqm
9.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.76 | [52 empty] | 9.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.76
9.19 | One or more coats on old work | item no.77 | 45 | sqm | 75.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3415 | 3415 | INR Three Thousand Four Hundred & Fifteen Only | 9.19 | One or more coats on old work | item no.77 | 45 | sqm
10 | REPAIRS TO BUILDING | item no.78 | [52 empty] | 10 | REPAIRS TO BUILDING | item no.78
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.79 | [52 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.79
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.80 | 10.2 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4275 | 4275 | INR Four Thousand Two Hundred & Seventy Five Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.80 | 10.2 | sqm
10.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.81 | 124 | sqm | 2.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 309 | 309 | INR Three Hundred & Nine Only | 10.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.81 | 124 | sqm
10.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.82 | 8 | each | 285.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2286 | 2286 | INR Two Thousand Two Hundred & Eighty Six Only | 10.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.82 | 8 | each
11 | Dismantling and Demolishing | item no.83 | [52 empty] | 11 | Dismantling and Demolishing | item no.83
11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.84 | [52 empty] | 11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.84
11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.85 | 0.12 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 211 | 211 | INR Two Hundred & Eleven Only | 11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.85 | 0.12 | cum
11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.86 | 0.3 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 326 | 326 | INR Three Hundred & Twenty Six Only | 11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.86 | 0.3 | cum
11.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.87 | 0.51 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1309 | 1309 | INR One Thousand Three Hundred & Nine Only | 11.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.87 | 0.51 | cum
11.05 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. | item no.88 | 0.5 | sqm | 830.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 415 | 415 | INR Four Hundred & Fifteen Only | 11.05 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. | item no.88 | 0.5 | sqm
11.06 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.89 | [52 empty] | 11.06 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.89
11.07 | In cement mortar | item no.90 | 0.1 | cum | 1489.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149 | 149 | INR One Hundred & Forty Nine Only | 11.07 | In cement mortar | item no.90 | 0.1 | cum
11.08 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.91 | [52 empty] | 11.08 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.91
11.09 | Of area 3 sq. metres and below | item no.92 | 5 | each | 265.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1327 | 1327 | INR One Thousand Three Hundred & Twenty Seven Only | 11.09 | Of area 3 sq. metres and below | item no.92 | 5 | each
11.1 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.93 | [52 empty] | 11.1 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.93
11.11 | Of area 3 sq. metres and below | item no.94 | 11 | each | 103.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1141 | 1141 | INR One Thousand One Hundred & Forty One Only | 11.11 | Of area 3 sq. metres and below | item no.94 | 11 | each
11.12 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.95 | 46 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1817 | 1817 | INR One Thousand Eight Hundred & Seventeen Only | 11.12 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.95 | 46 | sqm
12 | SANITARY INSTALLATIONS | item no.96 | [52 empty] | 12 | SANITARY INSTALLATIONS | item no.96
12.01 | Providing and fixing white vitreous china water closet squatting pan (Indian type) : | item no.97 | [52 empty] | 12.01 | Providing and fixing white vitreous china water closet squatting pan (Indian type) : | item no.97
12.02 | Long pattern W.C. pan of size 580 mm | item no.98 | 1 | each | 1462.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1462 | 1462 | INR One Thousand Four Hundred & Sixty Two Only | 12.02 | Long pattern W.C. pan of size 580 mm | item no.98 | 1 | each
12.03 | Providing and fixing white vitreous china pedestal type (European type/ wash down type) water closet pan. | item no.99 | 1 | each | 2107.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2108 | 2108 | INR Two Thousand One Hundred & Eight Only | 12.03 | Providing and fixing white vitreous china pedestal type (European type/ wash down type) water closet pan. | item no.99 | 1 | each
12.04 | Providing and fixing solid plastic seat with lid for pedestal type W.C. pan complete : | item no.100 | [52 empty] | 12.04 | Providing and fixing solid plastic seat with lid for pedestal type W.C. pan complete : | item no.100
12.05 | White solid plastic seat with lid | item no.101 | 2 | each | 514.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1029 | 1029 | INR One Thousand &Twenty Nine Only | 12.05 | White solid plastic seat with lid | item no.101 | 2 | each
12.06 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.102 | [52 empty] | 12.06 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.102
12.07 | Flat back wash basin of size 550x400 mm | item no.103 | 1 | each | 802.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 803 | 803 | INR Eight Hundred & Three Only | 12.07 | Flat back wash basin of size 550x400 mm | item no.103 | 1 | each
12.08 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.104 | 2 | each | 1237.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2475 | 2475 | INR Two Thousand Four Hundred & Seventy Five Only | 12.08 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.104 | 2 | each
12.09 | Providing and fixing soil, waste and vent pipes : | item no.105 | [52 empty] | 12.09 | Providing and fixing soil, waste and vent pipes : | item no.105
12.1 | 100 mm dia | item no.106 | [52 empty] | 12.1 | 100 mm dia | item no.106
12.11 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item no.107 | 1.8 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1700 | 1700 | INR One Thousand Seven Hundred Only | 12.11 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item no.107 | 1.8 | metre
12.12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.108 | [52 empty] | 12.12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.108
12.13 | 100 mm dia | item no.109 | [52 empty] | 12.13 | 100 mm dia | item no.109
12.14 | Sand cast iron S&S as per IS - 3989 | item no.110 | 1 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 524 | 524 | INR Five Hundred & Twenty Four Only | 12.14 | Sand cast iron S&S as per IS - 3989 | item no.110 | 1 | each
12.15 | Providing and fixing plain bend of required degree. | item no.111 | [52 empty] | 12.15 | Providing and fixing plain bend of required degree. | item no.111
12.16 | 100 mm dia | item no.112 | [52 empty] | 12.16 | 100 mm dia | item no.112
12.17 | Sand cast iron S&S as per IS : 3989 | item no.113 | 1 | each | 385.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 386 | 386 | INR Three Hundred & Eighty Six Only | 12.17 | Sand cast iron S&S as per IS : 3989 | item no.113 | 1 | each
12.18 | Providing and fixing collar : | item no.114 | [52 empty] | 12.18 | Providing and fixing collar : | item no.114
12.19 | 100 mm | item no.115 | [52 empty] | 12.19 | 100 mm | item no.115
12.2 | Sand cast iron S&S as per IS - 1729 | item no.116 | 1 | each | 350.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 350 | 350 | INR Three Hundred & Fifty Only | 12.2 | Sand cast iron S&S as per IS - 1729 | item no.116 | 1 | each
12.21 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.117 | [52 empty] | 12.21 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.117
12.22 | 100 mm | item no.118 | 2 | each | 481.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 964 | 964 | INR Nine Hundred & Sixty Four Only | 12.22 | 100 mm | item no.118 | 2 | each
12.23 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.119 | [52 empty] | 12.23 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.119
12.24 | 100 mm inlet and 100 mm outlet | item no.120 | [52 empty] | 12.24 | 100 mm inlet and 100 mm outlet | item no.120
12.25 | Sand cast iron S&S as per IS: 3989 | item no.121 | 1 | each | 1406.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1406 | 1406 | INR One Thousand Four Hundred & Six Only | 12.25 | Sand cast iron S&S as per IS: 3989 | item no.121 | 1 | each
13 | WATER SUPPLY | item no.122 | [52 empty] | 13 | WATER SUPPLY | item no.122
13.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.123 | [52 empty] | 13.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.123
13.02 | 20 mm nominal dia Pipes | item no.124 | 0.5 | metre | 285.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 143 | 143 | INR One Hundred & Forty Three Only | 13.02 | 20 mm nominal dia Pipes | item no.124 | 0.5 | metre
13.03 | 32 mm nominal dia Pipes | item no.125 | 0.8 | metre | 439.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 351 | 351 | INR Three Hundred & Fifty One Only | 13.03 | 32 mm nominal dia Pipes | item no.125 | 0.8 | metre
13.04 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | item no.126 | [52 empty] | 13.04 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | item no.126
13.05 | 20 mm nominal dia Pipes | item no.127 | 1.2 | metre | 450.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 541 | 541 | INR Five Hundred & Forty One Only | 13.05 | 20 mm nominal dia Pipes | item no.127 | 1.2 | metre
13.06 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.128 | [52 empty] | 13.06 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.128
13.07 | 45 cm length | item no.129 | [52 empty] | 13.07 | 45 cm length | item no.129
13.08 | 15 mm nominal bore | item no.130 | 4 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 299 | 299 | INR Two Hundred & Ninety Nine Only | 13.08 | 15 mm nominal bore | item no.130 | 4 | each
13.09 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.131 | [52 empty] | 13.09 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.131
13.1 | 15 mm nominal bore | item no.132 | 1 | each | 626.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 627 | 627 | INR Six Hundred & Twenty Seven Only | 13.1 | 15 mm nominal bore | item no.132 | 1 | each
13.11 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.133 | [52 empty] | 13.11 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.133
13.12 | 15mm nominal bore | item no.134 | 6 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2632 | 2632 | INR Two Thousand Six Hundred & Thirty Two Only | 13.12 | 15mm nominal bore | item no.134 | 6 | each
13.13 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.135 | 6 | each | 54.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 325 | 325 | INR Three Hundred & Twenty Five Only | 13.13 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.135 | 6 | each
13.14 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.136 | [52 empty] | 13.14 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.136
13.15 | With common burnt clay F.P.S. (non modular) bricks | item no.137 | 2 | each | 317.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 636 | 636 | INR Six Hundred & Thirty Six Only | 13.15 | With common burnt clay F.P.S. (non modular) bricks | item no.137 | 2 | each
13.16 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.138 | 8.5 | metre | 150.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1280 | 1280 | INR One Thousand Two Hundred & Eighty Only | 13.16 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.138 | 8.5 | metre
14 | ALUMINIUM WORK | item no.139 | [52 empty] | 14 | ALUMINIUM WORK | item no.139
14.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.140 | [52 empty] | 14.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.140
14.02 | For fixed portion | item no.141 | [52 empty] | 14.02 | For fixed portion | item no.141
14.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.142 | 96.5 | kg | 408.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39454 | 39454 | INR Thirty Nine Thousand Four Hundred & Fifty Four Only | 14.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.142 | 96.5 | kg
14.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.143 | [52 empty] | 14.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.143
14.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.144 | 149 | kg | 495.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73788 | 73788 | INR Seventy Three Thousand Seven Hundred & Eighty Eight Only | 14.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.144 | 149 | kg
14.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.145 | [52 empty] | 14.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.145
14.07 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.146 | 3.22 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3742 | 3742 | INR Three Thousand Seven Hundred & Forty Two Only | 14.07 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.146 | 3.22 | sqm
14.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | item no.147 | [52 empty] | 14.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | item no.147
14.09 | 255 X 19 mm | item no.148 | 20 | each | 288.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5773 | 5773 | INR Five Thousand Seven Hundred & Seventy Three Only | 14.09 | 255 X 19 mm | item no.148 | 20 | each
15 | NEW TECHNOLOGIES AND MATERIALS | item no.149 | [52 empty] | 15 | NEW TECHNOLOGIES AND MATERIALS | item no.149
15.01 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.150 | [52 empty] | 15.01 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.150
15.02 | 25 mm average thickness | item no.151 | 11 | sqm | 91.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1009 | 1009 | INR One Thousand &Nine Only | 15.02 | 25 mm average thickness | item no.151 | 11 | sqm
15.03 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | item no.152 | [52 empty] | 15.03 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | item no.152
15.04 | Bars upto 12 mm diameter | item no.153 | 200 | metre | 5.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1166 | 1166 | INR One Thousand One Hundred & Sixty Six Only | 15.04 | Bars upto 12 mm diameter | item no.153 | 200 | metre
15.05 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | item no.154 | [52 empty] | 15.05 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | item no.154
15.06 | 25 mm average thickness in 2 layers. | item no.155 | 11 | sqm | 447.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4924 | 4924 | INR Four Thousand Nine Hundred & Twenty Four Only | 15.06 | 25 mm average thickness in 2 layers. | item no.155 | 11 | sqm
16 | MINOR CIVIL MAINTENANCE WORK | item no.156 | [52 empty] | 16 | MINOR CIVIL MAINTENANCE WORK | item no.156
16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.157 | 0.45 | Cum | 4985.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2244 | 2244 | INR Two Thousand Two Hundred & Forty Four Only | 16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.157 | 0.45 | Cum
16.02 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.158 | 4 | Each | 51.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 206 | 206 | INR Two Hundred & Six Only | 16.02 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.158 | 4 | Each
16.03 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.159 | 9 | Each | 29.32 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 264 | 264 | INR Two Hundred & Sixty Four Only | 16.03 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.159 | 9 | Each
16.04 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.160 | 1 | Each | 504.43 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 504 | 504 | INR Five Hundred & Four Only | 16.04 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.160 | 1 | Each
16.05 | """Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." | item no.161 | 1.8 | Sqm | 1972.2 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3550 | 3550 | INR Three Thousand Five Hundred & Fifty Only | 16.05 | """Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." | item no.161 | 1.8 | Sqm
16.06 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.162 | 9.5 | Sqm | 155.8 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1480 | 1480 | INR One Thousand Four Hundred & Eighty Only | 16.06 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.162 | 9.5 | Sqm
16.07 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.163 | 1 | Each | 293.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293 | 293 | INR Two Hundred & Ninety Three Only | 16.07 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.163 | 1 | Each
16.08 | "Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only " | item no.164 | 1 | Each | 2053.04 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2053 | 2053 | INR Two Thousand &Fifty Three Only | 16.08 | "Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only " | item no.164 | 1 | Each
16.09 | "Providing and fixing aluminum door seal in door i/c necessary screw etc complete. " | item no.165 | 2 | Metre | 181.85 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 364 | 364 | INR Three Hundred & Sixty Four Only | 16.09 | "Providing and fixing aluminum door seal in door i/c necessary screw etc complete. " | item no.165 | 2 | Metre
16.1 | "Providing and fixing of ""I hook"" of with ISI marked M.S. pressed butt hinges bright finished of required size. " | item no.166 | 10 | Each | 32.83 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 328 | 328 | INR Three Hundred & Twenty Eight Only | 16.1 | "Providing and fixing of ""I hook"" of with ISI marked M.S. pressed butt hinges bright finished of required size. " | item no.166 | 10 | Each
16.11 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.167 | 2 | Each | 815.75 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1632 | 1632 | INR One Thousand Six Hundred & Thirty Two Only | 16.11 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.167 | 2 | Each
16.12 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. " | item no.168 | 1 | One Job | 99931.6 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 99932 | 99932 | INR Ninety Nine Thousand Nine Hundred & Thirty Two Only | 16.12 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. " | item no.168 | 1 | One Job
16.13 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | item no.169 | 36 | Each | 325.21 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11708 | 11708 | INR Eleven Thousand Seven Hundred & Eight Only | 16.13 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | item no.169 | 36 | Each
Total in Figures | [51 empty] | 586494 | 586494 | Five Lakh Eighty Six Thousand Four Hundred & Ninety Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information