## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Annual repairing painting white washing of house no 609 with Servant Quarter and Garage.
Contract No: 37/C/D2/2022-23/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | REINFORCED CEMENT CONCRETE | item no.1 | [52 empty] | 1 | REINFORCED CEMENT CONCRETE | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.2 | 0.1 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 940 | 940 | INR Nine Hundred & Forty Only | 1.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.2 | 0.1 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.3 | [52 empty] | 1.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Shelves (Cast in situ) | item no.4 | 1 | sqm | 672.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 672 | 672 | INR Six Hundred & Seventy Two Only | 1.03 | Shelves (Cast in situ) | item no.4 | 1 | sqm
1.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.5 | [52 empty] | 1.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.5
1.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.6 | 20 | kg | 78.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1572 | 1572 | INR One Thousand Five Hundred & Seventy Two Only | 1.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.6 | 20 | kg
2 | MASONRY WORK | item no.7 | [52 empty] | 2 | MASONRY WORK | item no.7
2.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.8 | [52 empty] | 2.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.9 | 0.25 | cum | 7267.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1817 | 1817 | INR One Thousand Eight Hundred & Seventeen Only | 2.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.9 | 0.25 | cum
2.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.10 | [52 empty] | 2.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.11 | 0.5 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 446 | 446 | INR Four Hundred & Forty Six Only | 2.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.11 | 0.5 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | WOOD AND P. V. C. WORK | item no.12 | [52 empty] | 3 | WOOD AND P. V. C. WORK | item no.12
3.01 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.13 | [52 empty] | 3.01 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.13 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.02 | With 2nd class teak wood beading 62X19 mm | item no.14 | 2.23 | sqm | 1231.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2746 | 2746 | INR Two Thousand Seven Hundred & Forty Six Only | 3.02 | With 2nd class teak wood beading 62X19 mm | item no.14 | 2.23 | sqm
4 | STEEL WORK | item no.15 | [52 empty] | 4 | STEEL WORK | item no.15
4.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.16 | [52 empty] | 4.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.16
4.02 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.17 | 20 | kg | 124.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2495 | 2495 | INR Two Thousand Four Hundred & Ninety Five Only | 4.02 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.17 | 20 | kg
5 | FLOORING | item no.18 | [52 empty] | 5 | FLOORING | item no.18
5.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.19 | [52 empty] | 5.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.19
5.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.20 | 12 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5734 | 5734 | INR Five Thousand Seven Hundred & Thirty Four Only | 5.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.20 | 12 | sqm
5.03 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.21 | [52 empty] | 5.03 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.21
5.04 | 18 mm thick | item no.22 | 1.5 | sqm | 500.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 751 | 751 | INR Seven Hundred & Fifty One Only | 5.04 | 18 mm thick | item no.22 | 1.5 | sqm
6 | FINISHING | item no.23 | [52 empty] | 6 | FINISHING | item no.23
6.01 | 12 mm cement plaster of mix : | item no.24 | [52 empty] | 6.01 | 12 mm cement plaster of mix : | item no.24
6.02 | 1:6 (1 cement: 6 coarse sand) | item no.25 | 4 | sqm | 258.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1032 | 1032 | INR One Thousand &Thirty Two Only | 6.02 | 1:6 (1 cement: 6 coarse sand) | item no.25 | 4 | sqm
6.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.26 | [52 empty] | 6.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.26
6.04 | 1:6 (1 cement: 6 coarse sand) | item no.27 | 4 | sqm | 297.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1189 | 1189 | INR One Thousand One Hundred & Eighty Nine Only | 6.04 | 1:6 (1 cement: 6 coarse sand) | item no.27 | 4 | sqm
6.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.28 | [52 empty] | 6.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.28
6.06 | 1:4 (1 cement: 4 fine sand) | item no.29 | 1 | sqm | 356.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356 | 356 | INR Three Hundred & Fifty Six Only | 6.06 | 1:4 (1 cement: 4 fine sand) | item no.29 | 1 | sqm
6.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.30 | [52 empty] | 6.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.30
6.08 | Two or more coats on new work | item no.31 | 95 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7725 | 7725 | INR Seven Thousand Seven Hundred & Twenty Five Only | 6.08 | Two or more coats on new work | item no.31 | 95 | sqm
6.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.32 | 95 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10316 | 10316 | INR Ten Thousand Three Hundred & Sixteen Only | 6.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.32 | 95 | sqm
6.1 | White washing with lime to give an even shade : | item no.33 | [52 empty] | 6.1 | White washing with lime to give an even shade : | item no.33
6.11 | Old work (two or more coats) | item no.34 | 316 | sqm | 16.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5261 | 5261 | INR Five Thousand Two Hundred & Sixty One Only | 6.11 | Old work (two or more coats) | item no.34 | 316 | sqm
6.12 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.35 | 316 | sqm | 14.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4528 | 4528 | INR Four Thousand Five Hundred & Twenty Eight Only | 6.12 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.35 | 316 | sqm
6.13 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.36 | [52 empty] | 6.13 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.36
6.14 | Old work (one or more coats) | item no.37 | 406 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20219 | 20219 | INR Twenty Thousand Two Hundred & Nineteen Only | 6.14 | Old work (one or more coats) | item no.37 | 406 | sqm
6.15 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.38 | 95 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1737 | 1737 | INR One Thousand Seven Hundred & Thirty Seven Only | 6.15 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.38 | 95 | sqm
6.16 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.39 | [52 empty] | 6.16 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.39
6.17 | One or more coats on old work | item no.40 | 305 | sqm | 75.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23143 | 23143 | INR Twenty Three Thousand One Hundred & Forty Three Only | 6.17 | One or more coats on old work | item no.40 | 305 | sqm
7 | REPAIRS TO BUILDING | item no.41 | [52 empty] | 7 | REPAIRS TO BUILDING | item no.41
7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.42 | [52 empty] | 7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.42
7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.43 | 10 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4191 | 4191 | INR Four Thousand One Hundred & Ninety One Only | 7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.43 | 10 | sqm
7.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.44 | 12 | sqm | 2.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30 | 30 | INR Thirty Only | 7.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.44 | 12 | sqm
8 | Dismantling and Demolishing | item no.45 | [52 empty] | 8 | Dismantling and Demolishing | item no.45
8.01 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.46 | 0.2 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 513 | 513 | INR Five Hundred & Thirteen Only | 8.01 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.46 | 0.2 | cum
8.02 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.47 | [52 empty] | 8.02 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.47
8.03 | Of area 3 sq. metres and below | item no.48 | 1 | each | 265.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 265 | 265 | INR Two Hundred & Sixty Five Only | 8.03 | Of area 3 sq. metres and below | item no.48 | 1 | each
8.04 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.49 | 2 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79 | 79 | INR Seventy Nine Only | 8.04 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.49 | 2 | sqm
8.05 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.50 | 1.5 | cum | 192.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 288 | 288 | INR Two Hundred & Eighty Eight Only | 8.05 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.50 | 1.5 | cum
9 | ALUMINIUM WORK | item no.51 | [52 empty] | 9 | ALUMINIUM WORK | item no.51
9.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.52 | [52 empty] | 9.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.52
9.02 | For fixed portion | item no.53 | [52 empty] | 9.02 | For fixed portion | item no.53
9.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.54 | 15 | kg | 408.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6133 | 6133 | INR Six Thousand One Hundred & Thirty Three Only | 9.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.54 | 15 | kg
9.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.55 | [52 empty] | 9.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.55
9.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.56 | 38 | kg | 495.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18818 | 18818 | INR Eighteen Thousand Eight Hundred & Eighteen Only | 9.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.56 | 38 | kg
9.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.57 | [52 empty] | 9.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.57
9.07 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | item no.58 | 2.23 | sqm | 894.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1994 | 1994 | INR One Thousand Nine Hundred & Ninety Four Only | 9.07 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | item no.58 | 2.23 | sqm
9.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | item no.59 | [52 empty] | 9.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | item no.59
9.09 | 255 X 19 mm | item no.60 | 6 | each | 288.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1732 | 1732 | INR One Thousand Seven Hundred & Thirty Two Only | 9.09 | 255 X 19 mm | item no.60 | 6 | each
10 | NEW TECHNOLOGIES AND MATERIALS | item no.61 | [52 empty] | 10 | NEW TECHNOLOGIES AND MATERIALS | item no.61
10.01 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.62 | [52 empty] | 10.01 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.62
10.02 | 25 mm average thickness | item no.63 | 5 | sqm | 91.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 459 | 459 | INR Four Hundred & Fifty Nine Only | 10.02 | 25 mm average thickness | item no.63 | 5 | sqm
10.03 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | item no.64 | [52 empty] | 10.03 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | item no.64
10.04 | Bars upto 12 mm diameter | item no.65 | 100 | metre | 5.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 583 | 583 | INR Five Hundred & Eighty Three Only | 10.04 | Bars upto 12 mm diameter | item no.65 | 100 | metre
10.05 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.66 | [52 empty] | 10.05 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.66
10.06 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.67 | 5 | sqm | 342.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1712 | 1712 | INR One Thousand Seven Hundred & Twelve Only | 10.06 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.67 | 5 | sqm
11 | MINOR CIVIL MAINTENANCE WORK | item no.68 | [52 empty] | 11 | MINOR CIVIL MAINTENANCE WORK | item no.68
11.01 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | item no.69 | 6 | Each | 325.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1951 | 1951 | INR One Thousand Nine Hundred & Fifty One Only | 11.01 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | item no.69 | 6 | Each
Total in Figures | [51 empty] | 131427 | 131427 | One Lakh Thirty One Thousand Four Hundred & Twenty Seven Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information