## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Conversion of washroom into gents toilet near mess of hall-4
Contract No: 40/C/D3/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | [53 empty] | 1 | EARTH WORK
1.01 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 1.01 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.02 | All kinds of soil | [53 empty] | 1.02 | All kinds of soil
1.03 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia |  | 4 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1463.76 | 1463.76 | INR One Thousand Four Hundred & Sixty Three and Paise Seventy Six Only | 1.03 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | 4 | metre
2 | CEMENT CONCRETE (CAST IN SITU) | [53 empty] | 2 | CEMENT CONCRETE (CAST IN SITU)
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.15 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 968.67 | 968.67 | INR Nine Hundred & Sixty Eight and Paise Sixty Seven Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 0.15 | cum
2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 3.75 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2241.3 | 2241.3 | INR Two Thousand Two Hundred & Forty One and Paise Thirty Only | 2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 3.75 | sqm
3 | REINFORCED CEMENT CONCRETE | [53 empty] | 3 | REINFORCED CEMENT CONCRETE
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.25 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2349.69 | 2349.69 | INR Two Thousand Three Hundred & Forty Nine and Paise Sixty Nine Only | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.25 | cum
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for
3.03 | Lintels, beams, plinth beams, girders, bressumers and cantilevers |  | 1.75 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 933.47 | 933.47 | INR Nine Hundred & Thirty Three and Paise Forty Seven Only | 3.03 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 1.75 | sqm
3.04 | Providing, hoisting and fixing up to floor five level precast reinforced cement concrete in small lintels not exceeding 1.5m clear span up to floor five level, including the cost of required centering, shuttering but , excluding the cost of reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.12 | cum | 11908.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1429.04 | 1429.04 | INR One Thousand Four Hundred & Twenty Nine and Paise Four Only | 3.04 | Providing, hoisting and fixing up to floor five level precast reinforced cement concrete in small lintels not exceeding 1.5m clear span up to floor five level, including the cost of required centering, shuttering but , excluding the cost of reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.12 | cum
3.05 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 3.05 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
3.06 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 50 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3930.5 | 3930.5 | INR Three Thousand Nine Hundred & Thirty and Paise Fifty Only | 3.06 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 50 | kg
4 | MASONRY WORK | [53 empty] | 4 | MASONRY WORK
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 0.15 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1090.1 | 1090.1 | INR One Thousand &Ninety and Paise Ten Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 0.15 | cum
4.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 4.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
4.04 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 4.1 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3659.78 | 3659.78 | INR Three Thousand Six Hundred & Fifty Nine and Paise Seventy Eight Only | 4.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | 4.1 | sqm
4.05 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 6 | metre | 48.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293.58 | 293.58 | INR Two Hundred & Ninety Three and Paise Fifty Eight Only | 4.05 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 6 | metre
5 | CLADDING WORK | [53 empty] | 5 | CLADDING WORK
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | [53 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
5.02 | Granite stone slab colour black, Cherry/Ruby red | [53 empty] | 5.02 | Granite stone slab colour black, Cherry/Ruby red
5.03 | Area of slab upto 0.50 sqm |  | 0.75 | sqm | 4102.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3077.17 | 3077.17 | INR Three Thousand &Seventy Seven and Paise Seventeen Only | 5.03 | Area of slab upto 0.50 sqm | 0.75 | sqm
5.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | [53 empty] | 5.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
5.05 | Granite work |  | 1.6 | metre | 367.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 587.6 | 587.6 | INR Five Hundred & Eighty Seven and Paise Sixty Only | 5.05 | Granite work | 1.6 | metre
5.06 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. |  | 1 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 708.59 | 708.59 | INR Seven Hundred & Eight and Paise Fifty Nine Only | 5.06 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1 | each
5.07 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 36 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33567.84 | 33567.84 | INR Thirty Three Thousand Five Hundred & Sixty Seven and Paise Eighty Four Only | 5.07 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 36 | sqm
6 | WOOD AND P. V. C. WORK | [53 empty] | 6 | WOOD AND P. V. C. WORK
6.01 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. |  | 1 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 899.3 | 899.3 | INR Eight Hundred & Ninety Nine and Paise Thirty Only | 6.01 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 1 | each
6.02 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 6.02 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
6.03 | 200x10 mm |  | 4 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 318.44 | 318.44 | INR Three Hundred & Eighteen and Paise Forty Four Only | 6.03 | 200x10 mm | 4 | each
6.04 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 6.04 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
6.05 | 125 mm |  | 6 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 315.9 | 315.9 | INR Three Hundred & Fifteen and Paise Ninety Only | 6.05 | 125 mm | 6 | each
6.06 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | [53 empty] | 6.06 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge
6.07 | Extruded section profile size 48x40 mm |  | 10 | metre | 203.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2039 | 2039 | INR Two Thousand &Thirty Nine Only | 6.07 | Extruded section profile size 48x40 mm | 10 | metre
6.08 | Providing and fixing to existing door frames. | [53 empty] | 6.08 | Providing and fixing to existing door frames.
6.09 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). |  | 3 | sqm | 1570.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4710.18 | 4710.18 | INR Four Thousand Seven Hundred & Ten and Paise Eighteen Only | 6.09 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 3 | sqm
7 | STEEL WORK | [53 empty] | 7 | STEEL WORK
7.01 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | [53 empty] | 7.01 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer.
7.02 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). |  | 20 | kg | 100.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2010.6 | 2010.6 | INR Two Thousand &Ten and Paise Sixty Only | 7.02 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | 20 | kg
8 | FLOORING | [53 empty] | 8 | FLOORING
8.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. |  | 8 | sqm | 820.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6562.72 | 6562.72 | INR Six Thousand Five Hundred & Sixty Two and Paise Seventy Two Only | 8.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 8 | sqm
9 | FINISHING | [53 empty] | 9 | FINISHING
9.01 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | [53 empty] | 9.01 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand):
9.02 | Flush / Ruled/ Struck or weathered pointing |  | 3 | sqm | 187.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 563.97 | 563.97 | INR Five Hundred & Sixty Three and Paise Ninety Seven Only | 9.02 | Flush / Ruled/ Struck or weathered pointing | 3 | sqm
9.03 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | [53 empty] | 9.03 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade :
9.04 | Old work (one or more coats) |  | 15 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 747 | 747 | INR Seven Hundred & Forty Seven Only | 9.04 | Old work (one or more coats) | 15 | sqm
9.05 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 9.05 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
9.06 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 15 | sqm | 95.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1428.3 | 1428.3 | INR One Thousand Four Hundred & Twenty Eight and Paise Thirty Only | 9.06 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 15 | sqm
10 | REPAIRS TO BUILDING | [53 empty] | 10 | REPAIRS TO BUILDING
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 1 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 419.11 | 419.11 | INR Four Hundred & Nineteen and Paise Eleven Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | 1 | sqm
11 | Dismantling and Demolishing | [53 empty] | 11 | Dismantling and Demolishing
11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
11.02 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 1 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1086.89 | 1086.89 | INR One Thousand &Eighty Six and Paise Eighty Nine Only | 11.02 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 1 | cum
11.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 0.15 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 385.11 | 385.11 | INR Three Hundred & Eighty Five and Paise Eleven Only | 11.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 0.15 | cum
11.04 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. |  | 0.3 | sqm | 830.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 249.13 | 249.13 | INR Two Hundred & Forty Nine and Paise Thirteen Only | 11.04 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. | 0.3 | sqm
11.05 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 11.05 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
11.06 | For thickness of tiles 10 mm to 25 mm |  | 35 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1856.75 | 1856.75 | INR One Thousand Eight Hundred & Fifty Six and Paise Seventy Five Only | 11.06 | For thickness of tiles 10 mm to 25 mm | 35 | sqm
11.07 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | [53 empty] | 11.07 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge :
11.08 | 15 mm to 40 mm nominal bore |  | 10 | metre | 108.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1088.1 | 1088.1 | INR One Thousand &Eighty Eight and Paise Ten Only | 11.08 | 15 mm to 40 mm nominal bore | 10 | metre
11.09 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge: | [53 empty] | 11.09 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge:
11.1 | Up to 150 mm diameter |  | 5 | metre | 298.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1493.65 | 1493.65 | INR One Thousand Four Hundred & Ninety Three and Paise Sixty Five Only | 11.1 | Up to 150 mm diameter | 5 | metre
11.11 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 2 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 384.66 | 384.66 | INR Three Hundred & Eighty Four and Paise Sixty Six Only | 11.11 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 2 | cum
12 | SANITARY INSTALLATIONS | [53 empty] | 12 | SANITARY INSTALLATIONS
12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | [53 empty] | 12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:
12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests |  | 1 | each | 5069.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5069.14 | 5069.14 | INR Five Thousand &Sixty Nine and Paise Fourteen Only | 12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1 | each
12.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | [53 empty] | 12.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
12.04 | Flexible pipe | [53 empty] | 12.04 | Flexible pipe
12.05 | 32 mm dia |  | 2 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 182.98 | 182.98 | INR One Hundred & Eighty Two and Paise Ninety Eight Only | 12.05 | 32 mm dia | 2 | each
12.06 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 1 | each | 1237.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1237.31 | 1237.31 | INR One Thousand Two Hundred & Thirty Seven and Paise Thirty One Only | 12.06 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1 | each
12.07 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 12.07 | Providing and fixing soil, waste and vent pipes :
12.08 | 100 mm dia | [53 empty] | 12.08 | 100 mm dia
12.09 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 |  | 10 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9446.7 | 9446.7 | INR Nine Thousand Four Hundred & Forty Six and Paise Seventy Only | 12.09 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 10 | metre
12.1 | 75 mm diameter : | [53 empty] | 12.1 | 75 mm diameter :
12.11 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 |  | 2 | metre | 913.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1827.44 | 1827.44 | INR One Thousand Eight Hundred & Twenty Seven and Paise Forty Four Only | 12.11 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | 2 | metre
12.12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 12.12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
12.13 | 100 mm dia | [53 empty] | 12.13 | 100 mm dia
12.14 | Sand cast iron S&S as per IS - 3989 |  | 2 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1047.96 | 1047.96 | INR One Thousand &Forty Seven and Paise Ninety Six Only | 12.14 | Sand cast iron S&S as per IS - 3989 | 2 | each
12.15 | Providing and fixing plain bend of required degree. | [53 empty] | 12.15 | Providing and fixing plain bend of required degree.
12.16 | 100 mm dia | [53 empty] | 12.16 | 100 mm dia
12.17 | Sand cast iron S&S as per IS : 3989 |  | 2 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 771.16 | 771.16 | INR Seven Hundred & Seventy One and Paise Sixteen Only | 12.17 | Sand cast iron S&S as per IS : 3989 | 2 | each
12.18 | Providing and fixing collar : | [53 empty] | 12.18 | Providing and fixing collar :
12.19 | 100 mm | [53 empty] | 12.19 | 100 mm
12.2 | Sand cast iron S&S as per IS - 3989 |  | 2 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 771.16 | 771.16 | INR Seven Hundred & Seventy One and Paise Sixteen Only | 12.2 | Sand cast iron S&S as per IS - 3989 | 2 | each
12.21 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 12.21 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
12.22 | 100 mm |  | 15 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7229.1 | 7229.1 | INR Seven Thousand Two Hundred & Twenty Nine and Paise Ten Only | 12.22 | 100 mm | 15 | each
12.23 | 75 mm |  | 1 | each | 408.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 408.94 | 408.94 | INR Four Hundred & Eight and Paise Ninety Four Only | 12.23 | 75 mm | 1 | each
12.24 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 12.24 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
12.25 | 100 mm inlet and 100 mm outlet | [53 empty] | 12.25 | 100 mm inlet and 100 mm outlet
12.26 | Sand cast iron S&S as per IS: 3989 |  | 2 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2812.98 | 2812.98 | INR Two Thousand Eight Hundred & Twelve and Paise Ninety Eight Only | 12.26 | Sand cast iron S&S as per IS: 3989 | 2 | each
12.27 | 100 mm inlet and 75 mm outlet | [53 empty] | 12.27 | 100 mm inlet and 75 mm outlet
12.28 | Sand cast iron S&S as per IS - 3989 |  | 1 | each | 1465.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1465.15 | 1465.15 | INR One Thousand Four Hundred & Sixty Five and Paise Fifteen Only | 12.28 | Sand cast iron S&S as per IS - 3989 | 1 | each
13 | WATER SUPPLY | [53 empty] | 13 | WATER SUPPLY
13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
13.02 | 20 mm dia nominal bore |  | 10 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3273.6 | 3273.6 | INR Three Thousand Two Hundred & Seventy Three and Paise Sixty Only | 13.02 | 20 mm dia nominal bore | 10 | metre
13.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | [53 empty] | 13.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall :
13.04 | 15 mm dia nominal bore |  | 10 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4254.3 | 4254.3 | INR Four Thousand Two Hundred & Fifty Four and Paise Thirty Only | 13.04 | 15 mm dia nominal bore | 10 | metre
13.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | [53 empty] | 13.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
13.06 | 20 mm dia nominal bore |  | 3 | metre | 276.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 829.5 | 829.5 | INR Eight Hundred & Twenty Nine and Paise Fifty Only | 13.06 | 20 mm dia nominal bore | 3 | metre
13.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 13.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
13.08 | 20 mm nominal bore |  | 3 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1214.61 | 1214.61 | INR One Thousand Two Hundred & Fourteen and Paise Sixty One Only | 13.08 | 20 mm nominal bore | 3 | each
13.09 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | [53 empty] | 13.09 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
13.1 | 20 mm nominal bore |  | 1 | each | 348.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 348.49 | 348.49 | INR Three Hundred & Forty Eight and Paise Forty Nine Only | 13.1 | 20 mm nominal bore | 1 | each
13.11 | Providing and fixing uplasticised PVC connection pipe with brass unions : | [53 empty] | 13.11 | Providing and fixing uplasticised PVC connection pipe with brass unions :
13.12 | 45 cm length | [53 empty] | 13.12 | 45 cm length
13.13 | 15 mm nominal bore |  | 2 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149.4 | 149.4 | INR One Hundred & Forty Nine and Paise Forty Only | 13.13 | 15 mm nominal bore | 2 | each
13.14 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 13.14 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
13.15 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 1 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1501.23 | 1501.23 | INR One Thousand Five Hundred & One and Paise Twenty Three Only | 13.15 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 1 | each
13.16 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | [53 empty] | 13.16 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality :
13.17 | 20 mm diameter pipe |  | 3 | metre | 10.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31.56 | 31.56 | INR Thirty One and Paise Fifty Six Only | 13.17 | 20 mm diameter pipe | 3 | metre
13.18 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | [53 empty] | 13.18 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work :
13.19 | 20 mm diameter pipe |  | 3 | metre | 140.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 420.48 | 420.48 | INR Four Hundred & Twenty and Paise Forty Eight Only | 13.19 | 20 mm diameter pipe | 3 | metre
13.2 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 13.2 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
13.21 | 15 mm nominal bore |  | 2 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 459.98 | 459.98 | INR Four Hundred & Fifty Nine and Paise Ninety Eight Only | 13.21 | 15 mm nominal bore | 2 | each
13.22 | 20 mm nominal bore |  | 6 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1520.64 | 1520.64 | INR One Thousand Five Hundred & Twenty and Paise Sixty Four Only | 13.22 | 20 mm nominal bore | 6 | each
13.23 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. |  | 500 | per litre | 8.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4255 | 4255 | INR Four Thousand Two Hundred & Fifty Five Only | 13.23 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 500 | per litre
13.24 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 13.24 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
13.25 | 15 mm nominal bore |  | 1 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 380.71 | 380.71 | INR Three Hundred & Eighty and Paise Seventy One Only | 13.25 | 15 mm nominal bore | 1 | each
13.26 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 13.26 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
13.27 | 15 mm nominal bore |  | 1 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 621.13 | 621.13 | INR Six Hundred & Twenty One and Paise Thirteen Only | 13.27 | 15 mm nominal bore | 1 | each
13.28 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | [53 empty] | 13.28 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
13.29 | 15 mm nominal bore |  | 2 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1042.96 | 1042.96 | INR One Thousand &Forty Two and Paise Ninety Six Only | 13.29 | 15 mm nominal bore | 2 | each
13.3 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | [53 empty] | 13.3 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
13.31 | 15mm nominal bore |  | 3 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1316.13 | 1316.13 | INR One Thousand Three Hundred & Sixteen and Paise Thirteen Only | 13.31 | 15mm nominal bore | 3 | each
13.32 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 5 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 270.5 | 270.5 | INR Two Hundred & Seventy and Paise Fifty Only | 13.32 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 5 | each
14 | DRAINAGE | [53 empty] | 14 | DRAINAGE
14.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | [53 empty] | 14.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
14.02 | 100 mm diameter |  | 4 | metre | 329.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1317.84 | 1317.84 | INR One Thousand Three Hundred & Seventeen and Paise Eighty Four Only | 14.02 | 100 mm diameter | 4 | metre
14.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | [53 empty] | 14.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
14.04 | 100 mm diameter S.W. pipe |  | 4 | metre | 785.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3140.72 | 3140.72 | INR Three Thousand One Hundred & Forty and Paise Seventy Two Only | 14.04 | 100 mm diameter S.W. pipe | 4 | metre
14.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | [53 empty] | 14.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
14.06 | 100x100 mm size P type | [53 empty] | 14.06 | 100x100 mm size P type
14.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 2 | each | 2151.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4302.58 | 4302.58 | INR Four Thousand Three Hundred & Two and Paise Fifty Eight Only | 14.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2 | each
14.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | [53 empty] | 14.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
14.09 | For pipes 100 to 250 mm diameter |  | 4 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2397.88 | 2397.88 | INR Two Thousand Three Hundred & Ninety Seven and Paise Eighty Eight Only | 14.09 | For pipes 100 to 250 mm diameter | 4 | each
15 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 15 | MINOR CIVIL MAINTENANCE WORK:
15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 0.75 | Cum | 4985.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3739.45 | 3739.45 | INR Three Thousand Seven Hundred & Thirty Nine and Paise Forty Five Only | 15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | 0.75 | Cum
15.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. |  | 1 | Each | 457.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 457.52 | 457.52 | INR Four Hundred & Fifty Seven and Paise Fifty Two Only | 15.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | 1 | Each
15.03 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 5 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 146.65 | 146.65 | INR One Hundred & Forty Six and Paise Sixty Five Only | 15.03 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 5 | Each
15.04 | Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. |  | 1.75 | Sqm | 1954.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3420.97 | 3420.97 | INR Three Thousand Four Hundred & Twenty and Paise Ninety Seven Only | 15.04 | Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | 1.75 | Sqm
15.05 | "Providing and fixing white vitreous china oval type wash basin of size 550 x 480 with 15mm C.P brass pillar tap, 32mm C.P brass waste of standard pattern. |  | 1 | Each | 4461.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4461.35 | 4461.35 | INR Four Thousand Four Hundred & Sixty One and Paise Thirty Five Only | 15.05 | "Providing and fixing white vitreous china oval type wash basin of size 550 x 480 with 15mm C.P brass pillar tap, 32mm C.P brass waste of standard pattern. | 1 | Each
15.06 | "Providing and Fixing white vitreous china flat back half stall urinal of size 580x 380 x 350 mm with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreders 15 mm , C.P. Connection pipe with Brass union & clamp and C.P Brass Push Cock 15 mm including cutting & making good the wall. |  | 1 | Each | 8584.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8584.86 | 8584.86 | INR Eight Thousand Five Hundred & Eighty Four and Paise Eighty Six Only | 15.06 | "Providing and Fixing white vitreous china flat back half stall urinal of size 580x 380 x 350 mm with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreders 15 mm , C.P. Connection pipe with Brass union & clamp and C.P Brass Push Cock 15 mm including cutting & making good the wall. | 1 | Each
15.07 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. |  | 1 | Each | 1396.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1396.01 | 1396.01 | INR One Thousand Three Hundred & Ninety Six and Paise One Only | 15.07 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. | 1 | Each
Total in Figures | [51 empty] | 170385.97 | 170385.97 | INR One Lakh Seventy Thousand Three Hundred & Eighty Five and Paise Ninety Seven Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information