## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer (Elect.)
Name of Work: Providing & fixing of ceiling fans, exhaust & fresh air fans, light fittings, light / lamps, wall brackets, Geysers etc with allied works required for transit residential accommodation in 25 Nos (Block B & D) of additional flats hired by IIT Kanpur in Ratan Planet, Naramau Kanpur.
Contract No: 10/Elect/2022/188 Dated: 22.07.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweep 220 volts without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc complete as reqd.(Crompton or its equivalent approved make) | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 900 mm | item2 | 25 | Nos. | 1866.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46668.25 | 46668.25 | INR Forty Six Thousand Six Hundred & Sixty Eight and Paise Twenty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.2 | 1200 mm | item3 | 125 | Nos. | 1626.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203310 | 203310 | INR Two Lakh Three Thousand Three Hundred & Ten Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Supplying and fixing connecting and commissioning of AC 230/250 volts, 50 HZ, 250 mm sweep fresh air fan including providing nuts, bolts, mounting frame and other accessories etc complete as required(Crompton or its equivalent approved make) | item4 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | 200 mm (Plastic body) | item5 | 50 | Nos. | 1456.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72819 | 72819 | INR Seventy Two Thousand Eight Hundred & Nineteen Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Supply, Installation of exhaust fan, 900 rpm 220 volt AC, 50 Hz of following sweep in the existing opening I/c connection, testing, commissioning etc complete as reqd(Crompton or its equivalent approved make) | item6 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | 225 mm | item7 | 25 | Nos. | 1770.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44257 | 44257 | INR Forty Four Thousand Two Hundred & Fifty Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Supplying, fixing, connecting, testing & commissioning of electric storage type water heater(Gyser) capacity 25 ltr. model CDR DLX Horizentol round shape with 2 kW heating element on rag bolts / fashner with washer and all other required accessories like inlet & outlet connection pipe etc. , i/c dismentalling & refixing of existing false ceiling structure for fixing of gyser above the false ceiling as required complete (Racold or its equivalent approved make) | item8 | 50 | Nos. | 10553.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 527663.5 | 527663.5 | INR Five Lakh Twenty Seven Thousand Six Hundred & Sixty Three and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and with lamp as required complete. | item9 |  |  | 0 | [49 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.1 | LED tube light fitting (1 X 18 / 20 Watt. LED) surface mounting luminares (Havells or its equivalent approved make) | item10 | 175 | Nos. | 249.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43730.75 | 43730.75 | INR Forty Three Thousand Seven Hundred & Thirty and Paise Seventy Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supply / fixing , testing & commissioning of 12W LED. Slim surface mounted round LED panel al. die cast body with premium diffuser to ensure glare free as required complete (Havells or its equivalent make etc as reqd | item11 | 125 | Nos. | 821.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102696.25 | 102696.25 | INR One Lakh Two Thousand Six Hundred & Ninety Six and Paise Twenty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and without lamp as required complete. | item12 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.1 | Wall light stylo fitting 14W Havells make or equvalent. its equivalent approved make etc as required | item13 | 100 | Nos. | 563.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56337 | 56337 | INR Fifty Six Thousand Three Hundred & Thirty Seven Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supply / fixing , testing & commissioning of 9W 1 ftor 2 ft LED wall/mirror light. (Havells or its equivalent approved make) | item14 | 50 | Nos. | 381.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19070.5 | 19070.5 | INR Nineteen Thousand &Seventy and Paise Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. complete as reqd.(Legrand or its equivalent approved make) | item15 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.1 | Mini- trunking | item16 | 100 | Mtr. | 213.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21394 | 21394 | INR Twenty One Thousand Three Hundred & Ninety Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.2 | End cap left or right | item17 | 5 | Nos. | 134.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 670.75 | 670.75 | INR Six Hundred & Seventy and Paise Seventy Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.3 | Internal/ external angle | item18 | 8 | Nos. | 137.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1101.28 | 1101.28 | INR One Thousand One Hundred & One and Paise Twenty Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.4 | Flat angle | item19 | 12 | Nos. | 116.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1399.44 | 1399.44 | INR One Thousand Three Hundred & Ninety Nine and Paise Forty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.5 | Flat junction | item20 | 10 | Nos. | 135.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1359.1 | 1359.1 | INR One Thousand Three Hundred & Fifty Nine and Paise Ten Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd.its equivalent approved make etc as required | item21 | 15000 | Sq.cm | 0.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8400 | 8400 | INR Eight Thousand Four Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Locating fault in wiring rectifying removing & restoring supply the same & making good the damages etc as reqd. | item22 | 100 | Nos. | 253.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25340 | 25340 | INR Twenty Five Thousand Three Hundred & Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Supply / fixing and connecting & commissioning following lamps in existing fitting as reqd. its equivalent approved make etc as required (Havells or its equivalent approved make) | item23 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.1 | LED bulb 9 Watt | item24 | 100 | Nos. | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11486 | 11486 | INR Eleven Thousand Four Hundred & Eighty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Supplying and fixing plastic fan box cover for existing fan box as reqd. | item25 | 60 | Nos. | 49.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2946 | 2946 | INR Two Thousand Nine Hundred & Forty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supplying and fixing plastic fan plastic cover for existing junction box as reqd. | item26 | 65 | Nos. | 21.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1367.6 | 1367.6 | INR One Thousand Three Hundred & Sixty Seven and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Supplying and fixing following size /modules,plastic box for modular switches in recess etc as required from approved make etc as required | item27 |  |  | 0 | [49 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.1 | 3 module | item28 | 25 | Nos. | 245.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6137.75 | 6137.75 | INR Six Thousand One Hundred & Thirty Seven and Paise Seventy Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15.2 | 4 module | item29 | 4 | Nos. | 256.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1024.12 | 1024.12 | INR One Thousand &Twenty Four and Paise Twelve Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.3 | 6 module | item30 | 5 | Nos. | 283.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1416.05 | 1416.05 | INR One Thousand Four Hundred & Sixteen and Paise Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.4 | 8 module | item31 | 4 | Nos. | 296.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1185.44 | 1185.44 | INR One Thousand One Hundred & Eighty Five and Paise Forty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Supplying, installation DLP mini- trunking 32mm x 12.5mm and accessories white-system with independent cover- without central partion etc. complete as reqd(Legrand or its equivalent approved make) | item32 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16.1 | Mini- trunking | item33 | 20 | Mtr. | 160.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3209.2 | 3209.2 | INR Three Thousand Two Hundred & Nine and Paise Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.2 | Flat angle | item34 | 7 | Nos. | 107.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 754.95 | 754.95 | INR Seven Hundred & Fifty Four and Paise Ninety Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item35 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.1 | 1 x 1.5 Sq.mm.. | item36 | 103.98 | Mtr. | 25.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2644.21 | 2644.21 | INR Two Thousand Six Hundred & Forty Four and Paise Twenty One Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17.2 | 3 x 1.5 Sq.mm.. | item37 | 180 | Mtr. | 47.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8523 | 8523 | INR Eight Thousand Five Hundred & Twenty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.3 | 3 x 4 Sq.mm.. | item38 | 220 | Mtr. | 102.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22569.8 | 22569.8 | INR Twenty Two Thousand Five Hundred & Sixty Nine and Paise Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item39 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.1 | 5/6 Amp switch | item40 | 45 | Nos. | 74.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3354.75 | 3354.75 | INR Three Thousand Three Hundred & Fifty Four and Paise Seventy Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.2 | 2 way 5/6 amps switch | item41 | 10 | Nos. | 107.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1078.5 | 1078.5 | INR One Thousand &Seventy Eight and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.3 | 15/16 Amp. switch | item42 | 25 | Nos. | 115.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2893.5 | 2893.5 | INR Two Thousand Eight Hundred & Ninety Three and Paise Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.4 | 3 Pin 5/6 Amp. socket outlet | item43 | 35 | Nos. | 97.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3406.55 | 3406.55 | INR Three Thousand Four Hundred & Six and Paise Fifty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.5 | 6 Pin 15/16 Amp. socket outlet. | item44 | 25 | Nos. | 153.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3836 | 3836 | INR Three Thousand Eight Hundred & Thirty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.6 | Telephone socket outlet | item45 | 25 | Nos. | 104.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2622.5 | 2622.5 | INR Two Thousand Six Hundred & Twenty Two and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.7 | Bell Push | item46 | 25 | Nos. | 110.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2762 | 2762 | INR Two Thousand Seven Hundred & Sixty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.8 | Fan regulator socket type rotary step | item47 | 10 | Nos. | 299.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2998.7 | 2998.7 | INR Two Thousand Nine Hundred & Ninety Eight and Paise Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.9 | Blanking plate | item48 | 10 | Nos. | 28.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 280.6 | 280.6 | INR Two Hundred & Eighty and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | S & F following size/modules, GI box along with modular base and cover plate for modular switches in recess etc.as required. | item49 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.1 | 1/2 module | item50 | 25 | Nos. | 213.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5326.5 | 5326.5 | INR Five Thousand Three Hundred & Twenty Six and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.2 | 3 module | item51 | 3 | Nos. | 234.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 702.33 | 702.33 | INR Seven Hundred & Two and Paise Thirty Three Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.3 | 4 module | item52 | 4 | Nos. | 251.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1006.56 | 1006.56 | INR One Thousand &Six and Paise Fifty Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.4 | 6 module | item53 | 3 | Nos. | 291.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 875.94 | 875.94 | INR Eight Hundred & Seventy Five and Paise Ninety Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.5 | 8 module | item54 | 4 | Nos. | 335.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1343.28 | 1343.28 | INR One Thousand Three Hundred & Forty Three and Paise Twenty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | S/F following modular base & cover plate on existing modular metal boxes etc. as reqd. | item55 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20.1 | 1 or 2 module | item56 | 5 | Nos. | 99.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 499.8 | 499.8 | INR Four Hundred & Ninety Nine and Paise Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20.2 | 3 module | item57 | 50 | Nos. | 112.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5611.5 | 5611.5 | INR Five Thousand Six Hundred & Eleven and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20.3 | 4 module | item58 | 5 | Nos. | 121 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 605 | 605 | INR Six Hundred & Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20.4 | 6 module | item59 | 1 | Nos. | 146.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 146.43 | 146.43 | INR One Hundred & Forty Six and Paise Forty Three Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20.5 | 8 module | item60 | 1 | Nos. | 171.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 171.85 | 171.85 | INR One Hundred & Seventy One and Paise Eighty Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20.6 | 12 module | item61 | 1 | Nos. | 199.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 199.02 | 199.02 | INR One Hundred & Ninety Nine and Paise Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Supplying and fixing call bell/ buzzer suitable for single phase,230 V, complete as required. | item62 | 25 | Nos. | 80.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2016.75 | 2016.75 | INR Two Thousand &Sixteen and Paise Seventy Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 1281219 | 1281219 | INR Twelve Lakh Eighty One Thousand Two Hundred & Nineteen Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information