## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer
Name of Work: Construction of New KRIOS Facility at IIT Kanpur (SH: Electrical works).
Contract No: 31/Elect/2022/339 Dated: 24.11.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item1 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Group C | item2 | 49 | Point | 1618 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79282 | 79282 | INR Seventy Nine Thousand Two Hundred & Eighty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm ERLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm ERLS PVC insulated copper conductor single core cable etc. as required. | item3 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | Group C | item4 | 12 | Point | 959 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11508 | 11508 | INR Eleven Thousand Five Hundred & Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. | item5 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | 2 X 1.5 sq. mm +1X 1.5 sq. mm earth wire | item6 | 150 | Metre | 287 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43050 | 43050 | INR Forty Three Thousand &Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | 2 X 4 sq. mm +1X 4 sq. mm earth wire | item7 | 350 | Metre | 375 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 131250 | 131250 | INR One Lakh Thirty One Thousand Two Hundred & Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.3 | 2 X16 sq. mm +1X 6 sq. mm earth wire | item8 | 45 | Metre | 826 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37170 | 37170 | INR Thirty Seven Thousand One Hundred & Seventy Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.4 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | item9 | 30 | Metre | 810 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24300 | 24300 | INR Twenty Four Thousand Three Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.5 | 4 X10 sq. mm + 2 X 6 sq. mm earth wire | item10 | 75 | Metre | 1022 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76650 | 76650 | INR Seventy Six Thousand Six Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.6 | 4 X16 sq. mm + 2 X 6 sq. mm earth wire | item11 | 50 | Metre | 1442 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72100 | 72100 | INR Seventy Two Thousand One Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item12 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.1 | 2 x 1.5 sq. mm | item13 | 100 | Metre | 61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6100 | 6100 | INR Six Thousand One Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | 3 x 1.5 sq. mm | item14 | 100 | Metre | 83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8300 | 8300 | INR Eight Thousand Three Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.3 | 3 x 4 sq. mm | item15 | 75 | Metre | 181 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13575 | 13575 | INR Thirteen Thousand Five Hundred & Seventy Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.4 | 6 x 6 sq. mm | item16 | 10 | Metre | 524 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5240 | 5240 | INR Five Thousand Two Hundred & Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.5 | 2 x 10 sq.mm. | item17 | 15 | Meter | 357 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5355 | 5355 | INR Five Thousand Three Hundred & Fifty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.6 | 2 x 16 sq.mm. | item18 | 30 | Meter | 539 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16170 | 16170 | INR Sixteen Thousand One Hundred & Seventy Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item19 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.1 | 20 mm | item20 | 100 | Metre | 195 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19500 | 19500 | INR Nineteen Thousand Five Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.2 | 25 mm | item21 | 200 | Metre | 224 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44800 | 44800 | INR Forty Four Thousand Eight Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.3 | 32 mm | item22 | 50 | Metre | 286 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14300 | 14300 | INR Fourteen Thousand Three Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | item23 | 4 | No. | 418 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1672 | 1672 | INR One Thousand Six Hundred & Seventy Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | item24 | 19 | No. | 513 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9747 | 9747 | INR Nine Thousand Seven Hundred & Forty Seven Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | item25 | 61 | No. | 76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4636 | 4636 | INR Four Thousand Six Hundred & Thirty Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supplying and fixing following size/ modules, Gl box alongwith modular base & cover plate for modular switches in recess etc. as required. | item26 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.1 | 1 or 2 Module (75mmX75mm) | item27 | 1 | No. | 267 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 267 | 267 | INR Two Hundred & Sixty Seven Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.2 | 3 Module (100mmX75mm) | item28 | 2 | No. | 287 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 574 | 574 | INR Five Hundred & Seventy Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.3 | 6 Module (200mmX75mm) | item29 | 1 | No. | 352 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 352 | 352 | INR Three Hundred & Fifty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.4 | 12 Module (200mmX150mm) | item30 | 1 | No. | 480 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 480 | 480 | INR Four Hundred & Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item31 | 25 | Meter | 217 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5425 | 5425 | INR Five Thousand Four Hundred & Twenty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item32 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.1 | End cap | item33 | 1 | Nos. | 143 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 143 | 143 | INR One Hundred & Forty Three Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.2 | internal / external angle | item34 | 1 | Nos. | 138 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 138 | 138 | INR One Hundred & Thirty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.3 | changeable flat angle | item35 | 1 | Nos. | 117 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 117 | 117 | INR One Hundred & Seventeen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.4 | flat junction | item36 | 1 | Nos. | 136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 136 | 136 | INR One Hundred & Thirty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item37 | 25 | Meter | 936 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23400 | 23400 | INR Twenty Three Thousand Four Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item38 |  |  | 0 | [49 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.1 | 85 mm flexible cover | item39 | 20 | Meter | 413 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8260 | 8260 | INR Eight Thousand Two Hundred & Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.2 | End cap | item40 | 2 | Nos. | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 370 | 370 | INR Three Hundred & Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.3 | Internal angles- adjustable from 80°-100° | item41 | 1 | Nos. | 510 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 510 | 510 | INR Five Hundred & Ten Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.4 | external angles- adjustable from 60°-120° | item42 | 1 | Nos. | 520 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 520 | 520 | INR Five Hundred & Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.5 | flat junction | item43 | 1 | Nos. | 890 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 890 | 890 | INR Eight Hundred & Ninety Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.6 | separation partitions | item44 | 15 | Meter | 248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3720 | 3720 | INR Three Thousand Seven Hundred & Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.7 | Joints for 85mm width cover | item45 | 5 | Nos. | 215 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1075 | 1075 | INR One Thousand &Seventy Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.8 | base joints | item46 | 10 | Nos. | 85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 850 | 850 | INR Eight Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item47 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.1 | 3 module | item48 | 12 | Nos. | 283 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3396 | 3396 | INR Three Thousand Three Hundred & Ninety Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.2 | 6 module | item49 | 18 | Nos. | 381 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6858 | 6858 | INR Six Thousand Eight Hundred & Fifty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item50 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.1 | 6 A switch | item51 | 36 | No. | 231 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8316 | 8316 | INR Eight Thousand Three Hundred & Sixteen Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.2 | 20 A switch | item52 | 12 | No. | 404 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4848 | 4848 | INR Four Thousand Eight Hundred & Forty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15.3 | 6 A pin 2/3 pin socket outlet | item53 | 36 | No. | 385 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13860 | 13860 | INR Thirteen Thousand Eight Hundred & Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.4 | 6/16 A 3 pin socket outlet | item54 | 12 | No. | 519 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6228 | 6228 | INR Six Thousand Two Hundred & Twenty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item55 | 2 | No. | 1421 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2842 | 2842 | INR Two Thousand Eight Hundred & Forty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Chemical Earthing with Copper bonded rod of copper coating of 250 microns of dia 25 mm, length 3 Mtr with clamp, including earth enhancement material and RCC precast Pit cover and earthing pit etc as reqd. complete. | item56 | 5 | No. | 9849 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49245 | 49245 | INR Forty Nine Thousand Two Hundred & Forty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item57 | 2 | No. | 6945 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13890 | 13890 | INR Thirteen Thousand Eight Hundred & Ninety Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.l. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | item58 | 25 | Metre | 1360 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34000 | 34000 | INR Thirty Four Thousand Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | item59 | 20 | Metre | 1019 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20380 | 20380 | INR Twenty Thousand Three Hundred & Eighty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item60 | 25 | Metre | 214 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5350 | 5350 | INR Five Thousand Three Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) | item61 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.1 | 12 way, Double door | item62 | 1 | No. | 2030 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2030 | 2030 | INR Two Thousand &Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without | item63 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23.1 | 8 way (4 + 24), Double door | item64 | 3 | No. | 5232 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15696 | 15696 | INR Fifteen Thousand Six Hundred & Ninety Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item65 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24.01 | 8 way (4 + 24), Double door | item66 | 1 | No. | 8913 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8913 | 8913 | INR Eight Thousand Nine Hundred & Thirteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item67 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25.1 | Single pole 5 A to 32 A | item68 | 84 | No. | 224 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18816 | 18816 | INR Eighteen Thousand Eight Hundred & Sixteen Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25.2 | Double pole 5 A to 32 A | item69 | 2 | No. | 575 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1150 | 1150 | INR One Thousand One Hundred & Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25.3 | Triple pole 5 A to 32 A | item70 | 3 | No. | 883 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2649 | 2649 | INR Two Thousand Six Hundred & Forty Nine Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25.4 | Triple pole and neutral 5 A to 32 A | item71 | 3 | No. | 1077 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3231 | 3231 | INR Three Thousand Two Hundred & Thirty One Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25.5 | Single Pole (40A-63A) | item72 | 6 | Nos. | 647 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3882 | 3882 | INR Three Thousand Eight Hundred & Eighty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25.6 | Double Pole (40A-63A) | item73 | 3 | Nos. | 1374 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4122 | 4122 | INR Four Thousand One Hundred & Twenty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25.7 | Triple pole (40A-63A) | item74 | 5 | Nos. | 2124 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10620 | 10620 | INR Ten Thousand Six Hundred & Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25.8 | Four Pole (40A-63A) | item75 | 5 | Nos. | 2724 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13620 | 13620 | INR Thirteen Thousand Six Hundred & Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Supply and fixing of following weather proof, IP-65 integrated LED batten suitable for various industrial application, diffusser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item76 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
26.1 | 20 W batten Cat No.CIS-300-20-57-SL-DP-NGR Crompton make or its equvalent approved make | item77 | 10 | Nos. | 3504 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35040 | 35040 | INR Thirty Five Thousand &Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item78 |  |  | 0 | [49 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
27.1 | 12 watt recess mounting LED light fixture Cat no.-LSCRM-12W-CDL Crompton make or equivatent | item79 | 8 | Nos. | 1012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8096 | 8096 | INR Eight Thousand &Ninety Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27.2 | 12 watt surface mounting LED light fixture Cat no.-LCDSPLN-R-12-CDL Crompton make or equivatent | item80 | 2 | Nos. | 1277 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2554 | 2554 | INR Two Thousand Five Hundred & Fifty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
27.3 | 36 watt recess mounting LED light fixture 600 x 600 mm Cat no.-LCTLRNE-36-FO-CDL Crompton make or equivatent | item81 | 40 | Nos. | 3956 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 158240 | 158240 | INR One Lakh Fifty Eight Thousand Two Hundred & Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28 | Supply and fixing testing and commissioning of 1X10 watt LED mirror light fixture with Electronic driver, lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete.(eq. To Crompton cat. no.LCTLN-10-CDL). | item82 | 1 | Nos. | 519 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 519 | 519 | INR Five Hundred & Nineteen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item83 | 1250 | Meter | 17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21250 | 21250 | INR Twenty One Thousand Two Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
30 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item84 | 30 | Nos. | 73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2190 | 2190 | INR Two Thousand One Hundred & Ninety Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item85 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31.1 | 20 mm | item86 | 35 | Meter | 49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1715 | 1715 | INR One Thousand Seven Hundred & Fifteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
31.2 | 25 mm | item87 | 20 | Meter | 70 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1400 | 1400 | INR One Thousand Four Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31.3 | 32 mm | item88 | 10 | Meter | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 820 | 820 | INR Eight Hundred & Twenty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item89 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32.1 | 6 /10/16 Sq.mm. | item90 | 72 | Nos. | 31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2232 | 2232 | INR Two Thousand Two Hundred & Thirty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
33 | Supplying, installation, testing & commissioning sector panel suitable for following zones, complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered, complete with all connections, interconnections as required. | item91 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
33.1 | 4 Zone | item92 | 1 | No. | 7774 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7774 | 7774 | INR Seven Thousand Seven Hundred & Seventy Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | Supplying, installation, testing & commissioning of heat detector operating at 542C/572C with rate of rise cum fixed temperature (dual thermistor) type with mounting base complete with all connection etc. as required. | item93 | 1 | No. | 939 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 939 | 939 | INR Nine Hundred & Thirty Nine Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
35 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | item94 | 10 | No. | 1011 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10110 | 10110 | INR Ten Thousand One Hundred & Ten Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | item95 | 2 | No. | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 830 | 830 | INR Eight Hundred & Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required. | item96 | 8 | No. | 172 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1376 | 1376 | INR One Thousand Three Hundred & Seventy Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
38 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | item97 | 2 | No. | 488 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 976 | 976 | INR Nine Hundred & Seventy Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
39 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item98 | 1 | Nos. | 236 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 236 | 236 | INR Two Hundred & Thirty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
40 | Supplying and fixing connecting and commissioning following rating, four pole, 35kA MCCB with microprocessor based LS-I release in the existing DB/ Box as required complete. | item99 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40.1 | 160 A | item100 | 1 | Nos. | 29785 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29785 | 29785 | INR Twenty Nine Thousand Seven Hundred & Eighty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
41 | S&F connecting and commissioning independent mounting of MCCB enclosure suitable for MCCB's up to 250A in surface/recess I/c cutting the wall and making good the same in case of recessed (Cat No CS-CNM0100021 C & S or approved equivalent make) as reqd. | item101 | 1 | Nos. | 3128 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3128 | 3128 | INR Three Thousand One Hundred & Twenty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42 | Supplying of one no. 3.5 x 120.0 sqmm PVC insulated, XLPE steel armoured aluminium conductor power cable of grade 1.1 kV as required complete in following manners. | item102 | 135 | Meter | 1008 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 136080 | 136080 | INR One Lakh Thirty Six Thousand &Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
43 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item103 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43.1 | Above 95 sq. mm and upto 185 sq. mm | item104 | 90 | Metre | 370 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33300 | 33300 | INR Thirty Three Thousand Three Hundred Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
44 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item105 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44.1 | Above 95 sq. mm and upto 185 sq. mm | item106 | 15 | Metre | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1020 | 1020 | INR One Thousand &Twenty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
45 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. | item107 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
45.1 | Above 95 sq. mm and upto 185 sq. mm | item108 | 15 | Metre | 55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 825 | 825 | INR Eight Hundred & Twenty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item109 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
46.1 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | item110 | 15 | Metre | 134 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2010 | 2010 | INR Two Thousand &Ten Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
47 | Providing, laying and fixing following dia G.l. pipe (medium class) in ground complete with G.l. fittings including trenching (75 cm deep)and re-filling etc as required | item111 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47.1 | 50 mm dia | item112 | 15 | Metre | 573 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8595 | 8595 | INR Eight Thousand Five Hundred & Ninety Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
47.2 | 80 mm dia | item113 | 20 | Metre | 806 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16120 | 16120 | INR Sixteen Thousand One Hundred & Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
48 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item114 |  |  | 0 | [49 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
48.1 | 3½ X120 sq. mm (45mm) | item115 | 2 | No. | 537 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1074 | 1074 | INR One Thousand &Seventy Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
49 | Supplying and fixing connecting and commissioning of AC 230/250 volts, 50 HZ, 250 mm sweep fresh air fan including providing nuts, bolts, mounting frame and other accessories etc. complete | item116 | 1 | Nos. | 1904 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1904 | 1904 | INR One Thousand Nine Hundred & Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
50 | Supplying and fixing 32 amps, 415 volts, 3P+N+E industrial type, socket outlet, with 5 pin metal enclosed plug top along with 32 amps ' C ' series four pole MCB, in the sheet steel enclosure, on surface or in recess, with chained metal cover for the socket as required complete. | item117 | 1 | Nos. | 7427 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7427 | 7427 | INR Seven Thousand Four Hundred & Twenty Seven Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
51 | Supplying and fixing 63 amps, 415 volts, 3P+N+E industrial type, socket outlet, with 5 pin metal enclosed plug top along with 63 amps ' C ' series four pole MCB, in the sheet steel enclosure, on surface or in recess, with chained metal cover for the socket as required complete. | item118 | 1 | Nos. | 14043 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14043 | 14043 | INR Fourteen Thousand &Forty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item119 | 7 | Nos. | 817 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5719 | 5719 | INR Five Thousand Seven Hundred & Nineteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
53 | Supplying and fixing 63 amps rating, double pole 240 volt RCCB having a sensitivity circuit 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item120 | 9 | Nos. | 4371 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39339 | 39339 | INR Thirty Nine Thousand Three Hundred & Thirty Nine Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
54 | Supply & Laying of 32 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item121 |  |  | 0 | [49 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
54.1 | in ground I/c excavation, sand cushioning, protective covering and refixing the trench etc as reqd | item122 | 90 | Meter | 438 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39420 | 39420 | INR Thirty Nine Thousand Four Hundred & Twenty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
54.2 | In Pipe | item123 | 15 | Meter | 132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1980 | 1980 | INR One Thousand Nine Hundred & Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
54.3 | On Surface | item124 | 20 | Meter | 147 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2940 | 2940 | INR Two Thousand Nine Hundred & Forty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
54.4 | in open duct | item125 | 5 | Meter | 124 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 620 | 620 | INR Six Hundred & Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min , 350 RPM (tolerance as per IS : 374-2019),THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase ACSupply, earthing etc. complete as required. | item126 | 3 | Nos. | 2394 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7182 | 7182 | INR Seven Thousand One Hundred & Eighty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | item127 |  |  | 0 | [49 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56.1 | For 14 way, Double door SPN MCBDB | item128 | 2 | No. | 791 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1582 | 1582 | INR One Thousand Five Hundred & Eighty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
57 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. | item129 |  |  | 0 | [49 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
57.1 | For 8 way, Double door TPN MCBDB | item130 | 6 | No. | 1175 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7050 | 7050 | INR Seven Thousand &Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
58 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for triple pole and neutral, sheet steel, Vertical MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | item131 | 2 | No. | 1026 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2052 | 2052 | INR Two Thousand &Fifty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | 1545366 | 1545366 | INR Fifteen Lakh Forty Five Thousand Three Hundred & Sixty Six Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information