## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Dean of Infrastructure & Planning, IIT Kanpur
Name of Work: Construction of a new Swimming Pool for Kids at IIT Kanpur
Contract No:
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | item no.1 | [52 empty] | 1 | Carriage of Materials | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Earth Lead - 2 km | item no.3 | 200 | cum | 178.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35770 | 35770 | INR Thirty Five Thousand Seven Hundred & Seventy Only | 1.02 | Earth Lead - 2 km | item no.3 | 200 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | EARTH WORK | item no.4 | [52 empty] | 2 | EARTH WORK | item no.4
2.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.5 | [52 empty] | 2.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.5
2.02 | All kinds of soil. | item no.6 | 700 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 176057 | 176057 | INR One Lakh Seventy Six Thousand &Fifty Seven Only | 2.02 | All kinds of soil. | item no.6 | 700 | cum
2.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.7 | [52 empty] | 2.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.7
2.04 | All kinds of soil | item no.8 | [52 empty] | 2.04 | All kinds of soil | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | item no.9 | 100 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36594 | 36594 | INR Thirty Six Thousand Five Hundred & Ninety Four Only | 2.05 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | item no.9 | 100 | metre
2.06 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.10 | 300 | cum | 222.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 66801 | 66801 | INR Sixty Six Thousand Eight Hundred & One Only | 2.06 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.10 | 300 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.11 | 5 | cum | 1894.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9475 | 9475 | INR Nine Thousand Four Hundred & Seventy Five Only | 2.07 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.11 | 5 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | CEMENT CONCRETE (CAST IN SITU) | item no.13 | [52 empty] | 3 | CEMENT CONCRETE (CAST IN SITU) | item no.13 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.14 | [52 empty] | 3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.14
3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.15 | 20 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 129157 | 129157 | INR One Lakh Twenty Nine Thousand One Hundred & Fifty Seven Only | 3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.15 | 20 | cum
3.03 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.16 | 125 | cum | 5305.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 663158 | 663158 | INR Six Lakh Sixty Three Thousand One Hundred & Fifty Eight Only | 3.03 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.16 | 125 | cum
3.04 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.17 | [52 empty] | 3.04 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.17
3.05 | Foundations, footings, bases for columns | item no.18 | 50 | sqm | 270.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13501 | 13501 | INR Thirteen Thousand Five Hundred & One Only | 3.05 | Foundations, footings, bases for columns | item no.18 | 50 | sqm
3.06 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.19 | 130 | per 50kg cement | 50.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6514 | 6514 | INR Six Thousand Five Hundred & Fourteen Only | 3.06 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.19 | 130 | per 50kg cement
4 | REINFORCED CEMENT CONCRETE | item no.20 | [52 empty] | 4 | REINFORCED CEMENT CONCRETE | item no.20
4.01 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.21 | [52 empty] | 4.01 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.21
4.02 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.22 | 150 | sqm | 587.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88061 | 88061 | INR Eighty Eight Thousand &Sixty One Only | 4.02 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.22 | 150 | sqm
4.03 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.23 | 200 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 106682 | 106682 | INR One Lakh Six Thousand Six Hundred & Eighty Two Only | 4.03 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.23 | 200 | sqm
4.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.24 | [52 empty] | 4.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.24
4.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.25 | 10000 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 786100 | 786100 | INR Seven Lakh Eighty Six Thousand One Hundred Only | 4.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.25 | 10000 | kg
4.06 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | item no.26 | [52 empty] | 4.06 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | item no.26
4.07 | All works upto plinth level | item no.27 | [52 empty] | 4.07 | All works upto plinth level | item no.27
4.08 | Concrete of M25 grade with minimum cement content of 330 kg /cum | item no.28 | 120 | cum | 7012.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 841452 | 841452 | INR Eight Lakh Forty One Thousand Four Hundred & Fifty Two Only | 4.08 | Concrete of M25 grade with minimum cement content of 330 kg /cum | item no.28 | 120 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | MASONRY WORK | item no.29 | [52 empty] | 5 | MASONRY WORK | item no.29
5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.30 | [52 empty] | 5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.30 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.31 | 5 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36337 | 36337 | INR Thirty Six Thousand Three Hundred & Thirty Seven Only | 5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.31 | 5 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.03 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.32 | [52 empty] | 5.03 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.32
5.04 | Above plinth level upto floor V level | item no.33 | 30 | cum | 7510.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 225321 | 225321 | INR Two Lakh Twenty Five Thousand Three Hundred & Twenty One Only | 5.04 | Above plinth level upto floor V level | item no.33 | 30 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | STEEL WORK | item no.35 | [52 empty] | 6 | STEEL WORK | item no.35
6.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.36 | [52 empty] | 6.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.36
6.02 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.37 | 650 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81101 | 81101 | INR Eighty One Thousand One Hundred & One Only | 6.02 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.37 | 650 | kg
6.03 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.38 | [52 empty] | 6.03 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.38
6.04 | 10 x 80 mm | item no.39 | 50 | each | 102.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5143 | 5143 | INR Five Thousand One Hundred & Forty Three Only | 6.04 | 10 x 80 mm | item no.39 | 50 | each
7 | FINISHING | item no.40 | [52 empty] | 7 | FINISHING | item no.40
7.01 | 20 mm cement plaster of mix : | item no.41 | [52 empty] | 7.01 | 20 mm cement plaster of mix : | item no.41
7.02 | 1:6 (1 cement: 6 fine sand) | item no.42 | 550 | sqm | 335.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 184267 | 184267 | INR One Lakh Eighty Four Thousand Two Hundred & Sixty Seven Only | 7.02 | 1:6 (1 cement: 6 fine sand) | item no.42 | 550 | sqm
7.03 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.43 | [52 empty] | 7.03 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.43
7.04 | Flush / Ruled/ Struck or weathered pointing | item no.44 | 300 | sqm | 187.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56397 | 56397 | INR Fifty Six Thousand Three Hundred & Ninety Seven Only | 7.04 | Flush / Ruled/ Struck or weathered pointing | item no.44 | 300 | sqm
7.05 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.45 | [52 empty] | 7.05 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.45
7.06 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.46 | 350 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49823 | 49823 | INR Forty Nine Thousand Eight Hundred & Twenty Three Only | 7.06 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.46 | 350 | sqm
7.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.47 | [52 empty] | 7.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.47
7.08 | Two or more coats on new work | item no.48 | 160 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18442 | 18442 | INR Eighteen Thousand Four Hundred & Forty Two Only | 7.08 | Two or more coats on new work | item no.48 | 160 | sqm
8 | Dismantling and Demolishing | item no.50 | [52 empty] | 8 | Dismantling and Demolishing | item no.50
8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.51 | [52 empty] | 8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.51
8.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.52 | 10 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17598 | 17598 | INR Seventeen Thousand Five Hundred & Ninety Eight Only | 8.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.52 | 10 | cum
8.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.53 | [52 empty] | 8.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.53
8.04 | In cement mortar | item no.54 | 19 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28295 | 28295 | INR Twenty Eight Thousand Two Hundred & Ninety Five Only | 8.04 | In cement mortar | item no.54 | 19 | cum
8.05 | Removing mortar from bricks and cleaning bricks including stacking within a lead of 50 m (stacks of cleaned bricks shall be measured): | item no.55 | [52 empty] | 8.05 | Removing mortar from bricks and cleaning bricks including stacking within a lead of 50 m (stacks of cleaned bricks shall be measured): | item no.55
8.06 | From brick work in cement mortar | item no.56 | 8 | 1000 Nos | 4841.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38736 | 38736 | INR Thirty Eight Thousand Seven Hundred & Thirty Six Only | 8.06 | From brick work in cement mortar | item no.56 | 8 | 1000 Nos
8.07 | Dismantling and stacking within 50 metres lead, fencing posts or struts including all earth work and dismantling of concrete etc. in base of: | item no.57 | [52 empty] | 8.07 | Dismantling and stacking within 50 metres lead, fencing posts or struts including all earth work and dismantling of concrete etc. in base of: | item no.57
8.08 | T' or 'L' iron or pipe | item no.58 | 25 | each | 169.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4230 | 4230 | INR Four Thousand Two Hundred & Thirty Only | 8.08 | T' or 'L' iron or pipe | item no.58 | 25 | each
8.09 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | item no.59 | 50 | kg | 26.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1331 | 1331 | INR One Thousand Three Hundred & Thirty One Only | 8.09 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | item no.59 | 50 | kg
8.1 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.60 | 10 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1923 | 1923 | INR One Thousand Nine Hundred & Twenty Three Only | 8.1 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.60 | 10 | cum
9 | ROAD WORK | item no.61 | [52 empty] | 9 | ROAD WORK | item no.61
9.01 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. | item no.62 | [52 empty] | 9.01 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. | item no.62
9.02 | Made of G.I. wire of dia 4 mm | item no.63 | 160 | sqm | 753.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 120579 | 120579 | INR One Lakh Twenty Thousand Five Hundred & Seventy Nine Only | 9.02 | Made of G.I. wire of dia 4 mm | item no.63 | 160 | sqm
9.03 | Providing and laying tactile tile (for vision impaired persons as per standards) of size 300x300x9.8mm having with water absorption less than 0.5% and conforming to IS:15622 of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | item no.64 | 150 | sqm | 1507.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 226085 | 226085 | INR Two Lakh Twenty Six Thousand &Eighty Five Only | 9.03 | Providing and laying tactile tile (for vision impaired persons as per standards) of size 300x300x9.8mm having with water absorption less than 0.5% and conforming to IS:15622 of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | item no.64 | 150 | sqm
10 | DRAINAGE | item no.65 | [52 empty] | 10 | DRAINAGE | item no.65
10.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.66 | [52 empty] | 10.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.66
10.02 | 150 mm diameter | item no.67 | 40 | metre | 518.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20742 | 20742 | INR Twenty Thousand Seven Hundred & Forty Two Only | 10.02 | 150 mm diameter | item no.67 | 40 | metre
10.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.68 | [52 empty] | 10.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.68
10.04 | 150 mm diameter S.W. pipe | item no.69 | 40 | metre | 960.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38410 | 38410 | INR Thirty Eight Thousand Four Hundred & Ten Only | 10.04 | 150 mm diameter S.W. pipe | item no.69 | 40 | metre
10.05 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | item no.70 | [52 empty] | 10.05 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | item no.70
10.06 | 300 mm dia. R.C.C. pipe | item no.71 | 10 | metre | 790.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7909 | 7909 | INR Seven Thousand Nine Hundred & Nine Only | 10.06 | 300 mm dia. R.C.C. pipe | item no.71 | 10 | metre
10.07 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | item no.72 | [52 empty] | 10.07 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | item no.72
10.08 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | item no.73 | [52 empty] | 10.08 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | item no.73
10.09 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.74 | 2 | each | 10247.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20495 | 20495 | INR Twenty Thousand Four Hundred & Ninety Five Only | 10.09 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.74 | 2 | each
10.1 | Extra for depth for manholes : | item no.75 | [52 empty] | 10.1 | Extra for depth for manholes : | item no.75
10.11 | Size 90x80 cm | item no.76 | [52 empty] | 10.11 | Size 90x80 cm | item no.76
10.12 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.77 | 1 | metre | 7126.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7126 | 7126 | INR Seven Thousand One Hundred & Twenty Six Only | 10.12 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.77 | 1 | metre
10.13 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.78 | [52 empty] | 10.13 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.78
10.14 | For pipes 100 to 250 mm diameter | item no.79 | 2 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1199 | 1199 | INR One Thousand One Hundred & Ninety Nine Only | 10.14 | For pipes 100 to 250 mm diameter | item no.79 | 2 | each
11 | MINOR CIVIL MAINTENANCE WORK: | item no.81 | [52 empty] | 11 | MINOR CIVIL MAINTENANCE WORK: | item no.81
11.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) with old available bricks | item no.82 | 15 | Cum | 3521.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52828 | 52828 | INR Fifty Two Thousand Eight Hundred & Twenty Eight Only | 11.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) with old available bricks | item no.82 | 15 | Cum
11.02 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources). With old available brick aggregate. | item no.83 | 5 | Cum | 4543.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22717 | 22717 | INR Twenty Two Thousand Seven Hundred & Seventeen Only | 11.02 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources). With old available brick aggregate. | item no.83 | 5 | Cum
12 | Swimming Pool Work | item no.84 | [52 empty] | 12 | Swimming Pool Work | item no.84
12.01 | Supplying, Installation, Testing & Commissioning of Filter for Main Pool (1200 MM Dia) Blue colour bobbin wound sand filters, manufactured totally in NON-CORROSIVE material and UV resistance surface. Filter should be supplied complete with manual air bleeder, water drain, emptying plug, fitted with collector arms and diffuser made from unplasticized PVC and polypropelene and with top mounted multi-port valve of 2" for carrying out filtration, back washing and rinsing of filter media. MPV should be supplied with pressure gauge. Flow Rate = 30 M3/Hr, Filtration Velocity = 30 M3/Hr/M2, Maximum Working Pressure 2.5 Kg/Cm2, Diameter = 1200 MM Make: Pentair or approved equivalent | item no.85 | 2 | Each | 110186 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 220372 | 220372 | INR Two Lakh Twenty Thousand Three Hundred & Seventy Two Only | 12.01 | Supplying, Installation, Testing & Commissioning of Filter for Main Pool (1200 MM Dia) Blue colour bobbin wound sand filters, manufactured totally in NON-CORROSIVE material and UV resistance surface. Filter should be supplied complete with manual air bleeder, water drain, emptying plug, fitted with collector arms and diffuser made from unplasticized PVC and polypropelene and with top mounted multi-port valve of 2" for carrying out filtration, back washing and rinsing of filter media. MPV should be supplied with pressure gauge. Flow Rate = 30 M3/Hr, Filtration Velocity = 30 M3/Hr/M2, Maximum Working Pressure 2.5 Kg/Cm2, Diameter = 1200 MM Make: Pentair or approved equivalent | item no.85 | 2 | Each
12.02 | Supplying & filling of Multi Graded Sand for Filter (Each Pack Contains 50 Kg) Grade of Sand Media 8X16, 16X32 | item no.86 | 45 | Bag | 1349.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60731 | 60731 | INR Sixty Thousand Seven Hundred & Thirty One Only | 12.02 | Supplying & filling of Multi Graded Sand for Filter (Each Pack Contains 50 Kg) Grade of Sand Media 8X16, 16X32 | item no.86 | 45 | Bag
12.03 | Supplying, Installation, Testing & Commissioning of Re-circulating Pump Main Pool and Kid's Pool Self Priming pumps. Motorshafts in stainless steel AISI-420, impeller in polyroilen, mechanical seal in graphite.with motor -2850 rpm, 2.2 kw, 220 V or 380 V, 3.0 HP, protection IP-55 and insulation class-F. With Pre Filter 3 Phase, Flow Rate 22 M3/Hr @Head Size 10 Mtr Make: Pentair or approved equivalent | item no.87 | 3 | Each | 64471.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 193413 | 193413 | INR One Lakh Ninety Three Thousand Four Hundred & Thirteen Only | 12.03 | Supplying, Installation, Testing & Commissioning of Re-circulating Pump Main Pool and Kid's Pool Self Priming pumps. Motorshafts in stainless steel AISI-420, impeller in polyroilen, mechanical seal in graphite.with motor -2850 rpm, 2.2 kw, 220 V or 380 V, 3.0 HP, protection IP-55 and insulation class-F. With Pre Filter 3 Phase, Flow Rate 22 M3/Hr @Head Size 10 Mtr Make: Pentair or approved equivalent | item no.87 | 3 | Each
12.04 | Supplying, Installation, Testing & Commissioning of Re-circulating Pump For Water Curtains Self Priming pumps. Motorshafts in stainless steel AISI-420, impeller in polyroilen, mechanical seal in graphite.with motor -2850 rpm, 2.2 kw, 220 V or 380 V, 7.5 HP, protection IP-55 and insulation class-F. With Pre Filter 3 Phase, Flow Rate 22 M3/Hr @Head Size 10 Mtr Make: Kirlosker or approved equivalent | item no.88 | 1 | Each | 43744.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43745 | 43745 | INR Forty Three Thousand Seven Hundred & Forty Five Only | 12.04 | Supplying, Installation, Testing & Commissioning of Re-circulating Pump For Water Curtains Self Priming pumps. Motorshafts in stainless steel AISI-420, impeller in polyroilen, mechanical seal in graphite.with motor -2850 rpm, 2.2 kw, 220 V or 380 V, 7.5 HP, protection IP-55 and insulation class-F. With Pre Filter 3 Phase, Flow Rate 22 M3/Hr @Head Size 10 Mtr Make: Kirlosker or approved equivalent | item no.88 | 1 | Each
12.05 | Supplying, Installation, Testing & Commissioning of Square Main Drains for Main Pool (To Drain Out the Pool) ABS Drain Grills - 300mm x 300mm Make: Pentair or approved equivalent | item no.89 | 2 | Each | 1337 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2674 | 2674 | INR Two Thousand Six Hundred & Seventy Four Only | 12.05 | Supplying, Installation, Testing & Commissioning of Square Main Drains for Main Pool (To Drain Out the Pool) ABS Drain Grills - 300mm x 300mm Make: Pentair or approved equivalent | item no.89 | 2 | Each
12.06 | Supplying, Installation, Testing & Commissioning of Floor Inlet to Provide filtered Water to the Pool Floor inlet 2" slipwith 1.5" slip bushing, 3500-4000 Litre Discharge of Water Per Hour, Colour - white/off-white Make: Pentair or approved equivalent | item no.90 | 16 | Each | 373 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5968 | 5968 | INR Five Thousand Nine Hundred & Sixty Eight Only | 12.06 | Supplying, Installation, Testing & Commissioning of Floor Inlet to Provide filtered Water to the Pool Floor inlet 2" slipwith 1.5" slip bushing, 3500-4000 Litre Discharge of Water Per Hour, Colour - white/off-white Make: Pentair or approved equivalent | item no.90 | 16 | Each
12.07 | Supplying, Installation, Testing & Commissioning of Over Flow Channel Cover Grating (Material use ABS 295X20X0.4 MM) Make: Pentair or approved equivalent | item no.91 | 80 | Mt | 1431 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 114480 | 114480 | INR One Lakh Fourteen Thousand Four Hundred & Eighty Only | 12.07 | Supplying, Installation, Testing & Commissioning of Over Flow Channel Cover Grating (Material use ABS 295X20X0.4 MM) Make: Pentair or approved equivalent | item no.91 | 80 | Mt
12.08 | "Providing & fixing Stainless steel ladder of SS-304 Grade in 48 mm Dia x 3 mm thickness piping with 600 mm length – orange coloured or any approved one with fibre moulded steps, removable type, designed Stainless steel pool ladder with SS304 hand grip piping of 48mm x 3 mm thk, having 600 mm length x150 mm width x 70 mm thick – Anti skid-Button model – Non sharp-edged, concealed box type – Strong in 3.5 Kgs Weight , quality - Fibre moulded ladder steps in orange colour and ½” stainless steel 304 stud on through out with Dhoom nuts on both the ends. 2 Nos each - Fibre moulded foundation anchor cup with cover for top grouting and wall resting rubber bushes on bottom. - complete. Ladder having 4 steps " | item no.92 | 4 | Each | 31412.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 125650 | 125650 | INR One Lakh Twenty Five Thousand Six Hundred & Fifty Only | 12.08 | "Providing & fixing Stainless steel ladder of SS-304 Grade in 48 mm Dia x 3 mm thickness piping with 600 mm length – orange coloured or any approved one with fibre moulded steps, removable type, designed Stainless steel pool ladder with SS304 hand grip piping of 48mm x 3 mm thk, having 600 mm length x150 mm width x 70 mm thick – Anti skid-Button model – Non sharp-edged, concealed box type – Strong in 3.5 Kgs Weight , quality - Fibre moulded ladder steps in orange colour and ½” stainless steel 304 stud on through out with Dhoom nuts on both the ends. 2 Nos each - Fibre moulded foundation anchor cup with cover for top grouting and wall resting rubber bushes on bottom. - complete. Ladder having 4 steps " | item no.92 | 4 | Each
12.09 | Supplying, Installation, Testing & Commissioning of class on - off dosing pump 05L/hr 7 bar whose flow can be manually regulated using a potentiometer that determines the frequency of injections , Regulation range of 0-100% and 0-20%. Low maintenance.for wall or floor assembly , easy to safe work , made of the most resistant materials.don't require oil.flow 05 L/hr 7 bar pressure. Make: Pentair or approved equivalent | item no.93 | 2 | Each | 17581 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35162 | 35162 | INR Thirty Five Thousand One Hundred & Sixty Two Only | 12.09 | Supplying, Installation, Testing & Commissioning of class on - off dosing pump 05L/hr 7 bar whose flow can be manually regulated using a potentiometer that determines the frequency of injections , Regulation range of 0-100% and 0-20%. Low maintenance.for wall or floor assembly , easy to safe work , made of the most resistant materials.don't require oil.flow 05 L/hr 7 bar pressure. Make: Pentair or approved equivalent | item no.93 | 2 | Each
12.1 | Supplying, Installation, Testing & Commissioning of 100 litre dosing tank of ABS Material, Thickness of Tank 3 MM, Height of Tank is 450 MM | item no.94 | 2 | Each | 3831 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7662 | 7662 | INR Seven Thousand Six Hundred & Sixty Two Only | 12.1 | Supplying, Installation, Testing & Commissioning of 100 litre dosing tank of ABS Material, Thickness of Tank 3 MM, Height of Tank is 450 MM | item no.94 | 2 | Each
12.11 | Supplying, Installation, Testing & Commissioning of Manual Agitator Shaft Length 600mm Chemical Holding Tanks – CylindricalThis range of holding tanks can be considered the -standard’ type suitable for most plant rooms. The tanks feature a raised platform on top which allows for easy mounting of chemical dosing pumps etc. As standard, the cylindrical tanks are produced in natural MDPE. 108Lt Holding Tank 470mm Dia x 680mm H Make: Pentair or approved equivalent | item no.95 | 2 | Each | 2361 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4722 | 4722 | INR Four Thousand Seven Hundred & Twenty Two Only | 12.11 | Supplying, Installation, Testing & Commissioning of Manual Agitator Shaft Length 600mm Chemical Holding Tanks – CylindricalThis range of holding tanks can be considered the -standard’ type suitable for most plant rooms. The tanks feature a raised platform on top which allows for easy mounting of chemical dosing pumps etc. As standard, the cylindrical tanks are produced in natural MDPE. 108Lt Holding Tank 470mm Dia x 680mm H Make: Pentair or approved equivalent | item no.95 | 2 | Each
12.12 | Supplying, Installation, Testing & Commissioning of 110 Watt UV Clarifier flow rate 25,000 liters For Swimming Pool upto 25000 Ltr/ Hr, Maximum Flow Rate 12500, Bulb Type T8, Bulb Life 9000 (Hours) with Electronic Ballast, Inlet-Outlet 2X1.2" Socket, with Electrical Rating 110-240V 50-60Hz. Dimension 450 X 167 X 88 Make: Pentair or approved equivalent | item no.96 | 2 | Each | 86726 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 173452 | 173452 | INR One Lakh Seventy Three Thousand Four Hundred & Fifty Two Only | 12.12 | Supplying, Installation, Testing & Commissioning of 110 Watt UV Clarifier flow rate 25,000 liters For Swimming Pool upto 25000 Ltr/ Hr, Maximum Flow Rate 12500, Bulb Type T8, Bulb Life 9000 (Hours) with Electronic Ballast, Inlet-Outlet 2X1.2" Socket, with Electrical Rating 110-240V 50-60Hz. Dimension 450 X 167 X 88 Make: Pentair or approved equivalent | item no.96 | 2 | Each
12.13 | Supplying, Installation, Testing & Commissioning of 12W 12V white 144 lamps LeD in SS - 304 Material, IP 68 Rating, Dimension of Light - 200 MM Dia with the Service Life of 100,000 Hours, as opposed to 1000 hours for conventional lamps and each LED lights Saves 90% of Electricty Consumption Make: Watronix or approved equivalent | item no.97 | 16 | Each | 5063 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81008 | 81008 | INR Eighty One Thousand &Eight Only | 12.13 | Supplying, Installation, Testing & Commissioning of 12W 12V white 144 lamps LeD in SS - 304 Material, IP 68 Rating, Dimension of Light - 200 MM Dia with the Service Life of 100,000 Hours, as opposed to 1000 hours for conventional lamps and each LED lights Saves 90% of Electricty Consumption Make: Watronix or approved equivalent | item no.97 | 16 | Each
12.14 | Supplying & installation of ABS Deck Box(Suitable for Use with Lights)IP65 2 Side outlets and 1 inlet. All the threads are ¾” BSP connection Make: Pentair or approved equivalent | item no.98 | 16 | Each | 1612 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25792 | 25792 | INR Twenty Five Thousand Seven Hundred & Ninety Two Only | 12.14 | Supplying & installation of ABS Deck Box(Suitable for Use with Lights)IP65 2 Side outlets and 1 inlet. All the threads are ¾” BSP connection Make: Pentair or approved equivalent | item no.98 | 16 | Each
12.15 | Supplying, Installation, Testing & Commissioning of Transformer 300VA/ 12V output IP20, in ABS Box/ Metal Box, Signal Implifier to LED Lights. Select dazzling light shows from 7 predefined themes or 5 fixed colors to suit your mood, Suitable for indoor and outdoor environments for flexible installation, Featuring twilight mode with automatic seasonal adjustments,Control up to 150 Watts of Single Color or Multi Color LED Lights on a single circuit. Make: Watronix or approved equivalent | item no.99 | 2 | Each | 9315 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18630 | 18630 | INR Eighteen Thousand Six Hundred & Thirty Only | 12.15 | Supplying, Installation, Testing & Commissioning of Transformer 300VA/ 12V output IP20, in ABS Box/ Metal Box, Signal Implifier to LED Lights. Select dazzling light shows from 7 predefined themes or 5 fixed colors to suit your mood, Suitable for indoor and outdoor environments for flexible installation, Featuring twilight mode with automatic seasonal adjustments,Control up to 150 Watts of Single Color or Multi Color LED Lights on a single circuit. Make: Watronix or approved equivalent | item no.99 | 2 | Each
12.16 | Supplying, Installation, Testing & Commissioning of SS WATER SPOUT FOR WATER SHEET SS - 304 Water Sheet Spout, thickness of SS-304 (2 MM) Each would be 600 Width and Hight100 MM with the Deep of 200 MM, Inlet Connection of 65 MM, and the Water Sheet Outlet 600 MM. | item no.100 | 5 | Each | 22032 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110160 | 110160 | INR One Lakh Ten Thousand One Hundred & Sixty Only | 12.16 | Supplying, Installation, Testing & Commissioning of SS WATER SPOUT FOR WATER SHEET SS - 304 Water Sheet Spout, thickness of SS-304 (2 MM) Each would be 600 Width and Hight100 MM with the Deep of 200 MM, Inlet Connection of 65 MM, and the Water Sheet Outlet 600 MM. | item no.100 | 5 | Each
12.17 | Supplying, Installation, Testing & Commissioning of WATER CURTAIN LIGHTS Water Sheet LED Lights 9W 12V With Amplifier and Auto Color Change Driver, IP 68 Rating, Length of Light 600MM Each Light with LED Bulb | item no.101 | 5 | Each | 5700.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28504 | 28504 | INR Twenty Eight Thousand Five Hundred & Four Only | 12.17 | Supplying, Installation, Testing & Commissioning of WATER CURTAIN LIGHTS Water Sheet LED Lights 9W 12V With Amplifier and Auto Color Change Driver, IP 68 Rating, Length of Light 600MM Each Light with LED Bulb | item no.101 | 5 | Each
12.18 | Supplying, Installation, Testing & Commissioning of 1.5" (38mm) Floating Hose Spiralwound 2 color - 12metre Graphite, EVA, UV Resistant, Designs to hose to keep floating even full of water and allows the cleaner to work freely of the pool floor, End Fittings Included | item no.102 | 1 | Each | 3742 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3742 | 3742 | INR Three Thousand Seven Hundred & Forty Two Only | 12.18 | Supplying, Installation, Testing & Commissioning of 1.5" (38mm) Floating Hose Spiralwound 2 color - 12metre Graphite, EVA, UV Resistant, Designs to hose to keep floating even full of water and allows the cleaner to work freely of the pool floor, End Fittings Included | item no.102 | 1 | Each
12.19 | Supplying, Installation, Testing & Commissioning of Test kit (Liquid) for pH and Chlorine | item no.103 | 1 | Each | 397 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 397 | 397 | INR Three Hundred & Ninety Seven Only | 12.19 | Supplying, Installation, Testing & Commissioning of Test kit (Liquid) for pH and Chlorine | item no.103 | 1 | Each
12.2 | Supplying, Installation, Testing & Commissioning of uPVC pressure pipes of 10Kgf/cm2 pressure including fittings, tees, bends, clamps, coupling and adaptors supports, and jointing with solvent joint, testing , chased in wall as per standard design (For water supply , drain , vaccume & overflow pipe). of Supreme make or approved equivalent | item no.104 | [52 empty] | 12.2 | Supplying, Installation, Testing & Commissioning of uPVC pressure pipes of 10Kgf/cm2 pressure including fittings, tees, bends, clamps, coupling and adaptors supports, and jointing with solvent joint, testing , chased in wall as per standard design (For water supply , drain , vaccume & overflow pipe). of Supreme make or approved equivalent | item no.104
12.21 | 63 mm dia | item no.105 | 90 | Mt | 335 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30150 | 30150 | INR Thirty Thousand One Hundred & Fifty Only | 12.21 | 63 mm dia | item no.105 | 90 | Mt
12.22 | 75 mm dia | item no.106 | 24 | Mt | 479 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11496 | 11496 | INR Eleven Thousand Four Hundred & Ninety Six Only | 12.22 | 75 mm dia | item no.106 | 24 | Mt
12.23 | 90 mm dia | item no.107 | 84 | Mt | 684 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57456 | 57456 | INR Fifty Seven Thousand Four Hundred & Fifty Six Only | 12.23 | 90 mm dia | item no.107 | 84 | Mt
12.24 | 110 mm dia | item no.108 | 72 | Mt | 1013 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72936 | 72936 | INR Seventy Two Thousand Nine Hundred & Thirty Six Only | 12.24 | 110 mm dia | item no.108 | 72 | Mt
12.25 | 160 mm dia | item no.109 | 42 | Mt | 2152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90384 | 90384 | INR Ninety Thousand Three Hundred & Eighty Four Only | 12.25 | 160 mm dia | item no.109 | 42 | Mt
12.26 | Supplying, Installation, Testing & Commissioning of uPVC Puddle and Sleeves of 10Kgf/cm2 pressure including fittings, tees, bends, clamps, coupling and adaptors supports, and jointing with solvent joint, testing , chased in wall as per standard design (For water supply , drain , vaccume & overflow pipe). of Supreme make or approved equivalent | item no.110 | [52 empty] | 12.26 | Supplying, Installation, Testing & Commissioning of uPVC Puddle and Sleeves of 10Kgf/cm2 pressure including fittings, tees, bends, clamps, coupling and adaptors supports, and jointing with solvent joint, testing , chased in wall as per standard design (For water supply , drain , vaccume & overflow pipe). of Supreme make or approved equivalent | item no.110
12.27 | 63 mm dia | item no.111 | 4 | Each | 405 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1620 | 1620 | INR One Thousand Six Hundred & Twenty Only | 12.27 | 63 mm dia | item no.111 | 4 | Each
12.28 | 75 mm dia | item no.112 | 2 | Each | 560 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1120 | 1120 | INR One Thousand One Hundred & Twenty Only | 12.28 | 75 mm dia | item no.112 | 2 | Each
12.29 | 90 mm dia | item no.113 | 3 | Each | 774 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2322 | 2322 | INR Two Thousand Three Hundred & Twenty Two Only | 12.29 | 90 mm dia | item no.113 | 3 | Each
12.3 | 110 mm dia | item no.114 | 4 | Each | 1157 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4628 | 4628 | INR Four Thousand Six Hundred & Twenty Eight Only | 12.3 | 110 mm dia | item no.114 | 4 | Each
12.31 | 160 mm dia | item no.115 | 3 | Each | 2120.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6362 | 6362 | INR Six Thousand Three Hundred & Sixty Two Only | 12.31 | 160 mm dia | item no.115 | 3 | Each
12.32 | Providing & fixing of Butterfly Valve make : Zoloto / Sant With Complete Fittings Nut, Bolt, Flanges etc. complete | item no.116 | [52 empty] | 12.32 | Providing & fixing of Butterfly Valve make : Zoloto / Sant With Complete Fittings Nut, Bolt, Flanges etc. complete | item no.116
12.33 | 65 mm Dia | item no.117 | 4 | Each | 2626 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10504 | 10504 | INR Ten Thousand Five Hundred & Four Only | 12.33 | 65 mm Dia | item no.117 | 4 | Each
12.34 | 100 mm Dia | item no.118 | 4 | Each | 5400 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21600 | 21600 | INR Twenty One Thousand Six Hundred Only | 12.34 | 100 mm Dia | item no.118 | 4 | Each
12.35 | 160 mm Dia | item no.119 | 2 | Each | 9573 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19146 | 19146 | INR Nineteen Thousand One Hundred & Forty Six Only | 12.35 | 160 mm Dia | item no.119 | 2 | Each
12.36 | Providing & fixing Non return valve make : Zoloto / Sant With Complete Fittings Nut, Bolt, Flanges etc. complete | item no.120 | [52 empty] | 12.36 | Providing & fixing Non return valve make : Zoloto / Sant With Complete Fittings Nut, Bolt, Flanges etc. complete | item no.120
12.37 | 65 mm Dia | item no.121 | 2 | Each | 1854 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3708 | 3708 | INR Three Thousand Seven Hundred & Eight Only | 12.37 | 65 mm Dia | item no.121 | 2 | Each
12.38 | 100 mm Dia | item no.122 | 2 | Each | 4923 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9846 | 9846 | INR Nine Thousand Eight Hundred & Forty Six Only | 12.38 | 100 mm Dia | item no.122 | 2 | Each
12.39 | 160 mm Dia | item no.123 | 1 | Each | 6430 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6430 | 6430 | INR Six Thousand Four Hundred & Thirty Only | 12.39 | 160 mm Dia | item no.123 | 1 | Each
12.4 | Supplying, Installation & Testing of Electrical Control Panel (Complete in all respect likewise: switch gears, MCB, TPN, Bar Channels, PVC Glands, Voltameter, Ameter,Buttons) for 3 Nos. Pump Make: L&T/Scheinder/ABB | item no.124 | 1 | Each | 51000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51000 | 51000 | INR Fifty One Thousand Only | 12.4 | Supplying, Installation & Testing of Electrical Control Panel (Complete in all respect likewise: switch gears, MCB, TPN, Bar Channels, PVC Glands, Voltameter, Ameter,Buttons) for 3 Nos. Pump Make: L&T/Scheinder/ABB | item no.124 | 1 | Each
12.41 | Supplying, Installation & Testing of Wiring & Conduiting 2.5 MM 2 Core (Red And Blue) Including Conduit Fitting All around Swimming Pool And Pump Room Make: Polycab/Finolex/Havells | item no.125 | 300 | Mt | 99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29700 | 29700 | INR Twenty Nine Thousand Seven Hundred Only | 12.41 | Supplying, Installation & Testing of Wiring & Conduiting 2.5 MM 2 Core (Red And Blue) Including Conduit Fitting All around Swimming Pool And Pump Room Make: Polycab/Finolex/Havells | item no.125 | 300 | Mt
12.42 | Supplying, Installation & Testing of Wiring & Conduiting 2.5 MM 1 Core (Green And Yellow) Including Conduit Fitting All around Swimming Pool And Pump Room Make: Polycab/Finolex/Havells | item no.126 | 300 | Mt | 123.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37170 | 37170 | INR Thirty Seven Thousand One Hundred & Seventy Only | 12.42 | Supplying, Installation & Testing of Wiring & Conduiting 2.5 MM 1 Core (Green And Yellow) Including Conduit Fitting All around Swimming Pool And Pump Room Make: Polycab/Finolex/Havells | item no.126 | 300 | Mt
12.43 | Supplying, Installation & Testing of Wiring & Conduiting 10 MM 3 Core Armoured Cable (Red, Blue and Black) used for Pupms Inside the Pump Room with Conduit Make: Polycab/Finolex/Havells | item no.127 | 30 | Mt | 176 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5280 | 5280 | INR Five Thousand Two Hundred & Eighty Only | 12.43 | Supplying, Installation & Testing of Wiring & Conduiting 10 MM 3 Core Armoured Cable (Red, Blue and Black) used for Pupms Inside the Pump Room with Conduit Make: Polycab/Finolex/Havells | item no.127 | 30 | Mt
12.44 | Waterproofing treatment of Sub Structure area Water Proofing Of Swimming Pool - Pressure Grouting with Aquaguard 50% Slurry, afterwards 1 coat of EMB + Laying with Fiber Mesh + 2 Coat of Latex | item no.128 | 780 | Sqm | 660.24 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 514987 | 514987 | INR Five Lakh Fourteen Thousand Nine Hundred & Eighty Seven Only | 12.44 | Waterproofing treatment of Sub Structure area Water Proofing Of Swimming Pool - Pressure Grouting with Aquaguard 50% Slurry, afterwards 1 coat of EMB + Laying with Fiber Mesh + 2 Coat of Latex | item no.128 | 780 | Sqm
12.45 | Waterproofing treatment of Wet Areas Waterproofing membrane to external floor; 4mm thick modified SBS bitumen waterproofing membrane with 180g/m² unwoven polyester reinforcement; applied over one coat of primer Horizontal Surface: including 200mm Vertical High Vertical Surface: including 200mm Vertical High | item no.129 | 480 | Sqm | 1115.84 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 535603 | 535603 | INR Five Lakh Thirty Five Thousand Six Hundred & Three Only | 12.45 | Waterproofing treatment of Wet Areas Waterproofing membrane to external floor; 4mm thick modified SBS bitumen waterproofing membrane with 180g/m² unwoven polyester reinforcement; applied over one coat of primer Horizontal Surface: including 200mm Vertical High Vertical Surface: including 200mm Vertical High | item no.129 | 480 | Sqm
12.46 | Providing and laying swimming pool tiles of approved size of confirming to IS1360 & ISO 10545 of Johnson Endura (Azure/deep blue) or equivalent with same specifications with with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness and grouting/jonting with epoxy of endura epoxy grout or euivalant. | item no.130 | 460 | Sqm | 1675 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 770500 | 770500 | INR Seven Lakh Seventy Thousand Five Hundred Only | 12.46 | Providing and laying swimming pool tiles of approved size of confirming to IS1360 & ISO 10545 of Johnson Endura (Azure/deep blue) or equivalent with same specifications with with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness and grouting/jonting with epoxy of endura epoxy grout or euivalant. | item no.130 | 460 | Sqm
Total in Figures | [51 empty] | 7776568 | 7776568 | Seventy Seven Lakh Seventy Six Thousand Five Hundred & Sixty Eight Only | Total in Figures
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | Quoted Rate in Figures |  |  |  | Select
Quoted Rate in Words |  | INR Zero Only | [52 empty] | Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information