## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority:
Name of Work: Miscellaneous civil repairing and renovation works in Halls area and elsewhere at IIT Kanpur
NIT No: Civil/27/10/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1.01 | CEMENT CONCRETE (CAST IN SITU) | item1
1.02 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item 2
1.03 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item3 | 1.15 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7426.5 | 7426.5 | INR Seven Thousand Four Hundred & Twenty Six and Paise Fifty Only
1.04 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | item4 | 123.27 | cum | 5991.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 738582.07 | 738582.07 | INR Seven Lakh Thirty Eight Thousand Five Hundred & Eighty Two and Paise Seven Only
1.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item5 | 1.95 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1165.48 | 1165.48 | INR One Thousand One Hundred & Sixty Five and Paise Forty Eight Only
1.06 | REINFORCED CEMENT CONCRETE | item6
1.07 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item7 | 0.66 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6203.19 | 6203.19 | INR Six Thousand Two Hundred & Three and Paise Nineteen Only
1.08 | Centering and shuttering including strutting, propping etc. and removal of form for | item8
1.09 | Shelves (Cast in situ) | item9 | 7.51 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5047.62 | 5047.62 | INR Five Thousand &Forty Seven and Paise Sixty Two Only
1.1 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item10
1.11 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item11 | 60 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4716.6 | 4716.6 | INR Four Thousand Seven Hundred & Sixteen and Paise Sixty Only
1.12 | Providing and fixing sheet covering over expansion joints with iron screws as per design. | item12
1.13 | Aluminium fluted strips 3.15 mm thick. | item13
1.14 | 150 mm wide | item14 | 25 | metre | 452.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11306.5 | 11306.5 | INR Eleven Thousand Three Hundred & Six and Paise Fifty Only
1.15 | 200 mm wide | item15 | 24.3 | metre | 600.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14597.01 | 14597.01 | INR Fourteen Thousand Five Hundred & Ninety Seven and Paise One Only
1.16 | MASONRY WORK | item16
1.17 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | item17
1.18 | Cement Mortar 1:6 (1 cement : 6 coarse sand). | item18 | 0.3 | cum | 4866.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1459.87 | 1459.87 | INR One Thousand Four Hundred & Fifty Nine and Paise Eighty Seven Only
1.19 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | item19 | 1.8 | sqm | 718.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1292.83 | 1292.83 | INR One Thousand Two Hundred & Ninety Two and Paise Eighty Three Only
1.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item20
1.21 | Cement mortar 1:4 (1 cement :4 coarse sand) | item21 | 8.4 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7498.09 | 7498.09 | INR Seven Thousand Four Hundred & Ninety Eight and Paise Nine Only
1.22 | CLADDING WORK | item22
1.23 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item23
1.24 | Granite stone slab colour black, Cherry/Ruby red | item24
1.25 | Area of slab upto 0.50 sqm | item25 | 2.2 | sqm | 4102.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9026.36 | 9026.36 | INR Nine Thousand &Twenty Six and Paise Thirty Six Only
1.26 | Area of slab over 0.50 sqm | item26 | 9.27 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35969.27 | 35969.27 | INR Thirty Five Thousand Nine Hundred & Sixty Nine and Paise Twenty Seven Only
1.27 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item27
1.28 | Marble work | item28 | 13.88 | metre | 214.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2980.45 | 2980.45 | INR Two Thousand Nine Hundred & Eighty and Paise Forty Five Only
1.29 | Granite work | item29 | 6 | metre | 367.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2203.5 | 2203.5 | INR Two Thousand Two Hundred & Three and Paise Fifty Only
1.3 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item30 | 20 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14171.8 | 14171.8 | INR Fourteen Thousand One Hundred & Seventy One and Paise Eighty Only
1.31 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | item31 | 68.93 | sqm | 366.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25239.41 | 25239.41 | INR Twenty Five Thousand Two Hundred & Thirty Nine and Paise Forty One Only
1.32 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item32 | 174.28 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 162505.64 | 162505.64 | INR One Lakh Sixty Two Thousand Five Hundred & Five and Paise Sixty Four Only
1.33 | WOOD AND P. V. C. WORK | item33
1.34 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item34
1.35 | Second class teak wood | item35 | 0.18 | cum | 115367.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20766.2 | 20766.2 | INR Twenty Thousand Seven Hundred & Sixty Six and Paise Twenty Only
1.36 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. | item36
1.37 | 25 mm thick (for cupboard) including ISI marked nickel plated bright finished M.S. Piano hinges IS : 3818 marked with necessary screws | item37 | 20 | sqm | 2202.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44057 | 44057 | INR Forty Four Thousand &Fifty Seven Only
1.38 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item38
1.39 | 250x16 mm | item39 | 6 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1235.76 | 1235.76 | INR One Thousand Two Hundred & Thirty Five and Paise Seventy Six Only
1.4 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item40
1.41 | 250x10 mm | item41 | 6 | each | 91.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 549.24 | 549.24 | INR Five Hundred & Forty Nine and Paise Twenty Four Only
1.42 | 200x10 mm | item42 | 6 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 477.66 | 477.66 | INR Four Hundred & Seventy Seven and Paise Sixty Six Only
1.43 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item43
1.44 | 125 mm | item44 | 4 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 210.6 | 210.6 | INR Two Hundred & Ten and Paise Sixty Only
1.45 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item45
1.46 | Twin rubber stopper | item46 | 4 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 218.32 | 218.32 | INR Two Hundred & Eighteen and Paise Thirty Two Only
1.47 | Providing and fixing 2nd class teak wood lipping/ moulded beading or taj beading of size 18X5 mm fixed with wooden adhesive of approved quality and screws/nails on the edges of the Pre-laminated particle board as per direction of Engineer-in-charge. | item47 | 183 | metre | 75.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13734.15 | 13734.15 | INR Thirteen Thousand Seven Hundred & Thirty Four and Paise Fifteen Only
1.48 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | item48
1.49 | Extruded section profile size 42x50 mm | item49 | 20.4 | metre | 246.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5020.85 | 5020.85 | INR Five Thousand &Twenty and Paise Eighty Five Only
1.5 | Providing and fixing to existing door frames. | item50
1.51 | 25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (± 0.3 mm). PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm X 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places | item51 | 7.56 | sqm | 2290.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17315.42 | 17315.42 | INR Seventeen Thousand Three Hundred & Fifteen and Paise Forty Two Only
1.52 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item52
1.53 | 1.0 mm thick | item53 | 20 | sqm | 669.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13397.6 | 13397.6 | INR Thirteen Thousand Three Hundred & Ninety Seven and Paise Sixty Only
1.54 | Providing and fixing in wall lining medium density fibre board IS: 14587:1998 marked, Pre-laminated one side decorative lamination and other side balancing lamination, with necessary fixing arrangement and screws etc. complete. | item54
1.55 | 12 mm thick. | item55 | 8.5 | sqm | 933.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7938.41 | 7938.41 | INR Seven Thousand Nine Hundred & Thirty Eight and Paise Forty One Only
1.56 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. | item56
1.57 | 125 mm | item57 | 30 | each | 88.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2642.4 | 2642.4 | INR Two Thousand Six Hundred & Forty Two and Paise Forty Only
1.58 | Providing and fixing 19mm thick both side balancing lamination factory pressed BWP grade marine ply as per IS 710 of approved brand boxes,shelves,racks,almirah,cupboard and drawer etc. including necessary nails,screws etc. complete as per direction of Engineer-in- charge. | item58 | 53 | sqm | 2051.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 108723.14 | 108723.14 | INR One Lakh Eight Thousand Seven Hundred & Twenty Three and Paise Fourteen Only
1.59 | FLOORING | item59
1.6 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item60
1.61 | 25 mm thick | item61 | 20.86 | sqm | 1496.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31214.07 | 31214.07 | INR Thirty One Thousand Two Hundred & Fourteen and Paise Seven Only
1.62 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item62 | 1 | sqm | 1787.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1787.42 | 1787.42 | INR One Thousand Seven Hundred & Eighty Seven and Paise Forty Two Only
1.63 | 40 mm thick rubbed stone flooring over 20 mm (average) thick base of cement mortar 1:5 (1 cement : 5 coarse sand) with joints 3 mm thick, side buttered with cement mortar 1:2 (1 cement : 2 stone dust) admixed with pigment to match the shade of stone and pointing with same mortar. | item63
1.64 | Red sand stone | item64 | 2 | sqm | 1132.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2265.68 | 2265.68 | INR Two Thousand Two Hundred & Sixty Five and Paise Sixty Eight Only
1.65 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item65 | 68.41 | sqm | 820.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56119.46 | 56119.46 | INR Fifty Six Thousand One Hundred & Nineteen and Paise Forty Six Only
1.66 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item66
1.67 | Double charge vitrified tile polished finish of size | item67
1.68 | Size of Tile 600 x 1200 mm | item68 | 121 | sqm | 1233.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149278.91 | 149278.91 | INR One Lakh Forty Nine Thousand Two Hundred & Seventy Eight and Paise Ninety One Only
1.69 | ROOFING | item69
1.7 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item70
1.71 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | item71 | 7.5 | sqm | 1004.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7535.85 | 7535.85 | INR Seven Thousand Five Hundred & Thirty Five and Paise Eighty Five Only
1.72 | FINISHING | item72
1.73 | 12 mm cement plaster of mix : | item73
1.74 | 1:6 (1 cement: 6 coarse sand) | item74 | 4 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1032.36 | 1032.36 | INR One Thousand &Thirty Two and Paise Thirty Six Only
1.75 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item75
1.76 | 1:6 (1 cement: 6 coarse sand) | item76 | 297 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88307.01 | 88307.01 | INR Eighty Eight Thousand Three Hundred & Seven and Paise One Only
1.77 | 6 mm cement plaster of mix : | item77
1.78 | 1:3 (1 cement : 3 fine sand) | item78 | 1625.2 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 360599.38 | 360599.38 | INR Three Lakh Sixty Thousand Five Hundred & Ninety Nine and Paise Thirty Eight Only
1.79 | Neat cement punning. | item79 | 1623 | sqm | 59.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 96487.35 | 96487.35 | INR Ninety Six Thousand Four Hundred & Eighty Seven and Paise Thirty Five Only
1.8 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item80
1.81 | Two or more coats on new work | item81 | 599 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48710.68 | 48710.68 | INR Forty Eight Thousand Seven Hundred & Ten and Paise Sixty Eight Only
1.82 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item82
1.83 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item83 | 88 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14768.16 | 14768.16 | INR Fourteen Thousand Seven Hundred & Sixty Eight and Paise Sixteen Only
1.84 | French spirit polishing : | item84
1.85 | Two or more coats on new works including a coat of wood filler | item85 | 8.5 | sqm | 322.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2744.91 | 2744.91 | INR Two Thousand Seven Hundred & Forty Four and Paise Ninety One Only
1.86 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item86 | 310 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33662.9 | 33662.9 | INR Thirty Three Thousand Six Hundred & Sixty Two and Paise Ninety Only
1.87 | White washing with lime to give an even shade : | item87
1.88 | Old work (one or more coats) | item88 | 198 | sqm | 10.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2013.66 | 2013.66 | INR Two Thousand &Thirteen and Paise Sixty Six Only
1.89 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item89
1.9 | Old work (one or more coats) | item90 | 1436 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71512.8 | 71512.8 | INR Seventy One Thousand Five Hundred & Twelve and Paise Eighty Only
1.91 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item91 | 295 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5392.6 | 5392.6 | INR Five Thousand Three Hundred & Ninety Two and Paise Sixty Only
1.92 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item92
1.93 | One or more coats on old work | item93 | 705 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53502.45 | 53502.45 | INR Fifty Three Thousand Five Hundred & Two and Paise Forty Five Only
1.94 | Painting with acid proof paint of approved brand and manufacture of required colour to give an even shade : | item94
1.95 | One or more coats on old work | item95 | 153 | sqm | 80.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12241.53 | 12241.53 | INR Twelve Thousand Two Hundred & Forty One and Paise Fifty Three Only
1.96 | French spirit polishing : | item96
1.97 | One or more coats on old work | item97 | 165 | sqm | 162.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26822.4 | 26822.4 | INR Twenty Six Thousand Eight Hundred & Twenty Two and Paise Forty Only
1.98 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item98
1.99 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item99 | 231 | sqm | 64.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15008.07 | 15008.07 | INR Fifteen Thousand &Eight and Paise Seven Only
2 | REPAIRS TO BUILDING | item100
2.01 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | item101 | 34 | each | 97.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3300.04 | 3300.04 | INR Three Thousand Three Hundred and Paise Four Only
2.02 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer- in-Charge. (a) Internal Work- Exposed on wall | item102 | 192.3 | metre | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 480.75 | 480.75 | INR Four Hundred & Eighty and Paise Seventy Five Only
2.03 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item103 | 4 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1143.2 | 1143.2 | INR One Thousand One Hundred & Forty Three and Paise Twenty Only
2.04 | Dismantling and Demolishing | item104
2.05 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item105
2.06 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item106 | 5.42 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5890.94 | 5890.94 | INR Five Thousand Eight Hundred & Ninety and Paise Ninety Four Only
2.07 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item107 | 0.35 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 898.58 | 898.58 | INR Eight Hundred & Ninety Eight and Paise Fifty Eight Only
2.08 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. | item108 | 1 | sqm | 830.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 830.43 | 830.43 | INR Eight Hundred & Thirty and Paise Forty Three Only
2.09 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item109
2.1 | In cement mortar | item110 | 1 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1489.22 | 1489.22 | INR One Thousand Four Hundred & Eighty Nine and Paise Twenty Two Only
2.11 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item111
2.12 | Of area 3 sq. metres and below | item112 | 4 | each | 265.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1061.64 | 1061.64 | INR One Thousand &Sixty One and Paise Sixty Four Only
2.13 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item113
2.14 | For thickness of tiles 10 mm to 25 mm | item114 | 227.66 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12077.36 | 12077.36 | INR Twelve Thousand &Seventy Seven and Paise Thirty Six Only
2.15 | For thickness of tiles above 25 mm and up to 40 mm | item115 | 163.34 | sqm | 81.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13375.91 | 13375.91 | INR Thirteen Thousand Three Hundred & Seventy Five and Paise Ninety One Only
2.16 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item116 | 68.41 | sqm | 192.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13181.24 | 13181.24 | INR Thirteen Thousand One Hundred & Eighty One and Paise Twenty Four Only
2.17 | Dismantling wooden boardings in lining of walls and partitions, excluding supporting members but including stacking within 50 metres lead : | item117
2.18 | Thickness above 10 mm up to 25 mm | item118 | 8.5 | sqm | 56.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 478.13 | 478.13 | INR Four Hundred & Seventy Eight and Paise Thirteen Only
2.19 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : | item119
2.2 | 100 mm dia pipe | item120 | 12.9 | metre | 56.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 727.3 | 727.3 | INR Seven Hundred & Twenty Seven and Paise Thirty Only
2.21 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | item121
2.22 | 15 mm to 40 mm nominal bore | item122 | 41.72 | metre | 108.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4539.55 | 4539.55 | INR Four Thousand Five Hundred & Thirty Nine and Paise Fifty Five Only
2.23 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item123 | 347 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13706.5 | 13706.5 | INR Thirteen Thousand Seven Hundred & Six and Paise Fifty Only
2.24 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item124 | 7.5 | sqm | 40.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 305.78 | 305.78 | INR Three Hundred & Five and Paise Seventy Eight Only
2.25 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item125 | 31.28 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6016.08 | 6016.08 | INR Six Thousand &Sixteen and Paise Eight Only
2.26 | ROAD WORK | item126
2.27 | Providing and laying matt finished vitrified tile of size 300x300x9.8mm having with water absorption less than 0.5% and conforming to IS: 15622 of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | item127 | 19 | sqm | 1096.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20836.73 | 20836.73 | INR Twenty Thousand Eight Hundred & Thirty Six and Paise Seventy Three Only
2.28 | SANITARY INSTALLATIONS | item128
2.29 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item129
2.3 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item130 | 36 | each | 5069.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 182489.04 | 182489.04 | INR One Lakh Eighty Two Thousand Four Hundred & Eighty Nine and Paise Four Only
2.31 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item131 | 24 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18649.68 | 18649.68 | INR Eighteen Thousand Six Hundred & Forty Nine and Paise Sixty Eight Only
2.32 | Providing and fixing soil, waste and vent pipes : | item132
2.33 | 100 mm dia | item133
2.34 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item134 | 52.9 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49973.04 | 49973.04 | INR Forty Nine Thousand Nine Hundred & Seventy Three and Paise Four Only
2.35 | 75 mm diameter : | item135
2.36 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item136 | 44 | metre | 913.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40203.68 | 40203.68 | INR Forty Thousand Two Hundred & Three and Paise Sixty Eight Only
2.37 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : | item137
2.38 | For 100 mm dia pipe | item138 | 12 | each | 270.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3245.4 | 3245.4 | INR Three Thousand Two Hundred & Forty Five and Paise Forty Only
2.39 | For 75 mm dia pipe | item139 | 12 | each | 266.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3203.28 | 3203.28 | INR Three Thousand Two Hundred & Three and Paise Twenty Eight Only
2.4 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item140
2.41 | 100 mm dia | item141
2.42 | Sand cast iron S&S as per IS - 3989 | item142 | 11 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5763.78 | 5763.78 | INR Five Thousand Seven Hundred & Sixty Three and Paise Seventy Eight Only
2.43 | 75 mm dia | item143
2.44 | Sand cast iron S&S as per IS- 3989 | item144 | 4 | each | 397.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1590.16 | 1590.16 | INR One Thousand Five Hundred & Ninety and Paise Sixteen Only
2.45 | Providing and fixing plain bend of required degree. | item145
2.46 | 100 mm dia | item146
2.47 | Sand cast iron S&S as per IS : 3989 | item147 | 2 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 771.16 | 771.16 | INR Seven Hundred & Seventy One and Paise Sixteen Only
2.48 | 75 mm dia | item148
2.49 | Sand cast iron S&S as per IS - 3989 | item149 | 2 | each | 261.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 522.92 | 522.92 | INR Five Hundred & Twenty Two and Paise Ninety Two Only
2.5 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item150
2.51 | 100x100x100 mm | item151
2.52 | Sand cast iron S&S as per IS - 3989 | item152 | 1 | each | 641.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 641.3 | 641.3 | INR Six Hundred & Forty One and Paise Thirty Only
2.53 | 75x75x75 mm | item153
2.54 | Sand cast iron S&S as per IS - 3989 | item154 | 4 | each | 503.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2012.44 | 2012.44 | INR Two Thousand &Twelve and Paise Forty Four Only
2.55 | Providing and fixing single equal plain junction of required degree : | item155
2.56 | 100x100x100 mm | item156
2.57 | Sand cast iron S&S as per IS - 3989 | item157 | 4 | each | 620.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2480.68 | 2480.68 | INR Two Thousand Four Hundred & Eighty and Paise Sixty Eight Only
2.58 | 75x75x75 mm | item158
2.59 | Sand cast iron S&S as per IS - 3989 | item159 | 4 | each | 437.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1749.76 | 1749.76 | INR One Thousand Seven Hundred & Forty Nine and Paise Seventy Six Only
2.6 | Providing and fixing terminal guard : | item160
2.61 | 100 mm | item161
2.62 | Sand cast iron S&S as per IS - 3989 | item162 | 4 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1542.32 | 1542.32 | INR One Thousand Five Hundred & Forty Two and Paise Thirty Two Only
2.63 | 75 mm | item163
2.64 | Sand cast iron S&S as per IS - 3989 | item164 | 4 | each | 273.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1092.68 | 1092.68 | INR One Thousand &Ninety Two and Paise Sixty Eight Only
2.65 | Providing and fixing collar : | item165
2.66 | 100 mm | item166
2.67 | Sand cast iron S&S as per IS - 3989 | item167 | 14 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5398.12 | 5398.12 | INR Five Thousand Three Hundred & Ninety Eight and Paise Twelve Only
2.68 | 75 mm | item168
2.69 | Sand cast iron S&S as per IS - 3989 | item169 | 8 | each | 238.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1904.08 | 1904.08 | INR One Thousand Nine Hundred & Four and Paise Eight Only
2.7 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item170
2.71 | 100 mm | item171 | 62 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29880.28 | 29880.28 | INR Twenty Nine Thousand Eight Hundred & Eighty and Paise Twenty Eight Only
2.72 | 75 mm | item172 | 48 | each | 408.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19629.12 | 19629.12 | INR Nineteen Thousand Six Hundred & Twenty Nine and Paise Twelve Only
2.73 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item173
2.74 | 100 mm inlet and 100 mm outlet | item174
2.75 | Sand cast iron S&S as per IS: 3989 | item175 | 13 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18284.37 | 18284.37 | INR Eighteen Thousand Two Hundred & Eighty Four and Paise Thirty Seven Only
2.76 | 100 mm inlet and 75 mm outlet | item176
2.77 | Sand cast iron S&S as per IS - 3989 | item177 | 4 | each | 1465.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5860.6 | 5860.6 | INR Five Thousand Eight Hundred & Sixty and Paise Sixty Only
2.78 | Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of approved brand/make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | item178 | 4 | each | 14116.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56467.88 | 56467.88 | INR Fifty Six Thousand Four Hundred & Sixty Seven and Paise Eighty Eight Only
2.79 | WATER SUPPLY | item179
2.8 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item180
2.81 | 20 mm nominal dia Pipes | item181 | 45.3 | metre | 285.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12912.77 | 12912.77 | INR Twelve Thousand Nine Hundred & Twelve and Paise Seventy Seven Only
2.82 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item182
2.83 | 25 mm dia nominal bore | item183 | 17 | metre | 430.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7321.73 | 7321.73 | INR Seven Thousand Three Hundred & Twenty One and Paise Seventy Three Only
2.84 | 32 mm dia nominal bore | item184 | 87.5 | metre | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43239.88 | 43239.88 | INR Forty Three Thousand Two Hundred & Thirty Nine and Paise Eighty Eight Only
2.85 | 40 mm dia nominal bore | item185 | 16 | metre | 635.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10173.12 | 10173.12 | INR Ten Thousand One Hundred & Seventy Three and Paise Twelve Only
2.86 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item186
2.87 | 15 mm dia nominal bore | item187 | 47.6 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20250.47 | 20250.47 | INR Twenty Thousand Two Hundred & Fifty and Paise Forty Seven Only
2.88 | 20 mm dia nominal bore | item188 | 21.62 | metre | 474.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10257.39 | 10257.39 | INR Ten Thousand Two Hundred & Fifty Seven and Paise Thirty Nine Only
2.89 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item189
2.9 | 25 mm dia nominal bore | item190 | 10 | metre | 366.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3664.6 | 3664.6 | INR Three Thousand Six Hundred & Sixty Four and Paise Sixty Only
2.91 | 32 mm dia nominal bore | item191 | 8 | metre | 401.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3210.56 | 3210.56 | INR Three Thousand Two Hundred & Ten and Paise Fifty Six Only
2.92 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item192
2.93 | 25 to 40 mm nominal bore | item193 | 3 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1991.49 | 1991.49 | INR One Thousand Nine Hundred & Ninety One and Paise Forty Nine Only
2.94 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item194
2.95 | 25 mm nominal bore | item195 | 4 | each | 466.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1867.08 | 1867.08 | INR One Thousand Eight Hundred & Sixty Seven and Paise Eight Only
2.96 | 20 mm nominal bore | item196 | 5 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2024.35 | 2024.35 | INR Two Thousand &Twenty Four and Paise Thirty Five Only
2.97 | 32 mm nominal bore. | item197 | 7 | each | 517.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3620.61 | 3620.61 | INR Three Thousand Six Hundred & Twenty and Paise Sixty One Only
2.98 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item198
2.99 | 30 cm length | item199
3 | 15 mm nominal bore | item200 | 24 | each | 65.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1574.16 | 1574.16 | INR One Thousand Five Hundred & Seventy Four and Paise Sixteen Only
3.01 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item201
3.02 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item202 | 1 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1501.23 | 1501.23 | INR One Thousand Five Hundred & One and Paise Twenty Three Only
3.03 | Repainting G.I. pipes and fittings with synthetic enamel white paint with one coat of approved quality : | item203
3.04 | 20 mm diameter pipe | item204 | 79 | metre | 8.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 665.18 | 665.18 | INR Six Hundred & Sixty Five and Paise Eighteen Only
3.05 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item205
3.06 | 15 mm nominal bore | item206 | 6 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1379.94 | 1379.94 | INR One Thousand Three Hundred & Seventy Nine and Paise Ninety Four Only
3.07 | 20 mm nominal bore | item207 | 6 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1520.64 | 1520.64 | INR One Thousand Five Hundred & Twenty and Paise Sixty Four Only
3.08 | 25 mm nominal bore | item208 | 2 | each | 323.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 647.7 | 647.7 | INR Six Hundred & Forty Seven and Paise Seventy Only
3.09 | 32 mm nominal bore | item209 | 2 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 718.02 | 718.02 | INR Seven Hundred & Eighteen and Paise Two Only
3.1 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item210
3.11 | 15 mm nominal bore | item211 | 9 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5590.17 | 5590.17 | INR Five Thousand Five Hundred & Ninety and Paise Seventeen Only
3.12 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item212
3.13 | 15 mm nominal bore | item213 | 8 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4171.84 | 4171.84 | INR Four Thousand One Hundred & Seventy One and Paise Eighty Four Only
3.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item214
3.15 | 15mm nominal bore | item215 | 36 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15793.56 | 15793.56 | INR Fifteen Thousand Seven Hundred & Ninety Three and Paise Fifty Six Only
3.16 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item216 | 48 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2596.8 | 2596.8 | INR Two Thousand Five Hundred & Ninety Six and Paise Eighty Only
3.17 | Providing and fixing PTMT grating of approved quality and colour. | item217
3.18 | Rectangular type with openable circular lid | item218
3.19 | 150 mm nominal size square 100 mm diameter of the inner hinged round grating | item219 | 10 | each | 148.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1487.9 | 1487.9 | INR One Thousand Four Hundred & Eighty Seven and Paise Ninety Only
3.2 | Cutting holes up to 30x30 cm in walls including making good the same: | item220
3.21 | With common burnt clay F.P.S. (non modular) bricks | item221 | 5 | each | 317.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1588.8 | 1588.8 | INR One Thousand Five Hundred & Eighty Eight and Paise Eighty Only
3.22 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item222 | 25 | metre | 150.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3766 | 3766 | INR Three Thousand Seven Hundred & Sixty Six Only
3.23 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. | item223 | 36 | metre | 173.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6262.56 | 6262.56 | INR Six Thousand Two Hundred & Sixty Two and Paise Fifty Six Only
3.24 | DRAINAGE | item224
3.25 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item225
3.26 | 100x100 mm size P type | item226
3.27 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item227 | 2 | each | 2151.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4302.58 | 4302.58 | INR Four Thousand Three Hundred & Two and Paise Fifty Eight Only
3.28 | ALUMINIUM WORK | item228
3.29 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer- in-charge. | item229
3.3 | Pre-laminated particle board with decorative lamination on both sides | item230 | 1.3 | sqm | 833.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1084.06 | 1084.06 | INR One Thousand &Eighty Four and Paise Six Only
3.31 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540- F & ISO 11600 | item231
3.32 | Upto 10 mm depth and 10 mm width | item232 | 12 | metre | 155.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1862.4 | 1862.4 | INR One Thousand Eight Hundred & Sixty Two and Paise Forty Only
3.33 | WATER PROOFING | item233
3.34 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | item234 | 33.37 | sqm | 452.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15115.28 | 15115.28 | INR Fifteen Thousand One Hundred & Fifteen and Paise Twenty Eight Only
3.35 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item235 | 86 | sqm | 415.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35753.64 | 35753.64 | INR Thirty Five Thousand Seven Hundred & Fifty Three and Paise Sixty Four Only
3.36 | MINOR CIVIL MAINTENANCE WORK: | item236
3.37 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item237 | 5.42 | Cum | 5045.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27347.1 | 27347.1 | INR Twenty Seven Thousand Three Hundred & Forty Seven and Paise Ten Only
3.38 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item238 | 20 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 586.6 | 586.6 | INR Five Hundred & Eighty Six and Paise Sixty Only
3.39 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item239 | 4 | Each | 610.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2440.08 | 2440.08 | INR Two Thousand Four Hundred & Forty and Paise Eight Only
3.4 | "Providing and fixing white vitreous china oval type wash basin of size 550 x 480 with 15mm C.P brass pillar tap, 32mm C.P brass waste of standard pattern. | item240 | 20 | Each | 2512.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50247.2 | 50247.2 | INR Fifty Thousand Two Hundred & Forty Seven and Paise Twenty Only
3.41 | Providing & fixing C.P Coat Pin hanger of approved make with necessary screws etc. complete | item241 | 10 | Each | 182.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1825.3 | 1825.3 | INR One Thousand Eight Hundred & Twenty Five and Paise Thirty Only
3.42 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. | item242 | 4 | Each | 651.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2604.32 | 2604.32 | INR Two Thousand Six Hundred & Four and Paise Thirty Two Only
3.43 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. | item243 | 20 | Each | 1396.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27920.2 | 27920.2 | INR Twenty Seven Thousand Nine Hundred & Twenty and Paise Twenty Only
3.44 | Providing and fixing C.P soap dish with necessary screws etc. complete. | item244 | 8 | Each | 356.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2855.2 | 2855.2 | INR Two Thousand Eight Hundred & Fifty Five and Paise Twenty Only
3.45 | P/F SS wire mess to using of average width of aperture 1.4 mm with wire of dia 0.63 mm grade 304 | item245 | 0.5 | Sqm | 566.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 283.15 | 283.15 | INR Two Hundred & Eighty Three and Paise Fifteen Only
3.46 | Providing and Fixing white vitreous china flat back half stall urinal of size 580x 380 x 350 mm with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreders 15 mm , C.P. Connection pipe with Brass union & clamp and C.P Brass Push Cock 15 mm including cutting & making good the wall. | item246 | 2 | Each | 4138.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8277.5 | 8277.5 | INR Eight Thousand Two Hundred & Seventy Seven and Paise Fifty Only
3.47 | "Cutting rubbing and polishing on old mosaic,kota,marble flooring marble work/Granite work/stone work where ever required and skirting for rubbing and removal of rubbish including of one coat of cement slurry in joints before final rubbing and polishing complete. " | item247 | 104.7 | Sqm | 73.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7683.93 | 7683.93 | INR Seven Thousand Six Hundred & Eighty Three and Paise Ninety Three Only
3.48 | Dismantling of CI pipe with fittings and clamps i/c disposal of unserviceable material upto 50 mtr lead. upto 150 mm DIA | item248 | 84 | Mtr. | 8.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 736.68 | 736.68 | INR Seven Hundred & Thirty Six and Paise Sixty Eight Only
3.49 | P/F CP brass pipe 32 mm for bottle trap | item249 | 24 | Each | 186.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4487.28 | 4487.28 | INR Four Thousand Four Hundred & Eighty Seven and Paise Twenty Eight Only
3.5 | P/F looking mirror of 5.5 mm thick superior glass of approved quality complete with 12 mm thick of water type ply wood sheet ground 40 mm widex 12 mm thick 1st class teak wood beeding frame of half round fixed to wooden cleats with CP brass screw and washer complete teak wood beading finished with sprits polishing complete. | item250 | 38.16 | Sqm. | 4029.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 153777.55 | 153777.55 | INR One Lakh Fifty Three Thousand Seven Hundred & Seventy Seven and Paise Fifty Five Only
3.51 | "Providing and fixing c.p. brass Towel Ring with round flange of (Jaguar make) code no. CAN-1121BN " | item251 | 4 | each | 891.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3566.16 | 3566.16 | INR Three Thousand Five Hundred & Sixty Six and Paise Sixteen Only
3.52 | "Providing and fixing 1.5 mm thick homogeneous pollyvinyl /chloride sheet / tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacture like Dualpo S-758 fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg all complete as directed by Engineer -in -charge in approved colour and shade. " | item252 | 241 | sqm | 574.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 138536.44 | 138536.44 | INR One Lakh Thirty Eight Thousand Five Hundred & Thirty Six and Paise Forty Four Only
3.53 | Providing and filling of 50 to 75 mm wacker silicon in expansion joint. | item253 | 24.3 | Mtr | 1323.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32167.37 | 32167.37 | INR Thirty Two Thousand One Hundred & Sixty Seven and Paise Thirty Seven Only
3.54 | "Providing and fixing of complete Ring Pattern Fountain comprising of approx 54 no's to 63 no's. Special jets creating dome effect.The Nozzles will be equally divided to create the Dome effect Approx Height 10ft. S/I/T/C OF 10 (approx ) dia Ring Fountain complete in all respect having 54 no's to 63 no's (approx ) Present jet Nozzles placed at symmetrical.distance to create the Dome Effect complete with BJRC ( Ball Joint ) for beautiful effect .MOC BRASS / MAKE TREVI Fountains " | item254 | 1 | one Job | 86524.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 86524.33 | 86524.33 | INR Eighty Six Thousand Five Hundred & Twenty Four and Paise Thirty Three Only
3.55 | "GRID:- Complete MS/GI piping system as suitable for the required height Make : jindal/Prakash ""B"" class grade As per IS1239 ( Part- i)-1979 ) / manifold along with required manual Gate valve and other required fittings of suitable sizes and Dia to complete the Grid required for the effect of the Desired Fountain. | item255 | 1 | one Job | 45665.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45665.06 | 45665.06 | INR Forty Five Thousand Six Hundred & Sixty Five and Paise Six Only
3.56 | "Providing and laying swimming pool tiles of approved size of confirming to IS1360 & ISO 10545 of Johnson Endura (Azure/deep blue) or equivalent with same specifications with with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness and grouting/jonting with epoxy of endura epoxy grout or euivalant. | item256 | 50 | sqm | 1675 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83750 | 83750 | INR Eighty Three Thousand Seven Hundred & Fifty Only
3.57 | "In-filling / sealing of joint between RCC plinth beam and Plinth Protection (on external side) in Ground floors by pushing in Grout RW/equivalent in paste form and coving 25 mm x 50 mm after applying a coat of Zycosil/equivalent & zycoprime/equivalent solution before cement plastering of top, bottom and sides of RCC sunshade. " | item257 | 1752 | Per/mtr | 37.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65051.76 | 65051.76 | INR Sixty Five Thousand &Fifty One and Paise Seventy Six Only
3.58 | "Dismentling broken wash basin /kitchen sink with old worn out bracket and cleaning of waste water pipe up to trap. " | item258 | 4 | Each | 39.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 157.84 | 157.84 | INR One Hundred & Fifty Seven and Paise Eighty Four Only
3.59 | Providing and fixing SS end cap for curtain rod. | item259 | 50 | Each | 74.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3746 | 3746 | INR Three Thousand Seven Hundred & Forty Six Only
3.6 | "Providing and fixing SS bracket. | item260 | 50 | Each | 21.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1069.5 | 1069.5 | INR One Thousand &Sixty Nine and Paise Fifty Only
3.61 | "Providing and fixing 25 mm dia SS curtain pipe . | item261 | 36 | mtr | 192.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6944.4 | 6944.4 | INR Six Thousand Nine Hundred & Forty Four and Paise Forty Only
3.62 | Providing and fixing 19 mm thick block board Centuru make complete with screws etc. 19 mm . | item262 | 4 | sqm | 1675.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6703.36 | 6703.36 | INR Six Thousand Seven Hundred & Three and Paise Thirty Six Only
3.63 | "Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item263 | 72 | sqm | 136.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9835.92 | 9835.92 | INR Nine Thousand Eight Hundred & Thirty Five and Paise Ninety Two Only
Total in Figures | [51 empty] | 3925088 | #REF! | INR Nine Thousand Eight Hundred & Thirty Five and Paise Ninety Two Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information