## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Annual Rate Contract for SITC of water coolers for Non-Academic Buildings with its associated works in IIT Kanpur
NIT No: EandM/04/01/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | item no.1 | [52 empty] | 1 | Component | item no.1
1.01 | SITC of Water Cooler units ISI marked of following capacity of approved make fully Stainless steel FSS anti-corrosive body, tank with In-Situ PUF insulation, 02 no's Faucets, Energy efficient Reciprocating/Rotary compressor with Eco-friendly refrigerant, Auto-cut off, over load feature suitable for 230±10% volts, 50 Hz, 1 phase AC supply etc complete with masonry block , VI pad , accessories as required. | item no.2 | [52 empty] | 1.01 | SITC of Water Cooler units ISI marked of following capacity of approved make fully Stainless steel FSS anti-corrosive body, tank with In-Situ PUF insulation, 02 no's Faucets, Energy efficient Reciprocating/Rotary compressor with Eco-friendly refrigerant, Auto-cut off, over load feature suitable for 230±10% volts, 50 Hz, 1 phase AC supply etc complete with masonry block , VI pad , accessories as required. | item no.2
1.02 | 150 LPH Cooling /150 Ltr Storage Capacity | item no.3 | 25 | Nos | 54505 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1362625 | 1362625 | INR Thirteen Lakh Sixty Two Thousand Six Hundred & Twenty Five Only | 1.02 | 150 LPH Cooling /150 Ltr Storage Capacity | item no.3 | 25 | Nos
1.03 | 60/80 LPH Cooling /120 Ltr Storage Capacity | item no.4 | 25 | Nos | 49337 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1233425 | 1233425 | INR Twelve Lakh Thirty Three Thousand Four Hundred & Twenty Five Only | 1.03 | 60/80 LPH Cooling /120 Ltr Storage Capacity | item no.4 | 25 | Nos
1.04 | Supply & fixing of UV water purifier ISI marked of approved make having inbuilt Sediment filter, Carbon filter, UV LED lamp etc for ground, munciple and soft water suitable for 230±10% volts, 50 Hz, 1 phase AC supply etc complete with accessories as required. | item no.5 | [52 empty] | 1.04 | Supply & fixing of UV water purifier ISI marked of approved make having inbuilt Sediment filter, Carbon filter, UV LED lamp etc for ground, munciple and soft water suitable for 230±10% volts, 50 Hz, 1 phase AC supply etc complete with accessories as required. | item no.5
1.05 | Min 60 LPH Purification Capacity | item no.6 | 50 | Nos | 6210 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 310500 | 310500 | INR Three Lakh Ten Thousand Five Hundred Only | 1.05 | Min 60 LPH Purification Capacity | item no.6 | 50 | Nos
1.06 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall | item no.7 | [52 empty] | 1.06 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall | item no.7
1.07 | 20 mm | item no.8 | 50 | Mtr | 276 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13800 | 13800 | INR Thirteen Thousand Eight Hundred Only | 1.07 | 20 mm | item no.8 | 50 | Mtr
1.08 | 25 mm | item no.9 | 30 | Mtr | 331 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9930 | 9930 | INR Nine Thousand Nine Hundred & Thirty Only | 1.08 | 25 mm | item no.9 | 30 | Mtr
1.09 | Supply,laying, testing and commessining of approved make FRLS PVC/ XLPE insulated power/control copper cable of on surface/recessed complete as required. | item no.10 | [52 empty] | 1.09 | Supply,laying, testing and commessining of approved make FRLS PVC/ XLPE insulated power/control copper cable of on surface/recessed complete as required. | item no.10
1.1 | 3 Core x 2.5 sq.mm | item no.11 | 110 | RMT | 164 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18040 | 18040 | INR Eighteen Thousand &Forty Only | 1.1 | 3 Core x 2.5 sq.mm | item no.11 | 110 | RMT
1.11 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. | item no.12 | [52 empty] | 1.11 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. | item no.12
1.12 | 3 pin- 6 Amp. (PVC) | item no.13 | 50 | Nos | 113 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5650 | 5650 | INR Five Thousand Six Hundred & Fifty Only | 1.12 | 3 pin- 6 Amp. (PVC) | item no.13 | 50 | Nos
1.13 | 3 pin- 16 Amp. (PVC) | item no.14 | 30 | Nos | 135 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4050 | 4050 | INR Four Thousand &Fifty Only | 1.13 | 3 pin- 16 Amp. (PVC) | item no.14 | 30 | Nos
1.14 | 3 pin- 16 Amp. (Metalic) | item no.15 | 25 | Nos | 209 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5225 | 5225 | INR Five Thousand Two Hundred & Twenty Five Only | 1.14 | 3 pin- 16 Amp. (Metalic) | item no.15 | 25 | Nos
1.15 | Providing, laying & fixing of rain forced fiber flexible/soft PVC pipe of size given below etc. complete as reqd. | item no.16 | [52 empty] | 1.15 | Providing, laying & fixing of rain forced fiber flexible/soft PVC pipe of size given below etc. complete as reqd. | item no.16
1.16 | 20 mm | item no.17 | 30 | Mtr | 77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2310 | 2310 | INR Two Thousand Three Hundred & Ten Only | 1.16 | 20 mm | item no.17 | 30 | Mtr
1.17 | 25 mm | item no.18 | 30 | Mtr | 92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2760 | 2760 | INR Two Thousand Seven Hundred & Sixty Only | 1.17 | 25 mm | item no.18 | 30 | Mtr
1.18 | Supply and fixing PVC/UPVC mini trunking (casing-caping) & flexible conduit of following size white-system with independent cover etc. as reqd | item no.19 | [52 empty] | 1.18 | Supply and fixing PVC/UPVC mini trunking (casing-caping) & flexible conduit of following size white-system with independent cover etc. as reqd | item no.19
1.19 | Trunking 20mm x 12mm | item no.20 | 30 | Mtr | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2040 | 2040 | INR Two Thousand &Forty Only | 1.19 | Trunking 20mm x 12mm | item no.20 | 30 | Mtr
1.2 | Flexible Conduit 20 mm | item no.21 | 50 | Mtr | 40 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2000 | 2000 | INR Two Thousand Only | 1.2 | Flexible Conduit 20 mm | item no.21 | 50 | Mtr
Total in Figures | [51 empty] | 2972355 | 2972355 | Twenty Nine Lakh Seventy Two Thousand Three Hundred & Fifty Five Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information