## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work:Supplying and laying of chilled water pipeline with associated insulation and renovation works at IME building, IIT Kanpur
NIT No: HVAC/19/03/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Cutting and dismantling of damaged and defective MS'C' class pipe of size as mentioned below ( exposed over the surface/ underground ) i/c shifting the same to sectional store or desired location i/c cartage. | item no.1 | [52 empty] | 1.01 | Cutting and dismantling of damaged and defective MS'C' class pipe of size as mentioned below ( exposed over the surface/ underground ) i/c shifting the same to sectional store or desired location i/c cartage. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 125 mm to 200 mm dia | item no.2 | 10 | Mtr | 268 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2680 | 2680 | INR Two Thousand Six Hundred & Eighty Only | 1.02 | 125 mm to 200 mm dia | item no.2 | 10 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Cutting & dismantling of damaged and defective insulation, removing the thermocole , nitrile, PUF insulation or cladding from chilled water MS pipe line of size mentioned below including hessian cloth, wire mesh, sand, cement, plaster, cleaning of pipe including shifting /dispose the waste material outside the premises of I.I.T. K. campus or desired location as reqd.. | item no.3 | [52 empty] | 1.03 | Cutting & dismantling of damaged and defective insulation, removing the thermocole , nitrile, PUF insulation or cladding from chilled water MS pipe line of size mentioned below including hessian cloth, wire mesh, sand, cement, plaster, cleaning of pipe including shifting /dispose the waste material outside the premises of I.I.T. K. campus or desired location as reqd.. | item no.3
1.04 | 125 mm to 200 mm dia | item no.4 | 10 | Mtr | 318 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3180 | 3180 | INR Three Thousand One Hundred & Eighty Only | 1.04 | 125 mm to 200 mm dia | item no.4 | 10 | Mtr
1.05 | Cutting & dismantling of condenser / chilled water pipe line inlet & outlets line as a set with grinder/welding machine/gas cutter for drain out the water from supply and return pipe line and making good after leakage repairing i/c re-filling of water in pipe line size from 20 mm to 400 mm dia including isolation of defective pipeline, valve operation, testing & commissioning etc as required. | item no.5 | [52 empty] | 1.05 | Cutting & dismantling of condenser / chilled water pipe line inlet & outlets line as a set with grinder/welding machine/gas cutter for drain out the water from supply and return pipe line and making good after leakage repairing i/c re-filling of water in pipe line size from 20 mm to 400 mm dia including isolation of defective pipeline, valve operation, testing & commissioning etc as required. | item no.5
1.06 | 125 mm to 200 mm dia | item no.6 | 3 | Job | 2427 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7281 | 7281 | INR Seven Thousand Two Hundred & Eighty One Only | 1.06 | 125 mm to 200 mm dia | item no.6 | 3 | Job
1.07 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled/condenser water piping plumbing i/c fabrication of bends / elbows, tees, reducers etc) inside the building (with necessary clamps, wooden/puf support, vibration isolators, primer/ enamel paint, fittings but excluding valves, strainers, gauges etc.) as per specifications and as required complete in all respect. Note:- The Pipes of sizes 150mm & below shall be M.S. ‘C’ class as per IS : 1239 and pipes size above 150mm shall be welded black steel pipe heavy class as per IS: 3589, from minimum 6.35mm thick M.S. Sheet for pipes upto 350 mm dia. and from minimum 7mm thick MS sheet for pipes of 400 mm dia and above. | item no.7 | [52 empty] | 1.07 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled/condenser water piping plumbing i/c fabrication of bends / elbows, tees, reducers etc) inside the building (with necessary clamps, wooden/puf support, vibration isolators, primer/ enamel paint, fittings but excluding valves, strainers, gauges etc.) as per specifications and as required complete in all respect. Note:- The Pipes of sizes 150mm & below shall be M.S. ‘C’ class as per IS : 1239 and pipes size above 150mm shall be welded black steel pipe heavy class as per IS: 3589, from minimum 6.35mm thick M.S. Sheet for pipes upto 350 mm dia. and from minimum 7mm thick MS sheet for pipes of 400 mm dia and above. | item no.7
1.08 | 65 mm | item no.8 | 10 | Mtr | 1466 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14660 | 14660 | INR Fourteen Thousand Six Hundred & Sixty Only | 1.08 | 65 mm | item no.8 | 10 | Mtr
1.09 | 80 mm | item no.9 | 6 | Mtr | 1704 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10224 | 10224 | INR Ten Thousand Two Hundred & Twenty Four Only | 1.09 | 80 mm | item no.9 | 6 | Mtr
1.1 | 100 mm | item no.10 | 10 | Mtr | 2297 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22970 | 22970 | INR Twenty Two Thousand Nine Hundred & Seventy Only | 1.1 | 100 mm | item no.10 | 10 | Mtr
1.11 | 125 mm | item no.11 | 10 | Mtr | 2746 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27460 | 27460 | INR Twenty Seven Thousand Four Hundred & Sixty Only | 1.11 | 125 mm | item no.11 | 10 | Mtr
1.12 | 150 mm | item no.12 | 6 | Mtr | 3177 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19062 | 19062 | INR Nineteen Thousand &Sixty Two Only | 1.12 | 150 mm | item no.12 | 6 | Mtr
1.13 | Supplying & fixing insulation on existing MS 'C' class pipe over exposed surface/underground of following sizes with 50 mm thick fire retardant thermocole ( polystyrene) molded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) wrapping with 500g polythene faced hessian cloth, wire mesh, sand-cement plaster & enamel painting two or more coat to give even shade after applying one coat of ordinary paint etc complete as required. | item no.13 | [52 empty] | 1.13 | Supplying & fixing insulation on existing MS 'C' class pipe over exposed surface/underground of following sizes with 50 mm thick fire retardant thermocole ( polystyrene) molded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) wrapping with 500g polythene faced hessian cloth, wire mesh, sand-cement plaster & enamel painting two or more coat to give even shade after applying one coat of ordinary paint etc complete as required. | item no.13
1.14 | 65 mm | item no.14 | 5 | Mtr | 421 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2105 | 2105 | INR Two Thousand One Hundred & Five Only | 1.14 | 65 mm | item no.14 | 5 | Mtr
1.15 | 80 mm | item no.15 | 12 | Mtr | 461 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5532 | 5532 | INR Five Thousand Five Hundred & Thirty Two Only | 1.15 | 80 mm | item no.15 | 12 | Mtr
1.16 | 100 mm | item no.16 | 10 | Mtr | 491 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4910 | 4910 | INR Four Thousand Nine Hundred & Ten Only | 1.16 | 100 mm | item no.16 | 10 | Mtr
1.17 | 125 mm | item no.17 | 25 | Mtr | 557 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13925 | 13925 | INR Thirteen Thousand Nine Hundred & Twenty Five Only | 1.17 | 125 mm | item no.17 | 25 | Mtr
1.18 | 150 mm | item no.18 | 30 | Mtr | 633 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18990 | 18990 | INR Eighteen Thousand Nine Hundred & Ninety Only | 1.18 | 150 mm | item no.18 | 30 | Mtr
1.19 | Excavating trenches of required with for pipes, cables etc including excavation for sockets, dressings of sides, bottoms, depth up to 1.5 mtr including getting out the excavated ramming of soil, and then returning the soil as required in layers not excav | item no.19 | [52 empty] | 1.19 | Excavating trenches of required with for pipes, cables etc including excavation for sockets, dressings of sides, bottoms, depth up to 1.5 mtr including getting out the excavated ramming of soil, and then returning the soil as required in layers not excav | item no.19 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | Pipes, cables, etc exceeding 80 mm dia.but not exceeding 300 mm dia. | item no.20 | 12 | Mtr | 417 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5004 | 5004 | INR Five Thousand &Four Only | 1.2 | Pipes, cables, etc exceeding 80 mm dia.but not exceeding 300 mm dia. | item no.20 | 12 | Mtr
1.21 | Supplying, fixing, testing and commissioning of following BUTTERFLY VALVE (MANUAL) with C I body SS Disc, Nitrile Rubber Seal & Oring PN 16 pressure rating size 200 mm to 400 mm gear type with removable wheel and below 200 mm with hand lever operated for chilled water/hot water circulation in the chilled water plumbing duly insulated to the same specifications as the connected piping and adequately supported as per specifications as specified. | item no.21 | [52 empty] | 1.21 | Supplying, fixing, testing and commissioning of following BUTTERFLY VALVE (MANUAL) with C I body SS Disc, Nitrile Rubber Seal & Oring PN 16 pressure rating size 200 mm to 400 mm gear type with removable wheel and below 200 mm with hand lever operated for chilled water/hot water circulation in the chilled water plumbing duly insulated to the same specifications as the connected piping and adequately supported as per specifications as specified. | item no.21
1.22 | 80 mm | item no.22 | 2 | Nos | 3952 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7904 | 7904 | INR Seven Thousand Nine Hundred & Four Only | 1.22 | 80 mm | item no.22 | 2 | Nos
1.23 | 100 mm | item no.23 | 1 | Nos | 5487 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5487 | 5487 | INR Five Thousand Four Hundred & Eighty Seven Only | 1.23 | 100 mm | item no.23 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.24 | 125 mm | item no.24 | 2 | Nos | 6336 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12672 | 12672 | INR Twelve Thousand Six Hundred & Seventy Two Only | 1.24 | 125 mm | item no.24 | 2 | Nos
1.25 | 150 mm | item no.25 | 4 | Nos | 6916 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27664 | 27664 | INR Twenty Seven Thousand Six Hundred & Sixty Four Only | 1.25 | 150 mm | item no.25 | 4 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | 211710 | 211710 | Two Lakh Eleven Thousand Seven Hundred & Ten Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information