## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: SITC/Replacement of Window ACs in Academic Area Zone-3,5,7,10, & 11 at IIT Kanpur
NIT No: EandM/05/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Supply, Installation, testing and commissioning of energy efficient as per SEER rating Window type air conditioner unit of approved (Cooling only) model of following capacity , with cordless remote, soft touch digital panel etc i/c dismantling old AC if any complete as required. | item no.1 | [52 empty] | 1 | Supply, Installation, testing and commissioning of energy efficient as per SEER rating Window type air conditioner unit of approved (Cooling only) model of following capacity , with cordless remote, soft touch digital panel etc i/c dismantling old AC if any complete as required. | item no.1 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | 1.5 TR capacity , 5 star | item no.2 | 14 | Nos | 24650 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 345100 | 345100 | INR Three Lakh Forty Five Thousand One Hundred Only | 1.01 | 1.5 TR capacity , 5 star | item no.2 | 14 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 2.0 TR capacity , 5 star | item no.3 | 4 | Nos | 41815 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 167260 | 167260 | INR One Lakh Sixty Seven Thousand Two Hundred & Sixty Only | 1.02 | 2.0 TR capacity , 5 star | item no.3 | 4 | Nos
1.03 | Supply, Installation, testing and commissioning of energy efficient as per SEER rating Window type air conditioner unit of approved (Hot & Cold) model of following capacity, with cordless remote, soft touch digital panel etc i/c dismantling old AC if any complete as required. | item no.4 | [52 empty] | 1.03 | Supply, Installation, testing and commissioning of energy efficient as per SEER rating Window type air conditioner unit of approved (Hot & Cold) model of following capacity, with cordless remote, soft touch digital panel etc i/c dismantling old AC if any complete as required. | item no.4
1.04 | 1.5 TR capacity , 3 star | item no.5 | 4 | Nos | 29810 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119240 | 119240 | INR One Lakh Nineteen Thousand Two Hundred & Forty Only | 1.04 | 1.5 TR capacity , 3 star | item no.5 | 4 | Nos
1.05 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall | item no.6 | [52 empty] | 1.05 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall | item no.6
1.06 | 20 mm | item no.7 | 20 | Mtr | 285 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5700 | 5700 | INR Five Thousand Seven Hundred Only | 1.06 | 20 mm | item no.7 | 20 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.07 | Providing & fixing of suitable size and type Wooden frame made of approx. 70x70 mm (Second class teak/Sal/Sagon wood) for Window AC mounting duly painted in position with hold fast lugs or with dash fasteners/Screws of required dia & length i/c Masson and welding work any dismantling old frame if any complete as required. | item no.8 | 8 | Nos | 980 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7840 | 7840 | INR Seven Thousand Eight Hundred & Forty Only | 1.07 | Providing & fixing of suitable size and type Wooden frame made of approx. 70x70 mm (Second class teak/Sal/Sagon wood) for Window AC mounting duly painted in position with hold fast lugs or with dash fasteners/Screws of required dia & length i/c Masson and welding work any dismantling old frame if any complete as required. | item no.8 | 8 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | Supply,laying, testing and commessining of approved make FRLS PVC/XLPE insulated 4 core x 2.5 sq mm power/control copper cable of on surface/recessed complete as required. | item no.9 | 20 | RMT | 160 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3200 | 3200 | INR Three Thousand Two Hundred Only | 1.08 | Supply,laying, testing and commessining of approved make FRLS PVC/XLPE insulated 4 core x 2.5 sq mm power/control copper cable of on surface/recessed complete as required. | item no.9 | 20 | RMT | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.09 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. | item no.10 | [52 empty] | 1.09 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. | item no.10
1.1 | 3 pin- 16 Amp. (PVC) | item no.11 | 10 | Nos | 136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1360 | 1360 | INR One Thousand Three Hundred & Sixty Only | 1.1 | 3 pin- 16 Amp. (PVC) | item no.11 | 10 | Nos
1.11 | 3 pin- 16 Amp. (Metalic) | item no.12 | 10 | Nos | 210 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2100 | 2100 | INR Two Thousand One Hundred Only | 1.11 | 3 pin- 16 Amp. (Metalic) | item no.12 | 10 | Nos
1.12 | Providing, laying & fixing of rain forced fiber flexible/soft PVC pipe of size given below etc. complete as reqd. | item no.13 | [52 empty] | 1.12 | Providing, laying & fixing of rain forced fiber flexible/soft PVC pipe of size given below etc. complete as reqd. | item no.13
1.13 | Upto 16 mm | item no.14 | 10 | Mtr | 40 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 400 | 400 | INR Four Hundred Only | 1.13 | Upto 16 mm | item no.14 | 10 | Mtr
1.14 | Supply and fixing PVC/UPVC mini trunking (casing-caping) & flexible conduit of following size white-system with independent cover etc. as reqd | item no.15 | [52 empty] | 1.14 | Supply and fixing PVC/UPVC mini trunking (casing-caping) & flexible conduit of following size white-system with independent cover etc. as reqd | item no.15
1.15 | Trunking 20mm x 12mm | item no.16 | 10 | Mtr | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 750 | 750 | INR Seven Hundred & Fifty Only | 1.15 | Trunking 20mm x 12mm | item no.16 | 10 | Mtr
1.16 | Flexible Conduit 20 mm | item no.17 | 10 | Mtr | 38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 380 | 380 | INR Three Hundred & Eighty Only | 1.16 | Flexible Conduit 20 mm | item no.17 | 10 | Mtr
Total in Figures | [51 empty] | 653330 | 653330 | Six Lakh Fifty Three Thousand Three Hundred & Thirty Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information