## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Constructing staircase i/c parapet railing for approaching terrace and internal repairing , W/W , distempering & painting of H. No. 415
Contract No: 03/C/D3/2020-21/02
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | [53 empty] | 1 | EARTH WORK
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | [53 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
1.02 | All kinds of soil. |  | 3.5 | cum | 221.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 774.27 | 774.27 | INR Seven Hundred & Seventy Four and Paise Twenty Seven Only | 1.02 | All kinds of soil. | 3.5 | cum
1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.04 | All kinds of soil | [53 empty] | 1.04 | All kinds of soil
1.05 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia |  | 8 | metre | 319.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2554.64 | 2554.64 | INR Two Thousand Five Hundred & Fifty Four and Paise Sixty Four Only | 1.05 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 8 | metre
2 | CONCRETE WORK | [53 empty] | 2 | CONCRETE WORK
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 1 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5952.3 | 5952.3 | INR Five Thousand Nine Hundred & Fifty Two and Paise Thirty Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 1 | cum
2.03 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | [53 empty] | 2.03 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing :
2.04 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 4 | cum | 7500.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30002.64 | 30002.64 | INR Thirty Thousand &Two and Paise Sixty Four Only | 2.04 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 4 | cum
2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 10 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5384 | 5384 | INR Five Thousand Three Hundred & Eighty Four Only | 2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 10 | sqm
3 | REINFORCED CEMENT CONCRETE | [53 empty] | 3 | REINFORCED CEMENT CONCRETE
3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | [53 empty] | 3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement
3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.6 | cum | 8159.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4895.75 | 4895.75 | INR Four Thousand Eight Hundred & Ninety Five and Paise Seventy Five Only | 3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.6 | cum
3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 2.5 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21402.45 | 21402.45 | INR Twenty One Thousand Four Hundred & Two and Paise Forty Five Only | 3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.5 | cum
3.04 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 3.04 | Centering and shuttering including strutting, propping etc. and removal of form for
3.05 | Foundations, footings, bases of columns, etc. for mass concrete |  | 1 | sqm | 249.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 249.76 | 249.76 | INR Two Hundred & Forty Nine and Paise Seventy Six Only | 3.05 | Foundations, footings, bases of columns, etc. for mass concrete | 1 | sqm
3.06 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. |  | 1.5 | sqm | 534.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 801.36 | 801.36 | INR Eight Hundred & One and Paise Thirty Six Only | 3.06 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 1.5 | sqm
3.07 | Suspended floors, roofs, landings, balconies and access platform |  | 2 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1215.34 | 1215.34 | INR One Thousand Two Hundred & Fifteen and Paise Thirty Four Only | 3.07 | Suspended floors, roofs, landings, balconies and access platform | 2 | sqm
3.08 | Stairs, (excluding landings) except spiral-staircases |  | 15 | sqm | 545.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8185.2 | 8185.2 | INR Eight Thousand One Hundred & Eighty Five and Paise Twenty Only | 3.08 | Stairs, (excluding landings) except spiral-staircases | 15 | sqm
3.09 | Edges of slabs and breaks in floors and walls | [53 empty] | 3.09 | Edges of slabs and breaks in floors and walls
3.1 | Under 20 cm wide |  | 20 | metre | 151.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3038.2 | 3038.2 | INR Three Thousand &Thirty Eight and Paise Twenty Only | 3.1 | Under 20 cm wide | 20 | metre
3.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 3.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
3.12 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 480 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35140.8 | 35140.8 | INR Thirty Five Thousand One Hundred & Forty and Paise Eighty Only | 3.12 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 480 | kg
3.13 | Add for using extra cement in the items of design mix over and above the specified cement content therein. |  | 1 | quintal | 590.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590.36 | 590.36 | INR Five Hundred & Ninety and Paise Thirty Six Only | 3.13 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 1 | quintal
4 | MASONRY WORK | [53 empty] | 4 | MASONRY WORK
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 2 | cum | 5398.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10797.8 | 10797.8 | INR Ten Thousand Seven Hundred & Ninety Seven and Paise Eighty Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 2 | cum
4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 17 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 113141.29 | 113141.29 | INR One Lakh Thirteen Thousand One Hundred & Forty One and Paise Twenty Nine Only | 4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 17 | cum
4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 2 | sqm | 817.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1634.54 | 1634.54 | INR One Thousand Six Hundred & Thirty Four and Paise Fifty Four Only | 4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) | 2 | sqm
4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 15 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 683.85 | 683.85 | INR Six Hundred & Eighty Three and Paise Eighty Five Only | 4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 15 | metre
5 | WOOD AND PVC WORK | [53 empty] | 5 | WOOD AND PVC WORK
5.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | [53 empty] | 5.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
5.02 | 250x16 mm |  | 2 | each | 149.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298.12 | 298.12 | INR Two Hundred & Ninety Eight and Paise Twelve Only | 5.02 | 250x16 mm | 2 | each
5.03 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | [53 empty] | 5.03 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
5.04 | 125 mm |  | 2 | each | 30.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61.12 | 61.12 | INR Sixty One and Paise Twelve Only | 5.04 | 125 mm | 2 | each
6 | STEEL WORK | [53 empty] | 6 | STEEL WORK
6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 25 | kg | 89.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2230.5 | 2230.5 | INR Two Thousand Two Hundred & Thirty and Paise Fifty Only | 6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 25 | kg
6.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | [53 empty] | 6.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
6.03 | Using M.S. angels 40x40x6 mm for diagonal braces |  | 2 | sqm | 3882.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7765.28 | 7765.28 | INR Seven Thousand Seven Hundred & Sixty Five and Paise Twenty Eight Only | 6.03 | Using M.S. angels 40x40x6 mm for diagonal braces | 2 | sqm
6.04 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | [53 empty] | 6.04 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
6.05 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works |  | 460 | kg | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52835.6 | 52835.6 | INR Fifty Two Thousand Eight Hundred & Thirty Five and Paise Sixty Only | 6.05 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 460 | kg
6.06 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | [53 empty] | 6.06 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer.
6.07 | M.S. tube |  | 250 | kg | 127.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31927.5 | 31927.5 | INR Thirty One Thousand Nine Hundred & Twenty Seven and Paise Fifty Only | 6.07 | M.S. tube | 250 | kg
7 | FLOORING | [53 empty] | 7 | FLOORING
7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | [53 empty] | 7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
7.02 | 40 mm thick with 20 mm nominal size stone aggregate |  | 50 | sqm | 436.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21848 | 21848 | INR Twenty One Thousand Eight Hundred & Forty Eight Only | 7.02 | 40 mm thick with 20 mm nominal size stone aggregate | 50 | sqm
7.03 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | [53 empty] | 7.03 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement.
7.04 | 18 mm thick |  | 6 | sqm | 456.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2741.76 | 2741.76 | INR Two Thousand Seven Hundred & Forty One and Paise Seventy Six Only | 7.04 | 18 mm thick | 6 | sqm
7.05 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | [53 empty] | 7.05 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors.
7.06 | 40 mm wide and 4 mm thick |  | 80 | metre | 65.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5271.2 | 5271.2 | INR Five Thousand Two Hundred & Seventy One and Paise Twenty Only | 7.06 | 40 mm wide and 4 mm thick | 80 | metre
8 | ROOFING | [53 empty] | 8 | ROOFING
8.01 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | [53 empty] | 8.01 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.
8.02 | 0.63 mm thick with zinc coating not less than 275 gm/ m² |  | 15 | sqm | 802.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12034.2 | 12034.2 | INR Twelve Thousand &Thirty Four and Paise Twenty Only | 8.02 | 0.63 mm thick with zinc coating not less than 275 gm/ m² | 15 | sqm
8.03 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. |  | 15 | metre | 132.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1987.35 | 1987.35 | INR One Thousand Nine Hundred & Eighty Seven and Paise Thirty Five Only | 8.03 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. | 15 | metre
8.04 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : | [53 empty] | 8.04 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design :
8.05 | In 75x75 mm deep chase |  | 65 | metre | 208.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13521.3 | 13521.3 | INR Thirteen Thousand Five Hundred & Twenty One and Paise Thirty Only | 8.05 | In 75x75 mm deep chase | 65 | metre
8.06 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. |  | 4 | each | 213.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 855.96 | 855.96 | INR Eight Hundred & Fifty Five and Paise Ninety Six Only | 8.06 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 4 | each
8.07 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | [53 empty] | 8.07 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
8.08 | 110 mm diameter |  | 4 | metre | 267.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1069.88 | 1069.88 | INR One Thousand &Sixty Nine and Paise Eighty Eight Only | 8.08 | 110 mm diameter | 4 | metre
9 | FINISHING | [53 empty] | 9 | FINISHING
9.01 | 12 mm cement plaster of mix : | [53 empty] | 9.01 | 12 mm cement plaster of mix :
9.02 | 1:6 (1 cement: 6 coarse sand) |  | 100 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23108 | 23108 | INR Twenty Three Thousand One Hundred & Eight Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | 100 | sqm
9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
9.04 | 1:6 (1 cement: 6 coarse sand) |  | 95 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25313.7 | 25313.7 | INR Twenty Five Thousand Three Hundred & Thirteen and Paise Seventy Only | 9.04 | 1:6 (1 cement: 6 coarse sand) | 95 | sqm
9.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | [53 empty] | 9.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix :
9.06 | 1:4 (1 cement: 4 fine sand) |  | 15 | sqm | 323.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4857.15 | 4857.15 | INR Four Thousand Eight Hundred & Fifty Seven and Paise Fifteen Only | 9.06 | 1:4 (1 cement: 4 fine sand) | 15 | sqm
9.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 9.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
9.08 | Two or more coats on new work |  | 390 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29799.9 | 29799.9 | INR Twenty Nine Thousand Seven Hundred & Ninety Nine and Paise Ninety Only | 9.08 | Two or more coats on new work | 390 | sqm
9.09 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | [53 empty] | 9.09 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
9.1 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 205 | sqm | 141.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28966.5 | 28966.5 | INR Twenty Eight Thousand Nine Hundred & Sixty Six and Paise Fifty Only | 9.1 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 205 | sqm
9.11 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 9.11 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
9.12 | Two or more coats on new work |  | 50 | sqm | 106.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5329 | 5329 | INR Five Thousand Three Hundred & Twenty Nine Only | 9.12 | Two or more coats on new work | 50 | sqm
9.13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 390 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39374.4 | 39374.4 | INR Thirty Nine Thousand Three Hundred & Seventy Four and Paise Forty Only | 9.13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 390 | sqm
9.14 | White washing with lime to give an even shade : | [53 empty] | 9.14 | White washing with lime to give an even shade :
9.15 | Old work (two or more coats) |  | 325 | sqm | 14.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4774.25 | 4774.25 | INR Four Thousand Seven Hundred & Seventy Four and Paise Twenty Five Only | 9.15 | Old work (two or more coats) | 325 | sqm
9.16 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 370 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5920 | 5920 | INR Five Thousand Nine Hundred & Twenty Only | 9.16 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 370 | sqm
9.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 9.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
9.18 | One or more coats on old work |  | 195 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13669.5 | 13669.5 | INR Thirteen Thousand Six Hundred & Sixty Nine and Paise Fifty Only | 9.18 | One or more coats on old work | 195 | sqm
9.19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 9.19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
9.2 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 300 | sqm | 85.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25713 | 25713 | INR Twenty Five Thousand Seven Hundred & Thirteen Only | 9.2 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 300 | sqm
10 | REPAIRS TO BUILDING | [53 empty] | 10 | REPAIRS TO BUILDING
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 20 | sqm | 376.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7533.6 | 7533.6 | INR Seven Thousand Five Hundred & Thirty Three and Paise Sixty Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | 20 | sqm
10.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 10.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.04 | Door chowkhats |  | 1 | each | 1198.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1198.47 | 1198.47 | INR One Thousand One Hundred & Ninety Eight and Paise Forty Seven Only | 10.04 | Door chowkhats | 1 | each
11 | DISMANTLING AND DEMOLISHING | [53 empty] | 11 | DISMANTLING AND DEMOLISHING
11.01 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer- in-charge. |  | 24 | cum | 532.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12783.84 | 12783.84 | INR Twelve Thousand Seven Hundred & Eighty Three and Paise Eighty Four Only | 11.01 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer- in-charge. | 24 | cum
11.02 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 11.02 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
11.03 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 9.25 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14091.54 | 14091.54 | INR Fourteen Thousand &Ninety One and Paise Fifty Four Only | 11.03 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 9.25 | cum
11.04 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 5 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4703.2 | 4703.2 | INR Four Thousand Seven Hundred & Three and Paise Twenty Only | 11.04 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 5 | cum
11.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 11.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
11.06 | In cement mortar |  | 8.5 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10954.97 | 10954.97 | INR Ten Thousand Nine Hundred & Fifty Four and Paise Ninety Seven Only | 11.06 | In cement mortar | 8.5 | cum
11.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 11.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
11.08 | Of area 3 sq. metres and below |  | 1 | each | 240.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 240.68 | 240.68 | INR Two Hundred & Forty and Paise Sixty Eight Only | 11.08 | Of area 3 sq. metres and below | 1 | each
11.09 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 75 | sqm | 34.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2565 | 2565 | INR Two Thousand Five Hundred & Sixty Five Only | 11.09 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 75 | sqm
11.1 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 30 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3652.2 | 3652.2 | INR Three Thousand Six Hundred & Fifty Two and Paise Twenty Only | 11.1 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 30 | cum
12 | ROAD WORK | [53 empty] | 12 | ROAD WORK
12.01 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used. | [53 empty] | 12.01 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used.
12.02 | With G.I. barbed wire |  | 200 | metre | 16.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3340 | 3340 | INR Three Thousand Three Hundred & Forty Only | 12.02 | With G.I. barbed wire | 200 | metre
12.03 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for 10 cm length and drilling holes upto 10 mm dia. etc. complete. |  | 100 | kg | 81.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8102 | 8102 | INR Eight Thousand One Hundred & Two Only | 12.03 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for 10 cm length and drilling holes upto 10 mm dia. etc. complete. | 100 | kg
13 | SANITARY INSTALLATIONS | [53 empty] | 13 | SANITARY INSTALLATIONS
13.01 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 13.01 | Providing and fixing soil, waste and vent pipes :
13.02 | 100 mm dia | [53 empty] | 13.02 | 100 mm dia
13.03 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 |  | 8 | metre | 957.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7661.2 | 7661.2 | INR Seven Thousand Six Hundred & Sixty One and Paise Twenty Only | 13.03 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 8 | metre
13.04 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 13.04 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
13.05 | 100 mm dia | [53 empty] | 13.05 | 100 mm dia
13.06 | Sand cast iron S&S as per IS - 3989 |  | 2 | each | 404.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 809.56 | 809.56 | INR Eight Hundred & Nine and Paise Fifty Six Only | 13.06 | Sand cast iron S&S as per IS - 3989 | 2 | each
13.07 | Providing and fixing plain bend of required degree. | [53 empty] | 13.07 | Providing and fixing plain bend of required degree.
13.08 | 100 mm dia | [53 empty] | 13.08 | 100 mm dia
13.09 | Sand cast iron S&S as per IS : 3989 |  | 2 | each | 342.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 685.22 | 685.22 | INR Six Hundred & Eighty Five and Paise Twenty Two Only | 13.09 | Sand cast iron S&S as per IS : 3989 | 2 | each
13.1 | Providing and fixing collar : | [53 empty] | 13.1 | Providing and fixing collar :
13.11 | 100 mm | [53 empty] | 13.11 | 100 mm
13.12 | Sand cast iron S&S as per IS - 3989 |  | 4 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1436.04 | 1436.04 | INR One Thousand Four Hundred & Thirty Six and Paise Four Only | 13.12 | Sand cast iron S&S as per IS - 3989 | 4 | each
13.13 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 13.13 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
13.14 | 100 mm |  | 10 | each | 422.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4221.4 | 4221.4 | INR Four Thousand Two Hundred & Twenty One and Paise Forty Only | 13.14 | 100 mm | 10 | each
13.15 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 13.15 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
13.16 | 100 mm inlet and 100 mm outlet | [53 empty] | 13.16 | 100 mm inlet and 100 mm outlet
13.17 | Sand cast iron S&S as per IS: 3989 |  | 2 | each | 1326.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2652.44 | 2652.44 | INR Two Thousand Six Hundred & Fifty Two and Paise Forty Four Only | 13.17 | Sand cast iron S&S as per IS: 3989 | 2 | each
14 | WATER SUPPLY | [53 empty] | 14 | WATER SUPPLY
14.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 14.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
14.02 | 15 mm dia nominal bore |  | 8 | metre | 249.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1998.4 | 1998.4 | INR One Thousand Nine Hundred & Ninety Eight and Paise Forty Only | 14.02 | 15 mm dia nominal bore | 8 | metre
14.03 | 20 mm dia nominal bore |  | 15 | metre | 301.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4525.65 | 4525.65 | INR Four Thousand Five Hundred & Twenty Five and Paise Sixty Five Only | 14.03 | 20 mm dia nominal bore | 15 | metre
14.04 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | [53 empty] | 14.04 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
14.05 | 20 mm dia nominal bore |  | 40 | metre | 248.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9953.6 | 9953.6 | INR Nine Thousand Nine Hundred & Fifty Three and Paise Sixty Only | 14.05 | 20 mm dia nominal bore | 40 | metre
14.06 | 25 mm dia nominal bore |  | 10 | metre | 319.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3196.4 | 3196.4 | INR Three Thousand One Hundred & Ninety Six and Paise Forty Only | 14.06 | 25 mm dia nominal bore | 10 | metre
14.07 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | [53 empty] | 14.07 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
14.08 | 25 to 40 mm nominal bore |  | 1 | each | 590.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590.48 | 590.48 | INR Five Hundred & Ninety and Paise Forty Eight Only | 14.08 | 25 to 40 mm nominal bore | 1 | each
14.09 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 14.09 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
14.1 | 20 mm nominal bore |  | 4 | each | 403.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1614.04 | 1614.04 | INR One Thousand Six Hundred & Fourteen and Paise Four Only | 14.1 | 20 mm nominal bore | 4 | each
14.11 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | [53 empty] | 14.11 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
14.12 | 20 mm nominal bore |  | 1 | each | 338.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 338.8 | 338.8 | INR Three Hundred & Thirty Eight and Paise Eighty Only | 14.12 | 20 mm nominal bore | 1 | each
14.13 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 14.13 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
14.14 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 2 | each | 1387.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2775.02 | 2775.02 | INR Two Thousand Seven Hundred & Seventy Five and Paise Two Only | 14.14 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 2 | each
14.15 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | [53 empty] | 14.15 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality :
14.16 | 15 mm diameter pipe |  | 8 | metre | 8.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65.2 | 65.2 | INR Sixty Five and Paise Twenty Only | 14.16 | 15 mm diameter pipe | 8 | metre
14.17 | 20 mm diameter pipe |  | 55 | metre | 9.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 535.15 | 535.15 | INR Five Hundred & Thirty Five and Paise Fifteen Only | 14.17 | 20 mm diameter pipe | 55 | metre
14.18 | 25 mm diameter pipe |  | 10 | metre | 12.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 124.1 | 124.1 | INR One Hundred & Twenty Four and Paise Ten Only | 14.18 | 25 mm diameter pipe | 10 | metre
14.19 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | [53 empty] | 14.19 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work :
14.2 | 20 mm diameter pipe |  | 40 | metre | 126.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5069.6 | 5069.6 | INR Five Thousand &Sixty Nine and Paise Sixty Only | 14.2 | 20 mm diameter pipe | 40 | metre
14.21 | 25 mm diameter pipe |  | 10 | metre | 130.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1301.2 | 1301.2 | INR One Thousand Three Hundred & One and Paise Twenty Only | 14.21 | 25 mm diameter pipe | 10 | metre
14.22 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 14.22 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
14.23 | 15 mm nominal bore |  | 2 | each | 206.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 413.42 | 413.42 | INR Four Hundred & Thirteen and Paise Forty Two Only | 14.23 | 15 mm nominal bore | 2 | each
14.24 | 20 mm nominal bore |  | 4 | each | 228.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 915.92 | 915.92 | INR Nine Hundred & Fifteen and Paise Ninety Two Only | 14.24 | 20 mm nominal bore | 4 | each
14.25 | 25 mm nominal bore |  | 2 | each | 298.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 596.4 | 596.4 | INR Five Hundred & Ninety Six and Paise Forty Only | 14.25 | 25 mm nominal bore | 2 | each
14.26 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. |  | 750 | per litre | 7.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5790 | 5790 | INR Five Thousand Seven Hundred & Ninety Only | 14.26 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 750 | per litre
14.27 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 14.27 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
14.28 | 15 mm nominal bore |  | 2 | each | 367.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 734.68 | 734.68 | INR Seven Hundred & Thirty Four and Paise Sixty Eight Only | 14.28 | 15 mm nominal bore | 2 | each
14.29 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 14.29 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
14.3 | 15 mm nominal bore |  | 1 | each | 484.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 484.31 | 484.31 | INR Four Hundred & Eighty Four and Paise Thirty One Only | 14.3 | 15 mm nominal bore | 1 | each
14.31 | Cutting holes up to 30x30 cm in walls including making good the same: | [53 empty] | 14.31 | Cutting holes up to 30x30 cm in walls including making good the same:
14.32 | With common burnt clay F.P.S. (non modular) bricks |  | 2 | each | 286.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 573.88 | 573.88 | INR Five Hundred & Seventy Three and Paise Eighty Eight Only | 14.32 | With common burnt clay F.P.S. (non modular) bricks | 2 | each
15 | DRAINAGE | [53 empty] | 15 | DRAINAGE
15.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | [53 empty] | 15.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
15.02 | 100 mm diameter |  | 5 | metre | 277.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1389.95 | 1389.95 | INR One Thousand Three Hundred & Eighty Nine and Paise Ninety Five Only | 15.02 | 100 mm diameter | 5 | metre
15.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | [53 empty] | 15.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
15.04 | 100 mm diameter S.W. pipe |  | 5 | metre | 716.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3581.75 | 3581.75 | INR Three Thousand Five Hundred & Eighty One and Paise Seventy Five Only | 15.04 | 100 mm diameter S.W. pipe | 5 | metre
15.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | [53 empty] | 15.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
15.06 | 100x100 mm size P type | [53 empty] | 15.06 | 100x100 mm size P type
15.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1 | each | 2022.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2022.8 | 2022.8 | INR Two Thousand &Twenty Two and Paise Eighty Only | 15.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | each
15.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | [53 empty] | 15.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
15.09 | For pipes 100 to 250 mm diameter |  | 1 | each | 546.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 546.69 | 546.69 | INR Five Hundred & Forty Six and Paise Sixty Nine Only | 15.09 | For pipes 100 to 250 mm diameter | 1 | each
16 | WATER PROOFING | [53 empty] | 16 | WATER PROOFING
16.01 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | [53 empty] | 16.01 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge :
16.02 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. |  | 187 | sqm | 1226.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 229303.14 | 229303.14 | INR Two Lakh Twenty Nine Thousand Three Hundred & Three and Paise Fourteen Only | 16.02 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 187 | sqm
17 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 17 | NEW TECHNOLOGIES AND MATERIALS
17.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | [53 empty] | 17.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
17.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make |  | 2.5 | sqm | 340.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 851.6 | 851.6 | INR Eight Hundred & Fifty One and Paise Sixty Only | 17.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 2.5 | sqm
18 | MINOR CIVIL MAINTENANCE WORK | [53 empty] | 18 | MINOR CIVIL MAINTENANCE WORK
18.01 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). |  | 6.2 | Cum | 4455.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27624.41 | 27624.41 | INR Twenty Seven Thousand Six Hundred & Twenty Four and Paise Forty One Only | 18.01 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). | 6.2 | Cum
18.02 | Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 4 | Each | 58.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 234.64 | 234.64 | INR Two Hundred & Thirty Four and Paise Sixty Four Only | 18.02 | Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 4 | Each
18.03 | Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 2 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58.66 | 58.66 | INR Fifty Eight and Paise Sixty Six Only | 18.03 | Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 2 | Each
18.04 | Providing and fixing of C.P extension piece (15 x 50) mm |  | 2 | Each | 66.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132.4 | 132.4 | INR One Hundred & Thirty Two and Paise Forty Only | 18.04 | Providing and fixing of C.P extension piece (15 x 50) mm | 2 | Each
Total in Figures | [51 empty] | 1001691.37 | 1001691.37 | INR Ten Lakh One Thousand Six Hundred & Ninety One and Paise Thirty Seven Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K183: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information