## Sheet1
Bill of Qty
N/W | Providing & fixing Modular Kitchen in House no. 506 (G/F), Type-V
SLNo | Description | Qty | Unit | Rate withoutgst | Amount
1 | CLADDING WORK
1.1 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
1.1.1 | Granite of any colour and shade
1.1.1.1 | Area of slab upto 0.50 sqm | 1 | sqm | 3697.81 | 3697.81
1.2 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
1.2.1 | Granite work | 15 | metre | 329.9 | 4948.5
1.3 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1 | each | 644.06 | 644.06
1.4 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 3 | sqm | 903.38 | 2710.14
Sub-Total
2 | FLOORING
2.1 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
2.1.1 | 40 mm thick with 20 mm nominal size stone aggregate | 2 | sqm | 436.96 | 873.92
2.2 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.
2.2.1 | Size of Tile 600x600 mm | 0.25 | sqm | 1315.69 | 328.9225
Sub-Total
3 | DISMANTLING AND DEMOLISHING
3.1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
3.1.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.15 | cum | 1523.41 | 228.5115
Sub-Total
4 | SANITARY INSTALLATIONS
4.1 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :
4.1.1 | Kitchen sink with drain board
4.1.1.1 | 510x1040 mm bowl depth 250 mm | 1 | each | 4520.78 | 4520.78
4.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
4.2.1 | Flexible pipe
4.2.1.1 | 32 mm dia | 1 | each | 88.65 | 88.65
4.3 | Providing and fixing soil, waste and vent pipes :
4.3.1 | 100 mm dia
4.3.1.1 | Sand cast iron S&S pipe as per IS: 1729 | 1 | metre | 884 | 884
4.4 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
4.4.1 | 100 mm dia
4.4.1.1 | Sand cast iron S&S as per IS - 1729 | 1 | each | 404.78 | 404.78
4.5 | Providing and fixing plain bend of required degree.
4.5.1 | 100 mm dia
4.5.1.1 | Sand cast iron S&S as per IS - 1729 | 1 | each | 334.37 | 334.37
4.6 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
4.6.1 | 100 mm inlet and 100 mm outlet
4.6.1.1 | Sand Cast Iron S&S as per IS: 1729 | 1 | each | 1116.22 | 1116.22
Sub-Total
5 | WATER SUPPLY
5.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
5.1.1 | 15 mm dia nominal bore | 5 | metre | 249.8 | 1249
5.1.2 | 20 mm dia nominal bore | 3 | metre | 301.71 | 905.13
5.2 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
5.2.1 | 15 mm nominal bore | 2 | each | 484.31 | 968.62
5.3 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | 1 | each | 302.15 | 302.15
Sub-Total
6 | DRAINAGE
6.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
6.1.1 | 100 mm diameter | 3.5 | metre | 277.99 | 972.965
6.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
6.2.1 | 100 mm diameter S.W. pipe | 3 | metre | 716.35 | 2149.05
6.3 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
6.3.1 | 100x100 mm size P type
6.3.1.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | each | 2022.8 | 2022.8
6.4 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
6.4.1 | For pipes 100 to 250 mm diameter | 1 | each | 546.69 | 546.69
Sub-Total
7 | ALUMINIUM WORK
7.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
7.1.1 | For fixed portion
7.1.1.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 50 | kg | 371.72 | 18586
Sub-Total
8 | MINOR CIVIL MAINTENANCE WORK:
8.1 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | 0.25 | Cum | 4912.41 | 1228.1025
8.2 | Providing & fixing Modular Kitchen in House no. 506(G/F), Type-V as per drawing & direction of Engineer-In-Charge Material Cutlery basket (19"x20"x4"), Hettich Make, 2 Nos Plain basket (19"x20"x4"), Hettich Make, 4 Nos Plain basket (19"x20"x6"), Hettich Make, 4 Nos Cup & Sauser (19"x20"x4"), Hettich Make, 2 Nos Plain basket (19"x20"x8"), Hettich Make, 4 Nos Thali basket (19"x20"x8"), Hettich Make, 2 Nos Cutlery basket (17"x20"x4"), Hettich Make, 1 Nos Plain basket (17"x20"x4"), Hettich Make, 1 Nos Plain basket (17"x20"x6"), Hettich Make, 2 Nos Thali basket (17"x20"x8"), Hettich Make, 1 Nos Plain basket (17"x20"x8"), Hettich Make, 1 Nos Telescopic channel 20", Hettich Make, 24 Pair Auto hinge(hydraulic), Hettich Make, 7 Pair Handle (drawer) 8", Hettich Make, 31 Nos 19 mm Commercial Board BWP, Century Make, 7.62 Sqm (i/c wastage) 12 mm WPC Board, Century Make, 5.95 Sqm i/c wastage Mica Liner 0.7 mm, Century Make, 3 Sheet (i/c wastage) Mica Liner (Color) 0.8 mm, Century Make, 3 Sheet (i/c wastage) Cheep Beading (22X6)mm, 122 Mt (i/c wastage) Included Fixing charges with Sundries, Nails, Screws, Steel washer, Washer, Fevicol & Apro Tape etc. Complete | 1 | Job | 105572.12 | 105572.12
8.3 | Providing and fixing 18 mm thick gang saw cut, mirror polished, machine cut for kitchen platforms of required size, approved shade, colour and texture fixing with necessery adhesive over WPC Board , joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm | 4.5 | Sqm | 3680.84 | 16563.78
8.4 | Providing and fixing 18 mm thick gang saw cut, mirror polished, machine cut for kitchen platforms, facias and similar locations of required size, approved shade, colour and texture fixing with necessery adhesive over other Granite Stone , joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing etc. complete at all levels. Granite of any colour and shade Area of slab upto 0.50 sqm | 0.5 | Sqm | 3892.15 | 1946.075
| Total |  |  |  | 173793.1465