## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer (Elect.)
Name of Work: Modification / Renovation of electrical installation of CL-205B & C, Core Lab at IIT Kanpur.
Contract No: 84 /Elect/2021-22/712 Dated: 31.01.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 3 x 1.5 Sq.mm.. | item2 | 30 | Mtr. | 47.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1420.5 | 1420.5 | INR One Thousand Four Hundred & Twenty and Paise Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.2 | 3 x 4 Sq.mm.. | item3 | 50 | Mtr. | 102.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5129.5 | 5129.5 | INR Five Thousand One Hundred & Twenty Nine and Paise Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Painting of ceiling fan in installed position with one or more coats of spray painting with synthetic enamel paint of approved brand and manufacture to give an even shade, including cleaning of surface with detergent etc. as required. | item4 | 8 | Nos. | 118.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 946.96 | 946.96 | INR Nine Hundred & Forty Six and Paise Ninety Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and installation of Recess/ Surface mounting LED luminaire equipped with CRCA powder coating housing, anti glare polycarbonate diffuser with energy efficient electronic driver with following features:- Suitable for operating voltage and frequency: 130-300 Va.c, 50 Hz.; wattage not more than 36 Watts;Output lumens not less than 100 lm/watt; CCT 6500K; Dimension in mm (600X600); Nominal surge protection 2.5 kV;Power factor not less than 0.95; Minimum IP protection 20; etc. complete with all accessories as required. | item5 | 28 | Nos. | 3946.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110502.28 | 110502.28 | INR One Lakh Ten Thousand Five Hundred & Two and Paise Twenty Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Supply and fixing and connecting & commissioning following CFL / lamps in existing fitting as reqd.(Make- Phillips) | item6 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.1 | LED tube light 18 / 20 Watt. | item7 | 8 | Nos. | 291.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2328.8 | 2328.8 | INR Two Thousand Three Hundred & Twenty Eight and Paise Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm and accessories on surface as reqd. | item8 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.01 | DLP Trunking | item9 | 15 | Mtr. | 798.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11981.55 | 11981.55 | INR Eleven Thousand Nine Hundred & Eighty One and Paise Fifty Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.02 | Flexible cover 85 mm | item10 | 15 | Mtr. | 352.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5287.2 | 5287.2 | INR Five Thousand Two Hundred & Eighty Seven and Paise Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.03 | End cap | item11 | 4 | Each. | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 634.8 | 634.8 | INR Six Hundred & Thirty Four and Paise Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.04 | Internal angle. | item12 | 2 | Each. | 435.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 871.54 | 871.54 | INR Eight Hundred & Seventy One and Paise Fifty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.05 | External angle | item13 | 2 | Each. | 446.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 892.6 | 892.6 | INR Eight Hundred & Ninety Two and Paise Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.06 | Flat angle | item14 | 2 | Each. | 611.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1222.28 | 1222.28 | INR One Thousand Two Hundred & Twenty Two and Paise Twenty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.07 | cover joint | item15 | 4 | Each. | 181.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 726 | 726 | INR Seven Hundred & Twenty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.08 | Base joint | item16 | 4 | Each. | 74.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298.12 | 298.12 | INR Two Hundred & Ninety Eight and Paise Twelve Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.09 | 6/8 Modules clip on frame with finishing plate for 85 mm cover | item17 | 6 | Each | 313.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1883.4 | 1883.4 | INR One Thousand Eight Hundred & Eighty Three and Paise Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.1 | Modular 16A/20 amps switch on the existing modular plate & switch box / channel including connection. | item18 | 12 | Each | 327.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3935.16 | 3935.16 | INR Three Thousand Nine Hundred & Thirty Five and Paise Sixteen Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.11 | Modular 6/16 amps multi socket on the existing moudular plate & switch box including connection. | item19 | 12 | Each | 427.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5124.12 | 5124.12 | INR Five Thousand One Hundred & Twenty Four and Paise Twelve Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item20 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.1 | Mini- trunking | item21 | 10 | Mtr. | 184.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1841.3 | 1841.3 | INR One Thousand Eight Hundred & Forty One and Paise Thirty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.2 | End cap left or right | item22 | 2 | Each. | 121.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 243.76 | 243.76 | INR Two Hundred & Forty Three and Paise Seventy Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.3 | Internal/ external angle | item23 | 1 | Each. | 116.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 116.62 | 116.62 | INR One Hundred & Sixteen and Paise Sixty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.4 | Flat angle | item24 | 1 | Each. | 100.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100.83 | 100.83 | INR One Hundred and Paise Eighty Three Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.5 | Flat junction | item25 | 1 | Each. | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 114.86 | 114.86 | INR One Hundred & Fourteen and Paise Eighty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | Overhauling of following fan of any size including bearings, checking, cleaning the all parts and supplying & replacement of rubber real, rubber rings, nut bolts, hanger clamps, bearing plates, cotter/ split pin, varnishing if reqd etc, reassembling testing and commissioning of fan as reqdired complete. | item26 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.1 | ceiling fan | item27 | 8 | Nos. | 353.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2826.8 | 2826.8 | INR Two Thousand Eight Hundred & Twenty Six and Paise Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Repairing of housing of bearing side /bush side /in fan body in ceiling fan /exhaust fan/ rally fan etc. | item28 | 1 | Nos. | 208.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 208.68 | 208.68 | INR Two Hundred & Eight and Paise Sixty Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Cartage of Ceiling fans and regulator / exhaust fan From store to site as reqd. | item29 | 8 | Nos. | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 147.28 | 147.28 | INR One Hundred & Forty Seven and Paise Twenty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supplying and fixing following capacity capacitor suitable for ceiling fan / exhaust fan / air-curtain etc. | item30 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.1 | 2.5mfd | item31 | 8 | Nos. | 92.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 743.52 | 743.52 | INR Seven Hundred & Forty Three and Paise Fifty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Supplying of following numbers ball bearings. | item32 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.1 | 6201 ball bearing | item33 | 1 | Nos. | 41.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41.18 | 41.18 | INR Forty One and Paise Eighteen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.2 | 6202 ball bearing | item34 | 1 | Nos. | 42.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42.96 | 42.96 | INR Forty Two and Paise Ninety Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.3 | 6203 ball bearing | item35 | 1 | Nos. | 57.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57.87 | 57.87 | INR Fifty Seven and Paise Eighty Seven Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 159670.47 | 159670.47 | INR One Lakh Fifty Nine Thousand Six Hundred & Seventy and Paise Forty Seven Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information