## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer , IWD, IIT Kanpur
Name of Work: Providing and fixing alu. door and window shutter of house no 453.
Contract No: 18/Civil/D2/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Dismantling and Demolishing | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Dismantling and Demolishing | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | BI01010001010000000000000515BI0100001113 | [52 empty] | 1.01 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | BI01010001010000000000000515BI0100001113 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Of area 3 sq. metres and below | BI01010001010000000000000515BI0100001114 | 19 | each | 103.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Of area 3 sq. metres and below | BI01010001010000000000000515BI0100001114 | 19 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | ALUMINIUM WORK | BI01010001010000000000000515BI0100001115 | [52 empty] | 2 | ALUMINIUM WORK | BI01010001010000000000000515BI0100001115 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | BI01010001010000000000000515BI0100001116 | [52 empty] | 2.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | BI01010001010000000000000515BI0100001116 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.02 | For fixed portion | BI01010001010000000000000515BI0100001117 | [52 empty] | 2.02 | For fixed portion | BI01010001010000000000000515BI0100001117 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | BI01010001010000000000000515BI0100001118 | 170 | kg | 408.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | BI01010001010000000000000515BI0100001118 | 170 | kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | BI01010001010000000000000515BI0100001119 | [52 empty] | 2.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | BI01010001010000000000000515BI0100001119 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | BI01010001010000000000000515BI0100001120 | 386.8 | kg | 495.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | BI01010001010000000000000515BI0100001120 | 386.8 | kg | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | BI01010001010000000000000515BI0100001121 | [52 empty] | 2.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | BI01010001010000000000000515BI0100001121 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | BI01010001010000000000000515BI0100001122 | 11 | sqm | 894.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.07 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | BI01010001010000000000000515BI0100001122 | 11 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | BI01010001010000000000000515BI0100001123 | [52 empty] | 2.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | BI01010001010000000000000515BI0100001123 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.09 | 255 X 19 mm | BI01010001010000000000000515BI0100001124 | 50 | each | 288.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.09 | 255 X 19 mm | BI01010001010000000000000515BI0100001124 | 50 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540- F & ISO 11600 | BI01010001010000000000000515BI0100001125 | [52 empty] | 2.1 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540- F & ISO 11600 | BI01010001010000000000000515BI0100001125 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | Upto 5 mm depth and 5 mm width | BI01010001010000000000000515BI0100001126 | 144.68 | metre | 114.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.11 | Upto 5 mm depth and 5 mm width | BI01010001010000000000000515BI0100001126 | 144.68 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | MINOR CIVIL MAINTENANCE WORK | BI01010001010000000000000515BI0100001127 | [52 empty] | 3 | MINOR CIVIL MAINTENANCE WORK | BI01010001010000000000000515BI0100001127 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.01 | "Providing and fixing aluminum door seal in door i/c necessary screw etc complete. " | BI01010001010000000000000515BI0100001128 | 4 | Metre | 181.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.01 | "Providing and fixing aluminum door seal in door i/c necessary screw etc complete. " | BI01010001010000000000000515BI0100001128 | 4 | Metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.02 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | BI01010001010000000000000515BI0100001129 | 58 | Each | 325.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.02 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | BI01010001010000000000000515BI0100001129 | 58 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | Providing and fixing stainless steel wire gauge (304 grade) of approved design/pattern, with approved standard make and fixing to the existing window opening with stainless steel screws @ 200 mm center all complete as per requirement and direction of Engineering-in charge (only clear length and width of be measured for payment). | BI01010001010000000000000515BI0100001130 | 17 | Sqm | 819.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.03 | Providing and fixing stainless steel wire gauge (304 grade) of approved design/pattern, with approved standard make and fixing to the existing window opening with stainless steel screws @ 200 mm center all complete as per requirement and direction of Engineering-in charge (only clear length and width of be measured for payment). | BI01010001010000000000000515BI0100001130 | 17 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information