## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT Kanpur
Name of Work: Renovation of Chemical Engineering office and HOD office in FB 460,462,463,464 and 465
Contract No: 24/Civil/D2/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT # | rlram
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | BI01010001010000000000000515BI0100001112 | [53 empty] | 1 | EARTH WORK | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: | BI01010001010000000000000515BI0100001113 | [53 empty] | 1.01 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: | BI01010001010000000000000515BI0100001113 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All kinds of soil | BI01010001010000000000000515BI0100001114 | [53 empty] | 1.02 | All kinds of soil | BI01010001010000000000000515BI0100001114 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | BI01010001010000000000000515BI0100001115 | 17 | metre | 290.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 1.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | BI01010001010000000000000515BI0100001115 | 17 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | CEMENT CONCRETE (CAST IN SITU) | BI01010001010000000000000515BI0100001116 | [53 empty] | 2 | CEMENT CONCRETE (CAST IN SITU) | BI01010001010000000000000515BI0100001116 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.01 | Providing and laying in position excluding cement concrete of level: specified grade the cost of centering and shuttering - All work up to plinth | BI01010001010000000000000515BI0100001117 | [53 empty] | 2.01 | Providing and laying in position excluding cement concrete of level: specified grade the cost of centering and shuttering - All work up to plinth | BI01010001010000000000000515BI0100001117 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | BI01010001010000000000000515BI0100001118 | 0.9 | cum | 6496.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | BI01010001010000000000000515BI0100001118 | 0.9 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | REINFORCED CEMENT CONCRETE | BI01010001010000000000000515BI0100001119 | [53 empty] | 3 | REINFORCED CEMENT CONCRETE | BI01010001010000000000000515BI0100001119 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | BI01010001010000000000000515BI0100001120 | 0.38 | cum | 9487.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | BI01010001010000000000000515BI0100001120 | 0.38 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | BI01010001010000000000000515BI0100001121 | [53 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | BI01010001010000000000000515BI0100001121 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | Suspended floors, roofs, landings, balconies and access platform | BI01010001010000000000000515BI0100001122 | 1.13 | sqm | 764.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 3.03 | Suspended floors, roofs, landings, balconies and access platform | BI01010001010000000000000515BI0100001122 | 1.13 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.04 | Shelves (Cast in situ) | BI01010001010000000000000515BI0100001123 | 1.75 | sqm | 764.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 3.04 | Shelves (Cast in situ) | BI01010001010000000000000515BI0100001123 | 1.75 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.05 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | BI01010001010000000000000515BI0100001124 | 1.75 | sqm | 607.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 3.05 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | BI01010001010000000000000515BI0100001124 | 1.75 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | BI01010001010000000000000515BI0100001125 | [53 empty] | 3.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | BI01010001010000000000000515BI0100001125 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | BI01010001010000000000000515BI0100001126 | 60 | kg | 88.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 3.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | BI01010001010000000000000515BI0100001126 | 60 | kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | MASONRY WORK | BI01010001010000000000000515BI0100001127 | [53 empty] | 4 | MASONRY WORK | BI01010001010000000000000515BI0100001127 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.01 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | BI01010001010000000000000515BI0100001128 | [53 empty] | 4.01 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | BI01010001010000000000000515BI0100001128 |  |  | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
4.02 | Cement mortar 1:4(1 cement :4 coarse sand) | BI01010001010000000000000515BI0100001129 | 13 | sqm | 926.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 4.02 | Cement mortar 1:4(1 cement :4 coarse sand) | BI01010001010000000000000515BI0100001129 | 13 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
5 | CLADDING WORK | BI01010001010000000000000515BI0100001130 | [53 empty] | 5 | CLADDING WORK | BI01010001010000000000000515BI0100001130
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | BI01010001010000000000000515BI0100001131 | [53 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | BI01010001010000000000000515BI0100001131
5.02 | Granite stone slab of colour black, Cherry/Ruby red | BI01010001010000000000000515BI0100001132 | [53 empty] | 5.02 | Granite stone slab of colour black, Cherry/Ruby red | BI01010001010000000000000515BI0100001132
5.03 | Area of slab over 0.50 sqm | BI01010001010000000000000515BI0100001133 | 1.5 | sqm | 4235.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 5.03 | Area of slab over 0.50 sqm | BI01010001010000000000000515BI0100001133 | 1.5 | sqm
5.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | BI01010001010000000000000515BI0100001134 | 1 | each | 807.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 5.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | BI01010001010000000000000515BI0100001134 | 1 | each
5.05 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3(1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | BI01010001010000000000000515BI0100001135 | 7.05 | sqm | 1045.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 5.05 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3(1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | BI01010001010000000000000515BI0100001135 | 7.05 | sqm
6 | WOOD AND P. V. C. WORK | BI01010001010000000000000515BI0100001136 | [53 empty] | 6 | WOOD AND P. V. C. WORK | BI01010001010000000000000515BI0100001136
6.01 | Providing and fixing wooden moulded corner beading of triangular shape to the junction of panelling etc. with iron screws, plugs and priming coat on unexposed surface etc. complete 2nd class teak wood. | BI01010001010000000000000515BI0100001137 | [53 empty] | 6.01 | Providing and fixing wooden moulded corner beading of triangular shape to the junction of panelling etc. with iron screws, plugs and priming coat on unexposed surface etc. complete 2nd class teak wood. | BI01010001010000000000000515BI0100001137
6.02 | 50x50 mm (base and height) | BI01010001010000000000000515BI0100001138 | 3 | metre | 292.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 6.02 | 50x50 mm (base and height) | BI01010001010000000000000515BI0100001138 | 3 | metre
6.03 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | BI01010001010000000000000515BI0100001139 | 4 | each | 16.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 6.03 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | BI01010001010000000000000515BI0100001139 | 4 | each
7 | FLOORING | BI01010001010000000000000515BI0100001140 | [53 empty] | 7 | FLOORING | BI01010001010000000000000515BI0100001140
7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | BI01010001010000000000000515BI0100001141 | [53 empty] | 7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | BI01010001010000000000000515BI0100001141
7.02 | 40 mm thick with 20 mm nominal size stone aggregate | BI01010001010000000000000515BI0100001142 | 1 | sqm | 506.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 7.02 | 40 mm thick with 20 mm nominal size stone aggregate | BI01010001010000000000000515BI0100001142 | 1 | sqm
7.03 | Providing and laying vitrified floor tiles in diferent sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | BI01010001010000000000000515BI0100001143 | [53 empty] | 7.03 | Providing and laying vitrified floor tiles in diferent sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | BI01010001010000000000000515BI0100001143
7.04 | Size of Tile 600x600 mm | BI01010001010000000000000515BI0100001144 | 1 | sqm | 1280.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 7.04 | Size of Tile 600x600 mm | BI01010001010000000000000515BI0100001144 | 1 | sqm
7.05 | Providing and laying Vitrified tiles in floor with diferent sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | BI01010001010000000000000515BI0100001145 | [53 empty] | 7.05 | Providing and laying Vitrified tiles in floor with diferent sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | BI01010001010000000000000515BI0100001145
7.06 | Size of Tile 600x600 mm | BI01010001010000000000000515BI0100001146 | 1.26 | sqm | 1422.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 7.06 | Size of Tile 600x600 mm | BI01010001010000000000000515BI0100001146 | 1.26 | sqm
8 | ROOFING | BI01010001010000000000000515BI0100001147 | [53 empty] | 8 | ROOFING | BI01010001010000000000000515BI0100001147
8.01 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | BI01010001010000000000000515BI0100001148 | [53 empty] | 8.01 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | BI01010001010000000000000515BI0100001148
8.02 | 110 mm diameter | BI01010001010000000000000515BI0100001149 | 17 | metre | 311.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 8.02 | 110 mm diameter | BI01010001010000000000000515BI0100001149 | 17 | metre
8.03 | Providing and fixing false ceiling at all heights including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25 mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, difusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | BI01010001010000000000000515BI0100001150 | [53 empty] | 8.03 | Providing and fixing false ceiling at all heights including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25 mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, difusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | BI01010001010000000000000515BI0100001150
8.04 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | BI01010001010000000000000515BI0100001151 | 1.5 | sqm | 1118 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 8.04 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | BI01010001010000000000000515BI0100001151 | 1.5 | sqm
8.05 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like difusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | BI01010001010000000000000515BI0100001152 | [53 empty] | 8.05 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like difusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | BI01010001010000000000000515BI0100001152
8.06 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16 mm thick fire retardant PVC film on the face side and 12 micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | BI01010001010000000000000515BI0100001153 | 44.1 | sqm | 1826.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 8.06 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16 mm thick fire retardant PVC film on the face side and 12 micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | BI01010001010000000000000515BI0100001153 | 44.1 | sqm
9 | FINISHING | BI01010001010000000000000515BI0100001154 | [53 empty] | 9 | FINISHING | BI01010001010000000000000515BI0100001154
9.01 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: | BI01010001010000000000000515BI0100001155 | [53 empty] | 9.01 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: | BI01010001010000000000000515BI0100001155
9.02 | New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | BI01010001010000000000000515BI0100001156 | 82 | sqm | 153.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 9.02 | New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | BI01010001010000000000000515BI0100001156 | 82 | sqm
9.03 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | BI01010001010000000000000515BI0100001157 | [53 empty] | 9.03 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | BI01010001010000000000000515BI0100001157
9.04 | Two or more coats on new work | BI01010001010000000000000515BI0100001158 | 23 | sqm | 128.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 9.04 | Two or more coats on new work | BI01010001010000000000000515BI0100001158 | 23 | sqm
9.05 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | BI01010001010000000000000515BI0100001159 | 82 | sqm | 128.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 9.05 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | BI01010001010000000000000515BI0100001159 | 82 | sqm
9.06 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC (Volatile Organic Compound ) content less than 50 gram/ litre, of approved brand and manufacturer including applying additional coats wherever required to achieve even shade and colour | BI01010001010000000000000515BI0100001160 | [53 empty] | 9.06 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC (Volatile Organic Compound ) content less than 50 gram/ litre, of approved brand and manufacturer including applying additional coats wherever required to achieve even shade and colour | BI01010001010000000000000515BI0100001160
9.07 | Old work (one or more coats) | BI01010001010000000000000515BI0100001161 | 355 | sqm | 51.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 9.07 | Old work (one or more coats) | BI01010001010000000000000515BI0100001161 | 355 | sqm
9.08 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | BI01010001010000000000000515BI0100001162 | 82 | sqm | 20.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 9.08 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | BI01010001010000000000000515BI0100001162 | 82 | sqm
9.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | BI01010001010000000000000515BI0100001163 | [53 empty] | 9.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | BI01010001010000000000000515BI0100001163
9.1 | One or more coats on old work | BI01010001010000000000000515BI0100001164 | 23.5 | sqm | 84.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 9.1 | One or more coats on old work | BI01010001010000000000000515BI0100001164 | 23.5 | sqm
10 | REPAIRS TO BUILDING | BI01010001010000000000000515BI0100001165 | [53 empty] | 10 | REPAIRS TO BUILDING | BI01010001010000000000000515BI0100001165
10.01 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in- charge. | BI01010001010000000000000515BI0100001166 | 1 | each | 237.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 10.01 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in- charge. | BI01010001010000000000000515BI0100001166 | 1 | each
11 | Dismantling and Demolishing | BI01010001010000000000000515BI0100001167 | [53 empty] | 11 | Dismantling and Demolishing | BI01010001010000000000000515BI0100001167
11.01 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | BI01010001010000000000000515BI0100001168 | [53 empty] | 11.01 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | BI01010001010000000000000515BI0100001168
11.02 | In cement mortar | BI01010001010000000000000515BI0100001169 | 5.26 | cum | 1698.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 11.02 | In cement mortar | BI01010001010000000000000515BI0100001169 | 5.26 | cum
11.03 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | BI01010001010000000000000515BI0100001170 | [53 empty] | 11.03 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | BI01010001010000000000000515BI0100001170
11.04 | Of area 3 sq. metres and below | BI01010001010000000000000515BI0100001171 | 1 | each | 302.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 11.04 | Of area 3 sq. metres and below | BI01010001010000000000000515BI0100001171 | 1 | each
11.05 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | BI01010001010000000000000515BI0100001172 | [53 empty] | 11.05 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | BI01010001010000000000000515BI0100001172
11.06 | For thickness of tiles 10 mm to 25 mm | BI01010001010000000000000515BI0100001173 | 1 | sqm | 60.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 11.06 | For thickness of tiles 10 mm to 25 mm | BI01010001010000000000000515BI0100001173 | 1 | sqm
11.07 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | BI01010001010000000000000515BI0100001174 | 46 | sqm | 46.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 11.07 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | BI01010001010000000000000515BI0100001174 | 46 | sqm
11.08 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | BI01010001010000000000000515BI0100001175 | 10 | cum | 217.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 11.08 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | BI01010001010000000000000515BI0100001175 | 10 | cum
12 | SANITARY INSTALLATIONS | BI01010001010000000000000515BI0100001176 | [53 empty] | 12 | SANITARY INSTALLATIONS | BI01010001010000000000000515BI0100001176
12.01 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | BI01010001010000000000000515BI0100001177 | [53 empty] | 12.01 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | BI01010001010000000000000515BI0100001177
12.02 | Size 600x450x200 mm | BI01010001010000000000000515BI0100001178 | 1 | each | 3362.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 12.02 | Size 600x450x200 mm | BI01010001010000000000000515BI0100001178 | 1 | each
12.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | BI01010001010000000000000515BI0100001179 | [53 empty] | 12.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | BI01010001010000000000000515BI0100001179
12.04 | Semi rigid pipe | BI01010001010000000000000515BI0100001180 | [53 empty] | 12.04 | Semi rigid pipe | BI01010001010000000000000515BI0100001180
12.05 | 32 mm dia | BI01010001010000000000000515BI0100001181 | 1 | each | 85.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 12.05 | 32 mm dia | BI01010001010000000000000515BI0100001181 | 1 | each
13 | WATER SUPPLY | BI01010001010000000000000515BI0100001182 | [53 empty] | 13 | WATER SUPPLY | BI01010001010000000000000515BI0100001182
13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work - Exposed on wall | BI01010001010000000000000515BI0100001183 | [53 empty] | 13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work - Exposed on wall | BI01010001010000000000000515BI0100001183
13.02 | 15 mm dia nominal bore | BI01010001010000000000000515BI0100001184 | 12 | metre | 302.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.02 | 15 mm dia nominal bore | BI01010001010000000000000515BI0100001184 | 12 | metre
13.03 | 40 mm dia nominal bore | BI01010001010000000000000515BI0100001185 | 15 | metre | 669.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.03 | 40 mm dia nominal bore | BI01010001010000000000000515BI0100001185 | 15 | metre
13.04 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | BI01010001010000000000000515BI0100001186 | [53 empty] | 13.04 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | BI01010001010000000000000515BI0100001186
13.05 | 15 mm dia nominal bore | BI01010001010000000000000515BI0100001187 | 3 | metre | 478.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.05 | 15 mm dia nominal bore | BI01010001010000000000000515BI0100001187 | 3 | metre
13.06 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | BI01010001010000000000000515BI0100001188 | [53 empty] | 13.06 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | BI01010001010000000000000515BI0100001188
13.07 | 25 to 40 mm nominal bore | BI01010001010000000000000515BI0100001189 | 1 | each | 751.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.07 | 25 to 40 mm nominal bore | BI01010001010000000000000515BI0100001189 | 1 | each
13.08 | Providing and fixing brass stop cock of approved quality : | BI01010001010000000000000515BI0100001190 | [53 empty] | 13.08 | Providing and fixing brass stop cock of approved quality : | BI01010001010000000000000515BI0100001190
13.09 | 15 mm nominal bore | BI01010001010000000000000515BI0100001191 | 1 | each | 291.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.09 | 15 mm nominal bore | BI01010001010000000000000515BI0100001191 | 1 | each
13.1 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | BI01010001010000000000000515BI0100001192 | [53 empty] | 13.1 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | BI01010001010000000000000515BI0100001192
13.11 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | BI01010001010000000000000515BI0100001193 | 1 | each | 1643.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.11 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | BI01010001010000000000000515BI0100001193 | 1 | each
13.12 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | BI01010001010000000000000515BI0100001194 | [53 empty] | 13.12 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | BI01010001010000000000000515BI0100001194
13.13 | 40 mm nominal bore | BI01010001010000000000000515BI0100001195 | 1 | each | 520.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.13 | 40 mm nominal bore | BI01010001010000000000000515BI0100001195 | 1 | each
13.14 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | BI01010001010000000000000515BI0100001196 | [53 empty] | 13.14 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | BI01010001010000000000000515BI0100001196
13.15 | 15 mm nominal bore | BI01010001010000000000000515BI0100001197 | 2 | each | 658.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.15 | 15 mm nominal bore | BI01010001010000000000000515BI0100001197 | 2 | each
13.16 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | BI01010001010000000000000515BI0100001198 | [53 empty] | 13.16 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | BI01010001010000000000000515BI0100001198
13.17 | 15 mm nominal bore | BI01010001010000000000000515BI0100001199 | 2 | each | 473.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.17 | 15 mm nominal bore | BI01010001010000000000000515BI0100001199 | 2 | each
13.18 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. | BI01010001010000000000000515BI0100001200 | [53 empty] | 13.18 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. | BI01010001010000000000000515BI0100001200
13.19 | 15 mm nominal bore with 30 cm length | BI01010001010000000000000515BI0100001201 | 2 | each | 79.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13.19 | 15 mm nominal bore with 30 cm length | BI01010001010000000000000515BI0100001201 | 2 | each
14 | DRAINAGE | BI01010001010000000000000515BI0100001202 | [53 empty] | 14 | DRAINAGE | BI01010001010000000000000515BI0100001202
14.01 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | BI01010001010000000000000515BI0100001203 | [53 empty] | 14.01 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | BI01010001010000000000000515BI0100001203
14.02 | 100x100 mm size P type | BI01010001010000000000000515BI0100001204 | [53 empty] | 14.02 | 100x100 mm size P type | BI01010001010000000000000515BI0100001204
14.03 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | BI01010001010000000000000515BI0100001205 | 1 | each | 2232.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 14.03 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | BI01010001010000000000000515BI0100001205 | 1 | each
15 | ALUMINIUM WORK | BI01010001010000000000000515BI0100001206 | [53 empty] | 15 | ALUMINIUM WORK | BI01010001010000000000000515BI0100001206
15.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | BI01010001010000000000000515BI0100001207 | [53 empty] | 15.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | BI01010001010000000000000515BI0100001207
15.02 | For fixed portion | BI01010001010000000000000515BI0100001208 | [53 empty] | 15.02 | For fixed portion | BI01010001010000000000000515BI0100001208
15.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | BI01010001010000000000000515BI0100001209 | 13.5 | kg | 408.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | BI01010001010000000000000515BI0100001209 | 13.5 | kg
15.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | BI01010001010000000000000515BI0100001210 | [53 empty] | 15.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | BI01010001010000000000000515BI0100001210
15.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | BI01010001010000000000000515BI0100001211 | 22.2 | kg | 493.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | BI01010001010000000000000515BI0100001211 | 22.2 | kg
15.06 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | BI01010001010000000000000515BI0100001212 | [53 empty] | 15.06 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | BI01010001010000000000000515BI0100001212
15.07 | Pre-laminated particle board with decorative lamination on both sides | BI01010001010000000000000515BI0100001213 | 1.26 | sqm | 919.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.07 | Pre-laminated particle board with decorative lamination on both sides | BI01010001010000000000000515BI0100001213 | 1.26 | sqm
15.08 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | BI01010001010000000000000515BI0100001214 | [53 empty] | 15.08 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | BI01010001010000000000000515BI0100001214
15.09 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | BI01010001010000000000000515BI0100001215 | 1.54 | sqm | 1241.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.09 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | BI01010001010000000000000515BI0100001215 | 1.54 | sqm
15.1 | Providing and fixing Brass 100 mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | BI01010001010000000000000515BI0100001216 | 2 | each | 436.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.1 | Providing and fixing Brass 100 mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | BI01010001010000000000000515BI0100001216 | 2 | each
15.11 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001217 | [53 empty] | 15.11 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001217
15.12 | Anodized (AC 15) aluminium | BI01010001010000000000000515BI0100001218 | 4 | each | 88.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.12 | Anodized (AC 15) aluminium | BI01010001010000000000000515BI0100001218 | 4 | each
16 | MINOR CIVIL MAINTENANCE WORK | BI01010001010000000000000515BI0100001219 | [53 empty] | 16 | MINOR CIVIL MAINTENANCE WORK | BI01010001010000000000000515BI0100001219
16.01 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | BI01010001010000000000000515BI0100001220 | 47.5 | sqm | 92.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 16.01 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | BI01010001010000000000000515BI0100001220 | 47.5 | sqm
16.02 | Providing and Fixing vertical venetian blinds VISTA make dustgaurd (classic/select) or approved equivalent make & quality complete as per direction of Engineer- In-charge. | BI01010001010000000000000515BI0100001221 | 26.11 | sqm | 2151.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 16.02 | Providing and Fixing vertical venetian blinds VISTA make dustgaurd (classic/select) or approved equivalent make & quality complete as per direction of Engineer- In-charge. | BI01010001010000000000000515BI0100001221 | 26.11 | sqm
16.03 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | BI01010001010000000000000515BI0100001222 | 46 | sqm | 540.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 16.03 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | BI01010001010000000000000515BI0100001222 | 46 | sqm
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information