## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT Kanpur
Name of Work: Renovation of two nos bath rooms in house no 473, rectification of seepage problem in house no 641 and providing and fixing of Aluminum door window in house no 4074
Contract No: 04/Civil/D2/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | Item1 | [52 empty] | 1 | Carriage of Materials | Item1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | Item2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | Item2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 | Item3 | 2 | cum | 162.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Lime, moorum, building rubbish Lead - 2 | Item3 | 2 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CEMENT CONCRETE (CAST IN SITU) | Item4 | [52 empty] | 2 | CEMENT CONCRETE (CAST IN SITU) | Item4 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.01 | Providing and laying in position excluding cement concrete of level: specified grade the cost of centering and shuttering - All work up to plinth | Item5 | [52 empty] | 2.01 | Providing and laying in position excluding cement concrete of level: specified grade the cost of centering and shuttering - All work up to plinth | Item5 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.02 | 1:2:4 (1 Cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | Item6 | 0.1 | cum | 6415.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | 1:2:4 (1 Cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | Item6 | 0.1 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-Ill) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | Item7 | 1 | sqm | 617.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.03 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-Ill) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | Item7 | 1 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | MASONRY WORK | Item8 | [52 empty] | 3 | MASONRY WORK | Item8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | Item9 | [52 empty] | 3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | Item9 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.02 | Cement mortar 1:6(1 cement :6 coarse sand) | Item10 | 0.1 | cum | 5881.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.02 | Cement mortar 1:6(1 cement :6 coarse sand) | Item10 | 0.1 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | CLADDING WORK | Item11 | [52 empty] | 4 | CLADDING WORK | Item11 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.01 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3(1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | Item12 | 34 | sqm | 1045.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.01 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3(1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | Item12 | 34 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | FLOORING | Item13 | [52 empty] | 5 | FLOORING | Item13 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | Item14 | 9.5 | sqm | 904.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | Item14 | 9.5 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | FINISHING | Item15 | [52 empty] | 6 | FINISHING | Item15 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.01 | 15 mm cement plaster on rough side of single or half brick wall of mix: | Item16 | [52 empty] | 6.01 | 15 mm cement plaster on rough side of single or half brick wall of mix: | Item16 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.02 | 1:6(1 cement: 6 coarse sand) | Item17 | 2 | sqm | 326 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.02 | 1:6(1 cement: 6 coarse sand) | Item17 | 2 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.03 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | Item18 | [52 empty] | 6.03 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | Item18 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.04 | Flush / Ruled/ Struck or weathered pointing | Item19 | 15 | sqm | 212.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.04 | Flush / Ruled/ Struck or weathered pointing | Item19 | 15 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.05 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | Item20 | [52 empty] | 6.05 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | Item20 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.06 | New work (Two or more coats applied @ 1.43 Itr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Item21 | 18 | sqm | 141.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.06 | New work (Two or more coats applied @ 1.43 Itr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Item21 | 18 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.07 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item22 | 75 | sqm | 128.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.07 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item22 | 75 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.08 | White washing with lime to give an even shade: | Item23 | [52 empty] | 6.08 | White washing with lime to give an even shade: | Item23 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.09 | Old work (two or more coats) | Item24 | 10 | sqm | 18.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.09 | Old work (two or more coats) | Item24 | 10 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.1 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | Item25 | 10 | sqm | 16.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | Item25 | 10 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.11 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Item26 | 75 | sqm | 20.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.11 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Item26 | 75 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.12 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | Item27 | [52 empty] | 6.12 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | Item27 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.13 | One or more coats on old work | Item28 | 10 | sqm | 84.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.13 | One or more coats on old work | Item28 | 10 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.14 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | Item29 | [52 empty] | 6.14 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | Item29 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.15 | Old work (one or more coats applied @ 0.83 Itr/10 sqm). | Item30 | 30 | sqm | 73.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.15 | Old work (one or more coats applied @ 0.83 Itr/10 sqm). | Item30 | 30 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.16 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | Item31 | 100 | Sqm | 92.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.16 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | Item31 | 100 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | REPAIRS TO BUILDING | Item32 | [52 empty] | 7 | REPAIRS TO BUILDING | Item32 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | Item33 | [52 empty] | 7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | Item33 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | Item34 | 5 | sqm | 462.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | Item34 | 5 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Dismantling and Demolishing | Item35 | [52 empty] | 8 | Dismantling and Demolishing | Item35 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | Item36 | [52 empty] | 8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | Item36 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.02 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | Item37 | 0.4 | cum | 2007.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.02 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | Item37 | 0.4 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.03 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | Item38 | 0.95 | cum | 1239.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.03 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | Item38 | 0.95 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.04 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | Item39 | [52 empty] | 8.04 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | Item39 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.05 | Of area 3 sq. metres and below | Item40 | 34 | each | 118.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.05 | Of area 3 sq. metres and below | Item40 | 34 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.06 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | Item41 | 35 | sqm | 45.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.06 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | Item41 | 35 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | SANITARY INSTALLATIONS | Item42 | [52 empty] | 9 | SANITARY INSTALLATIONS | Item42 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | Item43 | [52 empty] | 9.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | Item43 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | Item44 | 1 | each | 5580.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | Item44 | 1 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | Item45 | [52 empty] | 9.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | Item45 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.04 | W.C. pan with ISI marked white solid plastic seat and lid | Item46 | 1 | each | 5372.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.04 | W.C. pan with ISI marked white solid plastic seat and lid | Item46 | 1 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.05 | Providing and fixing CP Brass 32 mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | Item47 | 2 | each | 853.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.05 | Providing and fixing CP Brass 32 mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | Item47 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | Item48 | 2 | each | 5723.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | Item48 | 2 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | Item49 | [52 empty] | 9.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | Item49 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.08 | Flat back wash basin of size 550x400 mm | Item50 | 2 | each | 818.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.08 | Flat back wash basin of size 550x400 mm | Item50 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Item51 | 2 | each | 1325.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Item51 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.1 | Providing and fixing soil, waste and vent pipes : | Item52 | [52 empty] | 9.1 | Providing and fixing soil, waste and vent pipes : | Item52 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.11 | 100 mm dia | Item53 | [52 empty] | 9.11 | 100 mm dia | Item53 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.12 | Sand cast iron S&S pipe as per IS: 1729 | Item54 | 5.5 | metre | 949.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.12 | Sand cast iron S&S pipe as per IS: 1729 | Item54 | 5.5 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.13 | 75 mm diameter : | Item55 | [52 empty] | 9.13 | 75 mm diameter : | Item55 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.14 | Sand cast iron S&S pipe as per IS: 1729 | Item56 | 2 | metre | 861.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.14 | Sand cast iron S&S pipe as per IS: 1729 | Item56 | 2 | metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.15 | Providing and fixing plain bend of required degree. | Item57 | [52 empty] | 9.15 | Providing and fixing plain bend of required degree. | Item57 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.16 | 100 mm dia | Item58 | [52 empty] | 9.16 | 100 mm dia | Item58 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.17 | Sand cast iron S&S as per IS - 1729 | Item59 | 4 | each | 387.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.17 | Sand cast iron S&S as per IS - 1729 | Item59 | 4 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.18 | Providing and fixing collar : | Item60 | [52 empty] | 9.18 | Providing and fixing collar : | Item60 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.19 | 100 mm | Item61 | [52 empty] | 9.19 | 100 mm | Item61 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.2 | Sand cast iron S&S as per IS - 1729 | Item62 | 2 | each | 382.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.2 | Sand cast iron S&S as per IS - 1729 | Item62 | 2 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.21 | 75 mm | Item63 | [52 empty] | 9.21 | 75 mm | Item63 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.22 | Sand cast iron S&S as per IS - 1729 | Item64 | 1 | each | 251.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.22 | Sand cast iron S&S as per IS - 1729 | Item64 | 1 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.23 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | Item65 | [52 empty] | 9.23 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | Item65 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.24 | 100 mm | Item66 | 6 | each | 513.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.24 | 100 mm | Item66 | 6 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.25 | 75 mm | Item67 | 3 | each | 433.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.25 | 75 mm | Item67 | 3 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.26 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | Item68 | [52 empty] | 9.26 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | Item68 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.27 | 100 mm inlet and 100 mm outlet | Item69 | [52 empty] | 9.27 | 100 mm inlet and 100 mm outlet | Item69 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.28 | Sand Cast Iron S&S as per IS: 1729 | Item70 | 2 | each | 1388.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.28 | Sand Cast Iron S&S as per IS: 1729 | Item70 | 2 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.29 | 100 mm inlet and 75 mm outlet | Item71 | [52 empty] | 9.29 | 100 mm inlet and 75 mm outlet | Item71 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.3 | Sand Cast Iron S&S as per IS- 1729 | Item72 | 4 | each | 1285.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.3 | Sand Cast Iron S&S as per IS- 1729 | Item72 | 4 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | WATER SUPPLY | Item73 | [52 empty] | 10 | WATER SUPPLY | Item73 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | Item74 | [52 empty] | 10.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | Item74 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.02 | 32 mm nominal dia Pipes | Item75 | 1.2 | metre | 427.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.02 | 32 mm nominal dia Pipes | Item75 | 1.2 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.03 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | Item76 | [52 empty] | 10.03 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | Item76 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.04 | 20 mm nominal dia Pipes | Item77 | 35 | metre | 443.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.04 | 20 mm nominal dia Pipes | Item77 | 35 | metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.05 | Providing and fixing uplasticised PVC connection pipe with brass unions : | Item78 | [52 empty] | 10.05 | Providing and fixing uplasticised PVC connection pipe with brass unions : | Item78 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.06 | 45 cm length | Item79 | [52 empty] | 10.06 | 45 cm length | Item79 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.07 | 15 mm nominal bore | Item80 | 8 | each | 80.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.07 | 15 mm nominal bore | Item80 | 8 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.08 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | Item81 | [52 empty] | 10.08 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | Item81 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.09 | 15 mm nominal bore | Item82 | 2 | each | 417.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.09 | 15 mm nominal bore | Item82 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.1 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | Item83 | [52 empty] | 10.1 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | Item83 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.11 | 15 mm nominal bore | Item84 | 1 | each | 676.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.11 | 15 mm nominal bore | Item84 | 1 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.12 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | Item85 | [52 empty] | 10.12 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | Item85 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.13 | 15 mm nominal bore | Item86 | 4 | each | 552.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.13 | 15 mm nominal bore | Item86 | 4 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | Item87 | [52 empty] | 10.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | Item87 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.15 | 15 mm nominal bore | Item88 | 12 | each | 473.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.15 | 15 mm nominal bore | Item88 | 12 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.16 | Providing and fixing C.P. Brass extension nipple (size 15 mm x 50 mm) of approved make and quality as per direction of Engineer-in-charge. | Item89 | 6 | each | 61.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.16 | Providing and fixing C.P. Brass extension nipple (size 15 mm x 50 mm) of approved make and quality as per direction of Engineer-in-charge. | Item89 | 6 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.17 | Cutting holes up to 30x30 cm in walls including making good the same: | Item90 | [52 empty] | 10.17 | Cutting holes up to 30x30 cm in walls including making good the same: | Item90 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.18 | With common burnt clay F.P.S. (non modular) bricks | Item91 | 2 | each | 343.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.18 | With common burnt clay F.P.S. (non modular) bricks | Item91 | 2 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | ALUMINIUM WORK | Item92 | [52 empty] | 11 | ALUMINIUM WORK | Item92 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | Item93 | [52 empty] | 11.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | Item93 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.02 | For fixed portion | Item94 | [52 empty] | 11.02 | For fixed portion | Item94 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | Item95 | 250 | kg | 437.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | Item95 | 250 | kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | Item96 | [52 empty] | 11.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | Item96 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | Item97 | 450 | kg | 523.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | Item97 | 450 | kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | Item98 | [52 empty] | 11.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | Item98 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.07 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | Item99 | 11.5 | sqm | 1241.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.07 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | Item99 | 11.5 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer-in-charge complete. | Item100 | [52 empty] | 11.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer-in-charge complete. | Item100 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.09 | 255 X 19 mm | Item101 | 72 | each | 319.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.09 | 255 X 19 mm | Item101 | 72 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.1 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/ structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540-F & ISO 11600 | Item102 | [52 empty] | 11.1 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/ structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540-F & ISO 11600 | Item102 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.11 | Upto 5 mm depth and 5 mm width | Item103 | 120 | metre | 122.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.11 | Upto 5 mm depth and 5 mm width | Item103 | 120 | metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.12 | Extra for providing and fixing of Aluminum System window over basic item Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.For fixed portion or For shutters of doors, windows & ventilators Powder coated aluminium (minimum thickness of powder coating 50 micron) i/c all corner cleat complete. | Item104 | 700 | Kg | 35.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.12 | Extra for providing and fixing of Aluminum System window over basic item Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.For fixed portion or For shutters of doors, windows & ventilators Powder coated aluminium (minimum thickness of powder coating 50 micron) i/c all corner cleat complete. | Item104 | 700 | Kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | WATER PROOFING | Item105 | [52 empty] | 12 | WATER PROOFING | Item105 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.01 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer- in-Charge. | Item106 | 190 | sqm | 464.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.01 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer- in-Charge. | Item106 | 190 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Minor Civil Maintenance Work | Item107 | [52 empty] | 13 | Minor Civil Maintenance Work | Item107 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | Item108 | 0.95 | Cum | 4637.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | Item108 | 0.95 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | Item109 | 2 | Each | 442.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | Item109 | 2 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | Item110 | 6 | Each | 82.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | Item110 | 6 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | Item111 | 17 | Each | 30.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | Item111 | 17 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | Item112 | 2 | Each | 739.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | Item112 | 2 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | Item113 | 2 | Each | 371.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | Item113 | 2 | Each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.07 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to Aluminum windows and Aluminum clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm, with all necessary complete. | Item114 | 15.5 | SQM | 739.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.07 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to Aluminum windows and Aluminum clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm, with all necessary complete. | Item114 | 15.5 | SQM | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.08 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete | Item115 | 2 | Each | 2140.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.08 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete | Item115 | 2 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.09 | "Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. " | Item116 | 2 | Each | 1355.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.09 | "Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. " | Item116 | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.1 | """Providing and fixing aluminum door seal in door i/c necessary screw etc complete. "" " | Item117 | 4 | Metre | 175.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.1 | """Providing and fixing aluminum door seal in door i/c necessary screw etc complete. "" " | Item117 | 4 | Metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.11 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | Item118 | 80 | Each | 325.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.11 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | Item118 | 80 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information