## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT Kanpur
Name of Work: Extension of AC plant near IWD Central Office.
Contract No: 08/Civil/D2/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | Item1 | [52 empty] | 1 | EARTH WORK | Item1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | Item2 | [52 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | Item2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All kinds of soil. | Item3 | 242 | cum | 214.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | All kinds of soil. | Item3 | 242 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lif. | Item4 | 242 | cum | 161.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lif. | Item4 | 242 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | Item5 | 17 | cum | 1751.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.04 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | Item5 | 17 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.05 | Supplying chemical emulsion in sealed containers including delivery as specified. | Item6 | [52 empty] | 1.05 | Supplying chemical emulsion in sealed containers including delivery as specified. | Item6 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | Item7 | 51 | litre | 193.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.06 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | Item7 | 51 | litre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : | Item8 | [52 empty] | 1.07 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : | Item8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Treatment of soil under existing floors using chemical emulsion © one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement: 2 Coarse sand) to match the existing floor: | Item9 | [52 empty] | 1.08 | Treatment of soil under existing floors using chemical emulsion © one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement: 2 Coarse sand) to match the existing floor: | Item9 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.09 | With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | Item10 | 170 | sqm | 255.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.09 | With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | Item10 | 170 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | CEMENT CONCRETE (CAST IN SITU) | Item11 | [52 empty] | 2 | CEMENT CONCRETE (CAST IN SITU) | Item11 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | Item12 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | Item12 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.02 | 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources: 8 graded stone aggregate 40 mm nominal size derived from natural sources) | Item13 | 38 | cum | 5617.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources: 8 graded stone aggregate 40 mm nominal size derived from natural sources) | Item13 | 38 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Providing and laying damp-proof course 50 mm thick with cement concrete 1:2:4 (1 cement: 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | Item14 | 12 | sqm | 408.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.03 | Providing and laying damp-proof course 50 mm thick with cement concrete 1:2:4 (1 cement: 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | Item14 | 12 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7 kg per square metre on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil. | Item15 | 12 | sqm | 120.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.04 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7 kg per square metre on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil. | Item15 | 12 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | REINFORCED CEMENT CONCRETE | Item16 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | Item16 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.01 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | Item17 | [52 empty] | 3.01 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | Item17 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | 1:1.5:3(1 cement: 1.5 coarse sand (zone-Ill) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | Item18 | 80 | cum | 7459.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.02 | 1:1.5:3(1 cement: 1.5 coarse sand (zone-Ill) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | Item18 | 80 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | Item19 | 75 | cum | 9487.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | Item19 | 75 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.04 | Centering and shuttering including strutting, propping etc. and removal of form for | Item20 | [52 empty] | 3.04 | Centering and shuttering including strutting, propping etc. and removal of form for | Item20 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.05 | Foundations, footings, bases of columns, etc. for mass concrete | Item21 | 225 | sqm | 323.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.05 | Foundations, footings, bases of columns, etc. for mass concrete | Item21 | 225 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.06 | Suspended floors, roofs, landings, balconies and access platform | Item22 | 200 | sqm | 764.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.06 | Suspended floors, roofs, landings, balconies and access platform | Item22 | 200 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.07 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | Item23 | 250 | sqm | 607.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.07 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | Item23 | 250 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.08 | Columns, Pillars, Piers, Abutments, Posts and Struts | Item24 | 150 | sqm | 792.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.08 | Columns, Pillars, Piers, Abutments, Posts and Struts | Item24 | 150 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.09 | Stairs, (excluding landings) except spiral-staircases | Item25 | 12 | sqm | 630.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.09 | Stairs, (excluding landings) except spiral-staircases | Item25 | 12 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | Edges of slabs and breaks in floors and walls | Item26 | [52 empty] | 3.1 | Edges of slabs and breaks in floors and walls | Item26 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.11 | Under 20 cm wide | Item27 | 71 | metre | 171.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.11 | Under 20 cm wide | Item27 | 71 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.12 | Weather shed, Chajjas, corbels etc., including edges | Item28 | 38 | sqm | 784.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.12 | Weather shed, Chajjas, corbels etc., including edges | Item28 | 38 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.13 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). | Item29 | [52 empty] | 3.13 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). | Item29 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.14 | Suspended floors, roofs, landings, beams and balconies (Plan area to be measured) | Item30 | 200 | sqm | 316.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.14 | Suspended floors, roofs, landings, beams and balconies (Plan area to be measured) | Item30 | 200 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.15 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | Item31 | [52 empty] | 3.15 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | Item31 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.16 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | Item32 | 8200 | kg | 88.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.16 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | Item32 | 8200 | kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.17 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | Item33 | [52 empty] | 3.17 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | Item33 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.18 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | Item34 | 11000 | kg | 88.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.18 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | Item34 | 11000 | kg | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | MASONRY WORK | Item35 | [52 empty] | 4 | MASONRY WORK | Item35 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.01 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | Item36 | [52 empty] | 4.01 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | Item36 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.02 | Cement mortar 1:4(1 cement :4 coarse sand) | Item37 | 8 | cum | 5363.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.02 | Cement mortar 1:4(1 cement :4 coarse sand) | Item37 | 8 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | Item38 | [52 empty] | 4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | Item38 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.04 | Cement mortar 1:6(1 cement : 6 coarse sand) | Item39 | 31 | cum | 7508.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.04 | Cement mortar 1:6(1 cement : 6 coarse sand) | Item39 | 31 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.05 | Brick work with common burnt clay modular bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand). | Item40 | [52 empty] | 4.05 | Brick work with common burnt clay modular bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand). | Item40 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.06 | Above plinth level upto floor V level | Item41 | 20 | cum | 6854.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.06 | Above plinth level upto floor V level | Item41 | 20 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | WOOD AND P. V. C. WORK | Item42 | [52 empty] | 5 | WOOD AND P. V. C. WORK | Item42 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.01 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | Item43 | [52 empty] | 5.01 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | Item43 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.02 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | Item44 | 3 | sqm | 1972.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.02 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | Item44 | 3 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.03 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete (Copper oxidised as per IS 1378) | Item45 | [52 empty] | 5.03 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete (Copper oxidised as per IS 1378) | Item45 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.04 | 125 mm | Item46 | 104 | each | 32.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.04 | 125 mm | Item46 | 104 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.05 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete (Copper oxidised as per IS 1378) | Item47 | [52 empty] | 5.05 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete (Copper oxidised as per IS 1378) | Item47 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.06 | 300 mm weighing not less than 330 grams | Item48 | 104 | each | 55.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.06 | 300 mm weighing not less than 330 grams | Item48 | 104 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.07 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | Item49 | 1 | each | 927.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.07 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | Item49 | 1 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.08 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | Item50 | [52 empty] | 5.08 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | Item50 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.09 | 300x16 mm | Item51 | 2 | each | 250.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.09 | 300x16 mm | Item51 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.1 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item52 | [52 empty] | 5.1 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item52 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.11 | 125 mm | Item53 | 4 | each | 54.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.11 | 125 mm | Item53 | 4 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.12 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | Item54 | [52 empty] | 5.12 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | Item54 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.13 | Twin rubber stopper | Item55 | 1 | each | 59.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.13 | Twin rubber stopper | Item55 | 1 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | STEEL WORK | Item56 | [52 empty] | 6 | STEEL WORK | Item56 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.01 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. | Item57 | [52 empty] | 6.01 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. | Item57 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.02 | 80x1.20 mm M.S. laths with 1.20 mm thick top cover | Item58 | 9 | sqm | 2727.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.02 | 80x1.20 mm M.S. laths with 1.20 mm thick top cover | Item58 | 9 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.03 | Providing and fixing ball bearing for rolling shutters. | Item59 | 4 | each | 405.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.03 | Providing and fixing ball bearing for rolling shutters. | Item59 | 4 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.04 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. | Item60 | [52 empty] | 6.04 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. | Item60 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.05 | Exceeding 16.80 sqm in area | Item61 | 9 | sqm | 974.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.05 | Exceeding 16.80 sqm in area | Item61 | 9 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.06 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, priming coat of approved steel primer, but excluding the cost of other fittings,glass panes complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | Item62 | [52 empty] | 6.06 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, priming coat of approved steel primer, but excluding the cost of other fittings,glass panes complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | Item62 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.07 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | Item63 | 800 | kg | 108.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.07 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | Item63 | 800 | kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.08 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | Item64 | [52 empty] | 6.08 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | Item64 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.09 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | Item65 | 2200 | kg | 142.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.09 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | Item65 | 2200 | kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.1 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | Item66 | [52 empty] | 6.1 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | Item66 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.11 | M.S. tube | Item67 | 45 | kg | 162.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.11 | M.S. tube | Item67 | 45 | kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.12 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with: | Item68 | [52 empty] | 6.12 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with: | Item68 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.13 | 4.0 mm thick glass panes | Item69 | 39 | sqm | 877.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.13 | 4.0 mm thick glass panes | Item69 | 39 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | FLOORING | Item70 | [52 empty] | 7 | FLOORING | Item70 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.01 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | Item71 | 800 | sqm | 870.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.01 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | Item71 | 800 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.02 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement: 3 coarse sand), finished with a floating coat of neat cement. | Item72 | [52 empty] | 7.02 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement: 3 coarse sand), finished with a floating coat of neat cement. | Item72 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.03 | 18 mm thick | Item73 | 6 | sqm | 545.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.03 | 18 mm thick | Item73 | 6 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.04 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | Item74 | [52 empty] | 7.04 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | Item74 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.05 | 40 mm wide and 4 mm thick | Item75 | 400 | metre | 75.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.05 | 40 mm wide and 4 mm thick | Item75 | 400 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | ROOFING | Item76 | [52 empty] | 8 | ROOFING | Item76 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.01 | Providing gola 75x75 mm in cement concrete 1:2:4(1 cement :2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement: 3 fine sand) as per standard design : | Item77 | [52 empty] | 8.01 | Providing gola 75x75 mm in cement concrete 1:2:4(1 cement :2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement: 3 fine sand) as per standard design : | Item77 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.02 | In 75x75 mm deep chase | Item78 | 60 | metre | 251.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.02 | In 75x75 mm deep chase | Item78 | 60 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.03 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | Item79 | 4 | each | 245.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.03 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | Item79 | 4 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.04 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | Item80 | [52 empty] | 8.04 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | Item80 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.05 | 110 mm diameter | Item81 | 24 | metre | 311.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.05 | 110 mm diameter | Item81 | 24 | metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.06 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS :5382, leaving 10 mm gap for thermal expansion. | Item82 | [52 empty] | 8.06 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS :5382, leaving 10 mm gap for thermal expansion. | Item82 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.07 | Bend 87.5° | Item83 | [52 empty] | 8.07 | Bend 87.5° | Item83 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.08 | 110 mm bend | Item84 | 8 | each | 123.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.08 | 110 mm bend | Item84 | 8 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.09 | Shoe (Plain) | Item85 | [52 empty] | 8.09 | Shoe (Plain) | Item85 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.1 | 110 mm Shoe | Item86 | 4 | each | 108.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.1 | 110 mm Shoe | Item86 | 4 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.11 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | Item87 | [52 empty] | 8.11 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | Item87 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.12 | 110 mm | Item88 | 12 | each | 306.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.12 | 110 mm | Item88 | 12 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | FINISHING | Item89 | [52 empty] | 9 | FINISHING | Item89 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.01 | 12 mm cement plaster of mix: | Item90 | [52 empty] | 9.01 | 12 mm cement plaster of mix: | Item90 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.02 | 1:6 (1 cement: 6 coarse sand) | Item91 | 135 | sqm | 283.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.02 | 1:6 (1 cement: 6 coarse sand) | Item91 | 135 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | Item92 | [52 empty] | 9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | Item92 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.04 | 1:6(1 cement: 6 coarse sand) | Item93 | 250 | sqm | 326 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.04 | 1:6(1 cement: 6 coarse sand) | Item93 | 250 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.05 | 6 mm cement plaster of mix: | Item94 | [52 empty] | 9.05 | 6 mm cement plaster of mix: | Item94 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.06 | 1:3(1 cement :3 fine sand) | Item95 | 560 | sqm | 247.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.06 | 1:3(1 cement :3 fine sand) | Item95 | 560 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.07 | Pointing on tile brick work with cement mortar 1:3 (1 cement: 3 fine sand): | Item96 | [52 empty] | 9.07 | Pointing on tile brick work with cement mortar 1:3 (1 cement: 3 fine sand): | Item96 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.08 | Flush/ Ruled/ Struck or weathered pointing | Item97 | 105 | sqm | 288.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.08 | Flush/ Ruled/ Struck or weathered pointing | Item97 | 105 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.09 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: | Item98 | [52 empty] | 9.09 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: | Item98 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.1 | New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | Item99 | 515 | sqm | 153.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.1 | New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | Item99 | 515 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.11 | Finishing walls with Acrylic Smooth exterior paint of required shade: | Item100 | [52 empty] | 9.11 | Finishing walls with Acrylic Smooth exterior paint of required shade: | Item100 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.12 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Item101 | 280 | sqm | 132.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.12 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Item101 | 280 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.13 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | Item102 | [52 empty] | 9.13 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | Item102 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.14 | Two or more coats on new work | Item103 | 190 | sqm | 128.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.14 | Two or more coats on new work | Item103 | 190 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.15 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item104 | 515 | sqm | 128.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.15 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item104 | 515 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | REPAIRS TO BUILDING | Item105 | [52 empty] | 10 | REPAIRS TO BUILDING | Item105 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Dismantling and Demolishing | Item106 | [52 empty] | 11 | Dismantling and Demolishing | Item106 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | Item107 | [52 empty] | 11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | Item107 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.02 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | Item108 | 0.5 | cum | 2007.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.02 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | Item108 | 0.5 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | Item109 | [52 empty] | 11.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | Item109 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.04 | In cement mortar | Item110 | 0.5 | cum | 1698.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.04 | In cement mortar | Item110 | 0.5 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.05 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | Item111 | 5 | cum | 217.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.05 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | Item111 | 5 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | SANITARY INSTALLATIONS | Item112 | [52 empty] | 12 | SANITARY INSTALLATIONS | Item112 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.01 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40 mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : | Item113 | [52 empty] | 12.01 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40 mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : | Item113 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.02 | Size 600x450x200 mm | Item114 | 2 | each | 5430.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.02 | Size 600x450x200 mm | Item114 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | Item115 | [52 empty] | 12.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | Item115 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.04 | Flexible pipe | Item116 | [52 empty] | 12.04 | Flexible pipe | Item116 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.05 | 32 mm dia | Item117 | 2 | each | 98.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.05 | 32 mm dia | Item117 | 2 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.06 | Providing and fixing soil, waste and vent pipes : | Item118 | [52 empty] | 12.06 | Providing and fixing soil, waste and vent pipes : | Item118 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.07 | 100 mm dia | Item119 | [52 empty] | 12.07 | 100 mm dia | Item119 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.08 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | Item120 | 10 | metre | 973.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.08 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | Item120 | 10 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.09 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | Item121 | [52 empty] | 12.09 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | Item121 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.1 | 100 mm dia | Item122 | [52 empty] | 12.1 | 100 mm dia | Item122 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.11 | Sand cast iron S&S as per IS - 1729 | Item123 | 4 | each | 493.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.11 | Sand cast iron S&S as per IS - 1729 | Item123 | 4 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.12 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | Item124 | [52 empty] | 12.12 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | Item124 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.13 | 100 mm | Item125 | 12 | each | 513.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.13 | 100 mm | Item125 | 12 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.14 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | Item126 | [52 empty] | 12.14 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | Item126 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.15 | 100 mm inlet and 100 mm outlet | Item127 | [52 empty] | 12.15 | 100 mm inlet and 100 mm outlet | Item127 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.16 | Sand cast iron S&S as per IS: 3989 | Item128 | 2 | each | 1646.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.16 | Sand cast iron S&S as per IS: 3989 | Item128 | 2 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.17 | Painting sand cast iron/ centrifugally cast (spun) iron soil, waste vent pipes and fittings with two coats of synthetic enamel paint of any colour such as chocolate grey, or buff etc. over a coat of primer (of approved quality) for new work : | Item129 | [52 empty] | 12.17 | Painting sand cast iron/ centrifugally cast (spun) iron soil, waste vent pipes and fittings with two coats of synthetic enamel paint of any colour such as chocolate grey, or buff etc. over a coat of primer (of approved quality) for new work : | Item129 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.18 | 100 mm diameter pipe | Item130 | 10 | metre | 68.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.18 | 100 mm diameter pipe | Item130 | 10 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | WATER SUPPLY | Item131 | [52 empty] | 13 | WATER SUPPLY | Item131 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work - Exposed on wall | Item132 | [52 empty] | 13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work - Exposed on wall | Item132 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.02 | 20 mm dia nominal bore | Item133 | 18 | metre | 360.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.02 | 20 mm dia nominal bore | Item133 | 18 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.03 | 25 mm dia nominal bore | Item134 | 18 | metre | 454.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.03 | 25 mm dia nominal bore | Item134 | 18 | metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.04 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | Item135 | [52 empty] | 13.04 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | Item135 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.05 | 15 mm dia nominal bore | Item136 | 6 | metre | 478.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.05 | 15 mm dia nominal bore | Item136 | 6 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.06 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | Item137 | [52 empty] | 13.06 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | Item137 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.07 | 25 to 40 mm nominal bore | Item138 | 1 | each | 751.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.07 | 25 to 40 mm nominal bore | Item138 | 1 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.08 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | Item139 | [52 empty] | 13.08 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | Item139 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.09 | 20 mm nominal bore | Item140 | 2 | each | 445.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.09 | 20 mm nominal bore | Item140 | 2 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.1 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | Item141 | [52 empty] | 13.1 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | Item141 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.11 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | Item142 | 2 | each | 1643.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.11 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | Item142 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.12 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | Item143 | [52 empty] | 13.12 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | Item143 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.13 | 25 mm nominal bore | Item144 | 2 | each | 783.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.13 | 25 mm nominal bore | Item144 | 2 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.14 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | Item145 | [52 empty] | 13.14 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | Item145 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.15 | 15 mm nominal bore | Item146 | 2 | each | 658.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.15 | 15 mm nominal bore | Item146 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | DRAINAGE | Item147 | [52 empty] | 14 | DRAINAGE | Item147 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | Item148 | [52 empty] | 14.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | Item148 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.02 | 150 mm diameter | Item149 | 20 | metre | 573.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.02 | 150 mm diameter | Item149 | 20 | metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : | Item150 | [52 empty] | 14.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : | Item150 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.04 | 100 mm diameter S.W. pipe | Item151 | 20 | metre | 378.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.04 | 100 mm diameter S.W. pipe | Item151 | 20 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | Item152 | [52 empty] | 14.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | Item152 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.06 | 100x100 mm size P type | Item153 | [52 empty] | 14.06 | 100x100 mm size P type | Item153 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Item154 | 1 | each | 2232.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Item154 | 1 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | Item155 | [52 empty] | 14.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | Item155 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.09 | For pipes 100 to 250 mm diameter | Item156 | 1 | each | 668.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.09 | For pipes 100 to 250 mm diameter | Item156 | 1 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.1 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | Item157 | [52 empty] | 14.1 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | Item157 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.11 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Item158 | 1 | each | 4912.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.11 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Item158 | 1 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | WATER PROOFING | Item159 | [52 empty] | 15 | WATER PROOFING | Item159 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.01 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge”: | Item160 | [52 empty] | 15.01 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge”: | Item160 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15.02 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | Item161 | 171 | sqm | 1389.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.02 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | Item161 | 171 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.03 | Grading roof for water proofing treatment with | Item162 | [52 empty] | 15.03 | Grading roof for water proofing treatment with | Item162 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.04 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | Item163 | 12.5 | cum | 6631.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.04 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | Item163 | 12.5 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Minor Civil Maintance Works | Item164 | [52 empty] | 16 | Minor Civil Maintance Works | Item164 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16.01 | "P/F on wall face un plasticized PVC pipe incl. Jointing with seal ring single socketed pipe 160mm dia. " | Item165 | 20 | Rm | 1274.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.01 | "P/F on wall face un plasticized PVC pipe incl. Jointing with seal ring single socketed pipe 160mm dia. " | Item165 | 20 | Rm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.02 | "P/F on wall face un plasticized PVC molded fittings for un plasticized PVC pipe incl. Jointing with seal ring. Bend 160mm dia. " | Item166 | 8 | Each | 468.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.02 | "P/F on wall face un plasticized PVC molded fittings for un plasticized PVC pipe incl. Jointing with seal ring. Bend 160mm dia. " | Item166 | 8 | Each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16.03 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clearestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.50 mm all complete. 12x12mm beading. | Item167 | 39 | Sqm | 765.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.03 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clearestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.50 mm all complete. 12x12mm beading. | Item167 | 39 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16.04 | Providing & fixing temporary barricading all round the construction area, made with 24 Gauge G.I. sheet of size 0.90 m ( before corrugation ) x 3.00 m, with vertical ballies and two no. horizontal ballies of 75 mm to 100 mm dia & height upto 2.00 m from ground level incuding necessary excavation in digging holes and refilling earth complete. And barricade shall be braced with inclined ballies at every 10 m. | Item168 | 76 | Mtr | 1630.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.04 | Providing & fixing temporary barricading all round the construction area, made with 24 Gauge G.I. sheet of size 0.90 m ( before corrugation ) x 3.00 m, with vertical ballies and two no. horizontal ballies of 75 mm to 100 mm dia & height upto 2.00 m from ground level incuding necessary excavation in digging holes and refilling earth complete. And barricade shall be braced with inclined ballies at every 10 m. | Item168 | 76 | Mtr | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information