## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT Kanpur
Name of Work: Setting right of vacant house no 339.
Contract No: 30/Civil/D2/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate (Inclusive GST) in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT (Inclusive GST) in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | Item1 | [52 empty] | 1 | Carriage of Materials | Item1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | Item2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | Item2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 | Item3 | 2.26 | cum | 196.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Lime, moorum, building rubbish Lead - 2 | Item3 | 2.26 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | EARTH WORK | Item4 | [52 empty] | 2 | EARTH WORK | Item4 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.01 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: | Item5 | [52 empty] | 2.01 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: | Item5 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.02 | All kinds of soil | Item6 | [52 empty] | 2.02 | All kinds of soil | Item6 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | Item7 | 1.5 | metre | 352.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | Item7 | 1.5 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Supplying chemical emulsion in sealed containers including delivery as specified. | Item8 | [52 empty] | 2.04 | Supplying chemical emulsion in sealed containers including delivery as specified. | Item8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | Item9 | 20 | litre | 234.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.05 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | Item9 | 20 | litre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | CEMENT CONCRETE (CAST IN SITU) | Item10 | [52 empty] | 3 | CEMENT CONCRETE (CAST IN SITU) | Item10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | Providing and laying in position excluding cement concrete of level: specified grade the cost of centering and shuttering - All work up to plinth | Item11 | [52 empty] | 3.01 | Providing and laying in position excluding cement concrete of level: specified grade the cost of centering and shuttering - All work up to plinth | Item11 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.02 | 1:2:4 (1 Cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | Item12 | 0.36 | cum | 7780.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.02 | 1:2:4 (1 Cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | Item12 | 0.36 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.03 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-Ill) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | Item13 | 8 | sqm | 749.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.03 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-Ill) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | Item13 | 8 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | REINFORCED CEMENT CONCRETE | Item14 | [52 empty] | 4 | REINFORCED CEMENT CONCRETE | Item14 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | Item15 | 0.17 | cum | 11505.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | Item15 | 0.17 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.02 | Centering and shuttering including strutting, propping etc. and removal of form for | Item16 | [52 empty] | 4.02 | Centering and shuttering including strutting, propping etc. and removal of form for | Item16 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.03 | Shelves (Cast in situ) | Item17 | 2.68 | sqm | 927.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.03 | Shelves (Cast in situ) | Item17 | 2.68 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | Item18 | [52 empty] | 4.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | Item18 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | Item19 | 16 | kg | 107.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | Item19 | 16 | kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | MASONRY WORK | Item20 | [52 empty] | 5 | MASONRY WORK | Item20 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | Item21 | [52 empty] | 5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | Item21 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | Cement mortar 1:6(1 cement : 6 coarse sand) | Item22 | 0.17 | cum | 9105.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.02 | Cement mortar 1:6(1 cement : 6 coarse sand) | Item22 | 0.17 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | Item23 | [52 empty] | 5.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | Item23 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.04 | cement mortar 1:4(1 cement :4 coarse sand) | Item24 | 1.43 | sqm | 905.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.04 | cement mortar 1:4(1 cement :4 coarse sand) | Item24 | 1.43 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | CLADDING WORK | Item25 | [52 empty] | 6 | CLADDING WORK | Item25 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | Item26 | [52 empty] | 6.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | Item26 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.02 | Granite stone slab of colour black, Cherry/Ruby red | Item27 | [52 empty] | 6.02 | Granite stone slab of colour black, Cherry/Ruby red | Item27 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.03 | Area of slab over 0.50 sqm | Item28 | 1.84 | sqm | 5136.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.03 | Area of slab over 0.50 sqm | Item28 | 1.84 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.04 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3(1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | Item29 | 7.5 | sqm | 1267.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.04 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3(1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | Item29 | 7.5 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | WOOD AND P. V. C. WORK | Item30 | [52 empty] | 7 | WOOD AND P. V. C. WORK | Item30 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete (Copper oxidised as per IS 1378) | Item31 | [52 empty] | 7.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete (Copper oxidised as per IS 1378) | Item31 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.02 | 250x16 mm | Item32 | 2 | each | 193.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.02 | 250x16 mm | Item32 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.03 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete (Copper oxidised as per IS 1378) | Item33 | [52 empty] | 7.03 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete (Copper oxidised as per IS 1378) | Item33 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.04 | 150x10 mm | Item34 | 2 | each | 59.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.04 | 150x10 mm | Item34 | 2 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.05 | 100x10 mm | Item35 | 2 | each | 44.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.05 | 100x10 mm | Item35 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.06 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete (Copper oxidised as per IS 1378) | Item36 | [52 empty] | 7.06 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete (Copper oxidised as per IS 1378) | Item36 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.07 | 125 mm | Item37 | 2 | each | 39.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.07 | 125 mm | Item37 | 2 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.08 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | Item38 | [52 empty] | 7.08 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | Item38 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.09 | 250x16 mm | Item39 | 1 | each | 260.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.09 | 250x16 mm | Item39 | 1 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item40 | [52 empty] | 7.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item40 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.11 | 150x10 mm | Item41 | 14 | each | 82.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.11 | 150x10 mm | Item41 | 14 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.12 | 100x10 mm | Item42 | 14 | each | 64.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.12 | 100x10 mm | Item42 | 14 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.13 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item43 | [52 empty] | 7.13 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item43 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.14 | 100 mm | Item44 | 14 | each | 59.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.14 | 100 mm | Item44 | 14 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.15 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | Item45 | [52 empty] | 7.15 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | Item45 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.16 | Twin rubber stopper | Item46 | 14 | each | 72.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.16 | Twin rubber stopper | Item46 | 14 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.17 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws: | Item47 | [52 empty] | 7.17 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws: | Item47 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.18 | 35 mm thick shutters | Item48 | [52 empty] | 7.18 | 35 mm thick shutters | Item48 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.19 | with ISI marked M.S. pressed butt hinges bright finished of required size | Item49 | [52 empty] | 7.19 | with ISI marked M.S. pressed butt hinges bright finished of required size | Item49 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.2 | Second class teak wood | Item50 | 7.5 | sqm | 5024.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.2 | Second class teak wood | Item50 | 7.5 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.21 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. With Below Specifications (1)""Everyday/Hettich/Steel Art"" Brand Baskets of AISI 304(18/8) in combination of 6mm, 3mm thick wires with bended and raised base wire base in Chrome/Nickel Stainless Steel with Test Certificate for salt spray, resistance to corrosion, stain, scratch and loading capability, Rust Free, Non Magnetic, Extremely Durable (2) Baskets to be used with full extension ball bearing sliding ""Hettich/Hafele"" Brand telescopic 45 kg capacity. (3) Shutters to be mounted on ""Hettich/Hafele"" Brand Auto Closing Concealed Hinges . (4) ""DMS/ Dynasty/ Indoline"" Brand Shutters of 19 mm Mica based Marine Ply Post Form Finished with German Qtr Round Edge and PVC Tape at top and bottom. " | Item51 | 1 | One Job | 136156 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.21 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. With Below Specifications (1)""Everyday/Hettich/Steel Art"" Brand Baskets of AISI 304(18/8) in combination of 6mm, 3mm thick wires with bended and raised base wire base in Chrome/Nickel Stainless Steel with Test Certificate for salt spray, resistance to corrosion, stain, scratch and loading capability, Rust Free, Non Magnetic, Extremely Durable (2) Baskets to be used with full extension ball bearing sliding ""Hettich/Hafele"" Brand telescopic 45 kg capacity. (3) Shutters to be mounted on ""Hettich/Hafele"" Brand Auto Closing Concealed Hinges . (4) ""DMS/ Dynasty/ Indoline"" Brand Shutters of 19 mm Mica based Marine Ply Post Form Finished with German Qtr Round Edge and PVC Tape at top and bottom. " | Item51 | 1 | One Job | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | STEEL WORK | Item52 | [52 empty] | 8 | STEEL WORK | Item52 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Item53 | 125 | kg | 133.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Item53 | 125 | kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.02 | Providing and fixing 1 mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | Item54 | [52 empty] | 8.02 | Providing and fixing 1 mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | Item54 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.03 | Using M.S. angels 40x40x6 mm for diagonal braces | Item55 | 1.6 | sqm | 5804.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.03 | Using M.S. angels 40x40x6 mm for diagonal braces | Item55 | 1.6 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.04 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, bufing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | Item56 | 5 | kg | 772.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.04 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, bufing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | Item56 | 5 | kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | FLOORING | Item57 | [52 empty] | 9 | FLOORING | Item57 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | Item58 | 9 | sqm | 1096.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | Item58 | 9 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.02 | Providing and laying Vitrified tiles in floor in diferent sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | Item59 | [52 empty] | 9.02 | Providing and laying Vitrified tiles in floor in diferent sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | Item59 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.03 | Double charge vitrified tile polished finish of size | Item60 | [52 empty] | 9.03 | Double charge vitrified tile polished finish of size | Item60 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.04 | Size of Tile 600 x 600 mm | Item61 | 75.2 | sqm | 1453.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.04 | Size of Tile 600 x 600 mm | Item61 | 75.2 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.05 | Glazed Vitrified tiles Matt/Antiskid finish of size | Item62 | [52 empty] | 9.05 | Glazed Vitrified tiles Matt/Antiskid finish of size | Item62 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.06 | Size of Tile 600 x 600 mm | Item63 | 24.6 | sqm | 1464.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.06 | Size of Tile 600 x 600 mm | Item63 | 24.6 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.07 | Providing and laying Vitrified tiles in diferent sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | Item64 | [52 empty] | 9.07 | Providing and laying Vitrified tiles in diferent sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | Item64 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.08 | Size of Tile 600x600 mm | Item65 | 10.5 | sqm | 1623.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.08 | Size of Tile 600x600 mm | Item65 | 10.5 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | FINISHING | Item66 | [52 empty] | 10 | FINISHING | Item66 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.01 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix: | Item67 | [52 empty] | 10.01 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix: | Item67 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.02 | 1:4(1 cement: 4 fine sand) | Item68 | 7.7 | sqm | 477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.02 | 1:4(1 cement: 4 fine sand) | Item68 | 7.7 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.03 | 6 mm cement plaster of mix: | Item69 | [52 empty] | 10.03 | 6 mm cement plaster of mix: | Item69 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.04 | 1:3(1 cement :3 fine sand) | Item70 | 2.3 | sqm | 300.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.04 | 1:3(1 cement :3 fine sand) | Item70 | 2.3 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.05 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | Item71 | [52 empty] | 10.05 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | Item71 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.06 | Two or more coats on new work | Item72 | 3.45 | sqm | 155.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.06 | Two or more coats on new work | Item72 | 3.45 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.07 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | Item73 | [52 empty] | 10.07 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | Item73 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.08 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | Item74 | 16 | sqm | 226.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.08 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | Item74 | 16 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item75 | 110 | sqm | 156.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item75 | 110 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.1 | White washing with lime to give an even shade: | Item76 | [52 empty] | 10.1 | White washing with lime to give an even shade: | Item76 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.11 | Old work (two or more coats) | Item77 | 97 | sqm | 22.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.11 | Old work (two or more coats) | Item77 | 97 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.12 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | Item78 | 97 | sqm | 19.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.12 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | Item78 | 97 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.13 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Item79 | 110 | sqm | 25.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.13 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Item79 | 110 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.14 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | Item80 | [52 empty] | 10.14 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | Item80 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.15 | One or more coats on old work | Item81 | 122 | sqm | 102.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.15 | One or more coats on old work | Item81 | 122 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.16 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | Item82 | [52 empty] | 10.16 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | Item82 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.17 | Old work (one or more coats applied @ 0.83 Itr/10 sqm). | Item83 | 76 | sqm | 88.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.17 | Old work (one or more coats applied @ 0.83 Itr/10 sqm). | Item83 | 76 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.18 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | Item84 | 345 | Sqm | 111.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.18 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | Item84 | 345 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | REPAIRS TO BUILDING | Item85 | [52 empty] | 11 | REPAIRS TO BUILDING | Item85 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | Item86 | [52 empty] | 11.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | Item86 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | Item87 | 12 | sqm | 560.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | Item87 | 12 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.03 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | Item88 | [52 empty] | 11.03 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | Item88 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | Item89 | 1.5 | sqm | 1090.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | Item89 | 1.5 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.05 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in- charge. | Item90 | 1 | each | 288.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.05 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in- charge. | Item90 | 1 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.06 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | Item91 | 99 | sqm | 3.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.06 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | Item91 | 99 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.07 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | Item92 | 5 | metre | 3.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.07 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | Item92 | 5 | metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.08 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | Item93 | 10 | each | 429.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.08 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | Item93 | 10 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Dismantling and Demolishing | Item94 | [52 empty] | 12 | Dismantling and Demolishing | Item94 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | Item95 | [52 empty] | 12.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | Item95 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.02 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | Item96 | 0.4 | cum | 2434.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.02 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | Item96 | 0.4 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.03 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | Item97 | 0.9 | cum | 1503.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.03 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | Item97 | 0.9 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | Item98 | 0.33 | cum | 3551.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | Item98 | 0.33 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.05 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | Item99 | 20 | sqm | 54.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.05 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | Item99 | 20 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13 | SANITARY INSTALLATIONS | Item100 | [52 empty] | 13 | SANITARY INSTALLATIONS | Item100 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | Item101 | [52 empty] | 13.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | Item101 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | Item102 | 1 | each | 6767.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | Item102 | 1 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | Item103 | [52 empty] | 13.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | Item103 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.04 | W.C. pan with ISI marked white solid plastic seat and lid | Item104 | 1 | each | 6515.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.04 | W.C. pan with ISI marked white solid plastic seat and lid | Item104 | 1 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.05 | Providing and fixing CP Brass 32 mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | Item105 | 2 | each | 1034.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.05 | Providing and fixing CP Brass 32 mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | Item105 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | Item106 | 1 | each | 6940.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | Item106 | 1 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | Item107 | [52 empty] | 13.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | Item107 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.08 | Flat back wash basin of size 550x400 mm | Item108 | 2 | each | 992.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.08 | Flat back wash basin of size 550x400 mm | Item108 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Item109 | 2 | each | 1607.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Item109 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.1 | Providing and fixing soil, waste and vent pipes : | Item110 | [52 empty] | 13.1 | Providing and fixing soil, waste and vent pipes : | Item110 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.11 | 100 mm dia | Item111 | [52 empty] | 13.11 | 100 mm dia | Item111 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.12 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | Item112 | 21 | metre | 1180.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.12 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | Item112 | 21 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.13 | 75 mm diameter : | Item113 | [52 empty] | 13.13 | 75 mm diameter : | Item113 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.14 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | Item114 | 3 | metre | 1186 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.14 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | Item114 | 3 | metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | Item115 | [52 empty] | 13.15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | Item115 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.16 | 100 mm dia | Item116 | [52 empty] | 13.16 | 100 mm dia | Item116 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.17 | Sand cast iron S&S as per IS - 3989 | Item117 | 3 | each | 705.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.17 | Sand cast iron S&S as per IS - 3989 | Item117 | 3 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.18 | 75 mm dia | Item118 | [52 empty] | 13.18 | 75 mm dia | Item118 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.19 | Sand cast iron S&S as per IS- 3989 | Item119 | 1 | each | 522.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.19 | Sand cast iron S&S as per IS- 3989 | Item119 | 1 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.2 | Providing and fixing plain bend of required degree. | Item120 | [52 empty] | 13.2 | Providing and fixing plain bend of required degree. | Item120 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.21 | 100 mm dia | Item121 | [52 empty] | 13.21 | 100 mm dia | Item121 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.22 | Sand cast iron S&S as per IS : 3989 | Item122 | 3 | each | 570.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.22 | Sand cast iron S&S as per IS : 3989 | Item122 | 3 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.23 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | Item123 | [52 empty] | 13.23 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | Item123 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.24 | 100x100x100 mm | Item124 | [52 empty] | 13.24 | 100x100x100 mm | Item124 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.25 | Sand cast iron S&S as per IS - 3989 | Item125 | 2 | each | 925.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.25 | Sand cast iron S&S as per IS - 3989 | Item125 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.26 | Providing and fixing collar : | Item126 | [52 empty] | 13.26 | Providing and fixing collar : | Item126 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.27 | 100 mm | Item127 | [52 empty] | 13.27 | 100 mm | Item127 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.28 | Sand cast iron S&S as per IS - 3989 | Item128 | 3 | each | 513.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.28 | Sand cast iron S&S as per IS - 3989 | Item128 | 3 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.29 | 75 mm | Item129 | [52 empty] | 13.29 | 75 mm | Item129 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.3 | Sand cast iron S&S as per IS - 3989 | Item130 | 2 | each | 362.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.3 | Sand cast iron S&S as per IS - 3989 | Item130 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.31 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | Item131 | [52 empty] | 13.31 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | Item131 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.32 | 100 mm | Item132 | 10 | each | 622.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.32 | 100 mm | Item132 | 10 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.33 | 75 mm | Item133 | 4 | each | 526.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.33 | 75 mm | Item133 | 4 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.34 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | Item134 | [52 empty] | 13.34 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | Item134 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.35 | 100 mm inlet and 100 mm outlet | Item135 | [52 empty] | 13.35 | 100 mm inlet and 100 mm outlet | Item135 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.36 | Sand cast iron S&S as per IS: 3989 | Item136 | 1 | each | 1996.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.36 | Sand cast iron S&S as per IS: 3989 | Item136 | 1 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.37 | 100 mm inlet and 75 mm outlet | Item137 | [52 empty] | 13.37 | 100 mm inlet and 75 mm outlet | Item137 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.38 | Sand cast iron S&S as per IS - 3989 | Item138 | 2 | each | 1975.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.38 | Sand cast iron S&S as per IS - 3989 | Item138 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | WATER SUPPLY | Item139 | [52 empty] | 14 | WATER SUPPLY | Item139 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work | Item140 | [52 empty] | 14.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work | Item140 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.02 | 32 mm nominal dia Pipes | Item141 | 1.6 | metre | 438.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.02 | 32 mm nominal dia Pipes | Item141 | 1.6 | metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.03 | Providing and fixing uplasticised PVC connection pipe with brass unions : | Item142 | [52 empty] | 14.03 | Providing and fixing uplasticised PVC connection pipe with brass unions : | Item142 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.04 | 45 cm length | Item143 | [52 empty] | 14.04 | 45 cm length | Item143 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.05 | 15 mm nominal bore | Item144 | 9 | each | 97.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.05 | 15 mm nominal bore | Item144 | 9 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.06 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | Item145 | [52 empty] | 14.06 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | Item145 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.07 | 15 mm nominal bore | Item146 | 3 | each | 506.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.07 | 15 mm nominal bore | Item146 | 3 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.08 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | Item147 | [52 empty] | 14.08 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | Item147 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.09 | 15 mm nominal bore | Item148 | 1 | each | 820.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.09 | 15 mm nominal bore | Item148 | 1 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.1 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | Item149 | [52 empty] | 14.1 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | Item149 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.11 | 15 mm nominal bore | Item150 | 9 | each | 574.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.11 | 15 mm nominal bore | Item150 | 9 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.12 | Providing and fixing C.P. Brass extension nipple (size 15 mm x 50 mm) of approved make and quality as per direction of Engineer-in-charge. | Item151 | 4 | each | 74.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.12 | Providing and fixing C.P. Brass extension nipple (size 15 mm x 50 mm) of approved make and quality as per direction of Engineer-in-charge. | Item151 | 4 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.13 | Cutting holes up to 30x30 cm in walls including making good the same: | Item152 | [52 empty] | 14.13 | Cutting holes up to 30x30 cm in walls including making good the same: | Item152 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.14 | With common burnt clay F.P.S. (non modular) bricks | Item153 | 2 | each | 416.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.14 | With common burnt clay F.P.S. (non modular) bricks | Item153 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.15 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | Item154 | 11 | metre | 202.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.15 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | Item154 | 11 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | DRAINAGE | Item155 | [52 empty] | 15 | DRAINAGE | Item155 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.01 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | Item156 | [52 empty] | 15.01 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | Item156 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15.02 | For pipes 100 to 250 mm diameter | Item157 | 1 | each | 810.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.02 | For pipes 100 to 250 mm diameter | Item157 | 1 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | WATER PROOFING | Item158 | [52 empty] | 16 | WATER PROOFING | Item158 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.01 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | Item159 | 8.5 | sqm | 617.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.01 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | Item159 | 8.5 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | NEW TECHNOLOGIES AND MATERIALS | Item160 | [52 empty] | 17 | NEW TECHNOLOGIES AND MATERIALS | Item160 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.01 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | Item161 | [52 empty] | 17.01 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | Item161 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.02 | 25 mm average thickness | Item162 | 2 | sqm | 126.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17.02 | 25 mm average thickness | Item162 | 2 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.03 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer- In-charge complete in all respect. | Item163 | [52 empty] | 17.03 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer- In-charge complete in all respect. | Item163 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.04 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | Item164 | 2 | sqm | 285.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17.04 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | Item164 | 2 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.05 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75 mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). | Item165 | [52 empty] | 17.05 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75 mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). | Item165 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.06 | 25 mm average thickness in 2 layers. | Item166 | 2 | sqm | 587.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17.06 | 25 mm average thickness in 2 layers. | Item166 | 2 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18 | Minor Civil Maintenance Work | Item167 | [52 empty] | 18 | Minor Civil Maintenance Work | Item167 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | Item168 | 0.9 | Cum | 5623.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | Item168 | 0.9 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | Item169 | 2 | Each | 537.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | Item169 | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | Item170 | 6 | Each | 99.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | Item170 | 6 | Each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | Item171 | 14 | Each | 37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | Item171 | 14 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | Item172 | 1 | Each | 896.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | Item172 | 1 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | Item173 | 2 | Each | 451 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | Item173 | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.07 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." | Item174 | 1.6 | Sqm | 2223.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.07 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." | Item174 | 1.6 | Sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.08 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to Aluminum windows and Aluminum clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm, with all necessary complete. | Item175 | 2.5 | SQM | 897 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.08 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to Aluminum windows and Aluminum clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm, with all necessary complete. | Item175 | 2.5 | SQM | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.09 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | Item176 | 1 | Each | 384.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.09 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | Item176 | 1 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.1 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete | Item177 | 2 | Each | 2596.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.1 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete | Item177 | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.11 | "Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. " | Item178 | 2 | Each | 1643.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.11 | "Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. " | Item178 | 2 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.12 | """Providing and fixing aluminum door seal in door i/c necessary screw etc complete. "" " | Item179 | 4 | Metre | 213.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.12 | """Providing and fixing aluminum door seal in door i/c necessary screw etc complete. "" " | Item179 | 4 | Metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K183: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K189: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K190: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K191: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information