## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Supplying, Installation, Testing & Commissioning of automated Sump pumps in the pump room of Techno Park Building, at IIT Kanpur
Contract No: 47/Civil/D3/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | STEEL WORK | [53 empty] | 1 | 1 | STEEL WORK
1.01 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | [53 empty] | 1.01 | 1.01 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.
1.02 | Hot finished welded type tubes |  | 180 | kg | 194.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | 1.02 | Hot finished welded type tubes | 180 | kg
2 | FINISHING | [53 empty] | 2 | 2 | FINISHING
2.01 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 2.01 | 2.01 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
2.02 | Two or more coats on new work |  | 4 | sqm | 155.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | 2.02 | Two or more coats on new work | 4 | sqm
3 | MINOR CIVIL MAINTENANCE WORK | [53 empty] | 3 | 3 | MINOR CIVIL MAINTENANCE WORK
3.01 | Supplying, Installation, Testing & Commisioning of electric starter/smart controller suitable for 3 to 10 HP pumpset with features like dry run, locked rotor, short circuit protection, single phase preventor, auto/manual switch etc. Model: MU-G10S (DOL), relay range: 4-22 A, Cat. No. CS91205DNDO of L&T or equivalent make The rate includes making Connections with main panel & pump i/c cost of required calbling of suitable rating etc. complete in all respect. |  | 2 | each | 22303 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.01 | 3.01 | Supplying, Installation, Testing & Commisioning of electric starter/smart controller suitable for 3 to 10 HP pumpset with features like dry run, locked rotor, short circuit protection, single phase preventor, auto/manual switch etc. Model: MU-G10S (DOL), relay range: 4-22 A, Cat. No. CS91205DNDO of L&T or equivalent make The rate includes making Connections with main panel & pump i/c cost of required calbling of suitable rating etc. complete in all respect. | 2 | each
3.02 | Supplying, Installation, Testing & Commisioning of 3.00 HP sewage sump pump, 50 mm delivery size, flow 312 LPM @ 19 M Head, 415 Volt, 3 Phase, 25 mm solid handling, model no. Eterna 2200 CW of Kirlosker or approved equivalent make i/c all necessary arrangements etc. complete. |  | 2 | each | 52908 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.02 | 3.02 | Supplying, Installation, Testing & Commisioning of 3.00 HP sewage sump pump, 50 mm delivery size, flow 312 LPM @ 19 M Head, 415 Volt, 3 Phase, 25 mm solid handling, model no. Eterna 2200 CW of Kirlosker or approved equivalent make i/c all necessary arrangements etc. complete. | 2 | each
3.03 | P/F Non return valve of 50 mm nominal ore of Zoloto or approved equivalent make & quality suitable for fixing between flanges with necessary arrangements etc. complete. |  | 2 | each | 2467 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.03 | 3.03 | P/F Non return valve of 50 mm nominal ore of Zoloto or approved equivalent make & quality suitable for fixing between flanges with necessary arrangements etc. complete. | 2 | each
3.04 | Providing and fixing cast iron butterfly valves with bolts, nuts, etc. complete, 50 mm diameter of Crane make or approved equivalent. |  | 2 | each | 7014 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.04 | 3.04 | Providing and fixing cast iron butterfly valves with bolts, nuts, etc. complete, 50 mm diameter of Crane make or approved equivalent. | 2 | each
3.05 | P/F controllers with low voltage relays, float type with PVC shroud, wiring from tank top to probes of required length ( No. of probs as required for function of each controller): To open solenoid valve on low water level in the over head tank and to close when high water level in the OH tank, Nolta make or approved equivalent. |  | 2 | each | 4908 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.05 | 3.05 | P/F controllers with low voltage relays, float type with PVC shroud, wiring from tank top to probes of required length ( No. of probs as required for function of each controller): To open solenoid valve on low water level in the over head tank and to close when high water level in the OH tank, Nolta make or approved equivalent. | 2 | each
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information