## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT Kanpur
Name of Work: Renovation of Ladies & Gents toilet in SL.
Contract No: 69/Civil/D2/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | REINFORCED CEMENT CONCRETE | Item1 | [52 empty] | 1 | REINFORCED CEMENT CONCRETE | Item1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | Item2 | 0.25 | cum | 9487.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | Item2 | 0.25 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Centering and shuttering including strutting, propping etc. and removal of form for | Item3 | [52 empty] | 1.02 | Centering and shuttering including strutting, propping etc. and removal of form for | Item3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | Item4 | 1.5 | sqm | 607.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | Item4 | 1.5 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Edges of slabs and breaks in floors and walls | Item5 | [52 empty] | 1.04 | Edges of slabs and breaks in floors and walls | Item5 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.05 | Under 20 cm wide | Item6 | 4 | metre | 171.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.05 | Under 20 cm wide | Item6 | 4 | metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | CLADDING WORK | Item7 | [52 empty] | 2 | CLADDING WORK | Item7 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | Item8 | [52 empty] | 2.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | Item8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.02 | Granite stone slab of colour black, Cherry/Ruby red | Item9 | [52 empty] | 2.02 | Granite stone slab of colour black, Cherry/Ruby red | Item9 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.03 | Area of slab over 0.50 sqm | Item10 | 3 | sqm | 4235.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.03 | Area of slab over 0.50 sqm | Item10 | 3 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | Item11 | [52 empty] | 2.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | Item11 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | Granite work | Item12 | 4 | metre | 421.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.05 | Granite work | Item12 | 4 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.06 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | Item13 | 4 | each | 807.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.06 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | Item13 | 4 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | Item14 | [52 empty] | 2.07 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | Item14 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | White Agaria Marble Stone | Item15 | 1 | sqm | 2886.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.08 | White Agaria Marble Stone | Item15 | 1 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.09 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3(1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | Item16 | 90 | sqm | 1045.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.09 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3(1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | Item16 | 90 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | WOOD AND P. V. C. WORK | Item17 | [52 empty] | 3 | WOOD AND P. V. C. WORK | Item17 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | Item18 | [52 empty] | 3.01 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | Item18 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.02 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | Item19 | 4.5 | sqm | 1972.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.02 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | Item19 | 4.5 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.03 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | Item20 | 2 | each | 927.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.03 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | Item20 | 2 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.04 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | Item21 | [52 empty] | 3.04 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | Item21 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.05 | 300x16 mm | Item22 | 3 | each | 250.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.05 | 300x16 mm | Item22 | 3 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.06 | 250x16 mm | Item23 | 1 | each | 214.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.06 | 250x16 mm | Item23 | 1 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.07 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item24 | [52 empty] | 3.07 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item24 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.08 | 200x10 mm | Item25 | 12 | each | 82.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.08 | 200x10 mm | Item25 | 12 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.09 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item26 | [52 empty] | 3.09 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | Item26 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.1 | 125 mm | Item27 | 6 | each | 54.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | 125 mm | Item27 | 6 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.11 | 100 mm | Item28 | 6 | each | 49.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.11 | 100 mm | Item28 | 6 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.12 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | Item29 | [52 empty] | 3.12 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | Item29 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.13 | Twin rubber stopper | Item30 | 2 | each | 59.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.13 | Twin rubber stopper | Item30 | 2 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.14 | Providing and fixing to existing door frames. | Item31 | [52 empty] | 3.14 | Providing and fixing to existing door frames. | Item31 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.15 | 24 mm thick factory made PVC door shutters made of styles cleats. The shutter frame filled and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer- in-charge. (For W.C. and bathroom door shutter). | Item32 | 5 | sqm | 2448.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.15 | 24 mm thick factory made PVC door shutters made of styles cleats. The shutter frame filled and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer- in-charge. (For W.C. and bathroom door shutter). | Item32 | 5 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.16 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with a wall thickness of 5 mm, made out of extruded 5 mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer's specification and direction of Engineer- in-Charge. | Item33 | 15 | metre | 406.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.16 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with a wall thickness of 5 mm, made out of extruded 5 mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer's specification and direction of Engineer- in-Charge. | Item33 | 15 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.17 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | Item34 | [52 empty] | 3.17 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | Item34 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.18 | With 12 mm mild steel U beading | Item35 | 3 | sqm | 1012.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.18 | With 12 mm mild steel U beading | Item35 | 3 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | STEEL WORK | Item36 | [52 empty] | 4 | STEEL WORK | Item36 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.01 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, priming coat of approved steel primer, but excluding the cost of other fittings,glass panes complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | Item37 | [52 empty] | 4.01 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, priming coat of approved steel primer, but excluding the cost of other fittings,glass panes complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | Item37 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.02 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | Item38 | 50 | kg | 108.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.02 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | Item38 | 50 | kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.03 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with: | Item39 | [52 empty] | 4.03 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with: | Item39 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.04 | 4.0 mm thick glass panes | Item40 | 3 | sqm | 877.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.04 | 4.0 mm thick glass panes | Item40 | 3 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | FLOORING | Item41 | [52 empty] | 5 | FLOORING | Item41 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | Item42 | 25 | sqm | 904.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | Item42 | 25 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | FINISHING | Item43 | [52 empty] | 6 | FINISHING | Item43 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.01 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: | Item44 | [52 empty] | 6.01 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: | Item44 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.02 | New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | Item45 | 55 | sqm | 153.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.02 | New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | Item45 | 55 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.03 | Finishing walls with Acrylic Smooth exterior paint of required shade: | Item46 | [52 empty] | 6.03 | Finishing walls with Acrylic Smooth exterior paint of required shade: | Item46 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.04 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Item47 | 70 | sqm | 132.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.04 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Item47 | 70 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.05 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | Item48 | [52 empty] | 6.05 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | Item48 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.06 | Two or more coats on new work | Item49 | 20 | sqm | 128.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.06 | Two or more coats on new work | Item49 | 20 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.07 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item50 | 55 | sqm | 128.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.07 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item50 | 55 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.08 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Item51 | 55 | sqm | 20.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.08 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Item51 | 55 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | REPAIRS TO BUILDING | Item52 | [52 empty] | 7 | REPAIRS TO BUILDING | Item52 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | Item53 | [52 empty] | 7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | Item53 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | Item54 | 30 | sqm | 462.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | Item54 | 30 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.03 | Providing & fixing White vitreous china water closet squatting pan (Indian type) along with “S” or “P” trap including dismantling of old WC seat and “S” or “P” trap at site complete with all operations including all necessary materials, labour and disposal of dismantled material including malba, all complete as per the direction of Engineer-in charge. | Item55 | [52 empty] | 7.03 | Providing & fixing White vitreous china water closet squatting pan (Indian type) along with “S” or “P” trap including dismantling of old WC seat and “S” or “P” trap at site complete with all operations including all necessary materials, labour and disposal of dismantled material including malba, all complete as per the direction of Engineer-in charge. | Item55 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.04 | Orissa pattern W.C Pan of size 580x440 mm | Item56 | 2 | each | 3693.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.04 | Orissa pattern W.C Pan of size 580x440 mm | Item56 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.05 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials including malba all complete as per directions of Engineer-in-Charge. | Item57 | 10 | each | 110.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.05 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials including malba all complete as per directions of Engineer-in-Charge. | Item57 | 10 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.06 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | Item58 | 36 | metre | 2.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.06 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | Item58 | 36 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Dismantling and Demolishing | Item59 | [52 empty] | 8 | Dismantling and Demolishing | Item59 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | Item60 | [52 empty] | 8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | Item60 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.02 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | Item61 | 3 | cum | 1239.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.02 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | Item61 | 3 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | Item62 | 0.2 | cum | 2928.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | Item62 | 0.2 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | Item63 | [52 empty] | 8.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | Item63 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.05 | In cement mortar | Item64 | 0.5 | cum | 1698.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.05 | In cement mortar | Item64 | 0.5 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.06 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | Item65 | [52 empty] | 8.06 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | Item65 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.07 | Of area 3 sq. metres and below | Item66 | 5 | each | 302.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.07 | Of area 3 sq. metres and below | Item66 | 5 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.08 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | Item67 | [52 empty] | 8.08 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | Item67 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.09 | Of area 3 sq. metres and below | Item68 | 4 | each | 118.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.09 | Of area 3 sq. metres and below | Item68 | 4 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | Item69 | [52 empty] | 8.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | Item69 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.11 | For thickness of tiles 10 mm to 25 mm | Item70 | 25 | sqm | 60.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.11 | For thickness of tiles 10 mm to 25 mm | Item70 | 25 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.12 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | Item71 | 3 | each | 92.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.12 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | Item71 | 3 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.13 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | Item72 | 85 | sqm | 45.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.13 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | Item72 | 85 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.14 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | Item73 | 10 | cum | 217.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.14 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | Item73 | 10 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | SANITARY INSTALLATIONS | Item74 | [52 empty] | 9 | SANITARY INSTALLATIONS | Item74 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.01 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | Item75 | [52 empty] | 9.01 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | Item75 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.02 | W.C. pan with ISI marked white solid plastic seat and lid | Item76 | 1 | each | 5372.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.02 | W.C. pan with ISI marked white solid plastic seat and lid | Item76 | 1 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.03 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : | Item77 | [52 empty] | 9.03 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : | Item77 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.04 | Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | Item78 | 3 | each | 9954.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.04 | Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | Item78 | 3 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.05 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | Item79 | [52 empty] | 9.05 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | Item79 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.06 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | Item80 | 4 | each | 1549.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.06 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | Item80 | 4 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.07 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete. | Item81 | [52 empty] | 9.07 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete. | Item81 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.08 | 10 litre capacity - White | Item82 | 3 | each | 981.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.08 | 10 litre capacity - White | Item82 | 3 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.09 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | Item83 | [52 empty] | 9.09 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | Item83 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.1 | Semi rigid pipe | Item84 | [52 empty] | 9.1 | Semi rigid pipe | Item84 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.11 | 32 mm dia | Item85 | 7 | each | 85.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.11 | 32 mm dia | Item85 | 7 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.12 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | Item86 | [52 empty] | 9.12 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | Item86 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.13 | Rectangular shape 1500x450 mm | Item87 | 2 | each | 1725.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.13 | Rectangular shape 1500x450 mm | Item87 | 2 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.14 | Providing and fixing soil, waste and vent pipes : | Item88 | [52 empty] | 9.14 | Providing and fixing soil, waste and vent pipes : | Item88 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.15 | 100 mm dia | Item89 | [52 empty] | 9.15 | 100 mm dia | Item89 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.16 | Sand cast iron S&S pipe as per IS: 1729 | Item90 | 20 | metre | 949.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.16 | Sand cast iron S&S pipe as per IS: 1729 | Item90 | 20 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.17 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | Item91 | [52 empty] | 9.17 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | Item91 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.18 | 100 mm dia | Item92 | [52 empty] | 9.18 | 100 mm dia | Item92 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.19 | Sand cast iron S&S as per IS - 1729 | Item93 | 10 | each | 493.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.19 | Sand cast iron S&S as per IS - 1729 | Item93 | 10 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.2 | Providing and fixing plain bend of required degree. | Item94 | [52 empty] | 9.2 | Providing and fixing plain bend of required degree. | Item94 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.21 | 100 mm dia | Item95 | [52 empty] | 9.21 | 100 mm dia | Item95 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.22 | Sand cast iron S&S as per IS - 1729 | Item96 | 1 | each | 387.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.22 | Sand cast iron S&S as per IS - 1729 | Item96 | 1 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.23 | Providing and fixing single equal plain junction of required degree : | Item97 | [52 empty] | 9.23 | Providing and fixing single equal plain junction of required degree : | Item97 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.24 | 100x100x100 mm | Item98 | [52 empty] | 9.24 | 100x100x100 mm | Item98 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.25 | Sand cast iron S&S as per IS - 1729 | Item99 | 5 | each | 516.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.25 | Sand cast iron S&S as per IS - 1729 | Item99 | 5 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.26 | Providing and fixing collar : | Item100 | [52 empty] | 9.26 | Providing and fixing collar : | Item100 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.27 | 100 mm | Item101 | [52 empty] | 9.27 | 100 mm | Item101 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.28 | Sand cast iron S&S as per IS - 1729 | Item102 | 5 | each | 382.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.28 | Sand cast iron S&S as per IS - 1729 | Item102 | 5 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.29 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | Item103 | [52 empty] | 9.29 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | Item103 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.3 | 100 mm | Item104 | 20 | each | 513.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.3 | 100 mm | Item104 | 20 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | WATER SUPPLY | Item105 | [52 empty] | 10 | WATER SUPPLY | Item105 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work - Exposed on wall | Item106 | [52 empty] | 10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work - Exposed on wall | Item106 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.02 | 32 mm dia nominal bore | Item107 | 6 | metre | 550.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.02 | 32 mm dia nominal bore | Item107 | 6 | metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | Item108 | [52 empty] | 10.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | Item108 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.04 | 15 mm dia nominal bore | Item109 | 12 | metre | 478.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.04 | 15 mm dia nominal bore | Item109 | 12 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.05 | 20 mm dia nominal bore | Item110 | 24 | metre | 523.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.05 | 20 mm dia nominal bore | Item110 | 24 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.06 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | Item111 | [52 empty] | 10.06 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | Item111 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.07 | 25 to 40 mm nominal bore | Item112 | 2 | each | 751.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.07 | 25 to 40 mm nominal bore | Item112 | 2 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.08 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | Item113 | [52 empty] | 10.08 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | Item113 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.09 | 20 mm nominal bore | Item114 | 2 | each | 445.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.09 | 20 mm nominal bore | Item114 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.1 | Providing and fixing uplasticised PVC connection pipe with brass unions : | Item115 | [52 empty] | 10.1 | Providing and fixing uplasticised PVC connection pipe with brass unions : | Item115 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.11 | 45 cm length | Item116 | [52 empty] | 10.11 | 45 cm length | Item116 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.12 | 15 mm nominal bore | Item117 | 10 | each | 80.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.12 | 15 mm nominal bore | Item117 | 10 | each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.13 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | Item118 | [52 empty] | 10.13 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | Item118 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.14 | 15 mm nominal bore | Item119 | 1 | each | 417.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.14 | 15 mm nominal bore | Item119 | 1 | each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.15 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | Item120 | [52 empty] | 10.15 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | Item120 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.16 | 15 mm nominal bore | Item121 | 3 | each | 552.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.16 | 15 mm nominal bore | Item121 | 3 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.17 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | Item122 | [52 empty] | 10.17 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | Item122 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.18 | 15 mm nominal bore | Item123 | 7 | each | 473.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.18 | 15 mm nominal bore | Item123 | 7 | each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.19 | Cutting holes up to 30x30 cm in walls including making good the same: | Item124 | [52 empty] | 10.19 | Cutting holes up to 30x30 cm in walls including making good the same: | Item124 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.2 | With common burnt clay F.P.S. (non modular) bricks | Item125 | 2 | each | 343.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.2 | With common burnt clay F.P.S. (non modular) bricks | Item125 | 2 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | ALUMINIUM WORK | Item126 | [52 empty] | 11 | ALUMINIUM WORK | Item126 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | Item127 | [52 empty] | 11.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | Item127 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.02 | For fixed portion | Item128 | [52 empty] | 11.02 | For fixed portion | Item128 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | Item129 | 15 | kg | 408.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | Item129 | 15 | kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | Item130 | [52 empty] | 11.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | Item130 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | Item131 | 15 | kg | 493.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | Item131 | 15 | kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | NEW TECHNOLOGIES AND MATERIALS | Item132 | [52 empty] | 12 | NEW TECHNOLOGIES AND MATERIALS | Item132 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.01 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | Item133 | [52 empty] | 12.01 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | Item133 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.02 | 50 mm average thickness | Item134 | 10 | sqm | 211.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.02 | 50 mm average thickness | Item134 | 10 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13 | Minor Civil Maintance Works | Item135 | [52 empty] | 13 | Minor Civil Maintance Works | Item135 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.01 | """Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level. 1:5:10 (1 cement : 5 fine sand : 10 graded Brick aggregate 40 mm nominal size). "" " | Item136 | 3 | Cum | 4647.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.01 | """Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level. 1:5:10 (1 cement : 5 fine sand : 10 graded Brick aggregate 40 mm nominal size). "" " | Item136 | 3 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.02 | """Providing & Fixing Glass body liquid soap dispenser, Make : Jaquar cat no. ACN-CHR-1135N or approved equivalent make etc. with simple push lever fitted with liquid soap (one time) including cutting and making good the walls, wherever required. "" " | Item137 | 2 | Each | 856.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.02 | """Providing & Fixing Glass body liquid soap dispenser, Make : Jaquar cat no. ACN-CHR-1135N or approved equivalent make etc. with simple push lever fitted with liquid soap (one time) including cutting and making good the walls, wherever required. "" " | Item137 | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.03 | "Providing and fixing CP health faucet Corsa brand or Equivalent (hand shower) for European type WC/ IWC of standard make fixed on existing angle valve etc. Complete. " | Item138 | 3 | each | 800.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.03 | "Providing and fixing CP health faucet Corsa brand or Equivalent (hand shower) for European type WC/ IWC of standard make fixed on existing angle valve etc. Complete. " | Item138 | 3 | each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information