  - List of Approved Makes for Electrical Works

| S.No. | Items | Makes |
| --- | --- | --- |
| 1 | MS Conduit (ISI marked)with heavy duty accessories | BEC/AKG/ RM CON /Steel Krafts |
| 2 | PVC/ XLPE insulated aluminium / copper conductor armoured unarmoured MV cables upto 1100 V(ISI Marked) | Havells / Finolex/ KEI/ Grandlay/ Polycab/Gloster |
| 3 | FRLS PVC insulated copper conductor stranded flexible wire i/c control cables(ISI Marked) | Havells/Finolex/KEI/ Grandlay/Polycab/Gloster |
| 4 | Cable Raceway floor/wall mounted and accessories | Legrand / MK (Honeywell) / OBO/Excel |
| 5 | Cable Tray & Accessories | Venus / MEM / BEC / RM CON/ Indeana/Excel |
| 6 | Modular Switch & Socket & Accessories | Legrand(Myrus)/M.K. (Element) /Schneider (Zencelo) / legrand (Arteor)/ ABB |
| 7 | Metal clad Industrial Socket outlet and sheet steel Enclosure for MCCB/ MCB | Legrand/Siemens/Schneider/Hager |
| 8 | Cable Glands | Dowells/Commet/Gripwell/Raychem |
| 9 | Lugs and end termination | Dowells/Commet/Braco |
| 10 | Change over switch | L&T / Socomac / ABB / Schneider |
| 11 | Distribution Boards | Siemens (Betagard), / Hager / Schneider (Acti9) / Legrand (Ekinox33/ L&T (Exora / ABB (Elegence)/ C&S |
| 12 | Protection Device (MCB/RCCB/RCBO/ELCB) | Siemens (5SL), Hager / Schneider (Acti9) / Legrand (DX 3) / ABB (S200M) / L&T/C&S |
| 13 | Current transformer / potential transformer | AEL / Gilbert & Maxwell / Pragati / Precise / L&T/ Kappa |
| 14 | Indicating Lamps LED type, Push Button | Siemens / L&T / Schneider / Legrand |
| 15 | Electronic Digital Meters | Schnider (conzerv) / L&T / Secure / Siemens / ABB / Legrand |
| 16 | MCCBs | Siemens (3VL) / L&T (D sine) / Schneider (CVS) / Legrand (DPX3) ABB (T max)/ C&S |
| 17 | Power Contactor | L&T (MNX)/ Schneider (Tesys) / Legrand (CTX3) ABB (Ax) |
| 18 | Surge Protection Devices | Siemens/L&T/Schneider / Legrand/ OBO |
| 19 | Selector Switch | Salzer/Seimens /BCH/ Kaycee / L&T |
| 20 | Auxiliary Relays | Siemens/L&T/Schneider/Legrand/ABB |
| 21 | LED Lighting Fixture | Philips/ Wipro/Havells/Crompton |
| 22 | Emergency Lighting/ Exit Sign boards | Bajaj / Prolite / Glo-Line |
| 23 | Ceiling Fan, Fresh Air Fan, Exhaust Fan | Havells/Cromption/ Usha / Orient/ Atomberg |
| 24 | Paint | Nerolac/Asian/Berger/ICI |
| 25 | Lighting Protech System | OBO/ Cape Electric/ Infinite / APS/ Jeff Techno/ Axis |
| 26 | G.I Pipe | Tata, Jindal-Hissar, Prakash Surya |
| 27 | Rubber Mat (ISI Marked) | Jyoti / Deep Jyoti/ Premier |
| 28 | Fire Extinguisher | Minimax/ Life Guard / Cease Fire / Newage |
| 29 | CU/ GI Strip & GI wire for earthing | Jeff Techno/ Axis / OBO |
| 30 | MS Conduit (ISI marked) | BEC/AKG/NIC/ Steel craft/ M-Key, SK (E.R.W) |
| 31 | PVC Conduit and accessories | Polycab/ AKG / Asian |
| 32 | 1.1 KV aluminium armoured XLPE insulated and PVC sheathed cable (LT cable) | Havells /KEI/ Finolex/ Grandlay/ Gloster |
| 33 | Modular Switch & Socket | Legrand (Myrus) MK (Element) Schneider (Zencelo India) / Havells/ ABB |
| 34 | Metal Clad Industrial Socket | Legrand / Siemens/Schneider/ C&S/ ABB |
| 35 | Cat-6 cable | Beldon/Siemon/Legrand/Penduit (Pannet) |
| 36 | Crimp Patch Cord | Beldon/Siemon/Legrand/Penuit (Pannet) |
| 37 | Panel Accessories | Siemenss/ L&T/ Schneider / Legrand / Tecnic/ ABB/ C&S/ Neptune |
| 38 | LED/ Metal Halide / Fluorescent Internal Lighting Fixtures | Philips/ Wipro/Havells/Crompton |
| 39 | External Lighting Fixture | Philips/ Wipro/Havells/Crompton |
| 40 | Ceiling Fan (ISI marked & BEE rated 5 star) | Havells / Almonard/ Orient/ Usha/ Bajaj |
| 41 | Advance lighting protections System (Early Streamer Emission Type) | LPI (Australia)-by allied power/ SGI (Duval Messien/ Satellite(France) by SGI/ Bradlay (USA) -by JMV/ Erico (USA) by security shoppe/ ABB |
| 42 | Main LT Panels/ MCC Panel | (Main LT panel / MCC Panel board should be IEC 61439 part-1 and II manufacturer has to produces the relevant test certificate as per IEC code for the same failing which panel shall be rejected). L&T /Siemens / Schneider/ ABB/ Legrand / L&T or their authorized channel partners for IEC 61439 compliant panels |
| 43 | Air Circuit Breaker | Siemens / Schneider/ L&T/ Legrand/ C&S/ ABB |
| 44 | Surge Voltage Protection | Siemens/L&T/Schneider / ABB |
| 45 | Earth fault module | Siemens/Schneider/L&T/Legrand |
| 46 | Protection relays | Siemens/ Areva/ L&T/ Legrand |
| 47 | C.Ts and PTs | Kappa / AE/ Matrix |
| 48 | Digital Meters | Siemens (PAC)/ Schneider/ (conzerv) / Secure Enersol / L&T/ Neptune |
| 49 | Indicating lamps | ESBEE/Schneider/Siemens/Vaishno/Neptune |
| 50 | Power capacitors | Epcos/ Neptune / Legrand /ABB/ L&T |
| 51 | Automatic Power factor correction relay/controller | Epcos/Siemens (PAC) /Schneider (Conzerv)/L&T/Neptune |
| 52 | Sealed Maintenance Free Batteries | Exide/Panasonic/Amara Raja/HBL |
| 53 | Battery charger | Caldyne/Chhabi Electricals/Statcon/Max Power |
| 54 | Cable Trays (Factory Fabricated/ Overhead & Floor Raceways | Legrand/MEM/OBO/ Milestone/ Neptune |
| 55 | HDPE underground cable duct | Rex Polyextrusion/ Tirpura/ Plasomatics/ Duraline |
| 56 | Insulation Mats | DL Miller & Co. Ltd.?Premier Polyfilm Ltd./RMG Polyvinyl India Ltd/Jyoti |
| 57 | Smoke/Heat detectors | Apollo/ System Sensor/ Agni |
| 58 | Manual Call point | PRD/System-Tek/ Simplex/ System Sensor/ Agni |
| 59 | Response indicators | PRD/System-Tek/ Simplex/ System Sensor /Agni |
| 60 | Fire Exit Signs | System-Tek/ Simplex/ Agni |
| 61 | Fire Control Panel | System-Tek/ Morley /Agni |
| 62 | Speaker / Hooter | System-Tek/ Philips /Agni |
| 63 | Occupancy Sensors/ Movement Sensor | Legrand/ Philips/ Wipro |
| 64 | Flush type switch /socket | Anchor/ Kinjal/ SSK/ Havells Reo |
| 65 | Fuse switches unit / switch fuse unit /HRC fuse | L&T / Siemens/ Havells/ C&S |
| 66 | Exhaust fan | Almonard/ Alstom/ Crompton/ Havells |
| 67 | XLPE insulated HT cables | KEI/Havells/Polycab/Gloster/ Grandlay |
| 68 | Cable lug | Ascon (Heavy gauge) Jainson Dowells |
| 69 | Telephone wires/Telephone Cable / jelly filled telephone cables | Finolex /Delton/Havell’s |
| 70 | Telephone tag blocks | Krone/ Pouyet |
| 71 | Telephone outlet | MK Electric /Legrand (Mosaic)/Crabtree (Piccadilly) |
| 72 | GI raceways | Milestone Engineering /Legrand/ MDS/ Neptune Systems Pvt. Ltd./MK |
| 73 | PVC raceways | Legrand/ MK |
| 74 | Electronic ballast | Philips / Wipro/ Bajaj/ Decon/Crompton/Havells |
| 75 | DLP plastic trunking | Legrand/MK |
| 76 | Geysers | Recold /Venus /Usha Lexus /Sphere hot |
| 77 | Tower Light | Ligman/Simes/Bega |
| 78 79 | HT/LT transformers HT SF-6 circuit breakers / VCB | ABB/Schneider /CGL (Crompton Greaves Ltd.) Siemens/ ABB/ CGL / Schneider |
| 80 | Programmable Logic Controller (PLC) | Siemens /Allen-Bradley/ Schneider |
| 81 | Earthing (Chemical Earthing Plate Earthing | JMV/ As per CPWD Norms |
| 82 | Octagonal Pole | Bajaj / Crompton / Phillips |
| 83 | 11 kV HT panel Incoming relay | CGL/Schneider/ABB/ Siemens |
| 84 | Control Relay Panel | CGL/Schneider/ABB |
| 85 | Lightning Arrestor | ABB/Alltec/JMV |
| 86 | Temp. Gauge | Guru |
| 87 | Gate Valve | Leader/Sant |
| 88 | Electrical Backup | Spare hot/ Racold |
| 89 | PVC Tank | Syntex/ Polycon |
| 90 | Thermostat | ISI Marked |
| 91 | Flat Collector Plate | Solocrome/ Tata BP/ Racold |
| 92 | S.S Sheet | Jindal / National |
| 93 | HT/LT cable joints (Straight through/outdoor/indoor) | 3M/ Denson/ M Seal/Raychem/ Cabseal |
| 94 | Alternator | STAMFORD/Crompton Greaves/Kirlosker/Leroy Somer |
| 95 | DG set engine | Kirlosker/ Cummins/ Greaves Cotton/Baudouin/Caterpillar/Perkins |
| 96 | DG Set | Sterling Generator/ Kirlosker /Caterpillar/Cummins Power / Greaves Cotton/Jackson |
| 97 | Makes of accessories of HT / LT Panel / Transformers | As per standard practice of manufacturer/ Channel partner of L&T /Siemens / Schneider/ ABB/Legrand/Crompton Greaves |
| 98 | Bus Trunking | C&S / L&T/ Schneider as per standard practice of OEM manufacturer / channel partner |
| 99 | HT panel 11 KV | ABB/ Schneider/ Siemens /CGL (Crompton Greaves Ltd.) |
| 100 | Bus Duct | Neptune / Milestone/ Tricolite |
| 101 | Lamp Holder (Brass) | Kay/ SSK/ Kinjal |
| 102 | UPS | APC(Schneider)/Vertiv/ABB/Numeric/Delta/ Tmeic |
| 103 | AMF Panel | L&T/ Siemens/ ABB/ Excel Control/ Modern Switchgear |